## BoQ1
Government eProcurement System Created By: Ashok Kumar Created Date/Time: 05-Apr-2021 11:46 AM Tender Title: Misc. Electricals Works at INA and SAP/ Old Area. SH- Provision of LT Panel for Data Center at Safdarjung Airport, New Delhi Tender ID: 2021_AAI_71866_1
Tender Inviting Authority: Asstt. General Manager, Airports Authority of India, Safdarjung Airport, New Delhi-110003
Name of Work: Misc. Electricals Works at INA & SAP/ Old Area. SH: Provision of LT Panel for Data Center at Safdarjung Airport, New Delhi.
Contract No: AAI/SAP/AGM(E-E)/Data Centre/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | BBN ENERGY SYSTEMS PVT LTD(GSTN-06AAECB3449D1Z0) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Leo Air and Power Solution Pvt Ltd.,(GSTN-07AABCL1931F1ZW) |  | Electro Tech Systems(GSTN-07ABLPS9754M3ZK) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Incotech Engineers Pvt Ltd(GSTN-19AAACI5242B1ZZ) |  | Ashoka Switchgear Private Limited(GSTN-09AACCB7082N1Z6) |  | ANU ENGINEERING CORPORATION(GSTN-07AJDPK9181G1Z1) |  | HLK Infrastructure Pvt Ltd(GSTN-07AACCH5773N1Z2) |  | Horizon Electric Corporation(GSTN-07ADAPA9890R2ZV) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, manufacture supply, installation, testing and commissioning of Type tested Assembly(TTA) LT Panel indoor type, made of 2 mm thick sheet steel for frame work and covers, 3mm thick for gland plates, totally enclosed, IP 42, free standing, floor mounting, dust and vermin proof, outdoor, compartmentalised, including cleaning & finishing complete with powder coating, suitable for operation on 3 Phase and neutral, 415v, 50 Hz AC system with high conductivity Four Pole Aluminium bus bars of suitable capacity with heat shrinkable coloured sleeves and i/c DMC/SMC busbars supports at required intervals, entire panel shall have a common copper earth bar of size 25mm x 5mm at the rear with 2 nos. earth stud, control wiring with 2.5 sq.mm. PVC insulated copper conductor, cable alley, cable gland plates in two half, and base frame of suitable size including providing and installation of following items and as per technical specification: |  |  | 0.00
1.01 | (A) INCOMER (i) 2 Nos. MCCB, 400A, 35 kA, Four Pole , with thermal magnetic adjustable release having adjustable over Current, adjustable Short Circuit, (Ics=Icu) along with Direct Rotary handle and spreader link. (ii) 2 nos. Digital Voltmeter of suitable range for 3 phase, 4 wire operation with LED display and built-in selector switch along with suitable no. of 2 Amp. SP MCBs. (iii) 2 Set Indication Lamps, LED type, R,Y,B and breaker 'ON', 'OFF' lamps each with 2 Amp. SP MCB. (iv) 96 mm sq. Flush pattern Digital Type Ammeter of suitable range (to measure 0-400A), for 3 phase 4 wire operation with LED display and selector switch with 3 nubmers suitable range CTs. of class 1.0 accuracy, 15 VA burden - 2 sets. B. Busbar:- 500 Amps, 415 V, Four Pole Aluminium Busbars with Heat shrinkable color coded insulation sleeves. |  |  | 0.00
1.02 | (B) Outgoing (i) 08 Nos. MCCB, 100A, 35 kA, Four Pole , with thermal magnetic release having adjustable over Current, adjustable Short Circuit Fault Protection. (Ics=Icu) along with Direct Rotary handle and spreader link. (ii) 02 Nos. MCCB, 250A, 35 kA, Four Pole , with thermal magnetic release having adjustable over Current, adjustable Short Circuit Fault Protection. (Ics=Icu) along with Direct Rotary handle and spreader link. Note: Incoming Breaker shall be electrically and mechanically interlocked with suitable accessories & all breaking capacity shall be Icu = Ics as per specifications | 2.00 | Job | 0.00 | 368000.00 | 736000.00 | 312874.75 | 625749.50 | 267600.00 | 535200.00 | 308151.00 | 616302.00 | 325600.00 | 651200.00 | 560000.00 | 1120000.00 | 412500.00 | 825000.00 | 350000.00 | 700000.00 | 505000.00 | 1010000.00 | 295483.30 | 590966.60 | 491910.00 | 983820.00 | 100000.00 | 200000.00 | 200000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
2.00 | Design, manufacture supply, installation, testing and commissioning of Out Door Type Double Door LT Feeder Pillar, made of 2 mm thick sheet steel for frame work and covers, 3mm thick for gland plates, totally enclosed, IP 54, free standing, floor mounting, dust and vermin proof, outdoor, including cleaning & finishing complete with powder coating, suitable for operation on 3 Phase and neutral, 415V, 50 Hz AC system with high conductivity TPN Aluminium bus bars of suitable capacity with heat shrinkable coloured sleeves and i/c DMC/SMC busbars supports at required intervals, panel shall have a copper earth bar of size 25mm x 5mm at the rear with 2 nos. earth stud, control wiring with 2.5 sq.mm. PVC insulated copper conductor, cable alley, cable gland plates in two half, and supply & fixing of angle iron stand made out of 50x50x6 mm of suitable size, supply & installation of following items and as per technical specification: |  |  | 0.00
2.01 | (A) INCOMER (i) 1 Nos. 800A, 50 kA, Four Pole Fixed type Air Circuit Breaker (ACB) with Microprocessor release having adjustable over Current and adjustable Short Circuit. (ii) 1 nos. Digital Voltmeter of suitable range for 3 phase, 4 wire operation with LED display and built-in selector switch along with suitable no. of 2 Amp. SP MCBs. (iii) 1 Set Indication Lamps, LED type, R,Y,B and breaker 'ON', 'OFF' lamps each with 2 Amp. SP MCB. (iv) 96 mm sq. Flush pattern Digital Type Ammeter of suitable range (to measure 0-800A), for 3 phase 4 wire operation with LED display and selector switch with 3 nubmers suitable range CTs. of class 1.0 accuracy, 15 VA burden - 1 set. | 1.00 | Job | 0.00 | 204000.00 | 204000.00 | 151255.00 | 151255.00 | 255000.00 | 255000.00 | 166181.00 | 166181.00 | 234600.00 | 234600.00 | 185000.00 | 185000.00 | 224400.00 | 224400.00 | 157000.00 | 157000.00 | 245000.00 | 245000.00 | 193772.01 | 193772.01 | 277250.00 | 277250.00 | 120000.00 | 120000.00 | 120000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
3.00 | Providing and fixing of 125 Amp, 4 Pole, Automatic Transfer Switch (ATS) in sheet steel enclosure and terminal spreaders including cable end box on both sides (height of each end box shall be 300mm), making connections, etc. as required. Make : Havells, Cat. No. IHYTCDE125 or equivalent as per approved make list. | 6.00 | Each | 0.00 | 34500.00 | 207000.00 | 59800.00 | 358800.00 | 35000.00 | 210000.00 | 35021.00 | 210126.00 | 56500.00 | 339000.00 | 21000.00 | 126000.00 | 57750.00 | 346500.00 | 40000.00 | 240000.00 | 43000.00 | 258000.00 | 46925.94 | 281555.64 | 47193.00 | 283158.00 | 32000.00 | 192000.00 | 126000.00 | Manish Electricals
4.00 | Supply of following sizes of 1.1kv grade multicore XLPE insulated PVC sheathed armoured cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications. |  |  | 0.00
4.01 | 3.5C X 185 sq. mm (Aluminium Conductor) | 200.00 | Meter | 0.00 | 660.00 | 132000.00 | 891.25 | 178250.00 | 656.65 | 131330.00 | 664.00 | 132800.00 | 710.00 | 142000.00 | 785.00 | 157000.00 | 660.00 | 132000.00 | 754.80 | 150960.00 | 775.00 | 155000.00 | 770.56 | 154112.00 | 721.00 | 144200.00 | 850.00 | 170000.00 | 131330.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.02 | 3.5C X 95 sq. mm (Aluminium Conductor) | 200.00 | Meter | 0.00 | 360.00 | 72000.00 | 487.60 | 97520.00 | 361.10 | 72220.00 | 362.00 | 72400.00 | 465.00 | 93000.00 | 455.00 | 91000.00 | 353.00 | 70600.00 | 412.80 | 82560.00 | 340.00 | 68000.00 | 421.47 | 84294.00 | 394.00 | 78800.00 | 500.00 | 100000.00 | 68000.00 | ANU ENGINEERING CORPORATION
4.03 | 3.5C X 35 sq. mm (Aluminium Conductor) | 400.00 | Meter | 0.00 | 165.00 | 66000.00 | 223.10 | 89240.00 | 165.60 | 66240.00 | 166.00 | 66400.00 | 260.00 | 104000.00 | 210.00 | 84000.00 | 161.00 | 64400.00 | 188.40 | 75360.00 | 200.00 | 80000.00 | 192.64 | 77056.00 | 180.00 | 72000.00 | 250.00 | 100000.00 | 64400.00 | Incotech Engineers Pvt Ltd
5.00 | Supply & installation of following size prefabricated hot dip galvanized steel ladder type cable trays with coupler, (galvanisation not less than 50 microns) fabricated out of hot rolled sheet steel with rigid welded construction with a rung as per standard and specifications, of approved make and cable tray fittings, including G.I. bolts & nuts, all labour and materials, as per approved drawings, specifications of this tender and directions of Engineer-in-charge. |  |  | 0.00
5.01 | 600 mm wide ( Runners 20 x 75 x 20 x 2 .5mm and Rungs 20 x 30 x 20 x 2.5mm 250 mm centre to center.) | 50.00 | Meter | 0.00 | 940.00 | 47000.00 | 1058.00 | 52900.00 | 1050.00 | 52500.00 | 1080.00 | 54000.00 | 1350.00 | 67500.00 | 1450.00 | 72500.00 | 1250.00 | 62500.00 | 800.00 | 40000.00 | 1300.00 | 65000.00 | 2017.54 | 100877.00 | 1018.00 | 50900.00 | 750.00 | 37500.00 | 37500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
5.02 | 450 mm wide ( Runners 15 x 75 x 15 x 2.0 mm and Rungs 15 x 30 x 15 x 2.0 mm 250 mm centre to center.) | 50.00 | Meter | 0.00 | 615.00 | 30750.00 | 793.50 | 39675.00 | 690.00 | 34500.00 | 752.00 | 37600.00 | 1200.00 | 60000.00 | 1100.00 | 55000.00 | 943.00 | 47150.00 | 600.00 | 30000.00 | 920.00 | 46000.00 | 1794.83 | 89741.50 | 900.00 | 45000.00 | 550.00 | 27500.00 | 27500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
6.00 | Supply & installation of following size prefabricated hot dip galvanized steel cover for ladder type cable trays, (galvanisation not less than 50 microns) fabricated out of hot rolled sheet steel including G.I. bolts & nuts, all labour and materials, as per approved drawings, specifications of this tender and directions of Engineer-in-charge. |  |  | 0.00
6.01 | 605 mm wide x 15mm x 1.5 mm thick | 40.00 | Meter | 0.00 | 975.00 | 39000.00 | 1063.75 | 42550.00 | 1046.00 | 41840.00 | 1134.00 | 45360.00 | 1400.00 | 56000.00 | 525.00 | 21000.00 | 902.00 | 36080.00 | 400.00 | 16000.00 | 1250.00 | 50000.00 | 1597.87 | 63914.80 | 586.00 | 23440.00 | 850.00 | 34000.00 | 16000.00 | Ashoka Switchgear Private Limited
6.02 | 455 mm wide x 15mm x 1.5 mm thick | 40.00 | Meter | 0.00 | 725.00 | 29000.00 | 828.00 | 33120.00 | 800.00 | 32000.00 | 893.00 | 35720.00 | 1210.00 | 48400.00 | 525.00 | 21000.00 | 660.00 | 26400.00 | 250.00 | 10000.00 | 900.00 | 36000.00 | 1375.17 | 55006.80 | 400.00 | 16000.00 | 650.00 | 26000.00 | 10000.00 | Ashoka Switchgear Private Limited
7.00 | Supplying and installing following size of Ladder type Hot Dipped Galvanised steel cable tray "bends" (galvanisation not less than 50 microns) fabricated out of hot rolled sheet steel with rigid welded construction with a rung as per standard and specifications, in convenient sections, joined with connectors, including G.I. bolts & nuts, etc. as required. |  |  | 0.00
7.01 | 600 mm wide ( Runners 20 x 75 x 20 x 2 .5mm and Rungs 20 x 30 x 20 x 2.5mm 250 mm centre to center.) | 4.00 | Each | 0.00 | 1400.00 | 5600.00 | 2360.95 | 9443.80 | 1952.00 | 7808.00 | 1929.00 | 7716.00 | 2550.00 | 10200.00 | 530.00 | 2120.00 | 2750.00 | 11000.00 | 250.00 | 1000.00 | 3000.00 | 12000.00 | 3666.08 | 14664.32 | 2556.00 | 10224.00 | 650.00 | 2600.00 | 1000.00 | Ashoka Switchgear Private Limited
7.02 | 450 mm wide ( Runners 15 x 75 x 15 x 2.0 mm and Rungs 15 x 30 x 15 x 2.0 mm 250 mm centre to center.) | 4.00 | Each | 0.00 | 1525.00 | 6100.00 | 1759.50 | 7038.00 | 1247.00 | 4988.00 | 1274.00 | 5096.00 | 2450.00 | 9800.00 | 530.00 | 2120.00 | 2206.00 | 8824.00 | 200.00 | 800.00 | 2000.00 | 8000.00 | 3241.88 | 12967.52 | 2068.00 | 8272.00 | 550.00 | 2200.00 | 800.00 | Ashoka Switchgear Private Limited
8.00 | Supplying and installing following size of Ladder type Hot Dipped Galvanised steel cable tray "Tee" (galvanisation not less than 50 microns) fabricated out of hot rolled sheet steel with rigid welded construction with a rung as per standard and specifications, in convenient sections, joined with connectors, including G.I. bolts & nuts, etc. as required. |  |  | 0.00
8.01 | 600 mm wide ( Runners 20 x 75 x 20 x 2 .5mm and Rungs 20 x 30 x 20 x 2.5mm 250 mm centre to center.) | 2.00 | Each | 0.00 | 2850.00 | 5700.00 | 2760.00 | 5520.00 | 2928.00 | 5856.00 | 2836.00 | 5672.00 | 2650.00 | 5300.00 | 650.00 | 1300.00 | 2871.00 | 5742.00 | 300.00 | 600.00 | 3500.00 | 7000.00 | 3560.03 | 7120.06 | 3030.00 | 6060.00 | 650.00 | 1300.00 | 600.00 | Ashoka Switchgear Private Limited
8.02 | 450 mm wide ( Runners 15 x 75 x 15 x 2.0 mm and Rungs 15 x 30 x 15 x 2.0 mm 250 mm centre to center.) | 2.00 | Each | 0.00 | 1850.00 | 3700.00 | 2041.25 | 4082.50 | 1871.00 | 3742.00 | 1854.00 | 3708.00 | 2550.00 | 5100.00 | 450.00 | 900.00 | 2570.00 | 5140.00 | 250.00 | 500.00 | 2400.00 | 4800.00 | 3241.88 | 6483.76 | 3030.00 | 6060.00 | 550.00 | 1100.00 | 500.00 | Ashoka Switchgear Private Limited
9.00 | Supplying and installing following size of Ladder type Hot Dipped Galvanised steel cable tray "Cross member" (galvanisation not less than 50 microns) fabricated out of hot rolled sheet steel with rigid welded construction with a rung as per standard and specifications, in convenient sections, joined with connectors, including G.I. bolts & nuts, etc. as required. |  |  | 0.00
9.01 | 600 mm wide ( Runners 20 x 75 x 20 x 2 .5mm and Rungs 20 x 30 x 20 x 2.5mm 250 mm centre to center.) | 1.00 | Each | 0.00 | 3800.00 | 3800.00 | 3565.00 | 3565.00 | 3748.00 | 3748.00 | 3744.00 | 3744.00 | 2390.00 | 2390.00 | 600.00 | 600.00 | 2987.00 | 2987.00 | 100.00 | 100.00 | 3500.00 | 3500.00 | 5203.80 | 5203.80 | 2939.00 | 2939.00 | 800.00 | 800.00 | 100.00 | Ashoka Switchgear Private Limited
9.02 | 450 mm wide ( Runners 15 x 75 x 15 x 2.0 mm and Rungs 15 x 30 x 15 x 2.0 mm 250 mm centre to center.) | 1.00 | Each | 0.00 | 2450.00 | 2450.00 | 2616.25 | 2616.25 | 2395.00 | 2395.00 | 2433.00 | 2433.00 | 1955.00 | 1955.00 | 425.00 | 425.00 | 2624.00 | 2624.00 | 80.00 | 80.00 | 2400.00 | 2400.00 | 4832.63 | 4832.63 | 2374.00 | 2374.00 | 800.00 | 800.00 | 80.00 | Ashoka Switchgear Private Limited
10.00 | Supplying and installing following size of Ladder type Hot Dipped Galvanised steel cable tray "Reducer" (galvanisation not less than 50 microns) fabricated out of hot rolled sheet steel with rigid welded construction with a rung as per standard and specifications, in convenient sections, joined with connectors, including G.I. bolts & nuts, etc. as required. |  |  | 0.00
10.01 | 600 mm wide ( Runners 20 x 75 x 20 x 2 .5mm and Rungs 20 x 30 x 20 x 2.5mm 250 mm centre to center.) | 1.00 | Each | 0.00 | 1900.00 | 1900.00 | 1897.50 | 1897.50 | 1686.00 | 1686.00 | 1747.00 | 1747.00 | 3299.00 | 3299.00 | 850.00 | 850.00 | 2266.00 | 2266.00 | 600.00 | 600.00 | 2500.00 | 2500.00 | 3719.10 | 3719.10 | 2625.00 | 2625.00 | 1200.00 | 1200.00 | 600.00 | Ashoka Switchgear Private Limited
10.02 | 450 mm wide ( Runners 15 x 75 x 15 x 2.0 mm and Rungs 15 x 30 x 15 x 2.0 mm 250 mm centre to center.) | 1.00 | Each | 0.00 | 1250.00 | 1250.00 | 1362.75 | 1362.75 | 1077.00 | 1077.00 | 1158.00 | 1158.00 | 2655.00 | 2655.00 | 650.00 | 650.00 | 1964.00 | 1964.00 | 500.00 | 500.00 | 2000.00 | 2000.00 | 3453.98 | 3453.98 | 2374.00 | 2374.00 | 1200.00 | 1200.00 | 500.00 | Ashoka Switchgear Private Limited
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. |  |  | 0.00
11.01 | Upto 35 sq. mm | 10.00 | Meter | 0.00 | 200.00 | 2000.00 | 170.20 | 1702.00 | 240.00 | 2400.00 | 250.00 | 2500.00 | 125.00 | 1250.00 | 450.00 | 4500.00 | 308.00 | 3080.00 | 226.60 | 2266.00 | 350.00 | 3500.00 | 294.65 | 2946.50 | 308.00 | 3080.00 | 650.00 | 6500.00 | 1250.00 | Electro Tech Systems
11.02 | Above 35 sq. mm and upto 95 sq. mm | 10.00 | Meter | 0.00 | 250.00 | 2500.00 | 233.45 | 2334.50 | 270.00 | 2700.00 | 250.00 | 2500.00 | 135.00 | 1350.00 | 450.00 | 4500.00 | 495.00 | 4950.00 | 235.40 | 2354.00 | 350.00 | 3500.00 | 306.60 | 3066.00 | 357.00 | 3570.00 | 1200.00 | 12000.00 | 1350.00 | Electro Tech Systems
11.03 | Above 95 sq. mm and upto 185 sq. mm | 10.00 | Meter | 0.00 | 250.00 | 2500.00 | 284.05 | 2840.50 | 280.00 | 2800.00 | 300.00 | 3000.00 | 165.00 | 1650.00 | 450.00 | 4500.00 | 550.00 | 5500.00 | 245.30 | 2453.00 | 350.00 | 3500.00 | 317.84 | 3178.40 | 385.00 | 3850.00 | 2700.00 | 27000.00 | 1650.00 | Electro Tech Systems
12.00 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc. as required. |  |  | 0.00
12.01 | Upto 35 sq. mm | 10.00 | Meter | 0.00 | 200.00 | 2000.00 | 82.80 | 828.00 | 170.00 | 1700.00 | 200.00 | 2000.00 | 115.00 | 1150.00 | 350.00 | 3500.00 | 275.00 | 2750.00 | 155.10 | 1551.00 | 350.00 | 3500.00 | 197.93 | 1979.30 | 253.00 | 2530.00 | 600.00 | 6000.00 | 828.00 | BBN ENERGY SYSTEMS PVT LTD
12.02 | Above 35 sq. mm and upto 95 sq. mm | 10.00 | Meter | 0.00 | 250.00 | 2500.00 | 120.70 | 1207.00 | 180.00 | 1800.00 | 250.00 | 2500.00 | 145.00 | 1450.00 | 350.00 | 3500.00 | 440.00 | 4400.00 | 163.90 | 1639.00 | 350.00 | 3500.00 | 209.58 | 2095.80 | 302.00 | 3020.00 | 1100.00 | 11000.00 | 1207.00 | BBN ENERGY SYSTEMS PVT LTD
12.03 | Above 95 sq. mm and upto 185 sq. mm | 10.00 | Meter | 0.00 | 250.00 | 2500.00 | 146.05 | 1460.50 | 200.00 | 2000.00 | 300.00 | 3000.00 | 165.00 | 1650.00 | 350.00 | 3500.00 | 440.00 | 4400.00 | 173.80 | 1738.00 | 350.00 | 3500.00 | 221.55 | 2215.50 | 330.00 | 3300.00 | 2500.00 | 25000.00 | 1460.50 | BBN ENERGY SYSTEMS PVT LTD
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. |  |  | 0.00
13.01 | Upto 35 sq. mm | 10.00 | Meter | 0.00 | 30.00 | 300.00 | 82.80 | 828.00 | 30.00 | 300.00 | 80.00 | 800.00 | 115.00 | 1150.00 | 40.00 | 400.00 | 50.00 | 500.00 | 19.80 | 198.00 | 50.00 | 500.00 | 24.49 | 244.90 | 44.00 | 440.00 | 500.00 | 5000.00 | 198.00 | Ashoka Switchgear Private Limited
13.02 | Above 35 sq. mm and upto 95 sq. mm | 10.00 | Meter | 0.00 | 30.00 | 300.00 | 120.75 | 1207.50 | 50.00 | 500.00 | 100.00 | 1000.00 | 125.00 | 1250.00 | 60.00 | 600.00 | 77.00 | 770.00 | 30.80 | 308.00 | 50.00 | 500.00 | 37.80 | 378.00 | 77.00 | 770.00 | 1000.00 | 10000.00 | 300.00 | Awasthi Electric Works
13.03 | Above 95 sq. mm and upto 185 sq. mm | 80.00 | Meter | 0.00 | 50.00 | 4000.00 | 146.05 | 11684.00 | 55.00 | 4400.00 | 150.00 | 12000.00 | 135.00 | 10800.00 | 90.00 | 7200.00 | 110.00 | 8800.00 | 40.70 | 3256.00 | 70.00 | 5600.00 | 51.24 | 4099.20 | 99.00 | 7920.00 | 2500.00 | 200000.00 | 3256.00 | Ashoka Switchgear Private Limited
14.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. |  |  | 0.00
14.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 10.00 | Meter | 0.00 | 80.00 | 800.00 | 82.80 | 828.00 | 40.00 | 400.00 | 80.00 | 800.00 | 95.00 | 950.00 | 75.00 | 750.00 | 61.00 | 610.00 | 27.50 | 275.00 | 70.00 | 700.00 | 31.50 | 315.00 | 44.00 | 440.00 | 55.00 | 550.00 | 275.00 | Ashoka Switchgear Private Limited
14.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 10.00 | Meter | 0.00 | 100.00 | 1000.00 | 120.75 | 1207.50 | 100.00 | 1000.00 | 100.00 | 1000.00 | 110.00 | 1100.00 | 95.00 | 950.00 | 100.00 | 1000.00 | 79.20 | 792.00 | 70.00 | 700.00 | 82.95 | 829.50 | 88.00 | 880.00 | 70.00 | 700.00 | 700.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, ANU ENGINEERING CORPORATION
14.03 | Above 95 sq. mm and upto 185 sq. mm (clamped with 40x3mm MS flat clamp) | 50.00 | Meter | 0.00 | 125.00 | 6250.00 | 146.05 | 7302.50 | 120.00 | 6000.00 | 150.00 | 7500.00 | 132.00 | 6600.00 | 120.00 | 6000.00 | 138.00 | 6900.00 | 92.40 | 4620.00 | 100.00 | 5000.00 | 97.91 | 4895.50 | 137.00 | 6850.00 | 124.00 | 6200.00 | 4620.00 | Ashoka Switchgear Private Limited
15.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on cable tray as required. |  |  | 0.00
15.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 300.00 | Meter | 0.00 | 80.00 | 24000.00 | 82.80 | 24840.00 | 70.00 | 21000.00 | 100.00 | 30000.00 | 75.00 | 22500.00 | 75.00 | 22500.00 | 61.00 | 18300.00 | 23.10 | 6930.00 | 50.00 | 15000.00 | 26.25 | 7875.00 | 44.00 | 13200.00 | 55.00 | 16500.00 | 6930.00 | Ashoka Switchgear Private Limited
15.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 100.00 | Meter | 0.00 | 100.00 | 10000.00 | 120.75 | 12075.00 | 120.00 | 12000.00 | 150.00 | 15000.00 | 110.00 | 11000.00 | 95.00 | 9500.00 | 100.00 | 10000.00 | 53.90 | 5390.00 | 50.00 | 5000.00 | 58.80 | 5880.00 | 88.00 | 8800.00 | 105.00 | 10500.00 | 5000.00 | ANU ENGINEERING CORPORATION
15.03 | Above 95 sq. mm and upto 185 sq. mm (clamped with 40x3mm MS flat clamp) | 80.00 | Meter | 0.00 | 125.00 | 10000.00 | 146.05 | 11684.00 | 150.00 | 12000.00 | 250.00 | 20000.00 | 135.00 | 10800.00 | 120.00 | 9600.00 | 138.00 | 11040.00 | 67.10 | 5368.00 | 100.00 | 8000.00 | 74.55 | 5964.00 | 137.00 | 10960.00 | 145.00 | 11600.00 | 5368.00 | Ashoka Switchgear Private Limited
16.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. |  |  | 0.00
16.01 | 3.5 C X 35 sq. mm (32mm) | 24.00 | Each | 0.00 | 200.00 | 4800.00 | 1580.21 | 37925.04 | 250.00 | 6000.00 | 300.00 | 7200.00 | 350.00 | 8400.00 | 500.00 | 12000.00 | 528.00 | 12672.00 | 310.20 | 7444.80 | 150.00 | 3600.00 | 240.45 | 5770.80 | 385.00 | 9240.00 | 290.00 | 6960.00 | 3600.00 | ANU ENGINEERING CORPORATION
16.02 | 3.5 C X 95 sq. mm (45 mm) | 10.00 | Each | 0.00 | 350.00 | 3500.00 | 2512.17 | 25121.70 | 350.00 | 3500.00 | 500.00 | 5000.00 | 473.00 | 4730.00 | 850.00 | 8500.00 | 880.00 | 8800.00 | 530.20 | 5302.00 | 250.00 | 2500.00 | 379.05 | 3790.50 | 715.00 | 7150.00 | 470.00 | 4700.00 | 2500.00 | ANU ENGINEERING CORPORATION
16.03 | 3.5 C X 185 sq. mm (57mm) | 8.00 | Each | 0.00 | 450.00 | 3600.00 | 4034.75 | 32278.00 | 650.00 | 5200.00 | 850.00 | 6800.00 | 702.00 | 5616.00 | 1100.00 | 8800.00 | 1232.00 | 9856.00 | 884.40 | 7075.20 | 400.00 | 3200.00 | 561.75 | 4494.00 | 1045.00 | 8360.00 | 700.00 | 5600.00 | 3200.00 | ANU ENGINEERING CORPORATION
17.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required |  |  | 0.00
17.01 | 3.5 C X 35 sq. mm | 5.00 | Each | 0.00 | 2000.00 | 10000.00 | 2066.55 | 10332.75 | 6500.00 | 32500.00 | 500.00 | 2500.00 | 8900.00 | 44500.00 | 2000.00 | 10000.00 | 1473.00 | 7365.00 | 1556.50 | 7782.50 | 1500.00 | 7500.00 | 2369.85 | 11849.25 | 2750.00 | 13750.00 | 2000.00 | 10000.00 | 2500.00 | Leo Air and Power Solution Pvt Ltd.,
17.02 | 3.5 C X 95 sq. mm | 2.00 | Each | 0.00 | 2400.00 | 4800.00 | 3321.20 | 6642.40 | 7500.00 | 15000.00 | 650.00 | 1300.00 | 9500.00 | 19000.00 | 3000.00 | 6000.00 | 2106.00 | 4212.00 | 2165.90 | 4331.80 | 2000.00 | 4000.00 | 3303.30 | 6606.60 | 3300.00 | 6600.00 | 2400.00 | 4800.00 | 1300.00 | Leo Air and Power Solution Pvt Ltd.,
18.00 | Supplying and installing of horizontal/ vertical double mounting Electrically Operated Siren of 1 HP suitable for operating on single phase 230V +10% AC, 50Hz. The audiable range of Siren shall be 3.25 Km. and including wiring, connection etc. complete as required. | 1.00 | Each | 0.00 | 16500.00 | 16500.00 | 52325.00 | 52325.00 | 150000.00 | 150000.00 | 9220.00 | 9220.00 | 25000.00 | 25000.00 | 15000.00 | 15000.00 | 21703.00 | 21703.00 | 2500.00 | 2500.00 | 6000.00 | 6000.00 | 9374.82 | 9374.82 | 10000.00 | 10000.00 | 15800.00 | 15800.00 | 2500.00 | Ashoka Switchgear Private Limited
19.00 | Supply, Installation, testing and commissioning of 240 kA 3 phase 4 wire Digital Portable Low Impedance equipment Grounding & bonding system with built in 100% Lightning and Surges suppressor, static charge, Noises, ESD, EPR and abnormal electrical characteristics eliminator which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V, a digital 6 digit lightening surge counter, self health visual status indicator and ON-LINE remote monitoring facility of Earth-Neutral voltage in a Pre-wired pulverulent body painted metal enclosure to be connected in parallel to the power supply circuit, Conforming to IEC , CE Marked, CPRI tested & ISO 9000 & ISO 14001- 2015 certified for Data Centre Panel. Model: DS-Prime-MII-3P4-240 | 2.00 | Each | 0.00 | 252000.00 | 504000.00 | 118450.00 | 236900.00 | 160000.00 | 320000.00 | 238050.00 | 476100.00 | 29500.00 | 59000.00 | 195000.00 | 390000.00 | 175900.00 | 351800.00 | 200000.00 | 400000.00 | 275000.00 | 550000.00 | 352934.40 | 705868.80 | 16800.00 | 33600.00 | 675000.00 | 1350000.00 | 33600.00 | Horizon Electric Corporation
20.00 | Providing and making advance maintenance free chemical earthing pits using required qty of ISOGEL or equivalent chemical to enhance earth bonding improving compound using advanced chemical earth electrode of copper tube/rod of 80 mm dia & 3 mtrs length including earth pit chamber with lockable cover including excavation & re-filling etc as required. | 2.00 | Each | 0.00 | 33750.00 | 67500.00 | 23000.00 | 46000.00 | 13400.00 | 26800.00 | 31338.00 | 62676.00 | 19500.00 | 39000.00 | 25000.00 | 50000.00 | 29200.00 | 58400.00 | 12000.00 | 24000.00 | 42000.00 | 84000.00 | 21581.18 | 43162.36 | 12870.00 | 25740.00 | 40000.00 | 80000.00 | 24000.00 | Ashoka Switchgear Private Limited
21.00 | Design, manufacture supply, installation, testing and commissioning of operating panel panel of above siren, made of 2 mm thick sheet steel wall mounting, powder coated, painting, suitable for operation on Single Phase and neutral, 230V, 50 Hz AC system with supply & installation of following items and as per technical specification:- (i) 01 No. 20 A, DP MCB, 10 KA (ii) 01 no. Digital Analog Timer Switch Suitable for ON/ OFF Siren. (iii) 01 no. Power Cotntactor AC-3 Duty, 20 Amps | 1.00 | Job | 0.00 | 6500.00 | 6500.00 | 12420.00 | 12420.00 | 35000.00 | 35000.00 | 7579.00 | 7579.00 | 35000.00 | 35000.00 | 15000.00 | 15000.00 | 15620.00 | 15620.00 | 22500.00 | 22500.00 | 10000.00 | 10000.00 | 10585.27 | 10585.27 | 17545.00 | 17545.00 | 45000.00 | 45000.00 | 6500.00 | Awasthi Electric Works
22.00 | Supply of Aluminium Economical Telescopic wheeled ladder with closed height of 16 ft. and extendendable upto 28 Ft., aluminium Zig-Zag type channel section of size 75 x 35 x 3.5mm and upper corner thickness 6.8 mm with Aluminium steps of dia 26 mm corrugated tubing. Fitted with safety ring and platform on the top with pushing handle and side railing, complete as required at site. (Make: Sumer & co. or equivalents as per approval of Engineer-In-Charge). (All raw materials will be used as per IS: 733-1983). | 1.00 | Each | 0.00 | 51500.00 | 51500.00 | 51750.00 | 51750.00 | 150000.00 | 150000.00 | 31941.00 | 31941.00 | 75000.00 | 75000.00 | 65000.00 | 65000.00 | 42350.00 | 42350.00 | 23000.00 | 23000.00 | 55000.00 | 55000.00 | 54261.54 | 54261.54 | 21500.00 | 21500.00 | 15800.00 | 15800.00 | 15800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
23.00 | Providing & Fixing of MS frame for laying of cable tray, fabricated out of MS angle including welding cutting etc as per site requirement and instruction of EIC. The entire framework shall be duly primer coated and painted and complete as required. | 1000.00 | Kg | 0.00 | 130.00 | 130000.00 | 172.50 | 172500.00 | 120.00 | 120000.00 | 90.00 | 90000.00 | 155.00 | 155000.00 | 85.00 | 85000.00 | 118.00 | 118000.00 | 255.00 | 255000.00 | 105.00 | 105000.00 | 73.17 | 73170.00 | 91.00 | 91000.00 | 115.00 | 115000.00 | 73170.00 | HLK Infrastructure Pvt Ltd
24.00 | Providing and fixing of 250 Amp, 4 Pole, Automatic Transfer Switch (ATS) in sheet steel enclosure and terminal spreaders including cable end box on both sides (height of each end box shall be 450mm), making connections, etc. as required. Make : Havells, Cat. No. IHYFCDE250. | 2.00 | Each | 0.00 | 59000.00 | 118000.00 | 77050.00 | 154100.00 | 35000.00 | 70000.00 | 59147.00 | 118294.00 | 83600.00 | 167200.00 | 24000.00 | 48000.00 | 70400.00 | 140800.00 | 57116.00 | 114232.00 | 61000.00 | 122000.00 | 84042.93 | 168085.86 | 75740.00 | 151480.00 | 55000.00 | 110000.00 | 48000.00 | Manish Electricals
25.00 | Supplying and laying of 90 mm dia (OD-90 mm & ID-76 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 100.00 | Meter | 0.00 | 225.00 | 22500.00 | 655.50 | 65550.00 | 210.00 | 21000.00 | 210.00 | 21000.00 | 259.00 | 25900.00 | 290.00 | 29000.00 | 480.00 | 48000.00 | 400.00 | 40000.00 | 200.00 | 20000.00 | 224.70 | 22470.00 | 266.00 | 26600.00 | 250.00 | 25000.00 | 20000.00 | ANU ENGINEERING CORPORATION
26.00 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 6.00 | Cum | 0.00 | 700.00 | 4200.00 | 569.25 | 3415.50 | 800.00 | 4800.00 | 300.00 | 1800.00 | 850.00 | 5100.00 | 800.00 | 4800.00 | 440.00 | 2640.00 | 1500.00 | 9000.00 | 500.00 | 3000.00 | 178.50 | 1071.00 | 605.00 | 3630.00 | 450.00 | 2700.00 | 1071.00 | HLK Infrastructure Pvt Ltd
27.00 | Providing and laying in position reinforced cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required (excluding reinforcement). | 6.00 | Cum | 0.00 | 7000.00 | 42000.00 | 6325.00 | 37950.00 | 4200.00 | 25200.00 | 4000.00 | 24000.00 | 8500.00 | 51000.00 | 7000.00 | 42000.00 | 8910.00 | 53460.00 | 2500.00 | 15000.00 | 7000.00 | 42000.00 | 5880.00 | 35280.00 | 8250.00 | 49500.00 | 8550.00 | 51300.00 | 15000.00 | Ashoka Switchgear Private Limited
28.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required | 150.00 | Meter | 0.00 | 180.00 | 27000.00 | 172.50 | 25875.00 | 150.00 | 22500.00 | 110.00 | 16500.00 | 250.00 | 37500.00 | 300.00 | 45000.00 | 152.00 | 22800.00 | 102.00 | 15300.00 | 180.00 | 27000.00 | 164.85 | 24727.50 | 143.00 | 21450.00 | 120.00 | 18000.00 | 15300.00 | Ashoka Switchgear Private Limited
29.00 | Wiring for Group 'C' light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 15.00 | Point | 0.00 | 950.00 | 14250.00 | 1897.50 | 28462.50 | 970.00 | 14550.00 | 742.00 | 11130.00 | 1250.00 | 18750.00 | 900.00 | 13500.00 | 1430.00 | 21450.00 | 1244.40 | 18666.00 | 1000.00 | 15000.00 | 970.20 | 14553.00 | 1045.00 | 15675.00 | 1180.00 | 17700.00 | 11130.00 | Leo Air and Power Solution Pvt Ltd.,
30.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 50.00 | Meter | 0.00 | 220.00 | 11000.00 | 188.60 | 9430.00 | 210.00 | 10500.00 | 209.00 | 10450.00 | 295.00 | 14750.00 | 210.00 | 10500.00 | 195.00 | 9750.00 | 292.80 | 14640.00 | 260.00 | 13000.00 | 212.10 | 10605.00 | 233.00 | 11650.00 | 265.00 | 13250.00 | 9430.00 | BBN ENERGY SYSTEMS PVT LTD
31.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 20.00 | Meter | 0.00 | 315.00 | 6300.00 | 318.55 | 6371.00 | 310.00 | 6200.00 | 353.00 | 7060.00 | 395.00 | 7900.00 | 405.00 | 8100.00 | 308.00 | 6160.00 | 191.20 | 3824.00 | 390.00 | 7800.00 | 312.90 | 6258.00 | 345.00 | 6900.00 | 395.00 | 7900.00 | 3824.00 | Ashoka Switchgear Private Limited
32.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. |  |  | 0.00
32.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 20.00 | Meter | 0.00 | 150.00 | 3000.00 | 88.55 | 1771.00 | 165.00 | 3300.00 | 140.00 | 2800.00 | 259.00 | 5180.00 | 180.00 | 3600.00 | 154.00 | 3080.00 | 217.20 | 4344.00 | 210.00 | 4200.00 | 166.53 | 3330.60 | 160.00 | 3200.00 | 210.00 | 4200.00 | 1771.00 | BBN ENERGY SYSTEMS PVT LTD
33.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch type, connection etc. as required. | 4.00 | Each | 0.00 | 565.00 | 2260.00 | 1150.00 | 4600.00 | 450.00 | 1800.00 | 365.00 | 1460.00 | 699.00 | 2796.00 | 750.00 | 3000.00 | 2145.00 | 8580.00 | 450.00 | 1800.00 | 500.00 | 2000.00 | 395.85 | 1583.40 | 605.00 | 2420.00 | 495.00 | 1980.00 | 1460.00 | Leo Air and Power Solution Pvt Ltd.,
34.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) |  |  | 0.00
34.01 | 4 way (4 + 12), Double door | 1.00 | Each | 0.00 | 2900.00 | 2900.00 | 3795.00 | 3795.00 | 7000.00 | 7000.00 | 2476.00 | 2476.00 | 4999.00 | 4999.00 | 8000.00 | 8000.00 | 9620.00 | 9620.00 | 3500.00 | 3500.00 | 5000.00 | 5000.00 | 3221.40 | 3221.40 | 5500.00 | 5500.00 | 3070.00 | 3070.00 | 2476.00 | Leo Air and Power Solution Pvt Ltd.,
35.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  | 0.00
35.01 | Single pole | 12.00 | Each | 0.00 | 220.00 | 2640.00 | 180.55 | 2166.60 | 155.00 | 1860.00 | 133.00 | 1596.00 | 259.00 | 3108.00 | 180.00 | 2160.00 | 309.00 | 3708.00 | 1150.00 | 13800.00 | 160.00 | 1920.00 | 153.30 | 1839.60 | 126.00 | 1512.00 | 300.00 | 3600.00 | 1512.00 | Horizon Electric Corporation
36.00 | Supplying and fixing following rating four pole, (three phase and neutral), 415 volts, residual current breaker with overcurrent protection (RCBO), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  | 0.00
36.01 | 40A, RCBO | 1.00 | Each | 0.00 | 3800.00 | 3800.00 | 2018.25 | 2018.25 | 2500.00 | 2500.00 | 3443.00 | 3443.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 3862.00 | 3862.00 | 5300.00 | 5300.00 | 3000.00 | 3000.00 | 2688.00 | 2688.00 | 2475.00 | 2475.00 | 4500.00 | 4500.00 | 2018.25 | BBN ENERGY SYSTEMS PVT LTD
37.00 | Supply & Fixing of 300 mm sweep exhaust fan, 900 rpm, metal body heavy duty, suitable for 230V, single phase, including louvre for the protection with all the accessories as required. Make: Havells Model No.: Turbo Force SP or equivalent. | 2.00 | Each | 0.00 | 3150.00 | 6300.00 | 5232.50 | 10465.00 | 3800.00 | 7600.00 | 2383.00 | 4766.00 | 3900.00 | 7800.00 | 2800.00 | 5600.00 | 2871.00 | 5742.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 2310.00 | 4620.00 | 2200.00 | 4400.00 | 2800.00 | 5600.00 | 4400.00 | Horizon Electric Corporation
| Total in Figures |  |  |  |  | 2732750.00 |  | 2826779.04 |  | 2595940.00 |  | 2498854.00 |  | 2736778.00 |  | 2915025.00 |  | 2949007.00 |  | 2568540.30 |  | 3222920.00 |  | 3024971.42 |  | 2635983.00 |  | 3289210.00
Lowest Amount Quoted BY: Leo Air and Power Solution Pvt Ltd.,(2498854.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Electricals Works at INA and SAP/ Old Area. SH- Provision of LT Panel for Data Center at Safdarjung Airport, New Delhi Tender ID: 2021_AAI_71866_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Leo Air and Power Solution Pvt Ltd., | 2498854.00 | L1
| 2 | Ashoka Switchgear Private Limited | 2568540.30 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 2595940.00 | L3
| 4 | Horizon Electric Corporation | 2635983.00 | L4
| 5 | Awasthi Electric Works | 2732750.00 | L5
| 6 | Electro Tech Systems | 2736778.00 | L6
| 7 | BBN ENERGY SYSTEMS PVT LTD | 2826779.04 | L7
| 8 | Manish Electricals | 2915025.00 | L8
| 9 | Incotech Engineers Pvt Ltd | 2949007.00 | L9
| 10 | HLK Infrastructure Pvt Ltd | 3024971.42 | L10
| 11 | ANU ENGINEERING CORPORATION | 3222920.00 | L11
| 12 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 3289210.00 | L12