## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 17-Mar-2021 02:59 PM Tender Title: Erection of BCAS Porta Cabin besides Integrated Office Complex at B.P.I Airport Bhubaneswar SH Electrical Works Tender ID: 2021_AAI_72011_1
Tender Inviting Authority: Asst. General Manager Engg ( E ) -1, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Erection of BCAS Porta Cabin besides Integrated Office Complex at B.P.I Airport, Bhubaneswar. SH: Electrical Works
Contract No: 2021_AAI_72011_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S ZENITH TRADERS(GSTN-21AGIPP3232HIZQ) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | Kundu Enterprise(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator).
1.01 | 8 way (4 + 24), Double door | 1.00 | Each |  | 3000.00 | 3000.00 | 4100.00 | 4100.00 | 2650.00 | 2650.00 | 2650.00 | Kundu Enterprise
2.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
2.01 | Single pole | 24.00 | Each |  | 150.00 | 3600.00 | 180.00 | 4320.00 | 117.00 | 2808.00 | 2808.00 | Kundu Enterprise
3.00 | Supplying and fixing of 63A rating 415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
3.01 | Four Pole 63A MCB | 1.00 | Each |  | 1000.00 | 1000.00 | 1600.00 | 1600.00 | 999.00 | 999.00 | 999.00 | Kundu Enterprise
4.00 | Supplying and fixing following rating, four poJe, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.63 amp | 1.00 | Each |  | 500.00 | 500.00 | 525.00 | 525.00 | 489.00 | 489.00 | 489.00 | Kundu Enterprise
5.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Aluminium conductor power cable conforming to IS 7098 (Part 1) amended upto date.
5.01 | 3.5CX35Sq.mm | 290.00 | Mtr |  | 180.00 | 52200.00 | 175.00 | 50750.00 | 155.00 | 44950.00 | 44950.00 | Kundu Enterprise
6.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
6.01 | 3.5C X 35 Sq.mm | 2.00 | Each |  | 200.00 | 400.00 | 75.00 | 150.00 | 140.00 | 280.00 | 150.00 | M/S DURGA SUPPLY AGENCIES
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required.
7.01 | upto 35 Sq.mm | 210.00 | Mtr |  | 160.00 | 33600.00 | 250.00 | 52500.00 | 281.00 | 59010.00 | 33600.00 | M/S ZENITH TRADERS
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonary open duct as required
8.01 | upto 35 Sq.mm | 80.00 | Mtr |  | 10.00 | 800.00 | 20.00 | 1600.00 | 15.00 | 1200.00 | 800.00 | M/S ZENITH TRADERS
9.00 | Supply of split Air conditioner with all accessories, cordless remote & having minimum cooling capacity 4500 K Cal/hr (1.5 Ton) fitted with rotary /semi-hermetic compressor along with copper condenser unit operating on refrigerant gas R -32 / R410/ Non CFC suitable for high wall mounting & suitable for operation on 230V, 50Hz, single phase AC supply capable of performing following functions; (i) Cooling (ii) Dehumidifying, (iii) Air Circulating, & (iv) Filtering. (Five star rating / Inverter type). | 8.00 | Each |  | 40000.00 | 320000.00 | 35000.00 | 280000.00 | 55800.00 | 446400.00 | 280000.00 | M/S DURGA SUPPLY AGENCIES
10.00 | ITC of 1.5 TR split Air conditioner, including fixing of indoor & outdoor units, connection and fixing of suitable refrigerant pipe, drain pipe & control cable upto length of 4mtr)charging of refrigerant gas , leakage testing, etc. complete as per site condition and as per the direction of E-I-C). | 8.00 | Each |  | 1000.00 | 8000.00 | 2000.00 | 16000.00 | 1520.00 | 12160.00 | 8000.00 | M/S ZENITH TRADERS
11.00 | Supply and fixing of Iron Angle stand suitable for installation of outdoor unit of 1.5 TR split air-conditioners including painting etc. complete as per site condition and as per the direction of E-I-C. | 8.00 | per unit |  | 500.00 | 4000.00 | 750.00 | 6000.00 | 390.00 | 3120.00 | 3120.00 | Kundu Enterprise
12.00 | Supply and fixing of additional copper pipe (both suction and discharge) with nitrile rubber insulation suitable for 1.5tr split air conditioner from indoor unit to outdoor unit as per site condition and as per the direction of E-I-C. | 130.00 | Mtr |  | 180.00 | 23400.00 | 150.00 | 19500.00 | 722.00 | 93860.00 | 19500.00 | M/S DURGA SUPPLY AGENCIES
13.00 | Supply and fixing of additional PVC drain pipe minimum 15mm dia on the wall / tray from indoor unit as per site condition and as per the direction of E-I-C. | 130.00 | Mtr |  | 50.00 | 6500.00 | 40.00 | 5200.00 | 25.00 | 3250.00 | 3250.00 | Kundu Enterprise
14.00 | Supply and fixing of additional 3C x 1.5 sqmm pvc insulated , PVC round sheathed copper cable as per IS 694:1990 , for 1.5 TR split air conditioners as per site condition and as per the direction of E-I-C. | 60.00 | Meter |  | 40.00 | 2400.00 | 42.00 | 2520.00 | 46.00 | 2760.00 | 2400.00 | M/S ZENITH TRADERS
15.00 | Supply of earth pits using CPRI tested advanced chemical earth rod (ISOROD) made of k type copper tube of 2.5” dia, 8 fts long, 1.6 mm thick installed vertically or horizontally as per the site conditions complete with flanges, bends and top cover dully backfilled with ISOGEL earth enhancing compound of 20kgs. along with heavy duty plastic inspection chamber including excavation & refilling etc as to be created in the hard rock/RCC/PCC flooring. | 4.00 | Nos |  | 43000.00 | 172000.00 | 21000.00 | 84000.00 | 8050.00 | 32200.00 | 32200.00 | Kundu Enterprise
16.00 | Installation & Drilling charges for item. No.14 Chemical earthing. | 4.00 | nos |  | 1500.00 | 6000.00 | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 6000.00 | M/S ZENITH TRADERS
17.00 | Supply and laying 25 x 5 mm copper strip through 40mm dia. GI pipe from earth electrode as required. | 75.00 | Mtr. |  | 1265.00 | 94875.00 | 600.00 | 45000.00 | 556.00 | 41700.00 | 41700.00 | Kundu Enterprise
18.00 | Providing and fixing 4 mm dia copper wire on surface or in recess for loop earthing | 50.00 | Mtr |  | 50.00 | 2500.00 | 90.00 | 4500.00 | 86.00 | 4300.00 | 2500.00 | M/S ZENITH TRADERS
19.00 | Supply of Three phase 4 wire KWH counter type energy meter CT operated base ,240V,5-10 A, class accuracy 1.0. | 1.00 | Each |  | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 1989.00 | 1989.00 | 1500.00 | M/S ZENITH TRADERS
20.00 | Supply of wire wound type metering CT 100/5A, with minimum 5VA burden, class accuracy 1.0, for connecting to energy meter. | 3.00 | Each |  | 750.00 | 2250.00 | 550.00 | 1650.00 | 520.00 | 1560.00 | 1560.00 | Kundu Enterprise
21.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc. complete as required. | 1.00 | Nos. |  | 200.00 | 200.00 | 500.00 | 500.00 | 242.00 | 242.00 | 200.00 | M/S ZENITH TRADERS
22.00 | Providing and fixing testing joint made of 20mm x 3mm thick GI strip 125mm long with 4No. G.I. bolts, nuts, chuck nuts, spring washer etc. complete as required. | 1.00 | Nos. |  | 50.00 | 50.00 | 3000.00 | 3000.00 | 72.00 | 72.00 | 50.00 | M/S ZENITH TRADERS
23.00 | Providing and laying G.I. Tape 32mm x 6mm from earth electrode directly in ground as required. | 60.00 | M |  | 50.00 | 3000.00 | 120.00 | 7200.00 | 146.00 | 8760.00 | 3000.00 | M/S ZENITH TRADERS
| Total in Figures |  |  |  |  | 741775.00 |  | 612615.00 |  | 774759.00
Lowest Amount Quoted BY: M/S DURGA SUPPLY AGENCIES(612615.00)

## BOQ Summary
BOQ Summary Details Tender Title: Erection of BCAS Porta Cabin besides Integrated Office Complex at B.P.I Airport Bhubaneswar SH Electrical Works Tender ID: 2021_AAI_72011_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DURGA SUPPLY AGENCIES | 612615.00 | L1
| 2 | M/S ZENITH TRADERS | 741775.00 | L2
| 3 | Kundu Enterprise | 774759.00 | L3