## BoQ1
Government eProcurement System Created By: anil kumar gupta Created Date/Time: 25-Mar-2021 11:11 AM Tender Title: Construction of LT Panel Maintenance Room at IT Data Center, Safdarjung Airport Tender ID: 2021_AAI_72090_1
Tender Inviting Authority: ASSTT. GENERAL MANAGER ENGINEERING, AIRPORTS AUTHORITY OF INDIA, SAFDARJUNG AIRPORT, NEW DELHI-110003
Name of Work: Construction of LT Panel Maintenance Room at IT Datacenter Safdarjung Airport
Contract No: AAI/SAP/Engg(C)/LT Panel//2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Heera Constructions(GSTN-07ACJPH9127L1Z8) |  | MUKESH KUMAR VERMA(GSTN-NA) |  | VADAY CONSTRUCTION PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 28.00 | cum |  | 150.00 | 4200.00 | 210.00 | 5880.00 | 135.00 | 3780.00 | 3780.00 | VADAY CONSTRUCTION PRIVATE LIMITED
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 44.00 | cum |  | 50.00 | 2200.00 | 40.00 | 1760.00 | 105.00 | 4620.00 | 1760.00 | MUKESH KUMAR VERMA
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 2.00 | cum |  | 3400.00 | 6800.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 6800.00 | Heera Constructions
4.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : a) 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size). | 4.00 | cum |  | 4000.00 | 16000.00 | 5000.00 | 20000.00 | 5900.00 | 23600.00 | 16000.00 | Heera Constructions
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 9.00 | cum |  | 4500.00 | 40500.00 | 5000.00 | 45000.00 | 7000.00 | 63000.00 | 40500.00 | Heera Constructions
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Foundations, footings, bases of columns, etc. for mass concrete. | 8.00 | sqm |  | 150.00 | 1200.00 | 400.00 | 3200.00 | 196.00 | 1568.00 | 1200.00 | Heera Constructions
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 30.00 | sqm |  | 250.00 | 7500.00 | 500.00 | 15000.00 | 332.00 | 9960.00 | 7500.00 | Heera Constructions
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : a) Suspended floors, roofs, landings, balconies and access platform. | 35.00 | sqm |  | 250.00 | 8750.00 | 400.00 | 14000.00 | 401.00 | 14035.00 | 8750.00 | Heera Constructions
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Columns, Pillars, Piers, Abutments, Posts and Struts. | 8.00 | sqm |  | 300.00 | 2400.00 | 500.00 | 4000.00 | 453.00 | 3624.00 | 2400.00 | Heera Constructions
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 851.00 | kg |  | 50.00 | 42550.00 | 60.00 | 51060.00 | 65.10 | 55400.10 | 42550.00 | Heera Constructions
11.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1159.00 | kg |  | 52.00 | 60268.00 | 60.00 | 69540.00 | 65.10 | 75450.90 | 60268.00 | Heera Constructions
12.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 14.00 | cum |  | 3800.00 | 53200.00 | 4300.00 | 60200.00 | 4900.00 | 68600.00 | 53200.00 | Heera Constructions
13.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 16.00 | cum |  | 4000.00 | 64000.00 | 4800.00 | 76800.00 | 5426.00 | 86816.00 | 64000.00 | Heera Constructions
14.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. a) Cement mortar 1:4 (1 cement :4 coarse sand) | 10.00 | sqm |  | 400.00 | 4000.00 | 700.00 | 7000.00 | 712.00 | 7120.00 | 4000.00 | Heera Constructions
15.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. a) 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 4.00 | sqm |  | 2600.00 | 10400.00 | 2800.00 | 11200.00 | 2500.00 | 10000.00 | 10000.00 | VADAY CONSTRUCTION PRIVATE LIMITED
16.00 | Providing and fixing ball bearing for rolling shutters. | 2.00 | each |  | 250.00 | 500.00 | 1500.00 | 3000.00 | 438.00 | 876.00 | 500.00 | Heera Constructions
17.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 1225.00 | kg |  | 52.00 | 63700.00 | 70.00 | 85750.00 | 90.00 | 110250.00 | 63700.00 | Heera Constructions
18.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 268.00 | kg |  | 52.00 | 13936.00 | 70.00 | 18760.00 | 87.00 | 23316.00 | 13936.00 | Heera Constructions
19.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 30.00 | sqm |  | 350.00 | 10500.00 | 450.00 | 13500.00 | 588.00 | 17640.00 | 10500.00 | Heera Constructions
20.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : a) In 75x75 mm deep chase. | 22.00 | metre |  | 100.00 | 2200.00 | 150.00 | 3300.00 | 143.00 | 3146.00 | 2200.00 | Heera Constructions
21.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 1.00 | each |  | 150.00 | 150.00 | 350.00 | 350.00 | 185.00 | 185.00 | 150.00 | Heera Constructions
22.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, a) Single socketed pipes - 110 mm diameter | 5.00 | metre |  | 200.00 | 1000.00 | 280.00 | 1400.00 | 700.00 | 3500.00 | 1000.00 | Heera Constructions
23.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Bend 87.5° - 110 mm diameter | 1.00 | each |  | 80.00 | 80.00 | 150.00 | 150.00 | 161.00 | 161.00 | 80.00 | Heera Constructions
24.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Shoe (Plain) - 110 mm Shoe | 1.00 | each |  | 90.00 | 90.00 | 150.00 | 150.00 | 295.00 | 295.00 | 90.00 | Heera Constructions
25.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. a) 110 mm | 3.00 | each |  | 90.00 | 270.00 | 300.00 | 900.00 | 190.00 | 570.00 | 270.00 | Heera Constructions
26.00 | 12 mm cement plaster of mix : a) 1:6 (1 cement: 6 coarse sand) | 94.00 | sqm |  | 150.00 | 14100.00 | 220.00 | 20680.00 | 150.00 | 14100.00 | 14100.00 | VADAY CONSTRUCTION PRIVATE LIMITED, Heera Constructions
27.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: a) 1:6 (1 cement: 6 coarse sand) | 103.00 | sqm |  | 180.00 | 18540.00 | 250.00 | 25750.00 | 180.00 | 18540.00 | 18540.00 | VADAY CONSTRUCTION PRIVATE LIMITED, Heera Constructions
28.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 94.00 | sqm |  | 60.00 | 5640.00 | 60.00 | 5640.00 | 90.00 | 8460.00 | 5640.00 | MUKESH KUMAR VERMA, Heera Constructions
29.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : a) New work (two or more coats) over and including water thinnable priming coat with cement primer | 94.00 | sqm |  | 40.00 | 3760.00 | 50.00 | 4700.00 | 90.00 | 8460.00 | 3760.00 | Heera Constructions
30.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 103.00 | sqm |  | 60.00 | 6180.00 | 100.00 | 10300.00 | 146.00 | 15038.00 | 6180.00 | Heera Constructions
31.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 83.00 | kg |  | 350.00 | 29050.00 | 290.00 | 24070.00 | 378.00 | 31374.00 | 24070.00 | MUKESH KUMAR VERMA
32.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 81.00 | kg |  | 375.00 | 30375.00 | 300.00 | 24300.00 | 770.00 | 62370.00 | 24300.00 | MUKESH KUMAR VERMA
33.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness | 1.44 | sqm |  | 450.00 | 648.00 | 780.00 | 1123.20 | 1100.00 | 1584.00 | 648.00 | Heera Constructions
34.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer 3 mm thick water proofing membrane, black finished reinforced with non-woven polyester matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufacture of density at 25°C, 0.87-0.89 kg/ litre and viscocity 70-160 cps. Over the primer coat the layer of membrane shall be laid using Butane Torch and sealing all joints etc, and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 650/ 450N/ 5cm. Tear strength in longitudinal and transverse direction as 300/250N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane :3 mm thick | 30.00 | sqm |  | 250.00 | 7500.00 | 600.00 | 18000.00 | 407.00 | 12210.00 | 7500.00 | Heera Constructions
35.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone - III) : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 23.00 | sqm |  | 300.00 | 6900.00 | 350.00 | 8050.00 | 419.00 | 9637.00 | 6900.00 | Heera Constructions
| Total in Figures |  |  |  |  | 539087.00 |  | 661513.20 |  | 778286.00
Lowest Amount Quoted BY: Heera Constructions(539087.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of LT Panel Maintenance Room at IT Data Center, Safdarjung Airport Tender ID: 2021_AAI_72090_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Heera Constructions | 539087.00 | L1
| 2 | MUKESH KUMAR VERMA | 661513.20 | L2
| 3 | VADAY CONSTRUCTION PRIVATE LIMITED | 778286.00 | L3