## BoQ1
Government eProcurement System Created By: Bijendra Singh Meena Created Date/Time: 18-Mar-2021 06:20 PM Tender Title: Provision of Perimeter Lighting in Balance Portion of Available Perimeter Wall at Dibrugarh Airport. Tender ID: 2021_AAI_72125_1
Tender Inviting Authority: Sr. Manager (Engg. Elect.), AAI, Dibrugarh Airport.
Name of Work: Provision of Perimeter Lighting in Balance Portion of Available Perimeter Wall at Dibrugarh Airport.
Contract No: AAI/DIB/E(E)/NIT-10/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Satya Bhama and co(GSTN-18ALHPK5780D1ZZ) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | Instapower Ltd(GSTN-05AAACI9712L1ZG) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | SHARMA TRADE AGENCY(GSTN-18ABDFM0295M2ZV) |  | RANJIT SALES CORPORATION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of LED street light luminaire of maximum 25 system wattage (approx) having LED light output minimum 3000 lumens with lenses consisting of pressure die cast/extruded aluminum housing,heat resistant toughened glass/ polycarbonate cover, IP65/66 with surge protection suitable for operation on 230V ± 10 %, 50 Hz AC supply with all accessories complete as required & as per specifications. | 250.00 | Each | 100.00 | 1158.00 | 289500.00 | 975.00 | 243750.00 | 1450.00 | 362500.00 | 1035.00 | 258750.00 | 920.00 | 230000.00 | 950.00 | 237500.00 | 1350.00 | 337500.00 | 1100.00 | 275000.00 | 3000.00 | 750000.00 | 230000.00 | Instapower Ltd
2.00 | Supply of LED street light luminaire of maximum 30 system wattage (approx) having LED light output minimum 3600 lumens with lenses consisting of pressure die cast/extruded aluminum housing,heat resistant toughened glass/ polycarbonate cover, IP65/66 with surge protection suitable for operation on 230V ± 10 %, 50 Hz AC supply with all accessories complete as required & as per specifications. | 140.00 | Each | 100.00 | 1448.00 | 202720.00 | 1033.00 | 144620.00 | 1750.00 | 245000.00 | 1035.00 | 144900.00 | 1380.00 | 193200.00 | 1150.00 | 161000.00 | 1500.00 | 210000.00 | 1200.00 | 168000.00 | 3000.00 | 420000.00 | 144620.00 | BR Power Control and Automation Services
3.00 | Supply of cables armoured 1.1 KV grade aluminium conductor XLPE insulated PVC sheathed as per IS 7098 as amended upto date as per site requirement: 3.5 core 185 Sq.mm | 2000.00 | M | 100.00 | 773.00 | 1546000.00 | 681.00 | 1362000.00 | 625.00 | 1250000.00 | 609.00 | 1218000.00 | 826.00 | 1652000.00 | 650.00 | 1300000.00 | 740.00 | 1480000.00 | 686.00 | 1372000.00 | 620.00 | 1240000.00 | 1218000.00 | RVD INFRA SOLUTION PVT.LTD.
4.00 | Supply of cables armoured 1.1 KV grade aluminium conductor XLPE insulated PVC sheathed as per IS 7098 as amended upto date as per site requirement: 3.5 core 70. Sq.mm | 3000.00 | M | 100.00 | 338.00 | 1014000.00 | 297.00 | 891000.00 | 295.00 | 885000.00 | 310.00 | 930000.00 | 362.00 | 1086000.00 | 295.00 | 885000.00 | 255.00 | 765000.00 | 300.00 | 900000.00 | 410.00 | 1230000.00 | 765000.00 | Manish Electricals
5.00 | Supply of cables armoured 1.1 KV grade aluminium conductor XLPE insulated PVC sheathed as per IS 7098 as amended upto date as per site requirement: 4 core 10 Sq.mm | 9500.00 | M | 100.00 | 108.00 | 1026000.00 | 95.00 | 902500.00 | 115.00 | 1092500.00 | 115.00 | 1092500.00 | 116.00 | 1102000.00 | 100.00 | 950000.00 | 98.00 | 931000.00 | 95.00 | 902500.00 | 100.00 | 950000.00 | 902500.00 | BR Power Control and Automation Services, SHARMA TRADE AGENCY
6.00 | Supplying and laying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc.direct in ground including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 140mm DIA PE 100 PN 10 ISI marked. | 4200.00 | M | 100.00 | 338.00 | 1419600.00 | 898.00 | 3771600.00 | 695.00 | 2919000.00 | 1035.00 | 4347000.00 | 632.00 | 2654400.00 | 718.00 | 3015600.00 | 540.00 | 2268000.00 | 800.00 | 3360000.00 | 207.00 | 869400.00 | 869400.00 | RANJIT SALES CORPORATION
7.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63MM OD, PE-100 grade, 10Kg/Sqcm, ISI marked. | 8350.00 | M | 100.00 | 228.00 | 1903800.00 | 205.00 | 1711750.00 | 155.00 | 1294250.00 | 172.00 | 1436200.00 | 356.00 | 2972600.00 | 145.00 | 1210750.00 | 210.00 | 1753500.00 | 150.00 | 1252500.00 | 150.00 | 1252500.00 | 1210750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.00 | Supply of GI pipes of following sizes as per site requirment -GI PIPE-100mm dia, ISI marked, medium class | 60.00 | M | 100.00 | 966.00 | 57960.00 | 1090.00 | 65400.00 | 1100.00 | 66000.00 | 1380.00 | 82800.00 | 782.00 | 46920.00 | 848.00 | 50880.00 | 840.00 | 50400.00 | 1100.00 | 66000.00 | 300.00 | 18000.00 | 18000.00 | RANJIT SALES CORPORATION
9.00 | Supply of GI pipes of following sizes as per site requirment -GI PIPE-65mm dia, ISI marked, medium class | 60.00 | M | 100.00 | 538.00 | 32280.00 | 599.00 | 35940.00 | 550.00 | 33000.00 | 690.00 | 41400.00 | 425.00 | 25500.00 | 348.00 | 20880.00 | 650.00 | 39000.00 | 500.00 | 30000.00 | 100.00 | 6000.00 | 6000.00 | RANJIT SALES CORPORATION
10.00 | ITC of Light fitting on wall mounted bracket including wiring with 3Cx1.5sqmm flexible, FR PVC, copper cable including connection etc complete as required. | 250.00 | Each | 100.00 | 276.00 | 69000.00 | 249.00 | 62250.00 | 150.00 | 37500.00 | 345.00 | 86250.00 | 230.00 | 57500.00 | 100.00 | 25000.00 | 150.00 | 37500.00 | 250.00 | 62500.00 | 300.00 | 75000.00 | 25000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.00 | ITC of Light fitting on street light pole bracket including wiring with 3Cx1.5sqmm flexible FR PVC copper cable including connection, providing & fixing of 6-32A SP MCB C series with connectors & DIN rail etc complete as required. | 140.00 | Each | 100.00 | 414.00 | 57960.00 | 382.00 | 53480.00 | 150.00 | 21000.00 | 690.00 | 96600.00 | 632.00 | 88480.00 | 500.00 | 70000.00 | 150.00 | 21000.00 | 500.00 | 70000.00 | 20.00 | 2800.00 | 2800.00 | RANJIT SALES CORPORATION
12.00 | Supplying and fixing of Light bracket with 32 mm dia G.I. pipe (ISI, medium class) for mounting of LED street light fitting on boundary wall including cutting, bending the pipe to the required shape & length approx. 1.5m, GI clamps with anchor fasteners/ GI hard ware, pipe fitting & accessories etc as required. | 250.00 | Each | 100.00 | 966.00 | 241500.00 | 435.00 | 108750.00 | 1450.00 | 362500.00 | 575.00 | 143750.00 | 724.00 | 181000.00 | 950.00 | 237500.00 | 410.00 | 102500.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 75000.00 | RANJIT SALES CORPORATION, SHARMA TRADE AGENCY
13.00 | Supply and Fixing cable outdoor Junction box thermoplast HENSEL/ SINTEX or Equivalent size 155 X 210 X 92 mm approx with heavy duty term block suitable for termination of 2/3 nos 4 Core armoured cables and 6-32A SP MCB 'C' Series with suitable GI bracket/fixing arrangement on pole/wall etc. as per site requirement | 250.00 | NO. | 100.00 | 1268.00 | 317000.00 | 2147.00 | 536750.00 | 1700.00 | 425000.00 | 1150.00 | 287500.00 | 2300.00 | 575000.00 | 1150.00 | 287500.00 | 2800.00 | 700000.00 | 800.00 | 200000.00 | 1100.00 | 275000.00 | 200000.00 | SHARMA TRADE AGENCY
14.00 | Supply & Fixing of DWC HDPE pipe, 63MM dia on wall/ surface including cutting, jointing, suitable nos. of flat GI clamps with suitable anchor fasteners/ GI hard ware & accessories etc as required. | 750.00 | M | 100.00 | 228.00 | 171000.00 | 182.00 | 136500.00 | 145.00 | 108750.00 | 103.00 | 77250.00 | 218.00 | 163500.00 | 95.00 | 71250.00 | 120.00 | 90000.00 | 200.00 | 150000.00 | 200.00 | 150000.00 | 71250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.00 | Cement concrete work with 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) for foundations/repairs/ making good the damages as per site requirement, directions of E-I-C | 10.00 | CUM | 100.00 | 5518.00 | 55180.00 | 4657.00 | 46570.00 | 3800.00 | 38000.00 | 5175.00 | 51750.00 | 8280.00 | 82800.00 | 5500.00 | 55000.00 | 4500.00 | 45000.00 | 5000.00 | 50000.00 | 3000.00 | 30000.00 | 30000.00 | RANJIT SALES CORPORATION
16.00 | Laying of following size. "B" class GI pipe across the nallah /drainage & road crossing /in pavement at a depth of approx. 0.5 mtr including making trench by cutting the road /pavement,excavation and refilling the trench, consolidation and making good the surface with 1:2:4 (1: cement; 2: sand; 4: graded stone 40 mm nominal size) cement concrete mixture up to a depth of approx. 0.2mtr etc. complete as required: Upto 100mm dia. GI pipe | 120.00 | M | 100.00 | 166.00 | 19920.00 | 456.00 | 54720.00 | 250.00 | 30000.00 | 920.00 | 110400.00 | 575.00 | 69000.00 | 750.00 | 90000.00 | 400.00 | 48000.00 | 200.00 | 24000.00 | 200.00 | 24000.00 | 19920.00 | Satya Bhama and co
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. Upto 35 sq. mm | 75.00 | M | 100.00 | 83.00 | 6225.00 | 210.00 | 15750.00 | 220.00 | 16500.00 | 460.00 | 34500.00 | 115.00 | 8625.00 | 270.00 | 20250.00 | 350.00 | 26250.00 | 250.00 | 18750.00 | 100.00 | 7500.00 | 6225.00 | Satya Bhama and co
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. Above 35 sq. mm and upto 95 sq. mm | 75.00 | M | 100.00 | 413.00 | 30975.00 | 210.00 | 15750.00 | 235.00 | 17625.00 | 517.00 | 38775.00 | 138.00 | 10350.00 | 280.00 | 21000.00 | 350.00 | 26250.00 | 280.00 | 21000.00 | 100.00 | 7500.00 | 7500.00 | RANJIT SALES CORPORATION
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. Above 95 sq. mm and upto 185 sq. mm | 75.00 | M | 100.00 | 208.00 | 15600.00 | 291.00 | 21825.00 | 255.00 | 19125.00 | 575.00 | 43125.00 | 207.00 | 15525.00 | 290.00 | 21750.00 | 350.00 | 26250.00 | 300.00 | 22500.00 | 120.00 | 9000.00 | 9000.00 | RANJIT SALES CORPORATION
20.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE/DWC pipe as required. Upto 35 sqmm | 9100.00 | M | 100.00 | 68.00 | 618800.00 | 29.00 | 263900.00 | 25.00 | 227500.00 | 46.00 | 418600.00 | 115.00 | 1046500.00 | 30.00 | 273000.00 | 25.00 | 227500.00 | 15.00 | 136500.00 | 100.00 | 910000.00 | 136500.00 | SHARMA TRADE AGENCY
21.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 upto 95 sqmm | 3000.00 | M | 100.00 | 83.00 | 249000.00 | 35.00 | 105000.00 | 30.00 | 90000.00 | 57.00 | 171000.00 | 138.00 | 414000.00 | 90.00 | 270000.00 | 40.00 | 120000.00 | 20.00 | 60000.00 | 100.00 | 300000.00 | 60000.00 | SHARMA TRADE AGENCY
22.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE/DWC pipe as required. Above 95 upto 185 sqmm | 2000.00 | M | 100.00 | 98.00 | 196000.00 | 58.00 | 116000.00 | 40.00 | 80000.00 | 92.00 | 184000.00 | 184.00 | 368000.00 | 125.00 | 250000.00 | 90.00 | 180000.00 | 25.00 | 50000.00 | 120.00 | 240000.00 | 50000.00 | SHARMA TRADE AGENCY
23.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 sq. mm | 75.00 | M | 100.00 | 41.00 | 3075.00 | 23.00 | 1725.00 | 20.00 | 1500.00 | 115.00 | 8625.00 | 115.00 | 8625.00 | 20.00 | 1500.00 | 25.00 | 1875.00 | 30.00 | 2250.00 | 100.00 | 7500.00 | 1500.00 | jaydeep agency corporation, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 35 upto 95 sqmm | 75.00 | M | 100.00 | 55.00 | 4125.00 | 29.00 | 2175.00 | 25.00 | 1875.00 | 138.00 | 10350.00 | 172.00 | 12900.00 | 35.00 | 2625.00 | 40.00 | 3000.00 | 40.00 | 3000.00 | 120.00 | 9000.00 | 1875.00 | jaydeep agency corporation
25.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 95 upto 185 sqmm | 75.00 | M | 100.00 | 83.00 | 6225.00 | 41.00 | 3075.00 | 40.00 | 3000.00 | 172.00 | 12900.00 | 207.00 | 15525.00 | 45.00 | 3375.00 | 90.00 | 6750.00 | 50.00 | 3750.00 | 120.00 | 9000.00 | 3000.00 | jaydeep agency corporation
26.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE powercable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 500.00 | M | 100.00 | 68.00 | 34000.00 | 47.00 | 23500.00 | 30.00 | 15000.00 | 90.00 | 45000.00 | 184.00 | 92000.00 | 35.00 | 17500.00 | 30.00 | 15000.00 | 90.00 | 45000.00 | 100.00 | 50000.00 | 15000.00 | jaydeep agency corporation, Manish Electricals
27.00 | Supplying and fixing suitable size GI box with modular plate and cover in Front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 10.00 | each | 100.00 | 414.00 | 4140.00 | 763.00 | 7630.00 | 250.00 | 2500.00 | 690.00 | 6900.00 | 1725.00 | 17250.00 | 450.00 | 4500.00 | 600.00 | 6000.00 | 450.00 | 4500.00 | 200.00 | 2000.00 | 2000.00 | RANJIT SALES CORPORATION
28.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 70.00 | M | 100.00 | 241.00 | 16870.00 | 23.00 | 1610.00 | 260.00 | 18200.00 | 207.00 | 14490.00 | 523.00 | 36610.00 | 220.00 | 15400.00 | 210.00 | 14700.00 | 300.00 | 21000.00 | 200.00 | 14000.00 | 1610.00 | BR Power Control and Automation Services
29.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 70 Sq.mm | 3.00 | Each | 100.00 | 4658.00 | 13974.00 | 5278.00 | 15834.00 | 485.00 | 1455.00 | 4025.00 | 12075.00 | 9775.00 | 29325.00 | 2790.00 | 8370.00 | 2500.00 | 7500.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 1455.00 | jaydeep agency corporation
30.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 x 185 Sq. mm. | 1.00 | Each | 100.00 | 8611.00 | 8611.00 | 1138.00 | 1138.00 | 1480.00 | 1480.00 | 6325.00 | 6325.00 | 13800.00 | 13800.00 | 4450.00 | 4450.00 | 3500.00 | 3500.00 | 4500.00 | 4500.00 | 4500.00 | 4500.00 | 1138.00 | BR Power Control and Automation Services
31.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade as required.. 4 X 10 sq. mm (25mm) | 500.00 | Each | 100.00 | 345.00 | 172500.00 | 172.00 | 86000.00 | 120.00 | 60000.00 | 287.00 | 143500.00 | 149.00 | 74500.00 | 180.00 | 90000.00 | 180.00 | 90000.00 | 150.00 | 75000.00 | 100.00 | 50000.00 | 50000.00 | RANJIT SALES CORPORATION
32.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade as required.. 3½ X 70 sq. mm (35mm) | 6.00 | Each | 100.00 | 1656.00 | 9936.00 | 389.00 | 2334.00 | 220.00 | 1320.00 | 402.00 | 2412.00 | 402.00 | 2412.00 | 250.00 | 1500.00 | 350.00 | 2100.00 | 400.00 | 2400.00 | 100.00 | 600.00 | 600.00 | RANJIT SALES CORPORATION
33.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade as required.. 3½ X 185 sq. mm (45mm) | 2.00 | Each | 100.00 | 3450.00 | 6900.00 | 604.00 | 1208.00 | 850.00 | 1700.00 | 690.00 | 1380.00 | 632.00 | 1264.00 | 500.00 | 1000.00 | 850.00 | 1700.00 | 800.00 | 1600.00 | 100.00 | 200.00 | 200.00 | RANJIT SALES CORPORATION
34.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 30.00 | Each | 100.00 | 345.00 | 10350.00 | 2344.00 | 70320.00 | 310.00 | 9300.00 | 517.00 | 15510.00 | 287.00 | 8610.00 | 250.00 | 7500.00 | 400.00 | 12000.00 | 400.00 | 12000.00 | 2000.00 | 60000.00 | 7500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
35.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required | 50.00 | Each | 100.00 | 3450.00 | 172500.00 | 8077.00 | 403850.00 | 3850.00 | 192500.00 | 13800.00 | 690000.00 | 9200.00 | 460000.00 | 4800.00 | 240000.00 | 6500.00 | 325000.00 | 3500.00 | 175000.00 | 12000.00 | 600000.00 | 172500.00 | Satya Bhama and co
36.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 50.00 | M | 100.00 | 21.00 | 1050.00 | 22.00 | 1100.00 | 34.00 | 1700.00 | 115.00 | 5750.00 | 29.00 | 1450.00 | 38.00 | 1900.00 | 25.00 | 1250.00 | 25.00 | 1250.00 | 1000.00 | 50000.00 | 1050.00 | Satya Bhama and co
37.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 150.00 | M | 100.00 | 138.00 | 20700.00 | 185.00 | 27750.00 | 140.00 | 21000.00 | 287.00 | 43050.00 | 322.00 | 48300.00 | 235.00 | 35250.00 | 210.00 | 31500.00 | 150.00 | 22500.00 | 200.00 | 30000.00 | 20700.00 | Satya Bhama and co
38.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 14500.00 | M | 100.00 | 20.00 | 290000.00 | 28.00 | 406000.00 | 29.00 | 420500.00 | 20.00 | 290000.00 | 16.00 | 232000.00 | 35.00 | 507500.00 | 25.00 | 362500.00 | 25.00 | 362500.00 | 20.00 | 290000.00 | 232000.00 | Instapower Ltd
39.00 | Supply of octagonal street light pole made of hot dip galvanized iron of 3 mtr height including base plate, U bolt, arm bracket with fixing arraangemnet, provision for mounting MCB & connectors etc complete as required. | 50.00 | Each | 100.00 | 7589.00 | 379450.00 | 4500.00 | 225000.00 | 4500.00 | 225000.00 | 5750.00 | 287500.00 | 7475.00 | 373750.00 | 4895.00 | 244750.00 | 7000.00 | 350000.00 | 5000.00 | 250000.00 | 6000.00 | 300000.00 | 225000.00 | BR Power Control and Automation Services, jaydeep agency corporation
40.00 | Erection of metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation , refilling and fixing of bracket etc. as required. Upto 4.5m | 140.00 | Each | 100.00 | 2277.00 | 318780.00 | 4890.00 | 684600.00 | 1100.00 | 154000.00 | 2875.00 | 402500.00 | 5175.00 | 724500.00 | 6500.00 | 910000.00 | 2500.00 | 350000.00 | 2000.00 | 280000.00 | 500.00 | 70000.00 | 70000.00 | RANJIT SALES CORPORATION
41.00 | Design, supply, installation, testing and commissioning of totally enclosed double door, main outdoor feeder pillar, made of 14 SWG CRCA sheet steel, compartmentalized, busbar with SMC/DMC supports, standing on a MS Angle frame suitably fixed on foundation, dust and vermin proof, powder coated painting, suitable for operation on 3 phase and neutral, 415 V, 50 Hz AC system with busbars, connection and interconnections including following items and required specifications- Incoming : 320 Amp., 4 Pole, MCCB (Ics=100%Icu, 35 kA), spreader links and extendable ON/OFF rotary handle - 01 No. LED indication lamps RYB , 'ON'& 'OFF' indication lamp with mcb Digital Ammeter & Voltmeter with selector switch & suitable CTs. Digital multi function meter A,V, pf,hz, kw, kva etc. Bus-Bars : 4-Pole Aluminium bus bars of minimum of 400 Amps. Capacity with heat shrinkable coloured sleeves & i/c. DMC /SMC bus bars supports at required intervals etc. Outgoings : 100 Amp., 4 Pole, MCCB having (Ics=100%Icu, 25 kA), spreader links and extendable ON/OFF rotary handle. - 05 Nos. others items & accessories-as required. | 1.00 | NO. | 100.00 | 224218.00 | 224218.00 | 144599.00 | 144599.00 | 225000.00 | 225000.00 | 345000.00 | 345000.00 | 166750.00 | 166750.00 | 118500.00 | 118500.00 | 850000.00 | 850000.00 | 110000.00 | 110000.00 | 25000.00 | 25000.00 | 25000.00 | RANJIT SALES CORPORATION
42.00 | Design, supply, installation, testing and commissioning of totally enclosed double door, sub-main outdoor feeder pillar, made of 14 SWG CRCA sheet steel, compartmentalized, busbar with SMC/DMC supports, standing on a MS Angle frame suitably fixed on foundation, dust and vermin proof, powder coated painting, suitable for operation on 3 phase and neutral, 415 V, 50 Hz AC system with busbars, connection and interconnections including following items and required specifications- Incoming : 100 Amp., 4 Pole, MCCB (Ics=100%Icu, 25 kA), spreader links and extendable ON/OFF rotary handle - 01 No. LED indication lamps RYB , 'ON'& 'OFF' indication lamp with MCB Digital Ammeter & Voltmeter with selector switch & suitable CTs. Bus-Bars : 4-Pole Aluminium bus bars of minimum of 200 Amps. Capacity with heat shrinkable coloured sleeves & i/c. DMC /SMC bus bars supports at required intervals etc. Outgoings : 40 Amp. TPN MCB C Series - 05 Nos. (3 out 5 should be controlled by timer) Contactor 40A 4p ML3, Auto/Manual/off switch, programmable timer for auto on/off to control 3 out of 5 outgoings. others items & accessories-as required | 3.00 | NO. | 100.00 | 121008.00 | 363024.00 | 111140.00 | 333420.00 | 155000.00 | 465000.00 | 138000.00 | 414000.00 | 103500.00 | 310500.00 | 46500.00 | 139500.00 | 325000.00 | 975000.00 | 45000.00 | 135000.00 | 3000.00 | 9000.00 | 9000.00 | RANJIT SALES CORPORATION
| Total in Figures |  |  |  |  | 11600448.00 |  | 13108673.00 |  | 11442780.00 |  | 14052317.00 |  | 15672971.00 |  | 11878980.00 |  | 12894025.00 |  | 10786500.00 |  | 10431500.00
Lowest Amount Quoted BY: RANJIT SALES CORPORATION(10431500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter Lighting in Balance Portion of Available Perimeter Wall at Dibrugarh Airport. Tender ID: 2021_AAI_72125_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RANJIT SALES CORPORATION | 10431500.00 | L1
| 2 | SHARMA TRADE AGENCY | 10786500.00 | L2
| 3 | jaydeep agency corporation | 11442780.00 | L3
| 4 | Satya Bhama and co | 11600448.00 | L4
| 5 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 11878980.00 | L5
| 6 | Manish Electricals | 12894025.00 | L6
| 7 | BR Power Control and Automation Services | 13108673.00 | L7
| 8 | RVD INFRA SOLUTION PVT.LTD. | 14052317.00 | L8
| 9 | Instapower Ltd | 15672971.00 | L9