## BoQ1
Government eProcurement System Created By: Pradeep kr sagar Created Date/Time: 16-Apr-2021 04:50 PM Tender Title: Supply of Electrical, GLF Spares at Prayagraj Airport. (SH-I Supply of General Electrical Spares) Tender ID: 2021_AAI_72402_1
Tender Inviting Authority: <Senior Manager, Airports Authority of India, Prayagraj Airport, Prayagraj,UP.>
Name of Work: <“Supply of Electrical/GLF Spares at Prayagraj Airport.(SH-I: Supply of General Electrical Spares)”>
Contract No: AAI/PRG/SMEE/e-NIT-12/2021-22 Tender ID: 2021_AAI_72402_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANU ENGINEERING CORPORATION(GSTN-09AJDPK9181G1ZX) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following sizes (Nominal Cross sectional area based on CR value as per IS 694) PVC insulated, Stranded, Copper conductor, FRLSH, wiring cable of approved make and different colour (1 coil = 90 meters).
1.01 | 1.5 Sqmm, Single core | 10.00 | Coil |  | 1600.00 | 16000.00 | 1350.00 | 13500.00 | 13500.00 | Bafna Electric Corp
1.02 | 2.5 Sqmm, Single core | 10.00 | Coil |  | 2500.00 | 25000.00 | 2160.00 | 21600.00 | 21600.00 | Bafna Electric Corp
1.03 | 4.0 Sqmm, Single core | 10.00 | Coil |  | 3700.00 | 37000.00 | 3315.00 | 33150.00 | 33150.00 | Bafna Electric Corp
2.00 | Supply of following sizes PVC insulated & PVC round sheathed copper conductor (flexible) industrial cable, 1100V confirming to IS: 694 (01 coil = 100 meter) complete as required.
2.01 | 2 x 2.5 Sqmm | 3.00 | Coil |  | 3000.00 | 9000.00 | 5590.00 | 16770.00 | 9000.00 | ANU ENGINEERING CORPORATION
2.02 | 3 x 2.5 Sqmm | 3.00 | Coil |  | 8200.00 | 24600.00 | 7762.00 | 23286.00 | 23286.00 | Bafna Electric Corp
2.03 | 3 x 4 Sqmm | 3.00 | Coil |  | 13000.00 | 39000.00 | 12000.00 | 36000.00 | 36000.00 | Bafna Electric Corp
3.00 | Supply of 3 X 16 sqmm Aluminium Armoured Conductor Cable (Make:as per approved make list and Latest IS Codes) | 500.00 | Mtrs |  | 100.00 | 50000.00 | 90.00 | 45000.00 | 45000.00 | Bafna Electric Corp
4.00 | Supply of 3.5 X 25 sqmm Aluminium Armoured Conductor Cable (Make:as per approved make list and Latest IS Codes) | 500.00 | Mtrs |  | 130.00 | 65000.00 | 134.00 | 67000.00 | 65000.00 | ANU ENGINEERING CORPORATION
5.00 | Supply of AC MCB having fixed time/current characteristics for use in protection of industrial, commercial and domestic electrical installations suitable for use on 240 V / 415 V 50 Hz AC supply having facility for termination of aluminum cable and fixing arrangements on steel mounting rail conforming to IS : 8828 / 78 with amendment no 1 x and mounting rail to IS : 11039/83 tide top hat section rail TH 35-7-5 of following ratings
5.01 | SPMCB 10 AMP,10KA (C series) | 10.00 | Each |  | 140.00 | 1400.00 | 110.00 | 1100.00 | 1100.00 | Bafna Electric Corp
5.02 | SPMCB 16 AMP,10KA (C series) | 20.00 | Each |  | 140.00 | 2800.00 | 110.00 | 2200.00 | 2200.00 | Bafna Electric Corp
5.03 | SPMCB 32AMP,10KA (C series) | 10.00 | Each |  | 140.00 | 1400.00 | 110.00 | 1100.00 | 1100.00 | Bafna Electric Corp
5.04 | DP MCB- 25 Amps,10KA (C series) | 10.00 | Each |  | 450.00 | 4500.00 | 375.00 | 3750.00 | 3750.00 | Bafna Electric Corp
5.05 | FPMCB 40AMP, 10KA (C series) | 10.00 | Each |  | 1350.00 | 13500.00 | 1130.00 | 11300.00 | 11300.00 | Bafna Electric Corp
5.06 | FPMCB 63 AMP, 10KA (C series) | 5.00 | Each |  | 1350.00 | 6750.00 | 1170.00 | 5850.00 | 5850.00 | Bafna Electric Corp
6.00 | Supply of RCCB (ELCB) conforming to IS:12640 having sensitivity, Short circuit with stand capacity 6 KA of following poles of following ratings
6.01 | 32A DP ELCB 100mA | 5.00 | Each |  | 2100.00 | 10500.00 | 1420.00 | 7100.00 | 7100.00 | Bafna Electric Corp
6.02 | 40A DP ELCB 100mA | 5.00 | Each |  | 2100.00 | 10500.00 | 1450.00 | 7250.00 | 7250.00 | Bafna Electric Corp
6.03 | 63A DP ELCB 100mA | 5.00 | Each |  | 2500.00 | 12500.00 | 1900.00 | 9500.00 | 9500.00 | Bafna Electric Corp
7.00 | supply of MCCB 125A, 4 pole ,Icu=50KA ,Ics=100%(Icu) .( Make :L&T ) complete as required ( Cat No: CM90681OOLOOG) | 5.00 | Each |  | 5200.00 | 26000.00 | 6125.00 | 30625.00 | 26000.00 | ANU ENGINEERING CORPORATION
8.00 | supply of MCCB 250 A, 4 pole ,Icu=50KA ,Ics=100%(Icu) .( Make :L&T ) complete as required (Cat No: CM90642OOPO) | 3.00 | Each |  | 13000.00 | 39000.00 | 14200.00 | 42600.00 | 39000.00 | ANU ENGINEERING CORPORATION
9.00 | Supply of following size of Gang Boxes complete as required.
9.01 | Surface Mounting Plastic box 2M | 20.00 | Each |  | 100.00 | 2000.00 | 19.00 | 380.00 | 380.00 | Bafna Electric Corp
9.02 | Surface Mounting Plastic box 4 M | 20.00 | Each |  | 125.00 | 2500.00 | 34.00 | 680.00 | 680.00 | Bafna Electric Corp
9.03 | Surface Mounting Plastic box 6M | 20.00 | Each |  | 200.00 | 4000.00 | 46.00 | 920.00 | 920.00 | Bafna Electric Corp
10.00 | Supply of following Modular type Switches & Sockets, Plug top complete as required.
10.01 | Supply of Switch Modular type 6 Amps (Make: MK, Item code: SS2601) | 100.00 | Each |  | 45.00 | 4500.00 | 55.00 | 5500.00 | 4500.00 | ANU ENGINEERING CORPORATION
10.02 | Supply of Socket Modular type 6 Amps (Make: MK, Item code: SS2642) | 100.00 | Each |  | 80.00 | 8000.00 | 90.00 | 9000.00 | 8000.00 | ANU ENGINEERING CORPORATION
10.03 | Supply of Switch Modular type 16 Amps (Make: MK, Item code: SS2611 ) | 100.00 | Each |  | 90.00 | 9000.00 | 95.00 | 9500.00 | 9000.00 | ANU ENGINEERING CORPORATION
10.04 | Supply of Socket Modular type 16 Amps (Make: MK, Item code: SS2644 ) | 100.00 | Each |  | 130.00 | 13000.00 | 143.00 | 14300.00 | 13000.00 | ANU ENGINEERING CORPORATION
11.00 | Supply of following Plug top, extension board and batten holder complete as required.
11.01 | Plug Top 6 Amp 3 Pin | 50.00 | Each |  | 50.00 | 2500.00 | 43.00 | 2150.00 | 2150.00 | Bafna Electric Corp
11.02 | Plug Top 16 Amps 3 Pin | 50.00 | Each |  | 60.00 | 3000.00 | 58.00 | 2900.00 | 2900.00 | Bafna Electric Corp
11.03 | Batten Holder | 25.00 | Each |  | 40.00 | 1000.00 | 27.00 | 675.00 | 675.00 | Bafna Electric Corp
11.04 | 4 way extension board 6 Amp (1.5 Mtr) | 10.00 | Each |  | 600.00 | 6000.00 | 418.00 | 4180.00 | 4180.00 | Bafna Electric Corp
12.00 | Supplying of following module cover plate (Both Inner and outer plate)
12.01 | 01 module (Make: MK, Item code: SS2001) | 30.00 | Each |  | 100.00 | 3000.00 | 53.00 | 1590.00 | 1590.00 | Bafna Electric Corp
12.02 | 02 module (Make: MK, Item code: SS2002) | 40.00 | Each |  | 100.00 | 4000.00 | 56.00 | 2240.00 | 2240.00 | Bafna Electric Corp
12.03 | 03 module (Make: MK, Item code: SS2003) | 60.00 | Each |  | 110.00 | 6600.00 | 70.00 | 4200.00 | 4200.00 | Bafna Electric Corp
12.04 | 04 module (Make: MK, Item code: SS2004) | 30.00 | Each |  | 120.00 | 3600.00 | 75.00 | 2250.00 | 2250.00 | Bafna Electric Corp
12.05 | 06 module (Make: MK, Item code: SS2006) | 30.00 | Each |  | 150.00 | 4500.00 | 97.00 | 2910.00 | 2910.00 | Bafna Electric Corp
12.06 | 08 module (Make: MK, Item code: SS2008H) | 20.00 | Each |  | 180.00 | 3600.00 | 138.00 | 2760.00 | 2760.00 | Bafna Electric Corp
13.00 | Supply of 18W slim LED Tube light fittings(square) with complete accessory suitable for 240V 50Hz AC Supply | 20.00 | Each |  | 400.00 | 8000.00 | 590.00 | 11800.00 | 8000.00 | ANU ENGINEERING CORPORATION
14.00 | Supply of Capacitor/Condenser for Ceiling fan/Exhaust fan, tube light & Motor Run suitable for 240/440 volt and 50Hz A.C. Supply complete as required.
14.01 | 4 MFD | 20.00 | Each |  | 25.00 | 500.00 | 27.00 | 540.00 | 500.00 | ANU ENGINEERING CORPORATION
14.02 | 10 MFD | 20.00 | Each |  | 50.00 | 1000.00 | 43.00 | 860.00 | 860.00 | Bafna Electric Corp
14.03 | 25 MFD | 20.00 | Each |  | 110.00 | 2200.00 | 105.00 | 2100.00 | 2100.00 | Bafna Electric Corp
15.00 | Supply of Heavy duty Power factor correction capacitors of following rating suitable to operate in 3Ph, 415V, 50Hz AC supply with voltage rated of 440V, over current withstand capability of 1.8times rated current confirming to IS:13340-1993, IS:13341:1992 etc., as required.
15.01 | 05 KVAR (Cylindrical Type) | 2.00 | Each |  | 170.00 | 340.00 | 1060.00 | 2120.00 | 340.00 | ANU ENGINEERING CORPORATION
15.02 | 10 KVAR (Cylindrical Type) | 2.00 | Each |  | 115.00 | 230.00 | 1745.00 | 3490.00 | 230.00 | ANU ENGINEERING CORPORATION
15.03 | 25 KVAR (Cylindrical Type) | 2.00 | Each |  | 115.00 | 230.00 | 4365.00 | 8730.00 | 230.00 | ANU ENGINEERING CORPORATION
16.00 | Supply of Remote Bell of approved colour, make, suitable for supply voltage 230V, 50 Hz single phase AC supply complete as required. | 20.00 | Each |  | 600.00 | 12000.00 | 530.00 | 10600.00 | 10600.00 | Bafna Electric Corp
17.00 | Supply of 2 NO+ NC contactor Relay MX odc, 22E (Make: L&T ) | 5.00 | Each |  | 900.00 | 4500.00 | 1120.00 | 5600.00 | 4500.00 | ANU ENGINEERING CORPORATION
18.00 | Supply of 4 NO contactor Relay MX odc, 40E (Make: L&T ) | 5.00 | Each |  | 900.00 | 4500.00 | 1120.00 | 5600.00 | 4500.00 | ANU ENGINEERING CORPORATION
19.00 | Supply of 02 HP Stainless steel Submersible monoblock pump motor set with starter suitable for 240V, 50 Hz power supply . ( Make: KSB or approved equivalent.) | 3.00 | Each |  | 19000.00 | 57000.00 | 18500.00 | 55500.00 | 55500.00 | Bafna Electric Corp
20.00 | Supply of Wall mounting fan with 400 mm size, 1300-1360 RPM Energy Efficient, 50-60w capacity shackles, 3 blades,with suitable speed controller regulator suitable to operate on single phase, 230V,50Hz A.C supply etc complete wiring etc as required | 15.00 | Each |  | 1800.00 | 27000.00 | 1850.00 | 27750.00 | 27000.00 | ANU ENGINEERING CORPORATION
21.00 | Supply of Industrial Pedestal fan of 450mm sweep with,3/4 Speed Step Control,1300RPM, minimum power consumption , minimum noise and Confirming to IS 1169 including all accessories and suitable to operate on single phase, 230V , 50 Hz A.C Supply, etc complete as required | 10.00 | Each |  | 6000.00 | 60000.00 | 3300.00 | 33000.00 | 33000.00 | Bafna Electric Corp
22.00 | Supplying of straight through heat shrinkable cable jointing kit for following size of XLPE insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade including ferrules and other jointing materials etc. as required
22.01 | a) 3½ X 16 sq. mm | 10.00 | Each |  | 850.00 | 8500.00 | 885.00 | 8850.00 | 8500.00 | ANU ENGINEERING CORPORATION
22.02 | b) 3½ X 50 sq. mm | 10.00 | Each |  | 1000.00 | 10000.00 | 950.00 | 9500.00 | 9500.00 | Bafna Electric Corp
22.03 | c) 3½ X 70 sq. mm | 5.00 | Each |  | 1350.00 | 6750.00 | 1300.00 | 6500.00 | 6500.00 | Bafna Electric Corp
23.00 | Supply of following size of cable lugs complete as required.
23.01 | 1.5 sq.mm(Insulated copper PIN type) | 100.00 | Each |  | 3.00 | 300.00 | 2.00 | 200.00 | 200.00 | Bafna Electric Corp
23.02 | 2.5 sq.mm(Insulated copper PIN type) | 100.00 | Each |  | 4.00 | 400.00 | 2.00 | 200.00 | 200.00 | Bafna Electric Corp
23.03 | 4 sq.mm(Insulated copper PIN type) | 100.00 | Each |  | 5.00 | 500.00 | 4.00 | 400.00 | 400.00 | Bafna Electric Corp
23.04 | 6 sq.mm(Insulated copper PIN type) | 100.00 | Each |  | 6.00 | 600.00 | 6.00 | 600.00 | 600.00 | ANU ENGINEERING CORPORATION, Bafna Electric Corp
23.05 | 4 sq.mm ( Non Insulated copper RING type ) | 100.00 | Each |  | 6.00 | 600.00 | 3.00 | 300.00 | 300.00 | Bafna Electric Corp
23.06 | 6 sq.mm ( Non Insulated copper RING type ) | 100.00 | Each |  | 8.00 | 800.00 | 4.00 | 400.00 | 400.00 | Bafna Electric Corp
23.07 | 10 sq.mm ( Non Insulated copper RING type ) | 50.00 | Each |  | 12.00 | 600.00 | 5.00 | 250.00 | 250.00 | Bafna Electric Corp
23.08 | 16 sq.mm ( Non Insulated copper RING type ) | 50.00 | Each |  | 22.00 | 1100.00 | 8.00 | 400.00 | 400.00 | Bafna Electric Corp
23.09 | 25 sq.mm ( Non Insulated copper RING type ) | 50.00 | Each |  | 5.00 | 250.00 | 18.00 | 900.00 | 250.00 | ANU ENGINEERING CORPORATION
23.10 | 25 sq.mm ( Aluminium RING type ) | 50.00 | Each |  | 6.00 | 300.00 | 5.00 | 250.00 | 250.00 | Bafna Electric Corp
23.11 | 50 sq.mm ( Aluminium RING type ) | 20.00 | Each |  | 10.00 | 200.00 | 8.00 | 160.00 | 160.00 | Bafna Electric Corp
23.12 | 70 sq.mm ( Aluminium RING type ) | 10.00 | Each |  | 17.00 | 170.00 | 12.00 | 120.00 | 120.00 | Bafna Electric Corp
| Total in Figures |  |  |  |  | 683820.00 |  | 641536.00
Lowest Amount Quoted BY: Bafna Electric Corp(641536.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Electrical, GLF Spares at Prayagraj Airport. (SH-I Supply of General Electrical Spares) Tender ID: 2021_AAI_72402_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bafna Electric Corp | 641536.00 | L1
| 2 | ANU ENGINEERING CORPORATION | 683820.00 | L2