## BoQ1
Government eProcurement System Created By: kamlesh anand Created Date/Time: 25-May-2021 12:13 PM Tender Title: Annual Operation and Comprehensive Maintenance of HVAC system installed at Agra Airport (2021-23). Tender ID: 2021_AAI_72824_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, RHQ-NR, New Delhi
Name of Work: Annual Operation & Comprehensive Maintenance Contract of HVAC system at Agra Airport (2021-23).
Contract No: AAI/AGRA/HVAC/2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | PROTECT SERVICES(GSTN-27AAMFP0483A3ZC) |  | AIRTECH ENGINEERS(GSTN-27AJHPB7042D1ZM) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | KRISHNA REFRIGERATION(GSTN-09AGYPK1790P1Z9) |  | V Save Electronics Pvt Ltd(GSTN-09AADCV5572A1ZD) |  | KELVIN FAHREN AIRTECH PVT. LTD.(GSTN-29AADCK2735L1Z8) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | Zamzam Refrigeration and airconditioning(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Provision of manpower for operation of 2 X 300 TR capacity HVAC system alongwith all associated accessories e.g. hot water generator, Chillers, cooling tower, chilled water pump, condensers pump, AHUs, FCUs etc. The contractor is required to deploy following minimum manpower in shift of eight hours on all days except on weekly off day : a) A/C Mechanic-cum Electrician- 01 No. (Skilled) b) A/C operator - 01 No. (semi-skilled) c) Helper - 02 Nos. (Un-skilled) | 24.00 | Month | 0.00 | 80000.00 | 1920000.00 | 72000.00 | 1728000.00 | 88100.00 | 2114400.00 | 85000.00 | 2040000.00 | 100000.00 | 2400000.00 | 73720.00 | 1769280.00 | 97290.00 | 2334960.00 | 83468.00 | 2003232.00 | 80000.00 | 1920000.00 | 1728000.00 | PROTECT SERVICES
2.00 | Operation of 2X 300 TR capacity HVAC system alongwith all associated accessories e.g. hot water generator, Chillers, cooling tower, chilled water pump, condensers pump, AHUs, FCUs etc. during extended watch hours beyond 8 hours of one shift by deploying following minimum manpower : a) A/C operator - 01 No. (Semi skilled) b) Helper - 01 No. (Un-skilled) | 50.00 | Hours | 0.00 | 160.00 | 8000.00 | 200.00 | 10000.00 | 400.00 | 20000.00 | 10.00 | 500.00 | 200.00 | 10000.00 | 215.00 | 10750.00 | 225.00 | 11250.00 | 150.00 | 7500.00 | 1000.00 | 50000.00 | 500.00 | SNOWMEX ENGINEERS LIMITED
3.01 | Annual all inclusive comprehensive maintenance contract of 2X300 TR ( York make) water cooled centrifual type chillers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components etc as per OEM/AAI specifications, maintenance of records/documentation etc. in all days i/c Sundays & holidays etc. complete as required. i) 1st Year | 12.00 | Month | 0.00 | 32000.00 | 384000.00 | 40000.00 | 480000.00 | 30000.00 | 360000.00 | 34000.00 | 408000.00 | 57500.00 | 690000.00 | 47999.00 | 575988.00 | 34200.00 | 410400.00 | 42500.00 | 510000.00 | 100000.00 | 1200000.00 | 360000.00 | AIRTECH ENGINEERS
3.02 | Annual all inclusive comprehensive maintenance contract of 2X300 TR ( York make) water cooled centrifual type chillers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components etc as per OEM/AAI specifications, maintenance of records/documentation etc. in all days i/c Sundays & holidays etc. complete as required. ii) 2nd Year | 12.00 | Month | 0.00 | 32000.00 | 384000.00 | 42000.00 | 504000.00 | 30000.00 | 360000.00 | 35000.00 | 420000.00 | 57500.00 | 690000.00 | 47999.00 | 575988.00 | 34200.00 | 410400.00 | 42500.00 | 510000.00 | 100000.00 | 1200000.00 | 360000.00 | AIRTECH ENGINEERS
4.01 | Annual all inclusive comprehensive maintenance contract of following equipments and other accessories other than chillers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components etc as per OEM/AAI specifications, maintenance of records/documentation etc. in all days i/c Sundays & holidays etc. complete as required. Equipments a) Water Heating Plant , 100 KW ( approx) - 02 Nos b) 40 HP Condenser water pumps-02 Nos. c) 40 HP Chiller water pumps- 02 Nos. d) AHU's with all accessories - 09 Nos. e) 175 TR FRP induced draft cooling towers -03 Nos. f) All electrical panel boards in plant room, AHU's control panel complete as mean for A/C Plant g) Fan coil units 1.5 TR/2.0 TR - 02 Nos. i) 1st Year | 12.00 | Month | 0.00 | 20000.00 | 240000.00 | 30000.00 | 360000.00 | 20000.00 | 240000.00 | 10000.00 | 120000.00 | 14000.00 | 168000.00 | 32499.00 | 389988.00 | 34200.00 | 410400.00 | 15000.00 | 180000.00 | 50000.00 | 600000.00 | 120000.00 | SNOWMEX ENGINEERS LIMITED
4.02 | Annual all inclusive comprehensive maintenance contract of following equipments and other accessories other than chillers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components etc as per OEM/AAI specifications, maintenance of records/documentation etc. in all days i/c Sundays & holidays etc. complete as required. Equipments a) Water Heating Plant , 100 KW ( approx) - 02 Nos b) 40 HP Condenser water pumps-02 Nos. c) 40 HP Chiller water pumps- 02 Nos. d) AHU's with all accessories - 09 Nos. e) 175 TR FRP induced draft cooling towers -03 Nos. f) All electrical panel boards in plant room, AHU's control panel complete as mean for A/C Plant g) Fan coil units 1.5 TR/2.0 TR - 02 Nos. ii) 2nd Year | 12.00 | Month | 0.00 | 20000.00 | 240000.00 | 32000.00 | 384000.00 | 20000.00 | 240000.00 | 12000.00 | 144000.00 | 14000.00 | 168000.00 | 32499.00 | 389988.00 | 34200.00 | 410400.00 | 15000.00 | 180000.00 | 50000.00 | 600000.00 | 144000.00 | SNOWMEX ENGINEERS LIMITED
5.01 | Annual all inclusive comprehensive maintenance contract of 1.5 TR capacity window type of different makes AC including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. i) 1st Year | 72.00 | Job | 0.00 | 260.00 | 18720.00 | 350.00 | 25200.00 | 375.00 | 27000.00 | 1000.00 | 72000.00 | 200.00 | 14400.00 | 120.00 | 8640.00 | 270.00 | 19440.00 | 250.00 | 18000.00 | 2500.00 | 180000.00 | 8640.00 | V Save Electronics Pvt Ltd
5.02 | Annual all inclusive comprehensive maintenance contract of 1.5 TR capacity window type of different makes AC including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. ii) 2nd Year | 72.00 | Job | 0.00 | 260.00 | 18720.00 | 400.00 | 28800.00 | 375.00 | 27000.00 | 1050.00 | 75600.00 | 200.00 | 14400.00 | 120.00 | 8640.00 | 270.00 | 19440.00 | 275.00 | 19800.00 | 2500.00 | 180000.00 | 8640.00 | V Save Electronics Pvt Ltd
6.01 | Annual all inclusive comprehensive maintenance contract of 1.5 TR capacity split type of different makes AC alongwith voltage stablizers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. i) 1st Year | 324.00 | Job | 0.00 | 280.00 | 90720.00 | 300.00 | 97200.00 | 375.00 | 121500.00 | 1500.00 | 486000.00 | 225.00 | 72900.00 | 150.00 | 48600.00 | 270.00 | 87480.00 | 250.00 | 81000.00 | 2500.00 | 810000.00 | 48600.00 | V Save Electronics Pvt Ltd
6.02 | Annual all inclusive comprehensive maintenance contract of 1.5 TR capacity split type of different makes AC alongwith voltage stablizers including carrying out routine/preventive maintenance, unlimited breakdown maintenance, repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. i) 2nd Year | 324.00 | Job | 0.00 | 280.00 | 90720.00 | 325.00 | 105300.00 | 375.00 | 121500.00 | 1550.00 | 502200.00 | 225.00 | 72900.00 | 150.00 | 48600.00 | 270.00 | 87480.00 | 275.00 | 89100.00 | 2500.00 | 810000.00 | 48600.00 | V Save Electronics Pvt Ltd
7.01 | Annual all inclusive comprehensive maintenance contract of storage type water cooler of capacity 40/40 Ltrs of different makes including repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. i) 1st Year | 36.00 | Job | 0.00 | 300.00 | 10800.00 | 300.00 | 10800.00 | 300.00 | 10800.00 | 1200.00 | 43200.00 | 225.00 | 8100.00 | 449.00 | 16164.00 | 270.00 | 9720.00 | 280.00 | 10080.00 | 3500.00 | 126000.00 | 8100.00 | KRISHNA REFRIGERATION
7.02 | Annual all inclusive comprehensive maintenance contract of storage type water cooler of capacity 40/40 Ltrs of different makes including repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. ii) 2nd Year | 36.00 | Job | 0.00 | 300.00 | 10800.00 | 325.00 | 11700.00 | 300.00 | 10800.00 | 1250.00 | 45000.00 | 236.00 | 8496.00 | 449.00 | 16164.00 | 270.00 | 9720.00 | 280.00 | 10080.00 | 3500.00 | 126000.00 | 8496.00 | KRISHNA REFRIGERATION
8.01 | Annual all inclusive comprehensive maintenance contract of storage type water cooler of capacity 60/120 Ltrs of different makes including repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. i) 1st Year | 72.00 | Job | 0.00 | 330.00 | 23760.00 | 325.00 | 23400.00 | 300.00 | 21600.00 | 1300.00 | 93600.00 | 248.00 | 17856.00 | 749.00 | 53928.00 | 270.00 | 19440.00 | 300.00 | 21600.00 | 3500.00 | 252000.00 | 17856.00 | KRISHNA REFRIGERATION
8.02 | Annual all inclusive comprehensive maintenance contract of storage type water cooler of capacity 60/120 Ltrs of different makes including repair/replacement of all defective components such as compressor/ condensor coil etc, Gas charging and any other defective accessories by providing all necessary consumables and spares , maintenance of records/documentation etc. as per special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. ii) 2nd Year | 72.00 | Job | 0.00 | 330.00 | 23760.00 | 350.00 | 25200.00 | 300.00 | 21600.00 | 1350.00 | 97200.00 | 248.00 | 17856.00 | 749.00 | 53928.00 | 270.00 | 19440.00 | 300.00 | 21600.00 | 3500.00 | 252000.00 | 17856.00 | KRISHNA REFRIGERATION
9.01 | Annual all inclusive comprehensive maintenance contract of reverse osmosis water purifier system of capacity 25 LPH installed at various locations of Agra Airport. Job includes routine/preventive maintenance, attending to complaints/ faults/ unlimited breakdowns and taking rectification action, repair/replacement of all defective accessories by providing all necessary consumables and spares , periodical replacemnt of all filters/ candles as per OEM recommandations / special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. i) 1st Year | 48.00 | Job | 0.00 | 700.00 | 33600.00 | 500.00 | 24000.00 | 400.00 | 19200.00 | 1100.00 | 52800.00 | 567.00 | 27216.00 | 749.00 | 35952.00 | 360.00 | 17280.00 | 600.00 | 28800.00 | 3500.00 | 168000.00 | 17280.00 | KELVIN FAHREN AIRTECH PVT. LTD.
9.02 | Annual all inclusive comprehensive maintenance contract of reverse osmosis water purifier system of capacity 25 LPH installed at various locations of Agra Airport. Job includes routine/preventive maintenance, attending to complaints/ faults/ unlimited breakdowns and taking rectification action, repair/replacement of all defective accessories by providing all necessary consumables and spares , periodical replacemnt of all filters/ candles as per OEM recommandations / special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. ii) 2nd Year | 48.00 | Job | 0.00 | 700.00 | 33600.00 | 550.00 | 26400.00 | 400.00 | 19200.00 | 1150.00 | 55200.00 | 567.00 | 27216.00 | 749.00 | 35952.00 | 360.00 | 17280.00 | 600.00 | 28800.00 | 3500.00 | 168000.00 | 17280.00 | KELVIN FAHREN AIRTECH PVT. LTD.
10.01 | Annual all inclusive comprehensive maintenance contract of reverse osmosis water purifier system of capacity 50/60 LPH installed at various locations of Agra Airport. Job includes routine/preventive maintenance, attending to complaints/ faults/ unlimited breakdowns and taking rectification action, repair/replacement of all defective accessories by providing all necessary consumables and spares , periodical replacemnt of all filters/ candles as per OEM recommandations / special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. i) 1st Year | 72.00 | Job | 0.00 | 400.00 | 28800.00 | 550.00 | 39600.00 | 400.00 | 28800.00 | 1100.00 | 79200.00 | 623.00 | 44856.00 | 850.00 | 61200.00 | 360.00 | 25920.00 | 350.00 | 25200.00 | 3500.00 | 252000.00 | 25200.00 | Anoop Refrigeration
10.02 | Annual all inclusive comprehensive maintenance contract of reverse osmosis water purifier system of capacity 50/60 LPH installed at various locations of Agra Airport. Job includes routine/preventive maintenance, attending to complaints/ faults/ unlimited breakdowns and taking rectification action, repair/replacement of all defective accessories by providing all necessary consumables and spares , periodical replacemnt of all filters/ candles as per OEM recommandations / special condition of contract and technical specifications etc complete as required. Note: 1 Job is equivalent to compehensive maintenance of 1 No machine per month. ii) 2nd Year | 72.00 | Job | 0.00 | 400.00 | 28800.00 | 600.00 | 43200.00 | 400.00 | 28800.00 | 1150.00 | 82800.00 | 623.00 | 44856.00 | 850.00 | 61200.00 | 360.00 | 25920.00 | 350.00 | 25200.00 | 3500.00 | 252000.00 | 25200.00 | Anoop Refrigeration
11.00 | Dismantling of 1.5 TR window type AC units including submission of dismantled AC units to AAI store etc complete as required. | 2.00 | Job | 0.00 | 700.00 | 1400.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 10.00 | 20.00 | 400.00 | 800.00 | 499.00 | 998.00 | 250.00 | 500.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
12.00 | Dismantling of 1.5 TR split type AC units including submission of dismantled AC units to AAI store etc complete as required. | 4.00 | Job | 0.00 | 700.00 | 2800.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 10.00 | 40.00 | 400.00 | 1600.00 | 1200.00 | 4800.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 40.00 | SNOWMEX ENGINEERS LIMITED
13.00 | Installation, testing & commisioning of 1.5 TR window AC at new location in the existing opening including refrigrant gas charging, minor civil work etc. complete as required. | 2.00 | Job | 0.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 10.00 | 20.00 | 900.00 | 1800.00 | 850.00 | 1700.00 | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
14.00 | Installation, testing & commisioning of 1.5 TR split AC at new location including refrigrant gas charging, providing foundation/fixing of angle iron frame, minor civil work etc. complete as required | 4.00 | Job | 0.00 | 2500.00 | 10000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 10.00 | 40.00 | 1000.00 | 4000.00 | 1800.00 | 7200.00 | 1800.00 | 7200.00 | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 40.00 | SNOWMEX ENGINEERS LIMITED
15.00 | Supply and fixing of PVC drain pipe ( 25 mm) nominal etc complete as required. | 20.00 | Mtr. | 0.00 | 80.00 | 1600.00 | 200.00 | 4000.00 | 45.00 | 900.00 | 10.00 | 200.00 | 80.00 | 1600.00 | 118.00 | 2360.00 | 144.00 | 2880.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 200.00 | SNOWMEX ENGINEERS LIMITED
16.00 | Supply and fixing of AC copper pipes (1/4 inch & 1/2 inch) nominal including insulation, taping etc complete as required. | 20.00 | Mtr. | 0.00 | 400.00 | 8000.00 | 1200.00 | 24000.00 | 1100.00 | 22000.00 | 10.00 | 200.00 | 1200.00 | 24000.00 | 990.00 | 19800.00 | 720.00 | 14400.00 | 900.00 | 18000.00 | 800.00 | 16000.00 | 200.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 3618600.00 |  | 3984800.00 |  | 3833100.00 |  | 4817820.00 |  | 4530852.00 |  | 4197808.00 |  | 4375350.00 |  | 3813992.00 |  | 9190000.00
Lowest Amount Quoted BY: PAN POLAR ENGINEERS PVT. LTD.(3618600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Comprehensive Maintenance of HVAC system installed at Agra Airport (2021-23). Tender ID: 2021_AAI_72824_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PAN POLAR ENGINEERS PVT. LTD. | 3618600.00 | L1
| 2 | Anoop Refrigeration | 3813992.00 | L2
| 3 | AIRTECH ENGINEERS | 3833100.00 | L3
| 4 | PROTECT SERVICES | 3984800.00 | L4
| 5 | V Save Electronics Pvt Ltd | 4197808.00 | L5
| 6 | KELVIN FAHREN AIRTECH PVT. LTD. | 4375350.00 | L6
| 7 | KRISHNA REFRIGERATION | 4530852.00 | L7
| 8 | SNOWMEX ENGINEERS LIMITED | 4817820.00 | L8
| 9 | Zamzam Refrigeration and airconditioning | 9190000.00 | L9