## BoQ1
Government eProcurement System Created By: SUNIL GUPTA Created Date/Time: 30-Mar-2021 11:44 AM Tender Title: (ARMO 2021-22) Annual Operation and Maintenance Contract for E and M Installations at C.A. Rajkot. Tender ID: 2021_AAI_72830_1
Tender Inviting Authority: AGM (E E), AAI, CA Rajkot.
Name of Work: (ARMO 2021-22) Annual Operation & Maintenance Contract for E & M Installations at C. A. Rajkot.
Contract No: AAI/RAJ/AGM(E-E)/NIT-08/20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of Electrical & Mechanical Installations of operational & non-operational areas of the Airport including GLF, CCR Panels, conveyor belts involving operation of conveyors, pump sets involving operation of pumps and minor repairing as per specification & conditions attached, attending to complaints / faults / breakdowns ensuring serviceability, satisfactory working condition of the system / preventive maintenance, maintenance of records/ documentation etc. as per the detailed specification terms & condition on all days including Sundays and holidays in 03 (three) shift basis and also as & when required basis etc as required. (Highly Skilled-2; Skilled-5; Semi-Skilled-6; Un-Skilled-6. The above mentioned minimum strength of labour is exclusive of reliever. Reliever as per site requirement shall be considered in addition to the minimum strength while quoting rate for this item.) | 12.00 | Months |  | 395000.00 | 4740000.00 | 387000.00 | 4644000.00 | 397258.00 | 4767096.00 | 365000.00 | 4380000.00 | 401682.00 | 4820184.00 | 413730.00 | 4964760.00 | 4380000.00 | CENTRE TAP ENGINEERING
2.00 | Providing services for office assistance including computer operating, up keeping of records, etc. on all days excluding Sundays and holidays also as and when required. (Highly Skilled-1; Un-Skilled-1) | 12.00 | Months |  | 44200.00 | 530400.00 | 32000.00 | 384000.00 | 27250.00 | 327000.00 | 35000.00 | 420000.00 | 40027.00 | 480324.00 | 40000.00 | 480000.00 | 327000.00 | Techno Electricals
3.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Supervisor (Highly Skilled) | 300.00 | Hrs |  | 100.00 | 30000.00 | 150.00 | 45000.00 | 70.00 | 21000.00 | 140.00 | 42000.00 | 97.00 | 29100.00 | 110.00 | 33000.00 | 21000.00 | Techno Electricals
4.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Electrician (Skilled) | 300.00 | Hrs |  | 92.00 | 27600.00 | 135.00 | 40500.00 | 65.00 | 19500.00 | 120.00 | 36000.00 | 88.00 | 26400.00 | 100.00 | 30000.00 | 19500.00 | Techno Electricals
5.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Operator (Semi skilled) | 300.00 | Hrs |  | 70.00 | 21000.00 | 115.00 | 34500.00 | 60.00 | 18000.00 | 100.00 | 30000.00 | 75.00 | 22500.00 | 95.00 | 28500.00 | 18000.00 | Techno Electricals
6.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Helper (Un skilled) | 300.00 | Hrs |  | 75.00 | 22500.00 | 100.00 | 30000.00 | 55.00 | 16500.00 | 90.00 | 27000.00 | 67.00 | 20100.00 | 90.00 | 27000.00 | 16500.00 | Techno Electricals
7.00 | Inspection, servicing and testing of following Electrical Installations and preventive maintenance through authorised service agent and submission of test reports. Air Circuit Breaker 800AMP. | 3.00 | Each |  | 8500.00 | 25500.00 | 4500.00 | 13500.00 | 2500.00 | 7500.00 | 3400.00 | 10200.00 | 1000.00 | 3000.00 | 3500.00 | 10500.00 | 3000.00 | Ascent Electrification Engineers
8.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Voltmeter Digital/Analogue suitable for AC supply. | 8.00 | Each |  | 1000.00 | 8000.00 | 500.00 | 4000.00 | 700.00 | 5600.00 | 500.00 | 4000.00 | 300.00 | 2400.00 | 4000.00 | 32000.00 | 2400.00 | Ascent Electrification Engineers
9.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Ammeter Digital/Analogue suitable for AC supply. | 30.00 | Each |  | 1000.00 | 30000.00 | 500.00 | 15000.00 | 450.00 | 13500.00 | 400.00 | 12000.00 | 300.00 | 9000.00 | 3000.00 | 90000.00 | 9000.00 | Ascent Electrification Engineers
10.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Power Factor (cos Ø) Meter Digital/Analogue of range 0.5 lag - 1 0.5 lead, 96mm x 96mm | 4.00 | Each |  | 1000.00 | 4000.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 650.00 | 2600.00 | 300.00 | 1200.00 | 5000.00 | 20000.00 | 1200.00 | Ascent Electrification Engineers
11.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Clinometer | 1.00 | Each |  | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 100.00 | 100.00 | 3000.00 | 3000.00 | 100.00 | Ascent Electrification Engineers
12.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Digital Lux meter,Make-Mextech LX-1010B,Range-2000-50000 lux | 1.00 | Each |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 750.00 | 750.00 | 800.00 | 800.00 | 100.00 | 100.00 | 2500.00 | 2500.00 | 100.00 | Ascent Electrification Engineers
13.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Electronic Digital Micrometre, Make- Aerospace, Range-0-25 mm, Acuuracy-0.001mm | 1.00 | Each |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 750.00 | 750.00 | 600.00 | 600.00 | 100.00 | 100.00 | 1800.00 | 1800.00 | 100.00 | Ascent Electrification Engineers
14.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Digital vernier caliper, Make-Yuri, Range-200x.01mm | 1.00 | Each |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 750.00 | 750.00 | 600.00 | 600.00 | 100.00 | 100.00 | 1850.00 | 1850.00 | 100.00 | Ascent Electrification Engineers
15.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Earth resistance tester | 1.00 | Each |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 800.00 | 800.00 | 600.00 | 600.00 | 100.00 | 100.00 | 2000.00 | 2000.00 | 100.00 | Ascent Electrification Engineers
16.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Earth resistance | 1.00 | Each |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 800.00 | 800.00 | 600.00 | 600.00 | 100.00 | 100.00 | 2000.00 | 2000.00 | 100.00 | Ascent Electrification Engineers
17.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Insulation tester | 1.00 | Each |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 800.00 | 800.00 | 600.00 | 600.00 | 100.00 | 100.00 | 3000.00 | 3000.00 | 100.00 | Ascent Electrification Engineers
18.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. Clamp meter | 1.00 | Each |  | 1000.00 | 1000.00 | 500.00 | 500.00 | 800.00 | 800.00 | 500.00 | 500.00 | 100.00 | 100.00 | 2000.00 | 2000.00 | 100.00 | Ascent Electrification Engineers
19.00 | Maintenance, Servicing and rectification of faults in CCR (4 KW to 20 KW) by hiring OEM engineer i/c. replacing minor spares etc. complete as required as per actual site requirement. | 5.00 | Each |  | 15000.00 | 75000.00 | 11000.00 | 55000.00 | 3000.00 | 15000.00 | 8000.00 | 40000.00 | 3000.00 | 15000.00 | 12000.00 | 60000.00 | 15000.00 | Techno Electricals, Ascent Electrification Engineers
20.00 | Pin pointing the cable fault with the help of HV fault locator equipment for the existing LT armoured under ground cable laid in soil etc as required at site and as directed by Engineer In Charge i/c transportation of the fault locator equipment for the LT Cable size 3 core/3.5 core/4 core & upto 400 sq.mm.( Max one fault will be count in 100mtr cable piece if more than one fault find) | 4.00 | Each |  | 8500.00 | 34000.00 | 11000.00 | 44000.00 | 8000.00 | 32000.00 | 5500.00 | 22000.00 | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 22000.00 | CENTRE TAP ENGINEERING
21.00 | Servicing, repairing, rewinding and replacement of defective bearings / bushing of ceiling fan /wall fan including transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as required. (Dismantle material belongs to Contractor) | 20.00 | Each |  | 220.00 | 4400.00 | 500.00 | 10000.00 | 300.00 | 6000.00 | 250.00 | 5000.00 | 150.00 | 3000.00 | 500.00 | 10000.00 | 3000.00 | Ascent Electrification Engineers
22.00 | Repairing of 7.5 HP submersible pump including lifting from borewell and lowering the pump in borewell at airport site etc. as required. | 2.00 | Each |  | 10.00 | 20.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 20.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
23.00 | Overhauling / rewinding of 7.5 HP openwell sumersible pump including transportation form Airport premises to workshop and after complete overhauling / rewinding return the pump to Airport and testing etc. complete as required. | 2.00 | Each |  | 10.00 | 20.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 20.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | Servicing, repairing, rewinding and replacement of defective bearings / bushing of exhaust fan up to 400 mm sweep including transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as required. (Dismantle material belongs to Contractor) | 4.00 | Each |  | 10.00 | 40.00 | 600.00 | 2400.00 | 100.00 | 400.00 | 350.00 | 1400.00 | 300.00 | 1200.00 | 700.00 | 2800.00 | 40.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.00 | Maintenance of two pole HT structure (11 KV) located in city side area of Rajkot Airport i/c. cleaning of terminals, tighting of nut bolts, to check status of HT fuse and leakage of Insulator, replacing minor spares etc. complete as required as per actual site requirement. | 1.00 | Each |  | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 15000.00 | 15000.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.00 | Complete items of CPWD SCHEDULE OF RATES (ELECTRICAL)-PART I & II, DSR-2018 as and when required as per site. (Rates Shall be quoted in multiples e.g. 0.99 or 1.01% Below / Above, correspondingly amount shall be 2,00,000 x 0.99 = 1,98,000 or 2,00,000 x 1.01 = 2,02,000) | 200000.00 | Rs. |  | .60 | 120000.00 | 1.00 | 200000.00 | .85 | 170000.00 | .50 | 100000.00 | .80 | 160000.00 | .99 | 198000.00 | 100000.00 | CENTRE TAP ENGINEERING
27.00 | Maintenance, servicing & upkeeping of automatic air curtains i/c minor repairs, replacement of faulty spares parts (to be supplied by AAI) painting all as reqd. & as specified (Total no. of aircurtains = 10 nos.) | 12.00 | Months |  | 9500.00 | 114000.00 | 1500.00 | 18000.00 | 1500.00 | 18000.00 | 1500.00 | 18000.00 | 1000.00 | 12000.00 | 10000.00 | 120000.00 | 12000.00 | Ascent Electrification Engineers
28.00 | Annual Maintenance of platform type electronic weighing scale, i/c remote display unit installed at departure area by attending any numbers of breakdown calls including carring out of Government stamping/ Calibration, repairing/ replacement of PCB, Repair or Replacement of working parts, necessitated by fair wear and tear such as Key sheets, Rubber legs, "O" Rings, Fasteners, Electronic components, Transformer, adaptor, Solenoid coil and cables etc, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract (Each one job/set per year). | 7.00 | Each |  | 4500.00 | 31500.00 | 1200.00 | 8400.00 | 5000.00 | 35000.00 | 2000.00 | 14000.00 | 1000.00 | 7000.00 | 15000.00 | 105000.00 | 7000.00 | Ascent Electrification Engineers
| Total in Figures |  |  |  |  | 5840980.00 |  | 5572800.00 |  | 5511546.00 |  | 5190000.00 |  | 5670208.00 |  | 6312710.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(5190000.00)

## BOQ Summary
BOQ Summary Details Tender Title: (ARMO 2021-22) Annual Operation and Maintenance Contract for E and M Installations at C.A. Rajkot. Tender ID: 2021_AAI_72830_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 5190000.00 | L1
| 2 | Techno Electricals | 5511546.00 | L2
| 3 | Rudraksha Enterprise | 5572800.00 | L3
| 4 | Ascent Electrification Engineers | 5670208.00 | L4
| 5 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 5840980.00 | L5
| 6 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 6312710.00 | L6