## BoQ1
Government eProcurement System Created By: Surendra kishor Nepalia Created Date/Time: 22-Apr-2021 12:55 PM Tender Title: Operation and Maintenance of E and M Installations at AAI Residential Colony and Other Ancillary Buildings at SVPI Airport Ahmedabad Tender ID: 2021_AAI_72977_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-Elect) - III
Name of Work: “Operation and Maintenance of E & M Installations at AAI Residential Colony & Other Ancillary Buildings at S.V.P.I. Airport Ahmedabad”
Contract No: 2021_AAI_72977_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | R K G ELECTRICALS(GSTN-07BDDPK1309M1ZM) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | M/s.180 DEGREE STRAIGHT(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of E&M installations in AAI Residential Colony and other ancillary Buildings in carved out area as per the Inventory & Scope of Work by deploying man power in 3 shifts and General shift (each of 8 hrs.) as detailed in General & Special Condition of Contract involving repair, attending complaints / faults / breakdown and taking rectification action, ensuring serviceability / satisfactory working of the systems, preventive maintenance, maintaining of records / documentation etc. on all days including National Holidays and Sundays as required. | 24.00 | Months |  | 254023.00 | 6096552.00 | 241251.00 | 5790024.00 | 260000.00 | 6240000.00 | 256000.00 | 6144000.00 | 261163.00 | 6267912.00 | 245000.00 | 5880000.00 | 244300.00 | 5863200.00 | 254166.67 | 6100000.08 | 247966.00 | 5951184.00 | 235000.00 | 5640000.00 | 5640000.00 | M/s BHARAT ELECTRIC, NAGPUR
2.00 | Carrying out work as per CPWD DSR E& M 2018 Electrical as and when required. (the bidder shall quote the rate in INR only for the job corresponding to Rs. 2,00,000/-(E/x GST) ) | 1.00 | Job |  | 160000.00 | 160000.00 | 140000.00 | 140000.00 | 200000.00 | 200000.00 | 160000.00 | 160000.00 | 175000.00 | 175000.00 | 200000.00 | 200000.00 | 150000.00 | 150000.00 | 160000.00 | 160000.00 | 100000.00 | 100000.00 | 150000.00 | 150000.00 | 100000.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Supply of 9W LED B22 / E 27 Lamp , Cool White / Warm White as per requirement | 40.00 | Each |  | 100.00 | 4000.00 | 200.00 | 8000.00 | 250.00 | 10000.00 | 245.00 | 9800.00 | 250.00 | 10000.00 | 500.00 | 20000.00 | 90.00 | 3600.00 | 127.12 | 5084.80 | 88.00 | 3520.00 | 150.00 | 6000.00 | 3520.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Supply of 18W LED tube light fitting Cool White as per requirement | 40.00 | Each |  | 350.00 | 14000.00 | 600.00 | 24000.00 | 500.00 | 20000.00 | 245.00 | 9800.00 | 250.00 | 10000.00 | 700.00 | 28000.00 | 570.00 | 22800.00 | 508.47 | 20338.80 | 197.00 | 7880.00 | 500.00 | 20000.00 | 7880.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Supply of 30 W ±10% energy efficient LED street light luminaire suitable to operate on 240 V, 50 Hz AC complete as per specification & as required. | 5.00 | Each |  | 1200.00 | 6000.00 | 2100.00 | 10500.00 | 2500.00 | 12500.00 | 4000.00 | 20000.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 1150.00 | 5750.00 | 2203.39 | 11016.95 | 998.00 | 4990.00 | 2000.00 | 10000.00 | 4990.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Stepped type electronic fan regulator piano type (Suitable for existing type and make) | 40.00 | Each |  | 250.00 | 10000.00 | 160.00 | 6400.00 | 175.00 | 7000.00 | 350.00 | 14000.00 | 350.00 | 14000.00 | 200.00 | 8000.00 | 150.00 | 6000.00 | 296.61 | 11864.40 | 185.00 | 7400.00 | 200.00 | 8000.00 | 6000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Annual Comprehensive maintenance of following capacity of split AC including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc. complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. upto 2 Ton Split AC Units First Year | 7.00 | Job |  | 2500.00 | 17500.00 | 6000.00 | 42000.00 | 2250.00 | 15750.00 | 6500.00 | 45500.00 | 3500.00 | 24500.00 | 3800.00 | 26600.00 | 2500.00 | 17500.00 | 9500.00 | 66500.00 | 6000.00 | 42000.00 | 2500.00 | 17500.00 | 15750.00 | CENTRE TAP ENGINEERING
8.00 | Annual Comprehensive maintenance of following capacity of split AC including repair / replacement of defective components by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc. complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. upto 2 Ton Split AC Units Second Year | 7.00 | Job |  | 2500.00 | 17500.00 | 7200.00 | 50400.00 | 2500.00 | 17500.00 | 6300.00 | 44100.00 | 3500.00 | 24500.00 | 3800.00 | 26600.00 | 2500.00 | 17500.00 | 11500.00 | 80500.00 | 6000.00 | 42000.00 | 2500.00 | 17500.00 | 17500.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING, M/s BHARAT ELECTRIC, NAGPUR, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Annual Comprehensive maintenance of storage type water coolers of various capacity (upto 80 Ltr) including repair / replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc. complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. First Year | 2.00 | Job |  | 2500.00 | 5000.00 | 4200.00 | 8400.00 | 2500.00 | 5000.00 | 9960.00 | 19920.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 15000.00 | 30000.00 | 9600.00 | 19200.00 | 6000.00 | 12000.00 | 2500.00 | 5000.00 | 5000.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING, M/s BHARAT ELECTRIC, NAGPUR
10.00 | Annual Comprehensive maintenance of storage type water coolers of various capacity (upto 80 Ltr) including repair / replacement of defective components such as compressor, gas charging and other accessories by providing all necessary consumables & spares, carrying preventive and routine maintenance, maintaining records etc. complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. Second Year | 2.00 | Job |  | 2500.00 | 5000.00 | 5400.00 | 10800.00 | 2750.00 | 5500.00 | 9960.00 | 19920.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 15000.00 | 30000.00 | 9800.00 | 19600.00 | 6000.00 | 12000.00 | 2500.00 | 5000.00 | 5000.00 | Ascent Electrification Engineers, M/s BHARAT ELECTRIC, NAGPUR
11.00 | Dismantling of Following capacity Split type air-conditioners units including dismantling of indoor and outdoor units, refrigerant pipe, drain piping arrangements without any damage, without leak of refrigerant gas, etc. complete as required 1.5 Ton/ 2 Ton Split AC Units | 4.00 | Job |  | 500.00 | 2000.00 | 800.00 | 3200.00 | 500.00 | 2000.00 | 5500.00 | 22000.00 | 1000.00 | 4000.00 | 450.00 | 1800.00 | 1500.00 | 6000.00 | 6500.00 | 26000.00 | 100.00 | 400.00 | 1000.00 | 4000.00 | 400.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Re-installation of Following capacity Split type air-conditioners units with existing refrigerant piping including mounting of indoor and out door units, new drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polyethylene / PVC piping etc. complete as required 1.5 Ton/ 2 Ton Split AC Units | 4.00 | Job |  | 500.00 | 2000.00 | 1500.00 | 6000.00 | 2250.00 | 9000.00 | 5500.00 | 22000.00 | 2200.00 | 8800.00 | 2150.00 | 8600.00 | 4500.00 | 18000.00 | 7500.00 | 30000.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 2000.00 | Ascent Electrification Engineers
13.00 | Supply, Installation, Testing and Commissioning of refrigerant piping including insulation, PVC protection piping for suction and discharge line for split AC Units of capacity 1.5 TR/ 2.0 TR complete as required. | 40.00 | Meter |  | 800.00 | 32000.00 | 700.00 | 28000.00 | 750.00 | 30000.00 | 1500.00 | 60000.00 | 700.00 | 28000.00 | 350.00 | 14000.00 | 60.00 | 2400.00 | 700.00 | 28000.00 | 1500.00 | 60000.00 | 700.00 | 28000.00 | 2400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Rewinding, repairing and overhauling of following types of fans by using suitable gauge enamel copper wire, backing, oiling, greasing, assembling, testing, to & fro transportation etc. as required. i/c less for dismantle wire. Ceiling fan upto 1400 mm. | 40.00 | Each |  | 250.00 | 10000.00 | 450.00 | 18000.00 | 250.00 | 10000.00 | 600.00 | 24000.00 | 400.00 | 16000.00 | 400.00 | 16000.00 | 325.00 | 13000.00 | 1100.00 | 44000.00 | 450.00 | 18000.00 | 350.00 | 14000.00 | 10000.00 | Ascent Electrification Engineers, CENTRE TAP ENGINEERING
15.00 | Rewinding, repairing and overhauling of following types of fans by using suitable gauge enamel copper wire, backing, oiling, greasing, assembling, testing, to & fro transportation etc. as required. i/c less for dismantle wire. Exhaust fan up to 450 mm sweep | 20.00 | Each |  | 250.00 | 5000.00 | 650.00 | 13000.00 | 200.00 | 4000.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 750.00 | 15000.00 | 325.00 | 6500.00 | 1100.00 | 22000.00 | 400.00 | 8000.00 | 1000.00 | 20000.00 | 4000.00 | CENTRE TAP ENGINEERING
16.00 | Rewinding, repairing and overhauling of following types of fans by using suitable gauge enamel copper wire, backing, oiling, greasing, assembling, testing, to & fro transportation etc. as required. i/c less for dismantle wire. Pedestal/ Wall mounting fan up to 450 mm sweep | 5.00 | Each |  | 250.00 | 1250.00 | 700.00 | 3500.00 | 250.00 | 1250.00 | 100.00 | 500.00 | 350.00 | 1750.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 1100.00 | 5500.00 | 500.00 | 2500.00 | 1000.00 | 5000.00 | 500.00 | R K G ELECTRICALS
17.00 | Supply of following bearings suitable for Ceiling fans up to 1400 mm sweep/ Pedestal/ Wall mounting fan/ Air-curtain/ Desert cooler fan motor as required. Bush bearing | 10.00 | Each |  | 100.00 | 1000.00 | 120.00 | 1200.00 | 125.00 | 1250.00 | 125.00 | 1250.00 | 85.00 | 850.00 | 200.00 | 2000.00 | 400.00 | 4000.00 | 254.24 | 2542.40 | 100.00 | 1000.00 | 200.00 | 2000.00 | 850.00 | Techno Electricals
18.00 | Supply of following bearings suitable for Ceiling fans up to 1400 mm sweep/ Pedestal/ Wall mounting fan/ Air-curtain/ Desert cooler fan motor as required. Ball bearing | 40.00 | Each |  | 150.00 | 6000.00 | 140.00 | 5600.00 | 175.00 | 7000.00 | 125.00 | 5000.00 | 100.00 | 4000.00 | 200.00 | 8000.00 | 350.00 | 14000.00 | 330.51 | 13220.40 | 100.00 | 4000.00 | 200.00 | 8000.00 | 4000.00 | Techno Electricals, ABHISHEK INTEGRATIONS LIMITED
19.00 | Supply of following sizes of capacitors during servicing of fans as required. 2.25/2.5 MFD suitable for ceiling fans. | 40.00 | Each |  | 50.00 | 2000.00 | 25.00 | 1000.00 | 150.00 | 6000.00 | 50.00 | 2000.00 | 35.00 | 1400.00 | 80.00 | 3200.00 | 150.00 | 6000.00 | 42.37 | 1694.80 | 20.00 | 800.00 | 35.00 | 1400.00 | 800.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Supply and fixing down rod of required length made out of 19/20 mm heavy gauge G.I. Pipe including cutting, threading, drilling, painting etc. complete as required. | 10.00 | Mtr. |  | 60.00 | 600.00 | 90.00 | 900.00 | 500.00 | 5000.00 | 250.00 | 2500.00 | 100.00 | 1000.00 | 500.00 | 5000.00 | 70.00 | 700.00 | 194.92 | 1949.20 | 70.00 | 700.00 | 110.00 | 1100.00 | 600.00 | Ascent Electrification Engineers
21.00 | Supply of fan blades of up to 450 mm size of Exhaust / Pedestal / Wall Mounted fans: | 5.00 | Each |  | 250.00 | 1250.00 | 450.00 | 2250.00 | 250.00 | 1250.00 | 600.00 | 3000.00 | 750.00 | 3750.00 | 350.00 | 1750.00 | 150.00 | 750.00 | 847.46 | 4237.30 | 450.00 | 2250.00 | 500.00 | 2500.00 | 750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Lifting and lowering of upto 30 HP capacity Submersible Pump set from the bore well up to 400 feet depth. Job includes dismantling of the G.I. pipe, water proof cable, assembling and reinstalling the new/ repaired submersible pump set complete as required. upto 30 HP | 4.00 | Job |  | 4500.00 | 18000.00 | 6000.00 | 24000.00 | 12500.00 | 50000.00 | 18000.00 | 72000.00 | 2700.00 | 10800.00 | 12000.00 | 48000.00 | 21125.00 | 84500.00 | 24000.00 | 96000.00 | 7200.00 | 28800.00 | 10000.00 | 40000.00 | 10800.00 | Techno Electricals
23.00 | Complete, repair, servicing and overhauling of upto 30 HP capacity Submersible Pump set of all makes/ models/ stages including repair and replacement of all type of all defective/ worn-out internal parts complete as required. upto 30 HP | 4.00 | Job |  | 3500.00 | 14000.00 | 4000.00 | 16000.00 | 5000.00 | 20000.00 | 14000.00 | 56000.00 | 6500.00 | 26000.00 | 15000.00 | 60000.00 | 4500.00 | 18000.00 | 25000.00 | 100000.00 | 8000.00 | 32000.00 | 5000.00 | 20000.00 | 14000.00 | Ascent Electrification Engineers
24.00 | Complete rewinding and servicing of upto 30 HP capacity Submersible Motor set. Job includes transportation of motor, dismantling and rewinding with the same gauge insulated copper wire including replacement of all internal defective. worn-out parts, assembling, testing etc. as reqd. i/c less for dismantle wire. upto 30 HP | 4.00 | Job |  | 3000.00 | 12000.00 | 12000.00 | 48000.00 | 10000.00 | 40000.00 | 14000.00 | 56000.00 | 7000.00 | 28000.00 | 25000.00 | 100000.00 | 7000.00 | 28000.00 | 23000.00 | 92000.00 | 13000.00 | 52000.00 | 20000.00 | 80000.00 | 12000.00 | Ascent Electrification Engineers
25.00 | Supply & fixing of 3"/ 80mm diameter uPVC column pipe heavy duty along with top & bottom set, clamp Pump guard set, couplings, glue solvent, complete with all accessories as required. | 120.00 | Meter |  | 250.00 | 30000.00 | 120.00 | 14400.00 | 750.00 | 90000.00 | 1000.00 | 120000.00 | 225.00 | 27000.00 | 75.00 | 9000.00 | 790.00 | 94800.00 | 254.24 | 30508.80 | 380.00 | 45600.00 | 85.00 | 10200.00 | 9000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 6472652.00 |  | 6275574.00 |  | 6810000.00 |  | 6945290.00 |  | 6735762.00 |  | 6512550.00 |  | 6445000.00 |  | 6991757.93 |  | 6451024.00 |  | 6125200.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(6125200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of E and M Installations at AAI Residential Colony and Other Ancillary Buildings at SVPI Airport Ahmedabad Tender ID: 2021_AAI_72977_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 6125200.00 | L1
| 2 | Manish Electricals | 6275574.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 6445000.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 6451024.00 | L4
| 5 | Ascent Electrification Engineers | 6472652.00 | L5
| 6 | M K ENTERPRISES | 6512550.00 | L6
| 7 | Techno Electricals | 6735762.00 | L7
| 8 | CENTRE TAP ENGINEERING | 6810000.00 | L8
| 9 | R K G ELECTRICALS | 6945290.00 | L9
| 10 | M/s.180 DEGREE STRAIGHT | 6991757.93 | L10