## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 25-Mar-2021 05:21 PM Tender Title: CON. HOSTEL ACCOMMODATION IN SR RESIDENTIAL COLONY, CHENNAI AIRPORT. SH POWER SUPPLY WORKS Tender ID: 2021_AAI_73053_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT, CHENNAI - 600 027.
Name of Work: C/o Hostel accommodation in SR Residential Colony, Chennai Airport. SH: Power Supply works.
Contract No: 2021_AAI_73053_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | C P MONCHESTER ELECTRICALS(GSTN-33AJOPP7842E1ZY) |  | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | Manoprabha Electricals(GSTN-33AGNPM4749D3Z9) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Fabrication, SITC of Outdoor MV Switch Board Panel made of 2 mm thick CRCA Sheet Steel and outer shell made of 3 mm thick CRCA sheet steel, dust tight, vermin proof, totally enclosed, double door type, floor mounting, bottom entry type with rain guard and removable gland plates suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz, A.C.System complete with all accessories, interconnection, connection, earthing, painting, including providing RCC pedestal and grouting the panel, etc., complete as required and comprising of the following:
1.01 | A) Two Nos. of 250 A, 50 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as INCOMERS with C.T. operated Digital VAF Meter, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps, Interlocking Facility with Incomers and Buscouplers as required.
1.02 | B) One No. 250 A, 50 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as Bus Coupler with ON/OFF Indication Lamps as required.
1.03 | C) One No. of 250 A, 50 KA, 4P MCCB with Thermal Magnetic Releases for Protection as Outgoing, C.T. operated Digital VAF Meter, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required.
1.04 | D) Twelve Nos. of 63 A, 25 KA, 4P MCCB with Thermal Magnetic Releases for Protection as Outgoing, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required.
1.05 | E) One Set of 300 Amps Al. Bus Bars with at Par Neutral BUS BARS as required.
1.06 | F) All accessories such as fuses, auxillary contactors, auxillary switches, etc. complete as required.
1.07 | ALL AS ABOVE 1 (A) To 1 (F) | 1.00 | Job | Item No.1 | 336000.00 | 396480.00 | 270000.00 | 318600.00 | 457200.00 | 539496.00 | 315000.00 | 371700.00 | 150000.00 | 177000.00 | 409999.00 | 483798.82 | 467000.00 | 551060.00 | 409999.00 | 483798.82 | 150000.00 | RVD INFRA SOLUTION PVT.LTD. | 177000.00 | RVD INFRA SOLUTION PVT.LTD.
2.00 | Fabrication, SITC of Outdoor MV Switch Board Panel made of 2 mm thick CRCA Sheet Steel and outer shell made of 3 mm thick CRCA sheet steel, dust tight, vermin proof, totally enclosed, double door type, floor mounting, bottom entry type with rain guard and removable gland plates suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz, A.C.System complete with all accessories, interconnection, connection, earthing, painting, including providing RCC pedestal and grouting the panel, etc., complete as required and comprising of the following:
2.01 | Two Nos. of 250 A, 50 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as INCOMERS with C.T. operated Digital VAF Meter, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps, Interlocking Facility with Incomers and Buscouplers as required.
2.02 | One No. 250 A, 50 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as Bus Coupler with ON/OFF Indication Lamps as required.
2.03 | One No. of 250 A, 50 KA, 4P MCCB with Thermal Magnetic Releases for Protection as Outgoing, C.T. operated Digital VAF Meter, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required.
2.04 | Three Nos. of 125 A, 25 KA, 4P MCCB with Thermal Magnetic Releases for Protection as Outgoing, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required.
2.05 | Four Nos. of 63 A, 10 KA, 4P MCB (C curve) with Thermal Magnetic Releases for Protection as Outgoing, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required.
2.06 | Two Nos. Time switch for automatic switching On & OFF of street lights at sun set & sun rise or twilight(Auto ON, Auto OFF, Auto modes) with manual override facility with 12/24 hour display format
2.07 | One Set of 300 Amps Al. Bus Bars with at Par Neutral BUS BARS as required.
2.08 | All accessories such as fuses, auxillary contactors, auxillary switches, etc. complete as required.
2.09 | ALL AS ABOVE 2 (A) To 2 (H) | 1.00 | Job | Item No.2 | 285000.00 | 336300.00 | 210000.00 | 247800.00 | 389800.00 | 459964.00 | 285000.00 | 336300.00 | 300000.00 | 354000.00 | 289999.00 | 342198.82 | 400000.00 | 472000.00 | 409999.00 | 483798.82 | 210000.00 | C P MONCHESTER ELECTRICALS | 247800.00 | C P MONCHESTER ELECTRICALS
3.00 | Fabrication, SITC of Indoor MV Switch Board Panel made of 2 mm thick CRCA Sheet Steel, dust tight, vermin proof, totally enclosed, double door type, Wall/floor mounting, bottom entry type with removable gland plates suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz, A.C.System complete with all accessories, interconnection, connection, earthing, painting, including fixing the panel, etc., complete as required and comprising of the following:
3.01 | One No. of 125 A, 50 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as INCOMERS with ON/OFF/TRIP Indication Lamps and Phase Indication Lamps.
3.02 | Four Nos. of 63 A, 25 KA, 4P MCCB with Thermal Magnetic Releases for Protection as Outgoing, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required.
3.03 | One Set of 200 Amps Al. Bus Bars with at Par Neutral BUS BARS as required.
3.04 | ALL AS ABOVE 3 (A) To 3 (C) | 2.00 | Job | Item No.3 | 190000.00 | 224200.00 | 180000.00 | 212400.00 | 197000.00 | 232460.00 | 170000.00 | 200600.00 | 220000.00 | 259600.00 | 199998.00 | 235997.64 | 216000.00 | 254880.00 | 358000.00 | 422440.00 | 170000.00 | vk sam engineering | 200600.00 | vk sam engineering
4.00 | SITC of MV Switch Board [Wall mounted Panel] made out of 2mm Thick CRCA Sheet, dust tight and vermin proof, totally enclosed, cubicle type, suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz, AC System with 63 Amps MCCB as incomer, 100 Amps Busbar and 8 Nos of out goings having 32 Amps FP MCB & 3 Phase Energy meter ( 10-60 Amps, class 1 accuracy), interconnection with 6 Sqmm wire/cable for outgoings (Busbar to MCB & MCB to energy Meter), 100 Amps bus bar strip for incomer, all connections, din bars for mounting all switch gears, proper dressing of cables, earthing, painting, grouting the Panel on wall, providing knock out glanding plates including providing proper separation between energy meters etc., complete as required. | 3.00 | Job | Item No.4 | 195000.00 | 230100.00 | 135000.00 | 159300.00 | 312900.00 | 369222.00 | 210000.00 | 247800.00 | 165000.00 | 194700.00 | 269997.00 | 318596.46 | 330000.00 | 389400.00 | 150000.00 | 177000.00 | 135000.00 | C P MONCHESTER ELECTRICALS | 159300.00 | C P MONCHESTER ELECTRICALS
5.00 | SITC of MV Switch Board [Wall mounted Panel] made out of 2mm Thick CRCA Sheet, dust tight and vermin proof, totally enclosed, cubicle type, suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz, AC System with 63 Amps MCCB as incomer, 100 Amps Busbar and 4 Nos of out goings having 32 Amps FP MCB & 3 Phase Energy meter ( 10-60 Amps, class 1 accuracy), interconnection with 6 Sqmm wire/cable for outgoings (Busbar to MCB & MCB to energy Meter), 100 Amps bus bar strip for incomer, all connections, din bars for mounting all switch gears, proper dressing of cables, earthing, painting, grouting the Panel on wall, providing knock out glanding plates including providing proper separation between energy meters etc., complete as required. | 6.00 | Job | Item No.5 | 348000.00 | 410640.00 | 216000.00 | 254880.00 | 336000.00 | 396480.00 | 300000.00 | 354000.00 | 240000.00 | 283200.00 | 299994.00 | 353992.92 | 390000.00 | 460200.00 | 300000.00 | 354000.00 | 216000.00 | C P MONCHESTER ELECTRICALS | 254880.00 | C P MONCHESTER ELECTRICALS
6.00 | Supply of following size XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (PART-I) with upto date amendments as required.
6.01 | 4 X 16 SQ.MM | 500.00 | Mtr | Item No.6(a) | 55000.00 | 64900.00 | 80000.00 | 94400.00 | 55500.00 | 65490.00 | 58500.00 | 69030.00 | 60000.00 | 70800.00 | 67500.00 | 79650.00 | 57500.00 | 67850.00 | 55500.00 | 65490.00 | 55000.00 | Shantha ELectricals and Engineers Pvt Ltd | 64900.00 | Shantha ELectricals and Engineers Pvt Ltd
6.02 | 3.5 X 35 SQ.MM | 600.00 | Mtr | Item No.6(b) | 126000.00 | 148680.00 | 135000.00 | 159300.00 | 87000.00 | 102660.00 | 105000.00 | 123900.00 | 126000.00 | 148680.00 | 122400.00 | 144432.00 | 108000.00 | 127440.00 | 100200.00 | 118236.00 | 87000.00 | DEEPAKELECTRICALS | 102660.00 | DEEPAKELECTRICALS
6.03 | 3.5 X 120 SQ.MM | 100.00 | Mtr | Item No.6(c) | 43000.00 | 50740.00 | 63000.00 | 74340.00 | 35000.00 | 41300.00 | 48000.00 | 56640.00 | 49000.00 | 57820.00 | 55500.00 | 65490.00 | 48000.00 | 56640.00 | 45400.00 | 53572.00 | 35000.00 | DEEPAKELECTRICALS | 41300.00 | DEEPAKELECTRICALS
6.04 | 3.5 X 300 SQ.MM | 1250.00 | Mtr | Item No.6(d) | 1100000.00 | 1298000.00 | 1395000.00 | 1646100.00 | 1312500.00 | 1548750.00 | 1362500.00 | 1607750.00 | 1375000.00 | 1622500.00 | 1573750.00 | 1857025.00 | 1200000.00 | 1416000.00 | 1248750.00 | 1473525.00 | 1100000.00 | Shantha ELectricals and Engineers Pvt Ltd | 1298000.00 | Shantha ELectricals and Engineers Pvt Ltd
7.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminiumconductor cable of 1.1 KV grade as required.
7.01 | 4 X 16 SQ.MM | 30.00 | Each | Item No.7(a) | 13500.00 | 15930.00 | 13500.00 | 15930.00 | 6000.00 | 7080.00 | 4950.00 | 5841.00 | 6000.00 | 7080.00 | 8970.00 | 10584.60 | 4500.00 | 5310.00 | 22500.00 | 26550.00 | 4500.00 | Manoprabha Electricals | 5310.00 | Manoprabha Electricals
7.02 | 3½ X 35 sq. mm (32mm) | 32.00 | Each | Item No.7(b) | 24000.00 | 28320.00 | 19200.00 | 22656.00 | 7360.00 | 8684.80 | 7680.00 | 9062.40 | 11200.00 | 13216.00 | 11168.00 | 13178.24 | 5760.00 | 6796.80 | 24000.00 | 28320.00 | 5760.00 | Manoprabha Electricals | 6796.80 | Manoprabha Electricals
7.03 | 3½ X 120 sq. mm (45mm) | 4.00 | Each | Item No.7(c) | 3600.00 | 4248.00 | 4800.00 | 5664.00 | 1600.00 | 1888.00 | 2340.00 | 2761.20 | 2000.00 | 2360.00 | 1996.00 | 2355.28 | 1200.00 | 1416.00 | 3000.00 | 3540.00 | 1200.00 | Manoprabha Electricals | 1416.00 | Manoprabha Electricals
7.04 | 3½ X 300 sq. mm (70mm) | 4.00 | Each | Item No.7(d) | 6800.00 | 8024.00 | 8000.00 | 9440.00 | 2800.00 | 3304.00 | 3800.00 | 4484.00 | 2400.00 | 2832.00 | 3996.00 | 4715.28 | 2400.00 | 2832.00 | 3000.00 | 3540.00 | 2400.00 | RVD INFRA SOLUTION PVT.LTD., Manoprabha Electricals | 2832.00 | RVD INFRA SOLUTION PVT.LTD., Manoprabha Electricals
8.00 | Laying of one number PVC/XLPE insulated and PVC sheathed power cable of 1.1KV grade Upto 35 sq.mm in the existing RCC/Hume/STONEWARE/METAL/HDPE Pipe as required. | 250.00 | Mtr | Item No.8 | 8750.00 | 10325.00 | 10000.00 | 11800.00 | 5750.00 | 6785.00 | 7500.00 | 8850.00 | 7500.00 | 8850.00 | 4750.00 | 5605.00 | 5000.00 | 5900.00 | 7500.00 | 8850.00 | 4750.00 | CHENNAI ENGINEERING SERVICES | 5605.00 | CHENNAI ENGINEERING SERVICES
9.00 | Laying of one number PVC/XLPE insulated and PVC sheathed power cable of 1.1KV grade Above 95 sq. mm and upto 185 sq. mm in the existing RCC/Hume/STONEWARE/METAL/HDPE Pipe as required. | 80.00 | Mtr | Item No.9 | 6800.00 | 8024.00 | 4800.00 | 5664.00 | 3600.00 | 4248.00 | 3600.00 | 4248.00 | 3200.00 | 3776.00 | 3920.00 | 4625.60 | 2400.00 | 2832.00 | 2800.00 | 3304.00 | 2400.00 | Manoprabha Electricals | 2832.00 | Manoprabha Electricals
10.00 | Laying of one number PVC/XLPE insulated and PVC sheathed power cable of 1.1KV grade Above 185 sq.mm and upto 400 sq.mm in the existing RCC/Hume/STONEWARE/METAL/HDPE Pipe as required. | 1100.00 | Mtr | Item No.10 | 99000.00 | 116820.00 | 99000.00 | 116820.00 | 60500.00 | 71390.00 | 66000.00 | 77880.00 | 66000.00 | 77880.00 | 75900.00 | 89562.00 | 11000.00 | 12980.00 | 33000.00 | 38940.00 | 11000.00 | Manoprabha Electricals | 12980.00 | Manoprabha Electricals
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size in the existing masonry open duct Above 185 sq. mm and upto 400 sq. mm as required. | 60.00 | Mtr | Item No.11 | 10200.00 | 12036.00 | 5400.00 | 6372.00 | 2700.00 | 3186.00 | 1800.00 | 2124.00 | 4800.00 | 5664.00 | 4740.00 | 5593.20 | 1200.00 | 1416.00 | 2100.00 | 2478.00 | 1200.00 | Manoprabha Electricals | 1416.00 | Manoprabha Electricals
12.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray Upto 35 sq. mm (clamped with 1mm thick saddle) as required. | 370.00 | Mtr | Item No.12 | 18500.00 | 21830.00 | 22200.00 | 26196.00 | 20350.00 | 24013.00 | 16650.00 | 19647.00 | 11100.00 | 13098.00 | 14430.00 | 17027.40 | 11100.00 | 13098.00 | 14800.00 | 17464.00 | 11100.00 | RVD INFRA SOLUTION PVT.LTD., Manoprabha Electricals | 13098.00 | RVD INFRA SOLUTION PVT.LTD., Manoprabha Electricals
13.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray Above 185 sq. mm and upto 400 sq. mm (clamped with 1mm thick saddle) as required. | 60.00 | Mtr | Item No.13 | 12600.00 | 14868.00 | 7200.00 | 8496.00 | 3900.00 | 4602.00 | 3600.00 | 4248.00 | 3600.00 | 4248.00 | 7740.00 | 9133.20 | 6000.00 | 7080.00 | 2400.00 | 2832.00 | 2400.00 | DElite System Engineering (India) Pvt. Ltd. | 2832.00 | DElite System Engineering (India) Pvt. Ltd.
14.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE powercable of 1.1 KV grade of following size on wall surface Upto 35 sq. mm (clamped with 1mm thick saddle) as required. | 30.00 | Mtr | Item No.14 | 1350.00 | 1593.00 | 1830.00 | 2159.40 | 1650.00 | 1947.00 | 1050.00 | 1239.00 | 1050.00 | 1239.00 | 870.00 | 1026.60 | 1500.00 | 1770.00 | 1200.00 | 1416.00 | 870.00 | CHENNAI ENGINEERING SERVICES | 1026.60 | CHENNAI ENGINEERING SERVICES
15.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 15.00 | Each | Item No.15 | 14250.00 | 16815.00 | 10800.00 | 12744.00 | 5250.00 | 6195.00 | 16500.00 | 19470.00 | 5250.00 | 6195.00 | 7485.00 | 8832.30 | 7500.00 | 8850.00 | 10500.00 | 12390.00 | 5250.00 | DEEPAKELECTRICALS, RVD INFRA SOLUTION PVT.LTD. | 6195.00 | DEEPAKELECTRICALS, RVD INFRA SOLUTION PVT.LTD.
16.00 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders/ fixing on wall including bolts & nuts, painting etc as required.
16.01 | 300 mm width X 50 mm depth X 1.6 mm thickness | 35.00 | Mtr | Item No. 16 (a) | 21350.00 | 25193.00 | 31500.00 | 37170.00 | 15750.00 | 18585.00 | 27300.00 | 32214.00 | 35875.00 | 42332.50 | 20965.00 | 24738.70 | 28000.00 | 33040.00 | 26250.00 | 30975.00 | 15750.00 | DEEPAKELECTRICALS | 18585.00 | DEEPAKELECTRICALS
16.02 | 150 mm width X 50 mm depth X 1.6 mm thickness | 90.00 | Mtr | Item No. 16 (b) | 36900.00 | 43542.00 | 64800.00 | 76464.00 | 24750.00 | 29205.00 | 41400.00 | 48852.00 | 80100.00 | 94518.00 | 44910.00 | 52993.80 | 45000.00 | 53100.00 | 67500.00 | 79650.00 | 24750.00 | DEEPAKELECTRICALS | 29205.00 | DEEPAKELECTRICALS
17.00 | Supplying and laying of "B" Class G.I pipe of 100 mm dia, i/c excavation of bituminous/concrete road/pavement, excavation of Soil to maximum Depth of 1.20 Mtrs from ground refilling the Soil and with CC of ratio 1:3:6 on top for 0.15 Mtrs after laying Pipe and plastering, making good the same etc., as required. | 48.00 | Mtr | Item No.17 | 52800.00 | 62304.00 | 76800.00 | 90624.00 | 43200.00 | 50976.00 | 79200.00 | 93456.00 | 57600.00 | 67968.00 | 47952.00 | 56583.36 | 67200.00 | 79296.00 | 96000.00 | 113280.00 | 43200.00 | DEEPAKELECTRICALS | 50976.00 | DEEPAKELECTRICALS
18.00 | Supplying and laying of 50 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like socket, bend etc., confirming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (.75 mtr below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required. | 375.00 | Mtr | Item No.18 | 45000.00 | 53100.00 | 135000.00 | 159300.00 | 71250.00 | 84075.00 | 69375.00 | 81862.50 | 93750.00 | 110625.00 | 74625.00 | 88057.50 | 56250.00 | 66375.00 | 93750.00 | 110625.00 | 45000.00 | Shantha ELectricals and Engineers Pvt Ltd | 53100.00 | Shantha ELectricals and Engineers Pvt Ltd
19.00 | Supplying and laying of 125 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like socket, bend etc., confirming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (.75 mtr below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required. | 1050.00 | Mtr | Item No.19 | 514500.00 | 607110.00 | 472500.00 | 557550.00 | 246750.00 | 291165.00 | 614250.00 | 724815.00 | 787500.00 | 929250.00 | 628950.00 | 742161.00 | 446250.00 | 526575.00 | 446250.00 | 526575.00 | 246750.00 | DEEPAKELECTRICALS | 291165.00 | DEEPAKELECTRICALS
20.00 | Providing, laying and fixing of following dia RCC pipe NP2 class ( light duty ) in ground compkete with RCC collaars, jointing with cement mortar 1:2 ( 1 cement :2 fine sand including trenching (75 cm deep) and refilling etc as required. | 70.00 | Mtr | Item No.20 | 59500.00 | 70210.00 | 32200.00 | 37996.00 | 35000.00 | 41300.00 | 44800.00 | 52864.00 | 38500.00 | 45430.00 | 41930.00 | 49477.40 | 7000.00 | 8260.00 | 140000.00 | 165200.00 | 7000.00 | Manoprabha Electricals | 8260.00 | Manoprabha Electricals
21.00 | Construction and supply of per-cast RCC Manhole Chamber of internal Dimension 1Mx1Mx1M ( External 1.2Mx1.2Mx1.2M) with RCC half split top cover of thickness 100mm with L angle reinforced at all sides of top and bottom of covers, lifting hook including finishing with Cement Cost as required. | 5.00 | Job | Item No.21 | 35000.00 | 41300.00 | 90000.00 | 106200.00 | 75000.00 | 88500.00 | 32500.00 | 38350.00 | 52500.00 | 61950.00 | 99995.00 | 117994.10 | 35000.00 | 41300.00 | 55000.00 | 64900.00 | 32500.00 | vk sam engineering | 38350.00 | vk sam engineering
22.00 | Supply of 45W LED street light luminarie ( Efficacy not less than 110 Lumens/watt) with pressure die cast aluminium housing, toughened glass cover, IP 66, suitable for operating at 230 V+/- AC Supply as required. | 20.00 | Each | Item No.22 | 76000.00 | 89680.00 | 54000.00 | 63720.00 | 56000.00 | 66080.00 | 86000.00 | 101480.00 | 36000.00 | 42480.00 | 69980.00 | 82576.40 | 60000.00 | 70800.00 | 90000.00 | 106200.00 | 36000.00 | RVD INFRA SOLUTION PVT.LTD. | 42480.00 | RVD INFRA SOLUTION PVT.LTD.
23.00 | Erection of existing metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required. Above 6.5 metre and upto 8.0 metre | 15.00 | Job | Item No.23 | 82500.00 | 97350.00 | 90000.00 | 106200.00 | 45000.00 | 53100.00 | 67500.00 | 79650.00 | 37500.00 | 44250.00 | 89985.00 | 106182.30 | 15000.00 | 17700.00 | 112500.00 | 132750.00 | 15000.00 | Manoprabha Electricals | 17700.00 | Manoprabha Electricals
24.00 | Installation,Testing, Commissioning of street light fittings directly on street light pole, including connections with 3x1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable from MCB to fitting, earthing etc., complete as required. | 15.00 | Job | Item No.24 | 6000.00 | 7080.00 | 4800.00 | 5664.00 | 4500.00 | 5310.00 | 9750.00 | 11505.00 | 7500.00 | 8850.00 | 14985.00 | 17682.30 | 7500.00 | 8850.00 | 7500.00 | 8850.00 | 4500.00 | DEEPAKELECTRICALS | 5310.00 | DEEPAKELECTRICALS
25.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Each | Item No.25 | 28800.00 | 33984.00 | 28800.00 | 33984.00 | 26000.00 | 30680.00 | 16000.00 | 18880.00 | 24000.00 | 28320.00 | 23996.00 | 28315.28 | 20000.00 | 23600.00 | 30000.00 | 35400.00 | 16000.00 | vk sam engineering | 18880.00 | vk sam engineering
26.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 115.00 | Mtr | Item No.26 | 31050.00 | 36639.00 | 42550.00 | 50209.00 | 23000.00 | 27140.00 | 60375.00 | 71242.50 | 51750.00 | 61065.00 | 40135.00 | 47359.30 | 34500.00 | 40710.00 | 23000.00 | 27140.00 | 23000.00 | DElite System Engineering (India) Pvt. Ltd., DEEPAKELECTRICALS | 27140.00 | DElite System Engineering (India) Pvt. Ltd., DEEPAKELECTRICALS
27.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 100.00 | Mtr | Item No.27 | 25000.00 | 29500.00 | 20000.00 | 23600.00 | 10000.00 | 11800.00 | 21000.00 | 24780.00 | 11000.00 | 12980.00 | 16900.00 | 19942.00 | 7000.00 | 8260.00 | 15000.00 | 17700.00 | 7000.00 | Manoprabha Electricals | 8260.00 | Manoprabha Electricals
28.00 | Providing and fixng 6 SWG GI wire on surface or in recess for loop earthing along with the existing surface/recessed conduit/submain wiring/cable as required. | 156.00 | Mtr | Item No.28 | 7020.00 | 8283.60 | 5460.00 | 6442.80 | 5460.00 | 6442.80 | 3744.00 | 4417.92 | 3432.00 | 4049.76 | 6084.00 | 7179.12 | 3120.00 | 3681.60 | 3900.00 | 4602.00 | 3120.00 | Manoprabha Electricals | 3681.60 | Manoprabha Electricals
29.00 | Supply, installation, testing and commissioning of openwell type submersible pump of 210 LPM discharge (minimum) at 30 mtr head, C.I impeller, SS shaft etc with 3 HP/2.2KW motor suitable for 50mm dia delivery line for operation on 415 V, 3 phase power supply etc, min. 6 mtr suitable submersible cable including supply and fixing of 50mm dia NR Valve and butterfly valve and bringing the delivery line outside of the UG sump i/c all accessories and supports etc, complete as required (As per list of AAI approved makes) | 2.00 | Job | Item No.29 | 110000.00 | 129800.00 | 54000.00 | 63720.00 | 28000.00 | 33040.00 | 75000.00 | 88500.00 | 90000.00 | 106200.00 | 59998.00 | 70797.64 | 40000.00 | 47200.00 | 60000.00 | 70800.00 | 28000.00 | DEEPAKELECTRICALS | 33040.00 | DEEPAKELECTRICALS
30.00 | Providing, fixing, testing and commissioning of control panel for Booster pump (Outdoor double door type) made out of 3mm thick CRCA sheet steel for outdoor shell and 2mm thick inner partion, dust tight, vermin proof, totally enclosed, cubical type, floor /steel structure mounting, provided with raingaurd on top, meeting IP 55 suitable for operation at 415 volt, 3 phase, 4 wire, 50Hz AC system complete with all accessories, inter connection, earthing, painting, provided with bottom base channel and locking arrangements etc. as required and comprising of the following. A) Incomer: MCCB 63A, 36 KA with 1 set of Phase indicating lamps and 1 set of ON/OFF/TRIP Indication Lamps. B) CT operated Digital Meter (EM6400 of conzerve/Equivalent) - 1 set C) Outgoings - 1 No. MPCB suitable for upto 10 HP Motor & 2 Nos. of 32 Amps 4P MCBs. D) DOL starter suitable for upto 10 HP Motor with over load relay, single phase preventor and indicating lamps with ON/OFF push buttons. E) 1 No. Automanual selector switch suitable for booster pumps. F) 100 Amps Neutral at par Aluminium Busbars G) All accessories such as fuses, auxilliary contactors, auxilliary switches, etc. as required. All as above A to G | 2.00 | Job | Item No.30 | 190000.00 | 224200.00 | 36000.00 | 42480.00 | 144600.00 | 170628.00 | 100000.00 | 118000.00 | 90000.00 | 106200.00 | 99998.00 | 117997.64 | 160000.00 | 188800.00 | 50000.00 | 59000.00 | 36000.00 | C P MONCHESTER ELECTRICALS | 42480.00 | C P MONCHESTER ELECTRICALS
31.00 | Providing Civil Works as required as detailed below:
31.01 | Structural steel work in single section, fixed with or without connection plate, i/c cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 300.00 | Kg | Item No.31(a) | 28500.00 | 33630.00 | 45000.00 | 53100.00 | 75000.00 | 88500.00 | 33000.00 | 38940.00 | 33000.00 | 38940.00 | 17700.00 | 20886.00 | 15000.00 | 17700.00 | 45000.00 | 53100.00 | 15000.00 | Manoprabha Electricals | 17700.00 | Manoprabha Electricals
31.02 | Providing and laying in position cement concrete of specific grade excluding the cost of centering and shuttering. 1:4:8 (1 Cement: 4 coarse sand (zone-III): 8 graded stone aggregate 40 mm nominal size) | 2.00 | Cum | Item No.31(b) | 10000.00 | 11800.00 | 14000.00 | 16520.00 | 7000.00 | 8260.00 | 8000.00 | 9440.00 | 7000.00 | 8260.00 | 11598.00 | 13685.64 | 6000.00 | 7080.00 | 15000.00 | 17700.00 | 6000.00 | Manoprabha Electricals | 7080.00 | Manoprabha Electricals
31.03 | Centering and shuttering including struting, propping etc, and removal of all form for all heights | 10.00 | Sq.Mtr | Item No.31(c) | 1200.00 | 1416.00 | 18000.00 | 21240.00 | 2000.00 | 2360.00 | 3500.00 | 4130.00 | 2500.00 | 2950.00 | 1990.00 | 2348.20 | 6000.00 | 7080.00 | 15000.00 | 17700.00 | 1200.00 | Shantha ELectricals and Engineers Pvt Ltd | 1416.00 | Shantha ELectricals and Engineers Pvt Ltd
31.04 | Providing and laying in position cement concrete of specific grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement. 1:2:4 (1 Cement: 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 10.00 | Cum | Item No.31(d) | 45000.00 | 53100.00 | 70000.00 | 82600.00 | 65000.00 | 76700.00 | 50000.00 | 59000.00 | 30000.00 | 35400.00 | 64990.00 | 76688.20 | 10000.00 | 11800.00 | 75000.00 | 88500.00 | 10000.00 | Manoprabha Electricals | 11800.00 | Manoprabha Electricals
31.05 | Steel reinforcement for RCC work including straightening, cutting, bending, placing in position and binding all complete | 200.00 | Kg | Item No.31(e) | 11000.00 | 12980.00 | 30000.00 | 35400.00 | 30000.00 | 35400.00 | 13600.00 | 16048.00 | 12000.00 | 14160.00 | 11800.00 | 13924.00 | 10000.00 | 11800.00 | 30000.00 | 35400.00 | 10000.00 | Manoprabha Electricals | 11800.00 | Manoprabha Electricals
31.06 | Brick work with bricks of class designation 60 in foundation and plinth in 1:6 (1 cement: 6 coarse sand) | 5.00 | Cum | Item No.31(f) | 375.00 | 442.50 | 45000.00 | 53100.00 | 17500.00 | 20650.00 | 30000.00 | 35400.00 | 2500.00 | 2950.00 | 29995.00 | 35394.10 | 5000.00 | 5900.00 | 7500.00 | 8850.00 | 375.00 | Shantha ELectricals and Engineers Pvt Ltd | 442.50 | Shantha ELectricals and Engineers Pvt Ltd
31.07 | Cement plaster 12mm thick of mixture 1:6 | 5.00 | Sq.Mtr | Item No.31(g) | 1100.00 | 1298.00 | 22500.00 | 26550.00 | 5000.00 | 5900.00 | 1500.00 | 1770.00 | 3000.00 | 3540.00 | 1195.00 | 1410.10 | 5000.00 | 5900.00 | 600.00 | 708.00 | 600.00 | DElite System Engineering (India) Pvt. Ltd. | 708.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  | 4315945.00 | 5092815.10 | 4373640.00 | 5160895.20 | 4360120.00 | 5144941.60 | 4477264.00 | 5283171.52 | 4396107.00 | 5187406.26 | 4955758.00 | 5847794.44 | 4364880.00 | 5150558.40 | 4709398.00 | 5557089.64

## BOQ Summary
BOQ Summary Details Tender Title: CON. HOSTEL ACCOMMODATION IN SR RESIDENTIAL COLONY, CHENNAI AIRPORT. SH POWER SUPPLY WORKS Tender ID: 2021_AAI_73053_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shantha ELectricals and Engineers Pvt Ltd | 5092815.10 | L1
| 2 | DEEPAKELECTRICALS | 5144941.60 | L2
| 3 | Manoprabha Electricals | 5150558.40 | L3
| 4 | C P MONCHESTER ELECTRICALS | 5160895.20 | L4
| 5 | RVD INFRA SOLUTION PVT.LTD. | 5187406.26 | L5
| 6 | vk sam engineering | 5283171.52 | L6
| 7 | DElite System Engineering (India) Pvt. Ltd. | 5557089.64 | L7
| 8 | CHENNAI ENGINEERING SERVICES | 5847794.44 | L8