## BoQ1
Government eProcurement System Created By: ANIL KUMAR Created Date/Time: 17-Sep-2021 02:30 PM Tender Title: Construction of Link Building between Terminal T-1 and T-2 for integrated operations using passenger boarding bridge facility and expansion renovation work of Terminal T-2 at BPI Airport, Bhubaneswar SH Provision of 33 KV Substation and allied work Tender ID: 2021_AAI_73353_1
Tender Inviting Authority: AGM (E-E)-ER, AAI, First Floor, Old RD Building, Safdarjung Airport, New Delhi-110003
Name of Work : Construction of Link Building between Terminal T-1 & T-2 for integrated operations using passenger boarding bridge facility and expansion/renovation work of Terminal T-2 at BP I Airport, Bhubaneswar. SH: Provision of 33 KV Substation and allied works.
Contract No: TENDER ID: 2021_AAI_73353
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. T. ELECTRICALS PVT. LTD.(GSTN-27AAGCS6214D1ZK) |  | Bhanwariya Infra Projects Pvt Ltd(GSTN-NA) |  | Gupta Power Infrastructure Ltd.(GSTN-NA) |  | EKTA ELECTRICALS(GSTN-NA) |  | Godrej & Boyce Mfg Ltd(GSTN-NA) |  | Bharat Bijlee Ltd(GSTN-NA) |  | Shyam Indus Power Solutions Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 33KV, 14 VCB Indoor Switchboard Panel | 1.00 | JOB |  | 13230000.00 | 13230000.00 | 12513600.00 | 12513600.00 | 14424763.47 | 14424763.47 | 12700000.00 | 12700000.00 | 12481196.00 | 12481196.00 | 15501987.00 | 15501987.00 | 13201714.29 | 13201714.29 | 12481196.00 | Godrej & Boyce Mfg Ltd
2.00 | SITC of 33 KV, 2 VCB Outdoor Panel | 1.00 | JOB |  | 1890000.00 | 1890000.00 | 2539600.00 | 2539600.00 | 2303302.19 | 2303302.19 | 2000000.00 | 2000000.00 | 2294115.00 | 2294115.00 | 2570276.00 | 2570276.00 | 2219142.86 | 2219142.86 | 1890000.00 | S. T. ELECTRICALS PVT. LTD.
3.00 | SITC of 24 V, 200 AH Battery Charger panel with battery bank | 1.00 | JOB |  | 126000.00 | 126000.00 | 557250.00 | 557250.00 | 381543.61 | 381543.61 | 294000.00 | 294000.00 | 200139.00 | 200139.00 | 332091.00 | 332091.00 | 617142.86 | 617142.86 | 126000.00 | S. T. ELECTRICALS PVT. LTD.
4.00 | SITC of 33KV/0.433KV, 2000 KVA Dry Type Transformer | 2.00 | JOB |  | 3906000.00 | 7812000.00 | 4322500.00 | 8645000.00 | 4660430.59 | 9320861.18 | 3800000.00 | 7600000.00 | 4117727.00 | 8235454.00 | 3522154.00 | 7044308.00 | 4583571.43 | 9167142.86 | 7044308.00 | Bharat Bijlee Ltd
5.00 | Supply of following size of 33KV (Un earthed) grade, multicore stranded aluminium conductor, XLPE insulated & PVC sheathed armoured power cable
5.01 | 3 Core, 300 Sq.mm. (33KV UE grade) | 3000.00 | Mtr |  | 2473.38 | 7420140.00 | 2612.40 | 7837200.00 | 2658.85 | 7976554.99 | 2000.00 | 6000000.00 | 3765.00 | 11295000.00 | 2254.00 | 6762000.00 | 2460.86 | 7382580.00 | 6000000.00 | EKTA ELECTRICALS
6.00 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable
6.01 | 3 Core, 300 Sq.mm. (33KV UE grade) | 10.00 | SET |  | 6930.00 | 69300.00 | 5000.00 | 50000.00 | 14112.60 | 141126.02 | 8352.00 | 83520.00 | 18162.00 | 181620.00 | 15031.00 | 150310.00 | 15557.14 | 155571.40 | 50000.00 | Bhanwariya Infra Projects Pvt Ltd
7.00 | Supplying and making outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following
7.01 | 3 Core, 300 Sq.mm. (33KV UE grade) | 2.00 | SET |  | 7308.00 | 14616.00 | 5500.00 | 11000.00 | 16105.56 | 32211.12 | 8352.00 | 16704.00 | 8488.00 | 16976.00 | 17634.00 | 35268.00 | 16862.14 | 33724.28 | 11000.00 | Bhanwariya Infra Projects Pvt Ltd
8.00 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following
8.01 | 3 Core, 300 Sq.mm. (33KV UE grade) | 4.00 | SET |  | 18900.00 | 75600.00 | 13500.00 | 54000.00 | 26369.00 | 105476.01 | 25000.00 | 100000.00 | 53391.00 | 213564.00 | 38388.00 | 153552.00 | 37202.14 | 148808.56 | 54000.00 | Bhanwariya Infra Projects Pvt Ltd
9.00 | Laying of HT cable in pipe above 120 sq. mm and upto 400 sq. mm | 2550.00 | Mtr |  | 151.20 | 385560.00 | 150.00 | 382500.00 | 101.00 | 257550.00 | 95.00 | 242250.00 | 294.00 | 749700.00 | 170.00 | 433500.00 | 424.29 | 1081939.50 | 242250.00 | EKTA ELECTRICALS
10.00 | Laying of HT cable in masonary duct above 120 sq. mm and upto 400 sq. mm | 350.00 | Mtr |  | 151.20 | 52920.00 | 130.00 | 45500.00 | 101.00 | 35350.00 | 95.00 | 33250.00 | 389.00 | 136150.00 | 170.00 | 59500.00 | 13500.00 | 4725000.00 | 33250.00 | EKTA ELECTRICALS
11.00 | Laying of HT cable in surface / cable tray above 185 sq. mm and upto 400 sq. mm | 60.00 | Mtr |  | 151.20 | 9072.00 | 130.00 | 7800.00 | 101.00 | 6060.00 | 95.00 | 5700.00 | 487.00 | 29220.00 | 170.00 | 10200.00 | 411.43 | 24685.80 | 5700.00 | EKTA ELECTRICALS
12.00 | Laying of one number armoured PVC/XLPE insulated and PVC sheathed power cable of 33 KV grade of following size direct in ground
12.01 | Above 120 Sq.mm up to 400Sqmm | 25.00 | Mtr |  | 220.50 | 5512.50 | 130.00 | 3250.00 | 474.70 | 11867.50 | 95.00 | 2375.00 | 365.00 | 9125.00 | 1576.00 | 39400.00 | 514.29 | 12857.25 | 2375.00 | EKTA ELECTRICALS
13.00 | Supply and laying 200 mm dia HDPE pipe by HDD method | 500.00 | Mtr |  | 1890.00 | 945000.00 | 560.00 | 280000.00 | 4057.78 | 2028890.70 | 2100.00 | 1050000.00 | 2686.00 | 1343000.00 | 1676.00 | 838000.00 | 1967.14 | 983570.00 | 280000.00 | Bhanwariya Infra Projects Pvt Ltd
14.00 | Supply and laying 200 mm dia HDPE pipe in ground | 3300.00 | Mtr |  | 1008.00 | 3326400.00 | 480.00 | 1584000.00 | 1482.28 | 4891528.65 | 1110.00 | 3663000.00 | 1567.00 | 5171100.00 | 1209.00 | 3989700.00 | 1967.14 | 6491562.00 | 1584000.00 | Bhanwariya Infra Projects Pvt Ltd
15.00 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable
15.01 | 3.5 Core, 400 Sq.mm. | 900.00 | Mtr |  | 1501.92 | 1351728.00 | 1656.40 | 1490760.00 | 1632.35 | 1469111.53 | 1450.00 | 1305000.00 | 1821.00 | 1638900.00 | 1404.00 | 1263600.00 | 1389.03 | 1250127.00 | 1250127.00 | Shyam Indus Power Solutions Private Limited
15.02 | 3.5 Core, 185 Sq.mm. | 400.00 | Mtr |  | 764.82 | 305928.00 | 833.60 | 333440.00 | 831.67 | 332669.76 | 740.00 | 296000.00 | 992.00 | 396800.00 | 715.00 | 286000.00 | 720.89 | 288356.00 | 286000.00 | Bharat Bijlee Ltd
15.03 | 3.5 Core, 150 Sq.mm. | 200.00 | Mtr |  | 611.10 | 122220.00 | 795.80 | 159160.00 | 671.35 | 134269.84 | 587.00 | 117400.00 | 809.00 | 161800.00 | 567.00 | 113400.00 | 615.76 | 123152.00 | 113400.00 | Bharat Bijlee Ltd
15.04 | 3.5 Core, 70 Sq.mm. | 350.00 | Mtr |  | 335.16 | 117306.00 | 415.60 | 145460.00 | 357.83 | 125241.76 | 322.00 | 112700.00 | 509.00 | 178150.00 | 312.00 | 109200.00 | 300.74 | 105259.00 | 105259.00 | Shyam Indus Power Solutions Private Limited
15.05 | 4 Core, 25 Sq.mm. | 200.00 | Mtr |  | 166.32 | 33264.00 | 183.50 | 36700.00 | 187.34 | 37468.07 | 160.00 | 32000.00 | 303.00 | 60600.00 | 154.00 | 30800.00 | 173.47 | 34694.00 | 30800.00 | Bharat Bijlee Ltd
16.00 | Supplying of following sizes 1.1 KV grade PVC/XLPE insulated PVC sheathed copper conductor multistrand armoured Control Cable
16.01 | 4 core, 2.5 Sq.mm. Copper Conductor cable | 900.00 | Mtr |  | 146.16 | 131544.00 | 160.50 | 144450.00 | 174.68 | 157212.10 | 151.00 | 135900.00 | 187.00 | 168300.00 | 145.00 | 130500.00 | 164.30 | 147870.00 | 130500.00 | Bharat Bijlee Ltd
16.02 | 10 core, 2.5 Sq.mm. Copper Conductor cable | 610.00 | Mtr |  | 302.40 | 184464.00 | 310.70 | 189527.00 | 382.33 | 233220.16 | 316.00 | 192760.00 | 362.00 | 220820.00 | 303.00 | 184830.00 | 171.00 | 104310.00 | 104310.00 | Shyam Indus Power Solutions Private Limited
16.03 | 4 core, 6 Sq.mm. Copper Conductor cable | 150.00 | Mtr |  | 288.54 | 43281.00 | 295.10 | 44265.00 | 338.49 | 50774.15 | 315.00 | 47250.00 | 349.00 | 52350.00 | 303.00 | 45450.00 | 185.56 | 27834.00 | 27834.00 | Shyam Indus Power Solutions Private Limited
17.00 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size XLPE aluminium conductor cable of 1.1 KV grade as required
17.01 | 3.5 Core, 400 Sq.mm. | 2.00 | SET |  | 1890.00 | 3780.00 | 1920.00 | 3840.00 | 4897.08 | 9794.17 | 4000.00 | 8000.00 | 6744.00 | 13488.00 | 8921.00 | 17842.00 | 6036.43 | 12072.86 | 3780.00 | S. T. ELECTRICALS PVT. LTD.
17.02 | 3.5 Core, 185 Sq.mm. | 2.00 | SET |  | 1890.00 | 3780.00 | 1730.00 | 3460.00 | 3761.91 | 7523.82 | 4000.00 | 8000.00 | 5269.00 | 10538.00 | 8467.00 | 16934.00 | 4628.57 | 9257.14 | 3460.00 | Bhanwariya Infra Projects Pvt Ltd
17.03 | 3.5 Core, 150 Sq.mm. | 2.00 | SET |  | 1890.00 | 3780.00 | 1107.50 | 2215.00 | 3761.91 | 7523.82 | 4000.00 | 8000.00 | 4844.00 | 9688.00 | 4902.00 | 9804.00 | 3252.86 | 6505.72 | 2215.00 | Bhanwariya Infra Projects Pvt Ltd
17.04 | 3.5 Core, 70 Sq.mm. | 2.00 | SET |  | 1512.00 | 3024.00 | 889.00 | 1778.00 | 2907.26 | 5814.53 | 4000.00 | 8000.00 | 4237.00 | 8474.00 | 4404.00 | 8808.00 | 2610.00 | 5220.00 | 1778.00 | Bhanwariya Infra Projects Pvt Ltd
18.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface/ cable tray as required
18.01 | Upto 35 Sq.mm (including control cables) | 655.00 | Mtr |  | 37.80 | 24759.00 | 30.00 | 19650.00 | 25.25 | 16538.75 | 95.00 | 62225.00 | 97.00 | 63535.00 | 35.00 | 22925.00 | 57.86 | 37898.30 | 16538.75 | Gupta Power Infrastructure Ltd.
18.02 | Above 35 sq. mm and upto 95 sq.mm | 10.00 | Mtr |  | 50.40 | 504.00 | 30.00 | 300.00 | 50.50 | 505.00 | 95.00 | 950.00 | 109.00 | 1090.00 | 65.00 | 650.00 | 70.71 | 707.10 | 300.00 | Bhanwariya Infra Projects Pvt Ltd
18.03 | Above 95 Sq.mm. and upto 185 Sq.mm. | 40.00 | Mtr |  | 56.70 | 2268.00 | 50.00 | 2000.00 | 60.60 | 2424.00 | 95.00 | 3800.00 | 219.00 | 8760.00 | 95.00 | 3800.00 | 109.29 | 4371.60 | 2000.00 | Bhanwariya Infra Projects Pvt Ltd
18.04 | Above 185 Sq.mm. and upto 400 Sq.mm. | 180.00 | Mtr |  | 63.00 | 11340.00 | 80.00 | 14400.00 | 75.75 | 13635.00 | 95.00 | 17100.00 | 268.00 | 48240.00 | 119.00 | 21420.00 | 160.71 | 28927.80 | 11340.00 | S. T. ELECTRICALS PVT. LTD.
19.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC /HUME / STONEWARE/ METAL / HDPE PIPE as required.
19.01 | upto 35 sq mm | 620.00 | Mtr |  | 37.80 | 23436.00 | 50.00 | 31000.00 | 30.30 | 18786.00 | 95.00 | 58900.00 | 97.00 | 60140.00 | 35.00 | 21700.00 | 57.86 | 35873.20 | 18786.00 | Gupta Power Infrastructure Ltd.
19.02 | Above 35Sq.mm up to 95 Sqmm | 290.00 | Mtr |  | 50.40 | 14616.00 | 60.00 | 17400.00 | 60.60 | 17574.00 | 95.00 | 27550.00 | 116.00 | 33640.00 | 65.00 | 18850.00 | 70.71 | 20505.90 | 14616.00 | S. T. ELECTRICALS PVT. LTD.
19.03 | Above 95 Sq.mm up to 185 Sqmm | 460.00 | Mtr |  | 56.70 | 26082.00 | 60.00 | 27600.00 | 75.75 | 34845.00 | 95.00 | 43700.00 | 219.00 | 100740.00 | 95.00 | 43700.00 | 109.29 | 50273.40 | 26082.00 | S. T. ELECTRICALS PVT. LTD.
19.04 | Above 185Sq.mm up to 400Sqmm | 450.00 | Mtr |  | 63.00 | 28350.00 | 80.00 | 36000.00 | 90.90 | 40905.00 | 95.00 | 42750.00 | 268.00 | 120600.00 | 119.00 | 53550.00 | 160.71 | 72319.50 | 28350.00 | S. T. ELECTRICALS PVT. LTD.
20.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing masonary open duct as required.
20.01 | upto 35 sq mm | 460.00 | Mtr |  | 37.80 | 17388.00 | 25.00 | 11500.00 | 25.25 | 11615.00 | 95.00 | 43700.00 | 97.00 | 44620.00 | 35.00 | 16100.00 | 57.86 | 26615.60 | 11500.00 | Bhanwariya Infra Projects Pvt Ltd
20.02 | Above 35 Sqmm and upto 95 Sqmm | 40.00 | Mtr |  | 50.40 | 2016.00 | 30.00 | 1200.00 | 50.50 | 2020.00 | 95.00 | 3800.00 | 116.00 | 4640.00 | 65.00 | 2600.00 | 70.71 | 2828.40 | 1200.00 | Bhanwariya Infra Projects Pvt Ltd
20.03 | Above 95 Sqmm and upto 185 Sqmm | 80.00 | Mtr |  | 56.70 | 4536.00 | 60.00 | 4800.00 | 60.60 | 4848.00 | 95.00 | 7600.00 | 219.00 | 17520.00 | 95.00 | 7600.00 | 109.29 | 8743.20 | 4536.00 | S. T. ELECTRICALS PVT. LTD.
20.04 | Above 185 Sqmm up to 400 Sqmm | 220.00 | Mtr |  | 63.00 | 13860.00 | 60.00 | 13200.00 | 75.75 | 16665.00 | 95.00 | 20900.00 | 243.00 | 53460.00 | 119.00 | 26180.00 | 160.71 | 35356.20 | 13200.00 | Bhanwariya Infra Projects Pvt Ltd
21.00 | Laying of one number armoured PVC/XLPE insulated and PVC sheathed power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required.
21.01 | Upto 35 sq mm | 5.00 | Mtr |  | 189.00 | 945.00 | 60.00 | 300.00 | 474.70 | 2373.50 | 95.00 | 475.00 | 158.00 | 790.00 | 1846.00 | 9230.00 | 385.71 | 1928.55 | 300.00 | Bhanwariya Infra Projects Pvt Ltd
21.02 | Above 35 Sq.mm. but not exceeding 95 sq.mm. | 5.00 | Mtr |  | 201.60 | 1008.00 | 80.00 | 400.00 | 525.20 | 2626.00 | 95.00 | 475.00 | 219.00 | 1095.00 | 1866.00 | 9330.00 | 514.29 | 2571.45 | 400.00 | Bhanwariya Infra Projects Pvt Ltd
21.03 | Above 95 Sq.mm. but not exceeding 185 sq.mm. | 5.00 | Mtr |  | 220.50 | 1102.50 | 80.00 | 400.00 | 575.70 | 2878.50 | 95.00 | 475.00 | 268.00 | 1340.00 | 1897.00 | 9485.00 | 642.86 | 3214.30 | 400.00 | Bhanwariya Infra Projects Pvt Ltd
21.04 | Above 185 Sq.mm. but not exceeding 400 sq.mm. | 5.00 | Mtr |  | 252.00 | 1260.00 | 120.00 | 600.00 | 626.20 | 3131.00 | 95.00 | 475.00 | 316.00 | 1580.00 | 1954.00 | 9770.00 | 771.43 | 3857.15 | 475.00 | EKTA ELECTRICALS
22.00 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required
22.01 | Upto 35 sq mm | 5.00 | Mtr |  | 189.00 | 945.00 | 120.00 | 600.00 | 474.70 | 2373.50 | 95.00 | 475.00 | 105.00 | 525.00 | 1846.00 | 9230.00 | 385.71 | 1928.55 | 475.00 | EKTA ELECTRICALS
22.02 | Above 35 Sq.mm. but not exceeding 95 sq.mm. | 5.00 | Mtr |  | 201.60 | 1008.00 | 130.00 | 650.00 | 525.20 | 2626.00 | 95.00 | 475.00 | 124.00 | 620.00 | 1866.00 | 9330.00 | 514.29 | 2571.45 | 475.00 | EKTA ELECTRICALS
22.03 | Above 95 Sq.mm. but not exceeding 185 sq.mm. | 5.00 | Mtr |  | 220.50 | 1102.50 | 130.00 | 650.00 | 575.70 | 2878.50 | 95.00 | 475.00 | 192.00 | 960.00 | 1897.00 | 9485.00 | 642.86 | 3214.30 | 475.00 | EKTA ELECTRICALS
22.04 | Above 185 Sq.mm. but not exceeding 400 sq.mm. | 5.00 | Mtr |  | 252.00 | 1260.00 | 130.00 | 650.00 | 626.20 | 3131.00 | 95.00 | 475.00 | 263.00 | 1315.00 | 1954.00 | 9770.00 | 771.43 | 3857.15 | 475.00 | EKTA ELECTRICALS
23.00 | Supplying and making end termination with brass compression gland and Aluminum lugs for following size of XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1 KV grade as required.
23.01 | 3.5 Core, 400 Sq.mm. | 12.00 | SET |  | 945.00 | 11340.00 | 1603.50 | 19242.00 | 3009.89 | 36118.63 | 2900.00 | 34800.00 | 2393.00 | 28716.00 | 4174.00 | 50088.00 | 2828.57 | 33942.84 | 11340.00 | S. T. ELECTRICALS PVT. LTD.
23.02 | 3.5 Core, 185 Sq.mm. | 4.00 | SET |  | 567.00 | 2268.00 | 1290.00 | 5160.00 | 1510.08 | 6040.32 | 1700.00 | 6800.00 | 1067.00 | 4268.00 | 1807.00 | 7228.00 | 2314.29 | 9257.16 | 2268.00 | S. T. ELECTRICALS PVT. LTD.
23.03 | 3.5 Core, 150 Sq.mm. | 4.00 | SET |  | 441.00 | 1764.00 | 1195.00 | 4780.00 | 1454.10 | 5816.40 | 1700.00 | 6800.00 | 1038.00 | 4152.00 | 1787.00 | 7148.00 | 1896.43 | 7585.72 | 1764.00 | S. T. ELECTRICALS PVT. LTD.
23.04 | 3.5 Core, 70 Sq.mm. | 4.00 | SET |  | 220.50 | 882.00 | 670.00 | 2680.00 | 906.12 | 3624.49 | 1050.00 | 4200.00 | 657.00 | 2628.00 | 1206.00 | 4824.00 | 964.29 | 3857.16 | 882.00 | S. T. ELECTRICALS PVT. LTD.
23.05 | 4 Core, 25 Sq.mm. | 10.00 | SET |  | 176.40 | 1764.00 | 382.50 | 3825.00 | 383.88 | 3838.76 | 800.00 | 8000.00 | 361.00 | 3610.00 | 674.00 | 6740.00 | 707.14 | 7071.40 | 1764.00 | S. T. ELECTRICALS PVT. LTD.
24.00 | Supplying and making end termination with brass compression gland and Copper lugs for following size of PVC insulated PVC sheathed/ XLPE copper conductor armoured control cable of 1.1 KV grade as required.
24.01 | 4 C x 2.5 sqmm | 28.00 | SET |  | 63.00 | 1764.00 | 572.50 | 16030.00 | 214.67 | 6010.70 | 400.00 | 11200.00 | 204.00 | 5712.00 | 420.00 | 11760.00 | 630.00 | 17640.00 | 1764.00 | S. T. ELECTRICALS PVT. LTD.
24.02 | 10 C x 2.5 sqmm | 24.00 | SET |  | 94.50 | 2268.00 | 776.75 | 18642.00 | 280.82 | 6739.71 | 600.00 | 14400.00 | 304.00 | 7296.00 | 566.00 | 13584.00 | 951.43 | 22834.32 | 2268.00 | S. T. ELECTRICALS PVT. LTD.
24.03 | 4 C x 6 sqmm | 4.00 | SET |  | 94.50 | 378.00 | 477.50 | 1910.00 | 268.44 | 1073.75 | 400.00 | 1600.00 | 269.00 | 1076.00 | 564.00 | 2256.00 | 739.29 | 2957.16 | 378.00 | S. T. ELECTRICALS PVT. LTD.
25.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required.
25.01 | 100 mm width X 50 mm depth X 1.6 mm thickness | 150.00 | Mtr |  | 425.88 | 63882.00 | 570.00 | 85500.00 | 409.61 | 61441.55 | 429.00 | 64350.00 | 921.00 | 138150.00 | 564.00 | 84600.00 | 544.82 | 81723.00 | 61441.55 | Gupta Power Infrastructure Ltd.
25.02 | 150 mm width X 50 mm depth X 1.6 mm thickness | 75.00 | Mtr |  | 501.48 | 37611.00 | 645.00 | 48375.00 | 500.92 | 37569.16 | 530.00 | 39750.00 | 1046.00 | 78450.00 | 697.00 | 52275.00 | 675.96 | 50697.00 | 37569.16 | Gupta Power Infrastructure Ltd.
25.03 | 225 mm width X 50 mm depth X 1.6 mm thickness | 75.00 | Mtr |  | 613.62 | 46021.50 | 750.00 | 56250.00 | 690.82 | 51811.41 | 670.00 | 50250.00 | 1218.00 | 91350.00 | 876.00 | 65700.00 | 899.36 | 67452.00 | 46021.50 | S. T. ELECTRICALS PVT. LTD.
25.04 | 300 mm width X 50 mm depth X 1.6 mm thickness | 125.00 | Mtr |  | 727.02 | 90877.50 | 890.00 | 111250.00 | 838.82 | 104852.12 | 832.00 | 104000.00 | 1378.00 | 172250.00 | 1080.00 | 135000.00 | 1115.36 | 139420.00 | 90877.50 | S. T. ELECTRICALS PVT. LTD.
25.05 | 450 mm width X 50 mm depth X 2.0 mm thickness | 150.00 | Mtr |  | 952.56 | 142884.00 | 1045.00 | 156750.00 | 1260.39 | 189058.22 | 1280.00 | 192000.00 | 1822.00 | 273300.00 | 1621.00 | 243150.00 | 1752.75 | 262912.50 | 142884.00 | S. T. ELECTRICALS PVT. LTD.
25.06 | 600 mm width X 50 mm depth X 2.0 mm thickness | 150.00 | Mtr |  | 1178.10 | 176715.00 | 1470.00 | 220500.00 | 1573.52 | 236027.40 | 1610.00 | 241500.00 | 3151.00 | 472650.00 | 2015.00 | 302250.00 | 2220.11 | 333016.50 | 176715.00 | S. T. ELECTRICALS PVT. LTD.
26.00 | Supply, Installation, Testing and Commissioning of following rating pre-fabricated sandwiched bustrunking
26.01 | 1250 A, Four pole busduct with 100% neutral bus as that of phase, (minimum) 50 KA | 260.00 | Mtr |  | 12600.00 | 3276000.00 | 17330.00 | 4505800.00 | 16770.32 | 4360283.00 | 16500.00 | 4290000.00 | 13962.00 | 3630120.00 | 12476.00 | 3243760.00 | 13114.29 | 3409715.40 | 3243760.00 | Bharat Bijlee Ltd
26.02 | 2000 A, Four pole busduct with 100% neutral bus as that of phase, (minimum) 50 KA | 55.00 | Mtr |  | 17640.00 | 970200.00 | 29088.00 | 1599840.00 | 30293.07 | 1666118.71 | 23500.00 | 1292500.00 | 20915.00 | 1150325.00 | 18896.00 | 1039280.00 | 16971.43 | 933428.65 | 933428.65 | Shyam Indus Power Solutions Private Limited
26.03 | 3200 A, Four pole busduct with 100% neutral bus as that of phase, (minimum) 50 KA | 145.00 | Mtr |  | 28980.00 | 4202100.00 | 44505.00 | 6453225.00 | 50122.21 | 7267719.82 | 37500.00 | 5437500.00 | 28558.00 | 4140910.00 | 23639.00 | 3427655.00 | 19542.86 | 2833714.70 | 2833714.70 | Shyam Indus Power Solutions Private Limited
26.04 | 4000 A, Four pole busduct with 100% neutral bus as that of phase, (minimum) 50 KA | 70.00 | Mtr |  | 36540.00 | 2557800.00 | 58082.00 | 4065740.00 | 64730.47 | 4531133.04 | 46000.00 | 3220000.00 | 38900.00 | 2723000.00 | 32615.00 | 2283050.00 | 25971.43 | 1818000.10 | 1818000.10 | Shyam Indus Power Solutions Private Limited
27.00 | SITC of TTA type NON-Essential / Transformer Main LT Panel | 1.00 | JOB |  | 6552000.00 | 6552000.00 | 7222600.00 | 7222600.00 | 7245597.00 | 7245597.00 | 7159000.00 | 7159000.00 | 7067776.00 | 7067776.00 | 5702727.00 | 5702727.00 | 7042644.00 | 7042644.00 | 5702727.00 | Bharat Bijlee Ltd
28.00 | SITC of TTA type DG Synchronisation LT panel | 1.00 | JOB |  | 5166000.00 | 5166000.00 | 6628600.00 | 6628600.00 | 5873128.14 | 5873128.14 | 6000000.00 | 6000000.00 | 6931033.00 | 6931033.00 | 4468195.00 | 4468195.00 | 5861345.14 | 5861345.14 | 4468195.00 | Bharat Bijlee Ltd
29.00 | SITC of TTA type Main Essential Distribution LT panel | 1.00 | JOB |  | 10836000.00 | 10836000.00 | 12090100.00 | 12090100.00 | 12835642.72 | 12835642.72 | 11700000.00 | 11700000.00 | 12661223.00 | 12661223.00 | 9173519.00 | 9173519.00 | 12471975.00 | 12471975.00 | 9173519.00 | Bharat Bijlee Ltd
30.00 | SITC of PTTA type 1200 KVAR AHF cum APFC Hybrid Panel | 2.00 | JOB |  | 4158000.00 | 8316000.00 | 5225000.00 | 10450000.00 | 4686139.39 | 9372278.77 | 3800000.00 | 7600000.00 | 4592691.00 | 9185382.00 | 3848671.00 | 7697342.00 | 5170017.86 | 10340035.72 | 7600000.00 | EKTA ELECTRICALS
31.00 | SITC of PTTA type HSD Indoor LT Panel | 1.00 | JOB |  | 252000.00 | 252000.00 | 317800.00 | 317800.00 | 377941.40 | 377941.40 | 480000.00 | 480000.00 | 280991.00 | 280991.00 | 154745.00 | 154745.00 | 702469.29 | 702469.29 | 154745.00 | Bharat Bijlee Ltd
32.00 | Providing copper plate of 600mm x 600mm x 3.0mm thick earthing | 26.00 | SET |  | 15120.00 | 393120.00 | 11525.00 | 299650.00 | 11782.29 | 306339.58 | 15000.00 | 390000.00 | 35195.00 | 915070.00 | 30563.00 | 794638.00 | 36000.00 | 936000.00 | 299650.00 | Bhanwariya Infra Projects Pvt Ltd
33.00 | Providing G.I. plate of 600mm x 600mm x 6mm thick earthing | 4.00 | SET |  | 6300.00 | 25200.00 | 4575.00 | 18300.00 | 6073.07 | 24292.26 | 4000.00 | 16000.00 | 16089.00 | 64356.00 | 7448.00 | 29792.00 | 25714.29 | 102857.16 | 16000.00 | EKTA ELECTRICALS
34.00 | Providing & fixing copper strip of size 50 mm x 5mm on surface or recess | 625.00 | Mtr |  | 2268.00 | 1417500.00 | 1492.50 | 932812.50 | 3171.29 | 1982057.76 | 2350.00 | 1468750.00 | 2819.00 | 1761875.00 | 2051.00 | 1281875.00 | 2275.71 | 1422318.75 | 932812.50 | Bhanwariya Infra Projects Pvt Ltd
35.00 | Providing and fixing 50 mm X 5 mm copper strip in 65 mm dia G.I. pipe | 210.00 | Mtr |  | 2898.00 | 608580.00 | 1907.50 | 400575.00 | 3226.84 | 677636.91 | 2600.00 | 546000.00 | 3444.00 | 723240.00 | 2415.00 | 507150.00 | 270.00 | 56700.00 | 56700.00 | Shyam Indus Power Solutions Private Limited
36.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or recess | 20.00 | Mtr |  | 1134.00 | 22680.00 | 819.50 | 16390.00 | 1599.01 | 31980.16 | 1175.00 | 23500.00 | 1215.00 | 24300.00 | 1034.00 | 20680.00 | 1137.86 | 22757.20 | 16390.00 | Bhanwariya Infra Projects Pvt Ltd
37.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe | 10.00 | Mtr |  | 1512.00 | 15120.00 | 819.50 | 8195.00 | 1654.56 | 16545.58 | 1500.00 | 15000.00 | 1581.00 | 15810.00 | 1299.00 | 12990.00 | 141.43 | 1414.30 | 1414.30 | Shyam Indus Power Solutions Private Limited
38.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess | 270.00 | Mtr |  | 113.40 | 30618.00 | 75.00 | 20250.00 | 132.41 | 35751.46 | 100.00 | 27000.00 | 153.00 | 41310.00 | 120.00 | 32400.00 | 141.43 | 38186.10 | 20250.00 | Bhanwariya Infra Projects Pvt Ltd
39.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe | 180.00 | Mtr |  | 472.50 | 85050.00 | 75.00 | 13500.00 | 187.96 | 33833.31 | 250.00 | 45000.00 | 528.00 | 95040.00 | 385.00 | 69300.00 | 141.43 | 25457.40 | 13500.00 | Bhanwariya Infra Projects Pvt Ltd
40.00 | Supply and fixing of electrically insulated synthetic mat of class A, 2mm thick suitable for all voltages not exceeding 3.3 KV AC and 240V DC system | 110.00 | Mtr |  | 2520.00 | 277200.00 | 717.50 | 78925.00 | 1872.14 | 205935.86 | 1411.00 | 155210.00 | 2686.00 | 295460.00 | 3082.00 | 339020.00 | 398.57 | 43842.70 | 43842.70 | Shyam Indus Power Solutions Private Limited
41.00 | Supply and fixing of electrically insulated synthetic mat of class C, 3.0 mm thick suitable for 33KV AC grade system | 50.00 | Mtr |  | 3780.00 | 189000.00 | 532.50 | 26625.00 | 2615.88 | 130794.02 | 2500.00 | 125000.00 | 2202.00 | 110100.00 | 3452.00 | 172600.00 | 1941.43 | 97071.50 | 26625.00 | Bhanwariya Infra Projects Pvt Ltd
42.00 | Supply and fixing of electrically insulated synthetic mat of class B, 2.5 mm thick suitable for 11KV AC grade system | 25.00 | Mtr |  | 3780.00 | 94500.00 | 532.50 | 13312.50 | 2289.68 | 57242.01 | 3500.00 | 87500.00 | 1957.00 | 48925.00 | 3082.00 | 77050.00 | 1555.71 | 38892.75 | 13312.50 | Bhanwariya Infra Projects Pvt Ltd
43.00 | Supply of Rubber Hand Gloves suitable for operation at 33 KV voltage grade. | 2.00 | PAIR |  | 378.00 | 756.00 | 342.50 | 685.00 | 2319.64 | 4639.29 | 1500.00 | 3000.00 | 6223.00 | 12446.00 | 1480.00 | 2960.00 | 2571.43 | 5142.86 | 685.00 | Bhanwariya Infra Projects Pvt Ltd
44.00 | Providing set of 4 nos. GI fire buckets each of 9.5 Litre capacity | 4.00 | SET |  | 2016.00 | 8064.00 | 4775.00 | 19100.00 | 2710.60 | 10842.40 | 3529.00 | 14116.00 | 14049.00 | 56196.00 | 4418.00 | 17672.00 | 9642.86 | 38571.44 | 8064.00 | S. T. ELECTRICALS PVT. LTD.
45.00 | Supply & fixing shock treatment chart both in Hindi & English duly mounted on a wooden frame with 3 mm thick glass as reqd. | 2.00 | EACH |  | 630.00 | 1260.00 | 525.00 | 1050.00 | 2275.67 | 4551.33 | 1500.00 | 3000.00 | 2418.00 | 4836.00 | 1100.00 | 2200.00 | 3342.86 | 6685.72 | 1050.00 | Bhanwariya Infra Projects Pvt Ltd
46.00 | Supply and fixing safety instruction chart both in Hindi & English duly framed with 3 mm thick glass as required. | 2.00 | EACH |  | 630.00 | 1260.00 | 981.00 | 1962.00 | 2710.60 | 5421.20 | 1500.00 | 3000.00 | 2661.00 | 5322.00 | 1532.00 | 3064.00 | 3342.86 | 6685.72 | 1260.00 | S. T. ELECTRICALS PVT. LTD.
47.00 | Providing and fixing Single Line Diagram on 5mm thick Aluminium sheet in A0 Size duly laminated as per direction of EIC. | 2.00 | EACH |  | 1260.00 | 2520.00 | 1050.00 | 2100.00 | 18627.22 | 37254.45 | 10000.00 | 20000.00 | 3866.00 | 7732.00 | 1902.00 | 3804.00 | 4757.14 | 9514.28 | 2100.00 | Bhanwariya Infra Projects Pvt Ltd
48.00 | Providing of Carbon dioxide (CO2) type fire extinguishers conforming to IS 2878-1976 and cylinder fully charged of 4.5 Kg capacity. | 11.00 | EACH |  | 9450.00 | 103950.00 | 1757.50 | 19332.50 | 5972.60 | 65698.61 | 5880.00 | 64680.00 | 18472.00 | 203192.00 | 5651.00 | 62161.00 | 6557.14 | 72128.54 | 19332.50 | Bhanwariya Infra Projects Pvt Ltd
49.00 | Providing of foam fire extinguishers, Portable type 9 Litre capacity hanged on wall with bracket component as required. | 11.00 | EACH |  | 5040.00 | 55440.00 | 4275.00 | 47025.00 | 3297.76 | 36275.36 | 10000.00 | 110000.00 | 14531.00 | 159841.00 | 10583.00 | 116413.00 | 11571.43 | 127285.73 | 36275.36 | Gupta Power Infrastructure Ltd.
50.00 | Supply of 45 Ltr capacity Foam type fire extiguisher ISI marked mounted on trolley wheels | 4.00 | EACH |  | 18900.00 | 75600.00 | 11400.00 | 45600.00 | 11595.80 | 46383.21 | 70000.00 | 280000.00 | 30672.00 | 122688.00 | 34624.00 | 138496.00 | 33428.57 | 133714.28 | 45600.00 | Bhanwariya Infra Projects Pvt Ltd
51.00 | Providing of set of 2 Nos. 9 Litre capacity Foam type fire extiguisher with mounting MS angle iron stand | 2.00 | EACH |  | 11340.00 | 22680.00 | 1425.00 | 2850.00 | 3297.76 | 6595.52 | 15000.00 | 30000.00 | 19173.00 | 38346.00 | 10583.00 | 21166.00 | 27000.00 | 54000.00 | 2850.00 | Bhanwariya Infra Projects Pvt Ltd
52.00 | Supply of First Aid Box containing material as prescribed by St. John Ambulance brigade OR Indian Red Cross conforming to IS 2217-1963. | 2.00 | EACH |  | 1260.00 | 2520.00 | 950.00 | 1900.00 | 1913.22 | 3826.44 | 5000.00 | 10000.00 | 8108.00 | 16216.00 | 1850.00 | 3700.00 | 4500.00 | 9000.00 | 1900.00 | Bhanwariya Infra Projects Pvt Ltd
53.00 | Supplying and Fixing of the following danger Caution notice boards as per the IE/ IS 2551 with upto date ammendments.
53.01 | Danger board for 33KV size 250mm x 200mm x 2mm thick. | 10.00 | EACH |  | 94.50 | 945.00 | 100.00 | 1000.00 | 224.47 | 2244.73 | 1000.00 | 10000.00 | 1530.00 | 15300.00 | 359.00 | 3590.00 | 385.71 | 3857.10 | 945.00 | S. T. ELECTRICALS PVT. LTD.
53.02 | Danger board for 433V size 200mm x 150mm x 2mm thick. | 9.00 | EACH |  | 75.60 | 680.40 | 100.00 | 900.00 | 224.47 | 2020.26 | 1000.00 | 9000.00 | 1290.00 | 11610.00 | 359.00 | 3231.00 | 385.71 | 3471.39 | 680.40 | S. T. ELECTRICALS PVT. LTD.
53.03 | Caution board printed in signal red "Man on Line" of size 250 mm x 200 mm x 2 mm thick. | 4.00 | EACH |  | 63.00 | 252.00 | 237.50 | 950.00 | 267.97 | 1071.87 | 1000.00 | 4000.00 | 1127.00 | 4508.00 | 360.00 | 1440.00 | 385.71 | 1542.84 | 252.00 | S. T. ELECTRICALS PVT. LTD.
53.04 | Caution board printed in signal red "Don't switch on"of size 250 mm x 200 mm x 2 mm thick | 4.00 | EACH |  | 63.00 | 252.00 | 237.50 | 950.00 | 267.97 | 1071.87 | 1000.00 | 4000.00 | 1121.00 | 4484.00 | 360.00 | 1440.00 | 385.71 | 1542.84 | 252.00 | S. T. ELECTRICALS PVT. LTD.
54.00 | SITC of 750 KVA silent type DG set with control module | 4.00 | JOB |  | 5040000.00 | 20160000.00 | 5775000.00 | 23100000.00 | 5109326.42 | 20437305.68 | 5300000.00 | 21200000.00 | 6268591.00 | 25074364.00 | 4922783.00 | 19691132.00 | 7007142.86 | 28028571.44 | 19691132.00 | Bharat Bijlee Ltd
55.00 | Supplying and fixing of exhaust gas piping of following size.
55.01 | 350 mm dia | 50.00 | Mtr |  | 6930.00 | 346500.00 | 12850.00 | 642500.00 | 5787.99 | 289399.64 | 9700.00 | 485000.00 | 10043.00 | 502150.00 | 8784.00 | 439200.00 | 4114.29 | 205714.50 | 205714.50 | Shyam Indus Power Solutions Private Limited
55.02 | 200 mm dia | 40.00 | Mtr |  | 3780.00 | 151200.00 | 9525.00 | 381000.00 | 2983.52 | 119340.73 | 6500.00 | 260000.00 | 6836.00 | 273440.00 | 6442.00 | 257680.00 | 3471.43 | 138857.20 | 119340.73 | Gupta Power Infrastructure Ltd.
56.00 | Providing and fixing MS support structure for exhaust piping. | 5000.00 | KG |  | 81.90 | 409500.00 | 69.50 | 347500.00 | 97.74 | 488694.49 | 110.00 | 550000.00 | 138.00 | 690000.00 | 138.00 | 690000.00 | 102.86 | 514300.00 | 347500.00 | Bhanwariya Infra Projects Pvt Ltd
57.00 | SITC of 1 number 30 KL capacity bulk fuel storage tank with associated works. | 1.00 | JOB |  | 630000.00 | 630000.00 | 47750.00 | 47750.00 | 1136910.49 | 1136910.49 | 550000.00 | 550000.00 | 626978.00 | 626978.00 | 1452156.00 | 1452156.00 | 2584285.71 | 2584285.71 | 47750.00 | Bhanwariya Infra Projects Pvt Ltd
58.00 | Supplying, installation, testing & commissioning of MS pipes of heavy class MS ERW piping (Class-C) conforming to IS 1239 of following sizes
58.01 | 80 mm dia | 10.00 | Mtr |  | 945.00 | 9450.00 | 452.50 | 4525.00 | 1147.21 | 11472.06 | 1200.00 | 12000.00 | 1513.00 | 15130.00 | 1480.00 | 14800.00 | 2025.00 | 20250.00 | 4525.00 | Bhanwariya Infra Projects Pvt Ltd
58.02 | 50 mm dia | 90.00 | Mtr |  | 630.00 | 56700.00 | 386.00 | 34740.00 | 780.94 | 70284.97 | 1000.00 | 90000.00 | 955.00 | 85950.00 | 986.00 | 88740.00 | 1092.86 | 98357.40 | 34740.00 | Bhanwariya Infra Projects Pvt Ltd
58.03 | 25 mm dia | 25.00 | Mtr |  | 283.50 | 7087.50 | 262.50 | 6562.50 | 460.35 | 11508.76 | 400.00 | 10000.00 | 507.00 | 12675.00 | 740.00 | 18500.00 | 540.00 | 13500.00 | 6562.50 | Bhanwariya Infra Projects Pvt Ltd
59.00 | Supply, installation, testing & commissioning of following sizes of Ball Valve of brass body, PN-16 rating, Teflon seating, stainless steel handle, screwed / flange ends etc. complete as required.
59.01 | 80 mm dia | 1.00 | EACH |  | 7560.00 | 7560.00 | 8175.00 | 8175.00 | 7797.87 | 7797.87 | 15000.00 | 15000.00 | 15332.00 | 15332.00 | 5178.00 | 5178.00 | 11314.29 | 11314.29 | 5178.00 | Bharat Bijlee Ltd
59.02 | 50 mm dia | 8.00 | EACH |  | 2520.00 | 20160.00 | 7225.00 | 57800.00 | 2644.39 | 21155.13 | 6900.00 | 55200.00 | 4447.00 | 35576.00 | 3945.00 | 31560.00 | 7714.29 | 61714.32 | 20160.00 | S. T. ELECTRICALS PVT. LTD.
59.03 | 25 mm dia | 8.00 | EACH |  | 630.00 | 5040.00 | 6275.00 | 50200.00 | 1248.74 | 9989.92 | 1300.00 | 10400.00 | 1445.00 | 11560.00 | 1849.00 | 14792.00 | 4242.86 | 33942.88 | 5040.00 | S. T. ELECTRICALS PVT. LTD.
60.00 | Providing, Fixing, Testing and Commissioning of Non - Return Valve with Dual Plate of C I body, SS plates, flanged ends & PN 16 pressure rating for HSD system complete etc. as required.
60.01 | 50 mm dia | 2.00 | EACH |  | 3780.00 | 7560.00 | 10290.00 | 20580.00 | 3955.47 | 7910.94 | 10000.00 | 20000.00 | 9868.00 | 19736.00 | 3946.00 | 7892.00 | 6042.86 | 12085.72 | 7560.00 | S. T. ELECTRICALS PVT. LTD.
61.00 | Providing, Fixing, Testing and Commissioning of Non - Return Valve with brass body, flanged ends & PN 16 pressure rating for HSD system complete etc. as required.
61.01 | 25 mm dia | 4.00 | EACH |  | 630.00 | 2520.00 | 6825.00 | 27300.00 | 3187.09 | 12748.36 | 6000.00 | 24000.00 | 4968.00 | 19872.00 | 1849.00 | 7396.00 | 4178.57 | 16714.28 | 2520.00 | S. T. ELECTRICALS PVT. LTD.
62.00 | Providing, Fixing, Testing and Commissioning of HSD Oil Y-strainer, CI body, SS strainer, flanged ends etc. complete as required.
62.01 | 50 mm dia | 2.00 | EACH |  | 3780.00 | 7560.00 | 10290.00 | 20580.00 | 4818.09 | 9636.18 | 4000.00 | 8000.00 | 7612.00 | 15224.00 | 3452.00 | 6904.00 | 25071.43 | 50142.86 | 6904.00 | Bharat Bijlee Ltd
62.02 | 80 mm dia | 1.00 | EACH |  | 5040.00 | 5040.00 | 13020.00 | 13020.00 | 6420.09 | 6420.09 | 12000.00 | 12000.00 | 13330.00 | 13330.00 | 3945.00 | 3945.00 | 31885.71 | 31885.71 | 3945.00 | Bharat Bijlee Ltd
63.00 | Providing, Fixing, Testing and Commissioning of Y strainer of brass body & SS strainer, flanged ends & PN 16 pressure rating for HSD system complete etc. as required.
63.01 | 25 mm dia | 4.00 | EACH |  | 1260.00 | 5040.00 | 4725.00 | 18900.00 | 11160.39 | 44641.55 | 4000.00 | 16000.00 | 3284.00 | 13136.00 | 1923.00 | 7692.00 | 19285.71 | 77142.84 | 5040.00 | S. T. ELECTRICALS PVT. LTD.
64.00 | Providing and Fixing of Pressure gauge (0-7 kg/cm2) | 4.00 | EACH |  | 1890.00 | 7560.00 | 12600.00 | 50400.00 | 2115.22 | 8460.89 | 2000.00 | 8000.00 | 1762.00 | 7048.00 | 4315.00 | 17260.00 | 3664.29 | 14657.16 | 7048.00 | Godrej & Boyce Mfg Ltd
65.00 | Providing, Fixing, Testing and Commissioning of Flow Meter (accuracy +/- 0.5%) with flanged ends (velocity cum totaliser) suitable for HSD Oil having communication facility with RS 485 / 232port with Totalizer and remote display unit, cabeling etc. complete as required.
65.01 | 80 mm dia | 1.00 | EACH |  | 6300.00 | 6300.00 | 670000.00 | 670000.00 | 24017.98 | 24017.98 | 250000.00 | 250000.00 | 239953.00 | 239953.00 | 117125.00 | 117125.00 | 32142.86 | 32142.86 | 6300.00 | S. T. ELECTRICALS PVT. LTD.
65.02 | 50 mm dia | 2.00 | EACH |  | 10080.00 | 20160.00 | 485000.00 | 970000.00 | 16358.80 | 32717.60 | 150000.00 | 300000.00 | 132917.00 | 265834.00 | 93700.00 | 187400.00 | 32142.86 | 64285.72 | 20160.00 | S. T. ELECTRICALS PVT. LTD.
65.03 | 25 mm dia | 8.00 | EACH |  | 12600.00 | 100800.00 | 395000.00 | 3160000.00 | 8913.71 | 71309.70 | 125000.00 | 1000000.00 | 101765.00 | 814120.00 | 67809.00 | 542472.00 | 32142.86 | 257142.88 | 71309.70 | Gupta Power Infrastructure Ltd.
66.00 | Providing, Fixing, Testing and Commissioning of automatic Solenoid actuated brass valve complete as required.
66.01 | 50 mm dia | 1.00 | EACH |  | 10080.00 | 10080.00 | 31345.00 | 31345.00 | 5069.38 | 5069.38 | 30000.00 | 30000.00 | 28116.00 | 28116.00 | 27124.00 | 27124.00 | 17357.14 | 17357.14 | 5069.38 | Gupta Power Infrastructure Ltd.
66.02 | 25 mm dia | 4.00 | EACH |  | 15120.00 | 60480.00 | 14020.00 | 56080.00 | 2824.64 | 11298.58 | 20000.00 | 80000.00 | 15975.00 | 63900.00 | 18494.00 | 73976.00 | 12214.29 | 48857.16 | 11298.58 | Gupta Power Infrastructure Ltd.
67.00 | Providing and fixing flame proof level controller (0-100%) for 30 KL UG Tank, Buffer tank and day oil storage tanks, including wiring, cabling, sensor with all other accessories ready for automatic operation of fuel oil pump complete as required for following .
67.01 | Buffer / Day oil tank 990 ltr. | 5.00 | EACH |  | 31500.00 | 157500.00 | 59000.00 | 295000.00 | 89608.21 | 448041.05 | 30000.00 | 150000.00 | 31951.00 | 159755.00 | 15411.00 | 77055.00 | 135000.00 | 675000.00 | 77055.00 | Bharat Bijlee Ltd
67.02 | 30 KL UG Tank | 1.00 | EACH |  | 630000.00 | 630000.00 | 59000.00 | 59000.00 | 727860.49 | 727860.49 | 100000.00 | 100000.00 | 100247.00 | 100247.00 | 20343.00 | 20343.00 | 906428.57 | 906428.57 | 20343.00 | Bharat Bijlee Ltd
68.00 | Providing, Fixing of NO SMOKING / Danger sign boards of size 300mm x 250mm made of 2mm thick MS Sheet including painting / sign writing etc. complete as required | 8.00 | EACH |  | 252.00 | 2016.00 | 550.00 | 4400.00 | 412.94 | 3303.56 | 1200.00 | 9600.00 | 1458.00 | 11664.00 | 1849.00 | 14792.00 | 514.29 | 4114.32 | 2016.00 | S. T. ELECTRICALS PVT. LTD.
69.00 | SITC of positive displacement gear pump with 3 HP flame proof motor. | 2.00 | EACH |  | 18900.00 | 37800.00 | 16150.00 | 32300.00 | 83272.79 | 166545.58 | 60000.00 | 120000.00 | 68691.00 | 137382.00 | 28357.00 | 56714.00 | 27000.00 | 54000.00 | 32300.00 | Bhanwariya Infra Projects Pvt Ltd
70.00 | SITC of 990 Litre HSD buffer tank | 1.00 | EACH |  | 12600.00 | 12600.00 | 56000.00 | 56000.00 | 89608.21 | 89608.21 | 42000.00 | 42000.00 | 44408.00 | 44408.00 | 55480.00 | 55480.00 | 270000.00 | 270000.00 | 12600.00 | S. T. ELECTRICALS PVT. LTD.
71.00 | SITC of 480 KA 3 phase 4 wire digital portable low impedance equipment grounding & bonding system. | 2.00 | EACH |  | 189000.00 | 378000.00 | 49000.00 | 98000.00 | 404077.16 | 808154.32 | 500000.00 | 1000000.00 | 1086766.00 | 2173532.00 | 252369.00 | 504738.00 | 45000.00 | 90000.00 | 90000.00 | Shyam Indus Power Solutions Private Limited
72.00 | SITC of 240 KA 3 phase 4 wire digital portable low impedance equipment grounding & bonding system. | 2.00 | EACH |  | 220500.00 | 441000.00 | 49000.00 | 98000.00 | 253566.08 | 507132.15 | 300000.00 | 600000.00 | 1074602.00 | 2149204.00 | 392462.00 | 784924.00 | 29571.43 | 59142.86 | 59142.86 | Shyam Indus Power Solutions Private Limited
73.00 | Providing & fixing GI chain link fabric fencing of size 6m x 6m x 2m (height) | 1.00 | JOB |  | 63000.00 | 63000.00 | 36000.00 | 36000.00 | 118069.34 | 118069.34 | 100000.00 | 100000.00 | 785298.00 | 785298.00 | 175835.00 | 175835.00 | 694285.71 | 694285.71 | 36000.00 | Bhanwariya Infra Projects Pvt Ltd
74.00 | Construction of masonry chamber 2m x 1.2m x 1.5m (deep) inside. | 50.00 | JOB |  | 18900.00 | 945000.00 | 42500.00 | 2125000.00 | 75750.00 | 3787500.00 | 10000.00 | 500000.00 | 56149.00 | 2807450.00 | 27208.00 | 1360400.00 | 9000.00 | 450000.00 | 450000.00 | Shyam Indus Power Solutions Private Limited
75.00 | Providing and placing 150 mm thick factory made machine batched & machine precast RCC covers for the manhole of size 2.4 mtr. X 1.6 mtr. | 50.00 | JOB |  | 3150.00 | 157500.00 | 17500.00 | 875000.00 | 7070.00 | 353500.00 | 15000.00 | 750000.00 | 6089.00 | 304450.00 | 8457.00 | 422850.00 | 15428.57 | 771428.50 | 157500.00 | S. T. ELECTRICALS PVT. LTD.
| Total in Figures |  |  |  |  | 108847985.40 |  | 126705251.00 |  | 132548064.24 |  | 116178190.00 |  | 137170862.00 |  | 109523728.00 |  | 134727619.87
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | S. T. ELECTRICALS PVT. LTD. | 108847985.40 | 104447985.40 | Ten Crore Fourty Four Lakh Fourty Seven Thousand Nine Hundred Eighty Five point Four Zero Paise
2 | Bhanwariya Infra Projects Pvt Ltd | 108847985.40 | Not Quoted | Not Quoted
3 | Shyam Indus Power Solutions Private Limited | 108847985.40 | Not Quoted | Not Quoted
4 | Bharat Bijlee Ltd | 108847985.40 | 103447985.40 | Ten Crore Thirty Four Lakh Fourty Seven Thousand Nine Hundred Eighty Five point Four Zero Paise
5 | Godrej & Boyce Mfg Ltd | 108847985.40 | Not Quoted | Not Quoted
6 | Gupta Power Infrastructure Ltd. | 108847985.40 | 104047985.40 | Ten Crore Fourty Lakh Fourty Seven Thousand Nine Hundred Eighty Five point Four Zero Paise
7 | EKTA ELECTRICALS | 108847985.40 | Not Quoted | Not Quoted
Lowest Amount Quoted BY: Bharat Bijlee Ltd(103447985.40)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Link Building between Terminal T-1 and T-2 for integrated operations using passenger boarding bridge facility and expansion renovation work of Terminal T-2 at BPI Airport, Bhubaneswar SH Provision of 33 KV Substation and allied work Tender ID: 2021_AAI_73353_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S. T. ELECTRICALS PVT. LTD. | 108847985.40 | L1
| 2 | Bharat Bijlee Ltd | 109523728.00 | L2
| 3 | EKTA ELECTRICALS | 116178190.00 | L3
| 4 | Bhanwariya Infra Projects Pvt Ltd | 126705251.00 | L4
| 5 | Gupta Power Infrastructure Ltd. | 132548064.24 | L5
| 6 | Shyam Indus Power Solutions Private Limited | 134727619.87 | L6
| 7 | Godrej & Boyce Mfg Ltd | 137170862.00 | L7