## BoQ1
Government eProcurement System Created By: SACHIN KUMAR MITTAL Created Date/Time: 08-Apr-2021 04:54 PM Tender Title: Annual Repair, Maintenance and Operation of Electrical and Mechanical Installations of AERA Building at Safdarjung Airport, New Delhi (2020-21) Tender ID: 2021_AAI_73397_1
Tender Inviting Authority: AGM (Engg.-Elect.)-II, IMU, CHQ, Rajiv Gandhi Bhawan, New Delhi-110003
Name of Work: Annual Repair Maintenance Operational of Electrical and Mechanical Installations of AERA Building at Safdarjung Airport, New Delhi (2020-21)
Tender ID: 2021_AAI_73397_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | Elbe Engineering Services(GSTN-07ACVPR5041D2ZD) |  | ARNAV ENGINEERING CONSULTANCY SERVICES(GSTN-07ABKFA7102Q1Z4) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance of Internal and External Electrical Installations of A.E.R.A. office building and Operation of 125KVA D.G. Set by deploying adequate manpower involving repair, maintenance, attending faults / breakdowns and taking rectification action, ensuring serviceability / satifactory working condition of the systems along with preventive maintenance on daily, weekly, monthly, quarterly, yearly basis, maintenance of records, documentation etc. as per special conditions of contract for Six Days in a week, excluding national holidays. | 1.00 | Year |  | 590000.00 | 590000.00 | 650000.00 | 650000.00 | 751400.00 | 751400.00 | 737500.00 | 737500.00 | 792000.00 | 792000.00 | 772380.00 | 772380.00 | 590000.00 | ANAND AND COMPANTY
2.00 | Rate for Extra hours for running & operation of Electrical installations as mentioned in 1.00, due to exigencies or extension beyond normal shift hours as per requirement basis
2.01 | Services of Skilled Person | 100.00 | Hrs. |  | 10.00 | 1000.00 | 10.00 | 1000.00 | 97.00 | 9700.00 | 120.00 | 12000.00 | 97.13 | 9713.00 | 85.00 | 8500.00 | 1000.00 | ANAND AND COMPANTY, SNOWMEX ENGINEERS LIMITED
2.02 | Services of Unskilled Person | 100.00 | Hrs. |  | 10.00 | 1000.00 | 10.00 | 1000.00 | 80.00 | 8000.00 | 97.00 | 9700.00 | 79.88 | 7988.00 | 70.00 | 7000.00 | 1000.00 | ANAND AND COMPANTY, SNOWMEX ENGINEERS LIMITED
3.00 | Annual Comprehensive Maintenance of Hand Dryers of all makes like Anand Automatic Systems, Kopal etc including replacement of all defective parts complete as required. | 8.00 | Each |  | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 1000.00 | 8000.00 | 2000.00 | 16000.00 | 650.00 | 5200.00 | 5200.00 | SRS ENGINEERS
4.00 | Rewinding of the different makes and sizes ceiling fan/ Exhaust fan/ desert cooler fan motor by super enamel painted copper wire after dismantling the wornout winding i/c varnish and changing the loop wire, ball bearing etc. after dismantling from the base and refitting the same etc. i/c connection, testing, commissioning etc as required. (Rate should be as after adjusting the cost of dismantled wire) | 5.00 | Each |  | 350.00 | 1750.00 | 200.00 | 1000.00 | 350.00 | 1750.00 | 350.00 | 1750.00 | 400.00 | 2000.00 | 650.00 | 3250.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
5.00 | Running of 125 KVA D.G. Set during testing and normal supply failure by arranging the HSD Oil which including procurement of HSD Oil, tranportation of oil from petrol pump to site, storage of sufficient qty. oil at site, loading/unloading of oil in day tanks complete as per direction of E.I.C. | 100.00 | Hrs. |  | 1500.00 | 150000.00 | 1000.00 | 100000.00 | 800.00 | 80000.00 | 1500.00 | 150000.00 | 760.00 | 76000.00 | 2450.00 | 245000.00 | 76000.00 | NATIONAL SAFETY ENGINEERS
6.00 | "Execution of works as per CPWD Delhi Schedule of rate (Electrical ) 2018 and specification as and when reqd. percentage above or below on the rates os DSR (E&M) 2018- (CPWD)- Electrical items worth totaling to Rs. 20,000/- as mentioned below.(Note: Rate shall be quoted in the Indian Rupees only payment of DSR item will be released on the basis of percentage calculation of quoted amount and fixed amount of Rs. 20,000/- as clarified below: For example: if desired to quote 5% above on DSR-2018 rates, the rate column shall be filled as Rs.21000/-. If desired to quote 3% below on DSR-2018 rates, the rate column shall be filled as Rs. 19400/-) " | 1.00 | Job |  | 5000.00 | 5000.00 | 12000.00 | 12000.00 | 18000.00 | 18000.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 5000.00 | ANAND AND COMPANTY
7.00 | Supply of following items, working on 220 V single phase/415 V three phase, 50 hz AC supply as per the makes and detail specification (as and when required).
7.01 | S.P.MCB- 6 Amps, 10 KA rating, 'C' curve | 2.00 | No |  | 130.00 | 260.00 | 10.00 | 20.00 | 105.00 | 210.00 | 157.00 | 314.00 | 100.00 | 200.00 | 140.00 | 280.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
7.02 | S.P.MCB- 10Amps, 10 KA rating, 'C' curve | 2.00 | No |  | 130.00 | 260.00 | 10.00 | 20.00 | 105.00 | 210.00 | 157.00 | 314.00 | 100.00 | 200.00 | 140.00 | 280.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
7.03 | S.P.MCB- 16 Amps, 10 KA rating, 'C' curve | 6.00 | No |  | 130.00 | 780.00 | 10.00 | 60.00 | 105.00 | 630.00 | 187.00 | 1122.00 | 100.00 | 600.00 | 140.00 | 840.00 | 60.00 | SNOWMEX ENGINEERS LIMITED
7.04 | S.P.MCB- 20 Amps, 10 KA rating, 'C' curve | 3.00 | No |  | 130.00 | 390.00 | 10.00 | 30.00 | 105.00 | 315.00 | 220.00 | 660.00 | 100.00 | 300.00 | 140.00 | 420.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
7.05 | S.P.MCB- 25 Amps, 10 KA rating, 'C' curve | 3.00 | No |  | 130.00 | 390.00 | 10.00 | 30.00 | 105.00 | 315.00 | 220.00 | 660.00 | 100.00 | 300.00 | 140.00 | 420.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
7.06 | S.P.MCB- 32 Amps , 10 KA rating, 'C' curve | 2.00 | No |  | 130.00 | 260.00 | 11.00 | 22.00 | 105.00 | 210.00 | 260.00 | 520.00 | 100.00 | 200.00 | 140.00 | 280.00 | 22.00 | SNOWMEX ENGINEERS LIMITED
7.07 | S.P.MCB- 40 Amps , 10 KA rating, 'C' curve | 2.00 | No |  | 260.00 | 520.00 | 13.00 | 26.00 | 180.00 | 360.00 | 260.00 | 520.00 | 120.00 | 240.00 | 140.00 | 280.00 | 26.00 | SNOWMEX ENGINEERS LIMITED
7.08 | DP MCB (40 amps.), 10 KA rating, " C series " | 1.00 | No |  | 450.00 | 450.00 | 12.00 | 12.00 | 600.00 | 600.00 | 390.00 | 390.00 | 200.00 | 200.00 | 520.00 | 520.00 | 12.00 | SNOWMEX ENGINEERS LIMITED
7.09 | TP MCB (63 amps.) , 10 KA rating,"C series " | 1.00 | No |  | 750.00 | 750.00 | 15.00 | 15.00 | 1100.00 | 1100.00 | 560.00 | 560.00 | 300.00 | 300.00 | 810.00 | 810.00 | 15.00 | SNOWMEX ENGINEERS LIMITED
7.10 | FP MCB (63 Amps), 10 KA rating, "C series " | 3.00 | No |  | 1200.00 | 3600.00 | 16.00 | 48.00 | 1300.00 | 3900.00 | 650.00 | 1950.00 | 350.00 | 1050.00 | 1050.00 | 3150.00 | 48.00 | SNOWMEX ENGINEERS LIMITED
7.11 | 3 Pin Plug top 6 Amp. | 3.00 | No |  | 75.00 | 225.00 | 5.00 | 15.00 | 30.00 | 90.00 | 85.00 | 255.00 | 15.00 | 45.00 | 50.00 | 150.00 | 15.00 | SNOWMEX ENGINEERS LIMITED
7.12 | 3 Pin Plug top 16 Amp. | 3.00 | No |  | 90.00 | 270.00 | 5.00 | 15.00 | 30.00 | 90.00 | 130.00 | 390.00 | 20.00 | 60.00 | 75.00 | 225.00 | 15.00 | SNOWMEX ENGINEERS LIMITED
7.13 | Modular Switch (10 amp.), | 6.00 | No |  | 30.00 | 180.00 | 5.00 | 30.00 | 60.00 | 360.00 | 115.00 | 690.00 | 20.00 | 120.00 | 40.00 | 240.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
7.14 | Modular Switch (20 amp.), | 6.00 | No |  | 45.00 | 270.00 | 5.00 | 30.00 | 60.00 | 360.00 | 135.00 | 810.00 | 25.00 | 150.00 | 70.00 | 420.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
7.15 | Twin Socket 2M (20/10 amp.) | 6.00 | No |  | 50.00 | 300.00 | 5.00 | 30.00 | 75.00 | 450.00 | 220.00 | 1320.00 | 35.00 | 210.00 | 115.00 | 690.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
7.16 | Modular Socket (06amp, 3 pin), | 2.00 | No |  | 65.00 | 130.00 | 5.00 | 10.00 | 85.00 | 170.00 | 220.00 | 440.00 | 25.00 | 50.00 | 70.00 | 140.00 | 10.00 | SNOWMEX ENGINEERS LIMITED
7.17 | Combined switch socket 5/15 Amp. With indicator | 6.00 | No |  | 120.00 | 720.00 | 5.00 | 30.00 | 150.00 | 900.00 | 350.00 | 2100.00 | 40.00 | 240.00 | 125.00 | 750.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
7.18 | Condenser (2.5 MFD) | 5.00 | No |  | 50.00 | 250.00 | 10.00 | 50.00 | 30.00 | 150.00 | 95.00 | 475.00 | 15.00 | 75.00 | 22.00 | 110.00 | 50.00 | SNOWMEX ENGINEERS LIMITED
7.19 | 8" Modular exhaust fan, suitable for 220V, 50Hz AC supply. | 2.00 | No |  | 1700.00 | 3400.00 | 10.00 | 20.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 500.00 | 1000.00 | 1200.00 | 2400.00 | 20.00 | SNOWMEX ENGINEERS LIMITED
7.20 | 6 amp. Power Strip 4 socket with shutter with individual Switches with cord and fuse | 3.00 | No |  | 400.00 | 1200.00 | 10.00 | 30.00 | 400.00 | 1200.00 | 450.00 | 1350.00 | 120.00 | 360.00 | 350.00 | 1050.00 | 30.00 | SNOWMEX ENGINEERS LIMITED
7.21 | Ding dong bell. | 2.00 | No |  | 150.00 | 300.00 | 75.00 | 150.00 | 120.00 | 240.00 | 220.00 | 440.00 | 100.00 | 200.00 | 105.00 | 210.00 | 150.00 | SNOWMEX ENGINEERS LIMITED
7.22 | Bulbull bell. | 2.00 | No |  | 200.00 | 400.00 | 75.00 | 150.00 | 200.00 | 400.00 | 250.00 | 500.00 | 120.00 | 240.00 | 250.00 | 500.00 | 150.00 | SNOWMEX ENGINEERS LIMITED
7.23 | Wireless Electronic Remote Bell with One No. Remote Switch and LED indicator. | 1.00 | No |  | 300.00 | 300.00 | 250.00 | 250.00 | 350.00 | 350.00 | 350.00 | 350.00 | 150.00 | 150.00 | 650.00 | 650.00 | 150.00 | NATIONAL SAFETY ENGINEERS
7.24 | 01 module 100watt fan regulator. | 2.00 | No |  | 150.00 | 300.00 | 25.00 | 50.00 | 170.00 | 340.00 | 350.00 | 700.00 | 110.00 | 220.00 | 180.00 | 360.00 | 50.00 | SNOWMEX ENGINEERS LIMITED
7.25 | PVC Gang Box (4 module) | 2.00 | No |  | 50.00 | 100.00 | 25.00 | 50.00 | 45.00 | 90.00 | 250.00 | 500.00 | 20.00 | 40.00 | 25.00 | 50.00 | 40.00 | NATIONAL SAFETY ENGINEERS
7.26 | PVC casing and caping (20X12mm) | 24.00 | Meter |  | 28.00 | 672.00 | 25.00 | 600.00 | 35.00 | 840.00 | 25.00 | 600.00 | 5.00 | 120.00 | 22.00 | 528.00 | 120.00 | NATIONAL SAFETY ENGINEERS
7.27 | PVC casing and caping (25X16mm) | 24.00 | Meter |  | 35.00 | 840.00 | 25.00 | 600.00 | 35.00 | 840.00 | 30.00 | 720.00 | 7.00 | 168.00 | 25.00 | 600.00 | 168.00 | NATIONAL SAFETY ENGINEERS
8.00 | Supply of following size single core PVC insulated FRLS-H Copper conductor Cable for Voltage grade upto 1100V as per IS: 694, on requirement basis
8.01 | 1.5 Sq. mm | 180.00 | Mtr |  | 14.00 | 2520.00 | 60.00 | 10800.00 | 13.00 | 2340.00 | 16.00 | 2880.00 | 10.00 | 1800.00 | 12.00 | 2160.00 | 1800.00 | NATIONAL SAFETY ENGINEERS
8.02 | 2.5 Sq. mm | 180.00 | Mtr |  | 18.00 | 3240.00 | 60.00 | 10800.00 | 20.00 | 3600.00 | 24.00 | 4320.00 | 15.00 | 2700.00 | 20.00 | 3600.00 | 2700.00 | NATIONAL SAFETY ENGINEERS
8.03 | 4.0 Sq. mm | 90.00 | Mtr |  | 35.00 | 3150.00 | 25.00 | 2250.00 | 25.00 | 2250.00 | 35.00 | 3150.00 | 20.00 | 1800.00 | 28.00 | 2520.00 | 1800.00 | NATIONAL SAFETY ENGINEERS
9.00 | Annual service contract for cummins make 125 KVA D.G. Set complete with alternator at AERA Building, New Delhi.(Remarks: This does not include spare parts) (Note: The services has to be executed through OEM/Authorized Service Dealer of M/s Cummins). | 1.00 | Year |  | 60000.00 | 60000.00 | 32000.00 | 32000.00 | 30000.00 | 30000.00 | 2500.00 | 2500.00 | 23000.00 | 23000.00 | 6500.00 | 6500.00 | 2500.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
10.00 | Supply of the following consumable spares for above mentioned Cummins make 125 KVA D.G.Set
10.01 | Cartridge, Lub oil filter (3937743) | 2.00 | Each |  | 500.00 | 1000.00 | 200.00 | 400.00 | 331.00 | 662.00 | 1350.00 | 2700.00 | 350.00 | 700.00 | 450.00 | 900.00 | 400.00 | SNOWMEX ENGINEERS LIMITED
10.02 | Separator, Fuel Water (4093731) | 2.00 | Each |  | 500.00 | 1000.00 | 350.00 | 700.00 | 359.00 | 718.00 | 500.00 | 1000.00 | 550.00 | 1100.00 | 450.00 | 900.00 | 700.00 | SNOWMEX ENGINEERS LIMITED
10.03 | Filter Fuel (3931063) | 2.00 | Each |  | 700.00 | 1400.00 | 200.00 | 400.00 | 248.00 | 496.00 | 1000.00 | 2000.00 | 250.00 | 500.00 | 350.00 | 700.00 | 400.00 | SNOWMEX ENGINEERS LIMITED
10.04 | Kit Air Cleaner Element (3238666) | 1.00 | Each |  | 5500.00 | 5500.00 | 225.00 | 225.00 | 2600.00 | 2600.00 | 5500.00 | 5500.00 | 2500.00 | 2500.00 | 1800.00 | 1800.00 | 225.00 | SNOWMEX ENGINEERS LIMITED
10.05 | Inhibitor Corrosion ( 3816986) | 5.00 | Each |  | 4000.00 | 20000.00 | 1500.00 | 7500.00 | 1275.00 | 6375.00 | 500.00 | 2500.00 | 275.00 | 1375.00 | 1300.00 | 6500.00 | 1375.00 | NATIONAL SAFETY ENGINEERS
10.06 | Gasket Valve Cover (3930906) | 6.00 | Each |  | 700.00 | 4200.00 | 1500.00 | 9000.00 | 450.00 | 2700.00 | 300.00 | 1800.00 | 600.00 | 3600.00 | 300.00 | 1800.00 | 1800.00 | ARNAV ENGINEERING CONSULTANCY SERVICES, SRS ENGINEERS
10.07 | Volvoline Premium Blue 7800 Plus1, 20 Ltr (505441) | 2.00 | Each |  | 8500.00 | 17000.00 | 6000.00 | 12000.00 | 5300.00 | 10600.00 | 4000.00 | 8000.00 | 7500.00 | 15000.00 | 3000.00 | 6000.00 | 6000.00 | SRS ENGINEERS
10.08 | 12V, 95AH, Pulse Value Battery (AX1014429) along with buyback of Old Battery | 1.00 | Each |  | 12000.00 | 12000.00 | 16500.00 | 16500.00 | 12700.00 | 12700.00 | 9500.00 | 9500.00 | 7600.00 | 7600.00 | 6000.00 | 6000.00 | 6000.00 | SRS ENGINEERS
| Total in Figures |  |  |  |  | 913277.00 |  | 877968.00 |  | 969611.00 |  | 1007050.00 |  | 987414.00 |  | 1117063.00
Lowest Amount Quoted BY: SNOWMEX ENGINEERS LIMITED(877968.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Repair, Maintenance and Operation of Electrical and Mechanical Installations of AERA Building at Safdarjung Airport, New Delhi (2020-21) Tender ID: 2021_AAI_73397_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SNOWMEX ENGINEERS LIMITED | 877968.00 | L1
| 2 | ANAND AND COMPANTY | 913277.00 | L2
| 3 | Elbe Engineering Services | 969611.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS | 987414.00 | L4
| 5 | ARNAV ENGINEERING CONSULTANCY SERVICES | 1007050.00 | L5
| 6 | SRS ENGINEERS | 1117063.00 | L6