## BoQ1
Government eProcurement System Created By: Satyendra Singh Created Date/Time: 17-Jun-2021 04:41 PM Tender Title: Development of Ayodhya Airport, Uttar Pradesh. SH- Pavement, Grading and other works in operational area on Design Build Basis EPC Tender ID: 2021_AAI_73475_1
Tender Inviting Authority: AGM (Engg-C) (Bid Manager), Airports Authority of India, O/o Executive Director (Engg.)-NR
Name of Work:Development of Ayodhya Airport, Uttar Pradesh. SH: Pavement, Grading and other works in operational area on Design & Build Basis (EPC)
Contract No: 2021_AAI_73475
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VISHAL INFRASTRUCTURE LTD(GSTN-29AABCM3918R1ZT) |  | M/s. ASHOKA BUILDCON LTD(GSTN-27AABCA9292J1ZA) |  | AIC Infrastructures Pvt. Ltd(GSTN-27AANCA1070A1Z5) |  | Balajee Infratech And Constructions Private Limited(GSTN-27AABCB3624M1ZN) |  | PNC Infratech Ltd(GSTN-09AACCP0377Q1ZU) |  | Ashish Infracon Pvt.Ltd.(GSTN-24AAICA8405C1Z3) |  | VIJAI CONSTRUCTION (INDIA) PRIVATE LIMITED(GSTN-09AADCV5773F1Z0) |  | SBG Infracon Pvt. Ltd.(GSTN-07AAOCS8224P1ZJ) |  | SARAOGI BUILDERS LTD(GSTN-06AAGCS5938Q1ZK) |  | NSC Projects Pvt. Ltd.(GSTN-07AADCN4958N1ZU) |  | RAJINDER INFRASTRUCTURE PVT LTD(GSTN-03AADCG7268C1ZV) |  | Ramera Buildcon Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Extension of runway (rigid pavement) by 700 m X 45 m with 7.5 m wide shoulder on both side for the operation of A-321 type of aircraft including soil investigation, design etc. complete as per Federal Aviation Administration (FAA) Advisory Circular AC-150/ 5320-6F and direction of Engineer-In-Charge.. The agency shall get the structural design vetted by IIT/ NIT and submit along with profile for approval by AAI before execution of work (The pavement section attached with tender document is for reference and may be verified for adequacy ) | 1.00 | Job | 100.00 | 181500000.00 | 181500000.00 | 230501881.95 | 230501881.95 | 309830155.00 | 309830155.00 | 264132522.00 | 264132522.00 | 225561925.53 | 225561925.53 | 270500000.00 | 270500000.00 | 226800000.00 | 226800000.00 | 257525600.00 | 257525600.00 | 270000000.00 | 270000000.00 | 240500000.00 | 240500000.00 | 229000000.00 | 229000000.00 | 259525776.17 | 259525776.17 | 181500000.00 | VISHAL INFRASTRUCTURE LTD
1.02 | Strengthening and widening of Existing Runway (rigid pavement) from 1500m x 30m to 1500m x 45m with 7.5 m wide shoulder on both side for the operation of A-321 type of aircraft including soil investigation, design etc. complete as per Federal Aviation Administration (FAA) Advisory Circular AC-150/ 5320-6F and direction of Engineer-In-Charge.. The agency shall get the structural design vetted by IIT/ NIT and submit along with profile for approval by AAI before execution of work (The pavement section attached with tender document is for reference and may be verified for adequacy ) | 1.00 | Job | 100.00 | 340000000.00 | 340000000.00 | 405280055.64 | 405280055.64 | 253518200.00 | 253518200.00 | 479964357.00 | 479964357.00 | 362681789.40 | 362681789.40 | 445300000.00 | 445300000.00 | 140400000.00 | 140400000.00 | 477336150.00 | 477336150.00 | 510000000.00 | 510000000.00 | 413000000.00 | 413000000.00 | 419800000.00 | 419800000.00 | 506264675.59 | 506264675.59 | 140400000.00 | VIJAI CONSTRUCTION (INDIA) PRIVATE LIMITED
1.03 | Construction of Apron (rigid pavement) measuring 140m x 110 m with 5.5 m wide shoulder, with a 23m wide Taxi Track upto length of 310 m with 5.5 m wide shoulder on both side for the operation of A-321 type of aircraft including soil investigation, design etc. complete as per Federal Aviation Administration (FAA) Advisory Circular AC-150/ 5320-6F and direction of Engineer-In-Charge.. The agency shall get the structural design vetted by IIT/ NIT and submit along with profile for approval by AAI before execution of work (The pavement section attached with tender document is for reference and may be verified for adequacy ) | 1.00 | Job | 10.00 | 114500000.00 | 114500000.00 | 142165703.63 | 142165703.63 | 111849630.00 | 111849630.00 | 165201868.00 | 165201868.00 | 147141023.29 | 147141023.29 | 187100000.00 | 187100000.00 | 97200000.00 | 97200000.00 | 167680890.00 | 167680890.00 | 185000000.00 | 185000000.00 | 133800000.00 | 133800000.00 | 157000000.00 | 157000000.00 | 164552929.99 | 164552929.99 | 97200000.00 | VIJAI CONSTRUCTION (INDIA) PRIVATE LIMITED
1.04 | Isolation Bay (rigid pavement) measuring 93 m X 111m with a Link Taxi Track measuring 280m long and 23m wide with 7.5 m wide shoulder on both side for the operation of A-321 type of aircraft including soil investigation, design etc. complete as per Federal Aviation Administration (FAA) Advisory Circular AC-150/ 5320-6F and direction of Engineer-In-Charge.. The agency shall get the structural design vetted by IIT/ NIT and submit along with profile for approval by AAI before execution of work (The pavement section attached with tender document is for reference and may be verified for adequacy ) | 1.00 | Job | 10.00 | 85000000.00 | 85000000.00 | 102140709.48 | 102140709.48 | 84943246.00 | 84943246.00 | 118215770.00 | 118215770.00 | 113411313.61 | 113411313.61 | 124900000.00 | 124900000.00 | 75600000.00 | 75600000.00 | 129299680.00 | 129299680.00 | 145000000.00 | 145000000.00 | 103500000.00 | 103500000.00 | 108400000.00 | 108400000.00 | 110054423.38 | 110054423.38 | 75600000.00 | VIJAI CONSTRUCTION (INDIA) PRIVATE LIMITED
1.05 | Grading / Leveling of runway basic strip/ Taxi way Strip Provision of RESA , Cooling pit, Fire Pit and Signaling area with unidirectional landing 'T' and wind direction indicator including all design etc. complete as per as per MORTH/ CPWD specification and CAR/ ICAO guidelines/ direction of Engineer-In-Charge. The remaining operational area also to be graded for effective drainage and functional requirements like slope etc. The agency shall get the structural design, profile approved by AAI before execution of work. | 1.00 | Job | 10.00 | 50000000.00 | 50000000.00 | 49785122.69 | 49785122.69 | 60697248.00 | 60697248.00 | 55687111.00 | 55687111.00 | 59035052.57 | 59035052.57 | 26100000.00 | 26100000.00 | 84000000.00 | 84000000.00 | 93445000.00 | 93445000.00 | 160000000.00 | 160000000.00 | 48600000.00 | 48600000.00 | 78700000.00 | 78700000.00 | 42497069.17 | 42497069.17 | 26100000.00 | Ashish Infracon Pvt.Ltd.
1.06 | Construction of perimeter road and storm water drain including soil investigation, structural Design, design of drain (including provision of box culverts/ hume pipe culverts) as per hydrological data/catchment area etc. complete as per specification/ direction of Engineer-In-Charge. The agency shall get the structural design, profile approved by AAI before execution of work. | 1.00 | Job | 10.00 | 161000000.00 | 161000000.00 | 183079743.61 | 183079743.61 | 118405321.00 | 118405321.00 | 200134569.00 | 200134569.00 | 152975997.60 | 152975997.60 | 222800000.00 | 222800000.00 | 189000000.00 | 189000000.00 | 135352250.00 | 135352250.00 | 140000000.00 | 140000000.00 | 125100000.00 | 125100000.00 | 109300000.00 | 109300000.00 | 131676114.29 | 131676114.29 | 109300000.00 | RAJINDER INFRASTRUCTURE PVT LTD
2.00 | Electrical Works
2.01 | Detailed Designing, Supply, Installation, Testing & Commissioning of Air Field Ground Lighting Works including Runway Lighting, Taxiway Lighting, Apron/Isolation Bay Edge Lighting, Approach Lighting (SAPL), PAPI, Wind direction indicators, Landing direction indicator CCRs, Primary & Secondary Cable, Control Cable, Remote Control Desk, Guidance Signages, Isolating Transformers, Transformer Hosing Boxes, UPS, LT Panels/ Feeder Pillars, LT Cables, Piping, Earthing etc. as required. | 1.00 | Job | 10.00 | 31500000.00 | 31500000.00 | 33352487.68 | 33352487.68 | 88582099.00 | 88582099.00 | 43002157.00 | 43002157.00 | 21808000.00 | 21808000.00 | 9400000.00 | 9400000.00 | 110000000.00 | 110000000.00 | 46477520.00 | 46477520.00 | 70000000.00 | 70000000.00 | 48500000.00 | 48500000.00 | 40000000.00 | 40000000.00 | 35169988.28 | 35169988.28 | 9400000.00 | Ashish Infracon Pvt.Ltd.
2.02 | Detailed Designing, Supply, Installation, Testing & Commissioning of Apron Flood Lighting, Isolation Bay Lighting, Perimeter Road Lighting, including High Mast Towers, Street Light Poles, Light Fittings, Cabling, Piping, Earthing, Feeder Pillars/ Panels etc. as required. | 1.00 | Job | 10.00 | 22000000.00 | 22000000.00 | 31205023.78 | 31205023.78 | 18115500.00 | 18115500.00 | 23771059.00 | 23771059.00 | 59809770.00 | 59809770.00 | 11100000.00 | 11100000.00 | 165000000.00 | 165000000.00 | 12500000.00 | 12500000.00 | 40000000.00 | 40000000.00 | 14000000.00 | 14000000.00 | 7600000.00 | 7600000.00 | 23446658.85 | 23446658.85 | 7600000.00 | RAJINDER INFRASTRUCTURE PVT LTD
3.00 | Note:- 1. All works to be carried out as per scope of work given in the AAI’s requirement and conceptual drawings/ design enclosed with tender documents. 2. The information contained in these Tender Documents, being indicative in its nature, are being provided for the limited purposes of enabling the Tenderers to prepare a tender. These Tender Documents are a summary of available information and no reliance shall be placed on any information or statements contained herein, and no liability is or will be accepted by the AAI regarding accuracy, adequacy or completeness of such information or statements made, nor shall it be assumed that such information or statements will remain unchanged. 3. The bidders shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed including the designs, specifications, scope of work, methodologies, programs and cost etc. 4. The agency shall also submit PCN evaluation report of all the pavements. 5. The quoted rates shall be excluding GST.
| Total in Figures |  |  |  |  | 985500000.00 |  | 1177510728.46 |  | 1045941399.00 |  | 1350109413.00 |  | 1142424872.00 |  | 1297200000.00 |  | 1088000000.00 |  | 1319617090.00 |  | 1520000000.00 |  | 1127000000.00 |  | 1149800000.00 |  | 1273187635.72
Lowest Amount Quoted BY: VISHAL INFRASTRUCTURE LTD(985500000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Ayodhya Airport, Uttar Pradesh. SH- Pavement, Grading and other works in operational area on Design Build Basis EPC Tender ID: 2021_AAI_73475_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VISHAL INFRASTRUCTURE LTD | 985500000.00 | L1
| 2 | AIC Infrastructures Pvt. Ltd | 1045941399.00 | L2
| 3 | VIJAI CONSTRUCTION (INDIA) PRIVATE LIMITED | 1088000000.00 | L3
| 4 | NSC Projects Pvt. Ltd. | 1127000000.00 | L4
| 5 | PNC Infratech Ltd | 1142424872.00 | L5
| 6 | RAJINDER INFRASTRUCTURE PVT LTD | 1149800000.00 | L6
| 7 | M/s. ASHOKA BUILDCON LTD | 1177510728.46 | L7
| 8 | Ramera Buildcon Pvt Ltd | 1273187635.72 | L8
| 9 | Ashish Infracon Pvt.Ltd. | 1297200000.00 | L9
| 10 | SBG Infracon Pvt. Ltd. | 1319617090.00 | L10
| 11 | Balajee Infratech And Constructions Private Limited | 1350109413.00 | L11
| 12 | SARAOGI BUILDERS LTD | 1520000000.00 | L12