## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 05-Apr-2021 03:20 PM Tender Title: ARMO of E and M Installations at Jalgaon Airport SH- Bi-Annual CMC of Cassette Type - Split Type Air Conditioners, Water Coolers and Water Purifiers Year 2021-23 Tender ID: 2021_AAI_73607_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect), AAI, Nagpur
Name of Work :- ARMO of E&M Installations at Jalgaon Airport. SH: Bi-Annual CMC of Cassette Type / Split Type Air Conditioners, Water Coolers and Water Purifiers at Jalgaon Airport (Year 2021-23).
Contract No: AAI/NGP/E-E/JAL/2020-21/08/AC-CMC/NIT-05 Date:18.03.2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | MULTISERVE COOLING SOLUTIONS(GSTN-NA) |  | Opal HVAC Services(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Bi-annual comprehensive maintenance of cassette type air conditioners of all makes of following capacity at different locations including providing & fixing all necessary consumables and spares including replacing faulty compressor for the period of two years etc. complete as required as per conditions and specifications.
1.10 | 4 TR cassette type air conditioners (1st Year) | 6.00 | Rate / Unit / Year | 6545.00 | 4000.00 | 24000.00 | 7200.00 | 43200.00 | 5600.00 | 33600.00 | 9000.00 | 54000.00 | 24000.00 | M K ENTERPRISES
1.20 | 4 TR cassette type air conditioners (2nd Year) | 6.00 | Rate / Unit / Year | 7636.00 | 4000.00 | 24000.00 | 8000.00 | 48000.00 | 5600.00 | 33600.00 | 8000.00 | 48000.00 | 24000.00 | M K ENTERPRISES
1.30 | 3 TR cassette type air conditioners (1st Year) | 8.00 | Rate / Unit / Year | 5909.00 | 3000.00 | 24000.00 | 6900.00 | 55200.00 | 4200.00 | 33600.00 | 4500.00 | 36000.00 | 24000.00 | M K ENTERPRISES
1.40 | 3 TR cassette type air conditioners (2nd Year) | 8.00 | Rate / Unit / Year | 5909.00 | 3000.00 | 24000.00 | 7000.00 | 56000.00 | 4200.00 | 33600.00 | 4500.00 | 36000.00 | 24000.00 | M K ENTERPRISES
2.00 | Bi-annual comprehensive maintenance of split type air conditioners of all makes of following capacity at different locations including providing & fixing all necessary consumables and spares including replacing faulty compressor for the period of two years etc. complete as required as per conditions and specifications.
2.10 | 1.5 / 2.0 TR spilt type air conditioners (1st Year) | 42.00 | Rate / Unit / Year | 3182.00 | 2200.00 | 92400.00 | 3000.00 | 126000.00 | 2800.00 | 117600.00 | 3100.00 | 130200.00 | 92400.00 | M K ENTERPRISES
2.20 | 1.5 / 2.0 TR spilt type air conditioners (2nd Year) | 42.00 | Rate / Unit / Year | 3182.00 | 2300.00 | 96600.00 | 4200.00 | 176400.00 | 2800.00 | 117600.00 | 3100.00 | 130200.00 | 96600.00 | M K ENTERPRISES
3.00 | Bi-annual comprehensive maintenance of water coolers of all makes with following capacity at different locations, including providing & fixing all necessary consumables and spares including replacing of faulty compressor for the period of two years etc. complete as required as per conditions and specifications.
3.10 | 40/80 Ltrs. (1st Year) | 7.00 | Rate / Unit / Year | 4091.00 | 2500.00 | 17500.00 | 4800.00 | 33600.00 | 3000.00 | 21000.00 | 2600.00 | 18200.00 | 17500.00 | M K ENTERPRISES
3.20 | 40/80 Ltrs. (2nd Year) | 7.00 | Rate / Unit / Year | 4091.00 | 2500.00 | 17500.00 | 4800.00 | 33600.00 | 3000.00 | 21000.00 | 2600.00 | 18200.00 | 17500.00 | M K ENTERPRISES
3.30 | 60/120 Ltrs (1st Year) | 2.00 | Rate / Unit / Year | 5454.00 | 2500.00 | 5000.00 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 2600.00 | 5200.00 | 5000.00 | M K ENTERPRISES
3.40 | 60/120 Ltrs (2nd Year) | 2.00 | Rate / Unit / Year | 6545.00 | 2500.00 | 5000.00 | 7200.00 | 14400.00 | 4000.00 | 8000.00 | 2600.00 | 5200.00 | 5000.00 | M K ENTERPRISES
4.00 | Bi-annual comprehensive maintenance of RO type water purifiers of following capacity of all makes at different locations including replacement of all type of filter cartridges & RO membranes (from OEM / Authorized Dealer of OEM), booster pump, etc. including consumables and spares for the period of two years etc. complete as required as per conditions and specifications.
4.10 | Aquaguard model 10 LPH (1st Year) | 5.00 | Rate / Unit / Year | 3818.00 | 2500.00 | 12500.00 | 3000.00 | 15000.00 | 5000.00 | 25000.00 | 3000.00 | 15000.00 | 12500.00 | M K ENTERPRISES
4.20 | Aquaguard model 10 LPH (2nd Year) | 5.00 | Rate / Unit / Year | 4909.00 | 2500.00 | 12500.00 | 3300.00 | 16500.00 | 5000.00 | 25000.00 | 3000.00 | 15000.00 | 12500.00 | M K ENTERPRISES
4.30 | Nasaka Model - S50 Super - 50 LPH (1st year) | 3.00 | Rate / Unit / Year | 5999.00 | 6000.00 | 18000.00 | 5500.00 | 16500.00 | 12000.00 | 36000.00 | 3000.00 | 9000.00 | 9000.00 | Opal HVAC Services
4.40 | Nasaka Model - S50 Super - 50 LPH (2nd year) | 3.00 | Rate / Unit / Year | 7090.00 | 6000.00 | 18000.00 | 6000.00 | 18000.00 | 12000.00 | 36000.00 | 3000.00 | 9000.00 | 9000.00 | Opal HVAC Services
5.00 | Bi-annual Comprehensive Maintenance of the following capacity water cooler cum purifier including replacement of compressor, filters & RO membranes (from OEM / Authorized Dealer of OEM), PCB, pumps/motors, U.V.Lamp etc. as per breakdown / preventive maintenance requirement for the period of two years etc. including consumables and spares for the period of two years etc. complete as required as per conditions and specifications.
5.10 | Blue Star 80 Ltr capacity (1st Year) | 1.00 | Rate / Unit / Year | 5454.00 | 2200.00 | 2200.00 | 4800.00 | 4800.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 2200.00 | M K ENTERPRISES
5.20 | Blue Star 80 Ltr capacity (2nd Year) | 1.00 | Rate / Unit / Year | 5454.00 | 2386.00 | 2386.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 2386.00 | M K ENTERPRISES
6.00 | Trans-installation, testing & commissioning of 1.5/2 TR split air conditioner by dismantling, shifting & fixing indoor unit on wall/ceiling/structure and outdoor unit on wall/stand including providing & fixing suitable size duly painted / powder coated M.S. / G.I. equal angle base frame (ODU Stand), fixing existing suction/discharge refrigerant copper piping with new elastomeric nitrile rubber insulation, re-laying existing control cabling from indoor to outdoor unit, fasteners, charging of refrigerant gas i/c minor civil works and all accessories etc. complete as per technical specifications as required. | 8.00 | Job | 3182.00 | 2200.00 | 17600.00 | 2000.00 | 16000.00 | 5000.00 | 40000.00 | 1000.00 | 8000.00 | 8000.00 | Opal HVAC Services
7.00 | Supply & fixing (Additional or Extra to Item No: 6) of suction & discharge refrigerant copper piping for 1.5/2 TR split AC with elastomeric nitrile rubber insulation between indoor and outdoor units with suitable size of clamp / MS hanger / MS support / MS angle as per site requirement and as per technical specifications as required. | 30.00 | Mtr | 282.00 | 200.00 | 6000.00 | 750.00 | 22500.00 | 750.00 | 22500.00 | 143.00 | 4290.00 | 4290.00 | Opal HVAC Services
8.00 | Supply & fixing 25 mm dia. UPVC drain pipe including cutting, jointing with approved solvent cement compound as per IS 14735, etc complete as required. | 30.00 | Mtr | 50.00 | 60.00 | 1800.00 | 90.00 | 2700.00 | 90.00 | 2700.00 | 25.00 | 750.00 | 750.00 | Opal HVAC Services
9.00 | Supply and laying of 3 C x 4 Sq. mm PVC insulated, FRLS PVC sheathed, unarmoured, multi stranded copper cable as per IS : 694 along with refrigerant piping between indoor and outdoor unit of 1.5/2.0 TR Split type AC units etc as required. | 30.00 | Mtr | 150.00 | 60.00 | 1800.00 | 140.00 | 4200.00 | 130.00 | 3900.00 | 370.00 | 11100.00 | 1800.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 422786.00 |  | 720600.00 |  | 628700.00 |  | 559340.00
Lowest Amount Quoted BY: M K ENTERPRISES(422786.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Jalgaon Airport SH- Bi-Annual CMC of Cassette Type - Split Type Air Conditioners, Water Coolers and Water Purifiers Year 2021-23 Tender ID: 2021_AAI_73607_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 422786.00 | L1
| 2 | Opal HVAC Services | 559340.00 | L2
| 3 | MULTISERVE COOLING SOLUTIONS | 628700.00 | L3
| 4 | Manish Electricals | 720600.00 | L4