## BoQ1
Government eProcurement System Created By: MAYANK YADAV Created Date/Time: 14-Jun-2021 03:29 PM Tender Title: ARMO of Electrical, Mechanical and Allied Works at Kangra Airport, Kangra 2021-23 Tender ID: 2021_AAI_74402_1
Tender Inviting Authority: Sr.Manager Engg.- E, Airports Authority of India, Kangra Airport, Kangra
Name of Work:- ARMO of Electrical, Mechanical & Allied Works at Kangra Airport, Kangra. (2021-23)”
Contract No: 2021_AAI_74402_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | MPC ELECTRICALS AND ENGINEERS(GSTN-08ABUPP6558K1ZM) |  | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | K B S ELECTRICALS(GSTN-07ASBPS3251L1ZJ) |  | ASHWANI REFRIGERATION AND ELECTRICALS(GSTN-36ACAPG1851D1Z7) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | TEJA POWER TECH(GSTN-36BPXPD0822G1ZW) |  | ARNAV ENGINEERING CONSULTANCY SERVICES(GSTN-07ABKFA7102Q1Z4) |  | R. D. ENGINEERS(GSTN-07AAOPG1416G1ZZ) |  | The Imperial Electric Works(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running, operation & maintenance of all Internal & External electrical installations, installed at Terminal Building, ATC Building, Fire Station, DVOR, Power House, Operational Area, Apron, City Side, Airport Colony and Car Parking etc. including Airport Colony as per inventory of Electrical installation with deputing following minimum manpower per day (on all days excluding Sunday / Weekly offs) alongwith required T&P and sundries etc. complete as required (a) Supervisor - Highly Skilled - 01 No. - General Shift (06 Days in a Week) (b) Wireman - Skilled - 06 Nos. (06 Days in a Week) (c) Assistant Operator-Semi Skilled-08 Nos. (06 Days in a Week) (d) Helper - Unskilled - 07 Nos. (06 Days in a Week) Note: The Tenderers have to consider the cost of Uniforms, Log Books, Consumables, Tools And Tackles etc. as per tender conditions in the Quoted Rates. | 24.00 | Month |  | 305000.00 | 7320000.00 | 350000.00 | 8400000.00 | 331270.00 | 7950480.00 | 330000.00 | 7920000.00 | 330300.00 | 7927200.00 | 303030.00 | 7272720.00 | 335000.00 | 8040000.00 | 327500.00 | 7860000.00 | 315000.00 | 7560000.00 | 301700.00 | 7240800.00 | 303700.00 | 7288800.00 | 335595.00 | 8054280.00 | 327651.00 | 7863624.00 | 320000.00 | 7680000.00 | 7240800.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
2.00 | Supply of EHV grade transformer oil (BDV - Minimum 50KV) with test report for topping up of transformers / MOCBs / RMUs etc. as required. | 210.00 | Litre |  | 200.00 | 42000.00 | 170.00 | 35700.00 | 128.00 | 26880.00 | 160.00 | 33600.00 | 99.00 | 20790.00 | 111.00 | 23310.00 | 100.00 | 21000.00 | 180.00 | 37800.00 | 120.00 | 25200.00 | 110.00 | 23100.00 | 96.00 | 20160.00 | 60.00 | 12600.00 | 100.00 | 21000.00 | 200.00 | 42000.00 | 12600.00 | The Imperial Electric Works
3.00 | Carring out BDV (Break Down Voltage) Test of Transformer Oil and submission of Test reports etc. complete as required. | 12.00 | Each |  | 200.00 | 2400.00 | 500.00 | 6000.00 | 5500.00 | 66000.00 | 250.00 | 3000.00 | 1800.00 | 21600.00 | 333.00 | 3996.00 | 3500.00 | 42000.00 | 1500.00 | 18000.00 | 240.00 | 2880.00 | 1500.00 | 18000.00 | 500.00 | 6000.00 | 80.00 | 960.00 | 1000.00 | 12000.00 | 2000.00 | 24000.00 | 960.00 | The Imperial Electric Works
4.00 | Filtration /Dehydration of Transformer oil at site so as to attain dielectric strength as specified in IS 335/1983 after filtration for BDV instantaneous & one minute withstand, carrying out acidity test of the sample after dehydration i/c transportation of dehydration machine at site and submission of report etc. complete as required. | 4120.00 | Litre |  | 10.00 | 41200.00 | 6.00 | 24720.00 | 15.00 | 61800.00 | 10.00 | 41200.00 | 6.00 | 24720.00 | 5.00 | 20600.00 | 7.00 | 28840.00 | 10.00 | 41200.00 | 4.00 | 16480.00 | 9.00 | 37080.00 | 48.00 | 197760.00 | 40.00 | 164800.00 | 12.00 | 49440.00 | 12.00 | 49440.00 | 16480.00 | TEJA POWER TECH
5.00 | Servicing and Overhauling of HT, OCB Make GEC, ALSTHOM, 11KV, 350MVA, 400Amp, 3Phase, 50Hz including testing of tripping mechanism, checking breaker operations, control wirings and fault rectification etc. alongwith lumbrication of moveable parts and cleaning of jaw contacts etc and replacement of defective parts as per site requrement. (Spare parts will be provided by AAI or paid extra) (Rate Job per Unit per Year) | 6.00 | Job |  | 2800.00 | 16800.00 | 6200.00 | 37200.00 | 5500.00 | 33000.00 | 7000.00 | 42000.00 | 2700.00 | 16200.00 | 5151.00 | 30906.00 | 5500.00 | 33000.00 | 12000.00 | 72000.00 | 6000.00 | 36000.00 | 7500.00 | 45000.00 | 1500.00 | 9000.00 | 500.00 | 3000.00 | 13000.00 | 78000.00 | 11000.00 | 66000.00 | 3000.00 | The Imperial Electric Works
6.00 | Servicing and Overhauling of LT, ACB Make L&T, 415V, 1000A,3Phase, 50Hz including testing of tripping mechanism, checking breaker operations, control wirings and fault rectification etc. alongwith lumbrication of moveable parts and cleaning of jaw contacts and sparking chambers etc. and replacement of defective parts as per site requrement. (Spare parts will be provided by AAI or paid extra) (Rate Job per Unit per Year) | 6.00 | Job |  | 2800.00 | 16800.00 | 3500.00 | 21000.00 | 4500.00 | 27000.00 | 4500.00 | 27000.00 | 2700.00 | 16200.00 | 3333.00 | 19998.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 3040.00 | 18240.00 | 2500.00 | 15000.00 | 1200.00 | 7200.00 | 900.00 | 5400.00 | 6000.00 | 36000.00 | 5000.00 | 30000.00 | 5400.00 | The Imperial Electric Works
7.00 | Testing and calibration of following HT panel Voltage and Current Operated relays including secondary injection testing and settings once in a year, submitting test reports etc. complete as required. (The work shall be carried out from experienced relay calibration agency.) (Rate Unit per Year)
7.10 | (a) Earth Fault Relay (Inverse) Type CDG (Make ALSTOM) | 4.00 | Each |  | 1000.00 | 4000.00 | 1070.00 | 4280.00 | 2500.00 | 10000.00 | 900.00 | 3600.00 | 500.00 | 2000.00 | 1111.00 | 4444.00 | 1000.00 | 4000.00 | 3500.00 | 14000.00 | 360.00 | 1440.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 8000.00 | 32000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1440.00 | TEJA POWER TECH
7.20 | (b) Over Current Relay (Inverse) Type CDG (Make ALSTOM) | 8.00 | Each |  | 1000.00 | 8000.00 | 1070.00 | 8560.00 | 2500.00 | 20000.00 | 900.00 | 7200.00 | 500.00 | 4000.00 | 1122.00 | 8976.00 | 1000.00 | 8000.00 | 3500.00 | 28000.00 | 360.00 | 2880.00 | 1500.00 | 12000.00 | 1000.00 | 8000.00 | 4000.00 | 32000.00 | 3000.00 | 24000.00 | 1500.00 | 12000.00 | 2880.00 | TEJA POWER TECH
7.30 | (c) Auxiliary Relay Type VAA (Make ALSTOM) | 6.00 | Each |  | 1000.00 | 6000.00 | 1070.00 | 6420.00 | 3000.00 | 18000.00 | 900.00 | 5400.00 | 500.00 | 3000.00 | 1133.00 | 6798.00 | 1000.00 | 6000.00 | 3500.00 | 21000.00 | 400.00 | 2400.00 | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 3500.00 | 21000.00 | 3000.00 | 18000.00 | 1500.00 | 9000.00 | 2400.00 | TEJA POWER TECH
8.00 | Testing and calibration of following LT panel Voltage and Current Operated relays including secondary injection testing and settings once in a year, submitting test reports etc. complete as required. (The work shall be carried out from experienced relay calibration agency.) (Rate Unit per Year)
8.10 | (a) Earth Fault Relay (Inverse) Type CDG (Make ALSTOM) | 2.00 | Each |  | 1000.00 | 2000.00 | 1070.00 | 2140.00 | 3000.00 | 6000.00 | 900.00 | 1800.00 | 500.00 | 1000.00 | 1111.00 | 2222.00 | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 400.00 | 800.00 | 1400.00 | 2800.00 | 1000.00 | 2000.00 | 8000.00 | 16000.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 800.00 | TEJA POWER TECH
8.20 | (b) Earth Fault Relay (Inverse) Type CDG (Make ENGLISH ELECTRIC) | 2.00 | Each |  | 1000.00 | 2000.00 | 1160.00 | 2320.00 | 3000.00 | 6000.00 | 900.00 | 1800.00 | 500.00 | 1000.00 | 1122.00 | 2244.00 | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 1400.00 | 2800.00 | 1000.00 | 2000.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 1000.00 | K B S ELECTRICALS
8.30 | (c) Over Current Relay (Inverse) Type CDG (Make ALSTOM) | 4.00 | Each |  | 1000.00 | 4000.00 | 1160.00 | 4640.00 | 3000.00 | 12000.00 | 900.00 | 3600.00 | 500.00 | 2000.00 | 1133.00 | 4532.00 | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 400.00 | 1600.00 | 1400.00 | 5600.00 | 1000.00 | 4000.00 | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1600.00 | TEJA POWER TECH
8.40 | (d) Over Current Relay (Inverse) Type CDG (Make ENGLISH ELECTRIC) | 4.00 | Each |  | 1000.00 | 4000.00 | 1160.00 | 4640.00 | 3000.00 | 12000.00 | 900.00 | 3600.00 | 500.00 | 2000.00 | 1144.00 | 4576.00 | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 400.00 | 1600.00 | 1400.00 | 5600.00 | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1600.00 | TEJA POWER TECH
9.00 | Rewinding of single phase motors of ceiling Fan/ Exhaust / wall mounted fan i/c credit for dimantled winding, replacement of defective bearings / bushing, Greasing, varnishing and transportation (to and fro) etc. complete as required. | 20.00 | Each |  | 500.00 | 10000.00 | 260.00 | 5200.00 | 450.00 | 9000.00 | 450.00 | 9000.00 | 450.00 | 9000.00 | 222.00 | 4440.00 | 150.00 | 3000.00 | 450.00 | 9000.00 | 240.00 | 4800.00 | 420.00 | 8400.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 3000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Lifting & lowering of submersible motor pump set including associated GI pipes from borewell by arranging tripod and pulley apparatus and reinstallation, lowering, testing of motor pump set etc. complete as required. | 4.00 | Each |  | 2000.00 | 8000.00 | 1700.00 | 6800.00 | 5000.00 | 20000.00 | 5500.00 | 22000.00 | 500.00 | 2000.00 | 4444.00 | 17776.00 | 1500.00 | 6000.00 | 8000.00 | 32000.00 | 2400.00 | 9600.00 | 7000.00 | 28000.00 | 8000.00 | 32000.00 | 1000.00 | 4000.00 | 6500.00 | 26000.00 | 5000.00 | 20000.00 | 2000.00 | K B S ELECTRICALS
11.00 | Rewinding of 7.5 HP three phase submersible motor pump set i/c credit for dimantled winding, replacement of bearings, varnishing and transportation (to and fro) etc. complete as required. | 1.00 | Each |  | 5000.00 | 5000.00 | 2700.00 | 2700.00 | 8500.00 | 8500.00 | 4500.00 | 4500.00 | 500.00 | 500.00 | 4994.00 | 4994.00 | 5500.00 | 5500.00 | 8500.00 | 8500.00 | 800.00 | 800.00 | 6500.00 | 6500.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 500.00 | K B S ELECTRICALS
12.00 | Rewinding of 10 HP three phase submersible motor pump set i/c credit for dimantled winding, replacement of bearings, varnishing and transportation (to and fro) etc. complete as required. | 1.00 | Job |  | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 12000.00 | 12000.00 | 6000.00 | 6000.00 | 500.00 | 500.00 | 6000.00 | 6000.00 | 8500.00 | 8500.00 | 10500.00 | 10500.00 | 960.00 | 960.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 7000.00 | 7000.00 | 500.00 | K B S ELECTRICALS
13.00 | Complete overhauling of submersible pump by carrying out balancing of pump shaft and cutting of key slots, repairs to bowl assembly etc. complete in all respects and directed by Engineer-in-Charge. (New spares/parts shall be provided or paid extra) | 2.00 | Job |  | 5000.00 | 10000.00 | 2330.00 | 4660.00 | 9500.00 | 19000.00 | 3300.00 | 6600.00 | 500.00 | 1000.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 1000.00 | K B S ELECTRICALS
14.00 | Supply & carrying out of B-check (Lube/Engine Oil, Fuel Filter, Oil Filter, Toppat Gasket Covers etc.) of mobile DG Set as per manufacturers recommendations etc. complete i/c service charges & the servicing shall be provided from Authorised dealer for 10 KVA (Ashoka Leyland) make DG set. | 2.00 | Job |  | 12000.00 | 24000.00 | 3500.00 | 7000.00 | 3500.00 | 7000.00 | 7000.00 | 14000.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 2400.00 | 4800.00 | 6500.00 | 13000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 11000.00 | 22000.00 | 12000.00 | 24000.00 | 4800.00 | TEJA POWER TECH
15.00 | Annual Comprehensive, repair & maintenance of 50 LPH R.O. Unit units including supply replacement of filters, pumps, membranes and all other spares including repair/replacement of electronic components as per site requirement and additional visits during the contract period as per site requirement and as and when required in the event of any break down/Malfunctioning of the RO System etc. as required. (All materials for repalcement/rewinding to be arrange by contractor). (Rates Job per unit per Year)
15.10 | (a) First Year | 5.00 | Each |  | 4000.00 | 20000.00 | 1500.00 | 7500.00 | 9500.00 | 47500.00 | 10000.00 | 50000.00 | 3250.00 | 16250.00 | 5000.00 | 25000.00 | 1500.00 | 7500.00 | 3600.00 | 18000.00 | 2400.00 | 12000.00 | 4500.00 | 22500.00 | 10000.00 | 50000.00 | 5000.00 | 25000.00 | 3000.00 | 15000.00 | 5000.00 | 25000.00 | 7500.00 | MPC ELECTRICALS AND ENGINEERS, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
16.00 | Annual Comprehensive, repair & maintenance of 15 LPH R.O. Unit (Kent Make with 8 Ltr Storage Tank) units including supply replacement of filters, pumps, membranes and all other spares including repair/replacement of electronic components as per site requirement and additional visits during the contract period as per site requirement and as and when required in the event of any break down/Malfunctioning of the RO System etc. as required. (All materials for repalcement/rewinding to be arrange by contractor). (Rates Job per unit per Year)
16.10 | (a) First Year | 1.00 | Each |  | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 4500.00 | 4500.00 | 2222.00 | 2222.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
16.20 | (b) Second Year | 1.00 | Each |  | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 6500.00 | 6500.00 | 5300.00 | 5300.00 | 5400.00 | 5400.00 | 2999.00 | 2999.00 | 1500.00 | 1500.00 | 3500.00 | 3500.00 | 2400.00 | 2400.00 | 3500.00 | 3500.00 | 10000.00 | 10000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 6000.00 | 6000.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
17.00 | Annual comprehensive repair & maintenance of 120 / 120 Litre capacity water coolers i/c supply and replacement of defective compressor by approved make compressor and other defective component, i/c rewinding of motor pertaining to water cooler, replacement of drainage pipe, capacitor, relay, thermostat, Gas charging etc. as per site requirement and as and when required in the event of any break down/Malfunctioning of the Water Coolers etc. as required. (All materials for repalcement/rewinding to be arrange by contractor). (Rates Job per unit per Year)
17.10 | (a) First Year | 5.00 | Each |  | 3000.00 | 15000.00 | 1250.00 | 6250.00 | 15000.00 | 75000.00 | 2500.00 | 12500.00 | 2700.00 | 13500.00 | 2222.00 | 11110.00 | 3000.00 | 15000.00 | 6600.00 | 33000.00 | 800.00 | 4000.00 | 4500.00 | 22500.00 | 10000.00 | 50000.00 | 2000.00 | 10000.00 | 1000.00 | 5000.00 | 10000.00 | 50000.00 | 4000.00 | TEJA POWER TECH
18.00 | Annual comprehensive repair & maintenance of 40 / 80 Litre capacity water coolers i/c supply and replacement of defective compressor by approved make compressor and other defective component, i/c rewinding of motor pertaining to water cooler, replacement of drainage pipe, capacitor, relay, thermostat, Gas charging etc. as per site requirement and as and when required in the event of any break down/Malfunctioning of the Water Coolers etc. as required. (All materials for repalcement/rewinding to be arrange by contractor). (Rates Job per unit per Year)
18.10 | (a) First Year | 4.00 | Each |  | 3000.00 | 12000.00 | 1250.00 | 5000.00 | 12000.00 | 48000.00 | 2000.00 | 8000.00 | 2700.00 | 10800.00 | 1999.00 | 7996.00 | 2000.00 | 8000.00 | 5400.00 | 21600.00 | 800.00 | 3200.00 | 4000.00 | 16000.00 | 10000.00 | 40000.00 | 2500.00 | 10000.00 | 1000.00 | 4000.00 | 6000.00 | 24000.00 | 3200.00 | TEJA POWER TECH
19.00 | Annual comprehensive repair & maintenence of 1.5 TR /2.0 TR Window type air cooled airconditioner Units i/c supply & replacement of defective compressor by approved make compressor & other defective component, i/c rewinding of motor pertaining to AC units (all material for replacement), replacement of drainage pipe, capacitor, relay, thermostat, Gas charging etc. as per site requirement and as and when required in the event of any break down/Malfunctioning of the AC Units etc. as required. (All materials for repalcement/rewinding to be arrange by contractor). (Rates Job per unit per Year)
19.10 | (a) First Year | 16.00 | Each |  | 2000.00 | 32000.00 | 3500.00 | 56000.00 | 1500.00 | 24000.00 | 2500.00 | 40000.00 | 1800.00 | 28800.00 | 4444.00 | 71104.00 | 1000.00 | 16000.00 | 5500.00 | 88000.00 | 7200.00 | 115200.00 | 1500.00 | 24000.00 | 2000.00 | 32000.00 | 2000.00 | 32000.00 | 3600.00 | 57600.00 | 4000.00 | 64000.00 | 16000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.20 | (b) Second Year | 16.00 | Each |  | 2000.00 | 32000.00 | 3500.00 | 56000.00 | 1800.00 | 28800.00 | 2700.00 | 43200.00 | 1800.00 | 28800.00 | 4455.00 | 71280.00 | 1500.00 | 24000.00 | 6500.00 | 104000.00 | 7600.00 | 121600.00 | 1500.00 | 24000.00 | 2000.00 | 32000.00 | 2000.00 | 32000.00 | 3600.00 | 57600.00 | 5000.00 | 80000.00 | 24000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, ARNAV ENGINEERING CONSULTANCY SERVICES
20.00 | Annual comprehensive repair & maintenence of following 1.5 TR / 2.0 / 3.0 TR Split typeair cooled airconditioner Units i/c supply & replacement of defective compressor by approved make compressor & other defective component, i/c rewinding of motor pertaining to AC units (all material for replacement), replacement of drain pipe, capacitor, relay, thermostat, Gas Charging etc. as per site requirement and as and when required in the event of any break down/Malfunctioning of the AC Units etc. as required. (All materials for repalcement/rewinding to be arrange by contractor). (Rates Job per unit per Year)
20.10 | (a) First Year | 25.00 | Each |  | 2500.00 | 62500.00 | 3500.00 | 87500.00 | 3500.00 | 87500.00 | 2800.00 | 70000.00 | 1800.00 | 45000.00 | 3030.00 | 75750.00 | 1500.00 | 37500.00 | 6500.00 | 162500.00 | 8000.00 | 200000.00 | 2000.00 | 50000.00 | 2000.00 | 50000.00 | 2500.00 | 62500.00 | 3600.00 | 90000.00 | 4000.00 | 100000.00 | 37500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.20 | (b) Second Year | 25.00 | Each |  | 2500.00 | 62500.00 | 3500.00 | 87500.00 | 4500.00 | 112500.00 | 3100.00 | 77500.00 | 1800.00 | 45000.00 | 3131.00 | 78275.00 | 2000.00 | 50000.00 | 7200.00 | 180000.00 | 8400.00 | 210000.00 | 2000.00 | 50000.00 | 2000.00 | 50000.00 | 2500.00 | 62500.00 | 3600.00 | 90000.00 | 5000.00 | 125000.00 | 45000.00 | K B S ELECTRICALS
21.00 | Annual comprehensive repair & maintenence of 2.0 TR Split type air cooled airconditioner Units (Cooling + Heating) i/c supply & replacement of defective compressor by approved make compressor & other defective component, i/c rewinding of motor pertaining to AC units (all material for replacement), replacement of drain pipe, capacitor, relay, thermostat, Gas Charging etc. as per site requirement and as and when required in the event of any break down/Malfunctioning of the AC Units etc. as required. (All materials for repalcement/rewinding to be arrange by contractor). (Rates Job per unit per Year)
21.10 | (a) First Year | 2.00 | Each |  | 3500.00 | 7000.00 | 4400.00 | 8800.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 2100.00 | 4200.00 | 4141.00 | 8282.00 | 3500.00 | 7000.00 | 9500.00 | 19000.00 | 4000.00 | 8000.00 | 2700.00 | 5400.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 3600.00 | 7200.00 | 8000.00 | 16000.00 | 4000.00 | R. D. ENGINEERS
21.20 | (b) Second Year | 2.00 | Each |  | 3500.00 | 7000.00 | 4400.00 | 8800.00 | 4500.00 | 9000.00 | 3200.00 | 6400.00 | 2500.00 | 5000.00 | 4242.00 | 8484.00 | 3000.00 | 6000.00 | 10200.00 | 20400.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 3600.00 | 7200.00 | 10000.00 | 20000.00 | 4000.00 | R. D. ENGINEERS
22.00 | Rewinding of inline fan three phase motor i/c credit for dimantled winding, replacement of bearings, varnishing, and transportation (to and fro) etc. complete as required. | 10.00 | Job |  | 500.00 | 5000.00 | 710.00 | 7100.00 | 4500.00 | 45000.00 | 2000.00 | 20000.00 | 300.00 | 3000.00 | 2222.00 | 22220.00 | 1200.00 | 12000.00 | 650.00 | 6500.00 | 1200.00 | 12000.00 | 1500.00 | 15000.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 3600.00 | 36000.00 | 1000.00 | 10000.00 | 3000.00 | K B S ELECTRICALS
23.00 | Annual comprehensive repair & maintenence of Water Fountain with bubbler i/c supply & replacement of defective compressor by approved make compressor & other defective component, i/c rewinding of motor pertaining to water fountain units (all material for replacement), replacement of drain pipe, capacitor, relay, thermostat, pressure boosting device, UV Filter, fountain with bubbler, push button, Gas Charging etc. as per site requirement and as and when required in the event of any break down/Malfunctioning of the water fountain etc. as required. (All materials for repalcement/rewinding to be arrange by contractor). (Rates Job per unit per Year)
23.10 | (a) First Year | 4.00 | Each |  | 2000.00 | 8000.00 | 2600.00 | 10400.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 1500.00 | 6000.00 | 3131.00 | 12524.00 | 5500.00 | 22000.00 | 4000.00 | 16000.00 | 12000.00 | 48000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 3000.00 | 12000.00 | 3600.00 | 14400.00 | 5000.00 | 20000.00 | 6000.00 | K B S ELECTRICALS
23.20 | (b) Second Year | 4.00 | Each |  | 5000.00 | 20000.00 | 2600.00 | 10400.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 1500.00 | 6000.00 | 3232.00 | 12928.00 | 5500.00 | 22000.00 | 4400.00 | 17600.00 | 12000.00 | 48000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 4000.00 | 16000.00 | 3600.00 | 14400.00 | 6000.00 | 24000.00 | 6000.00 | K B S ELECTRICALS
24.00 | Annual Comprehensive maintenance of all Electrical & Mechanical Installations of Fire Alarm & Fire Fighting System including repair, maintenance & attending to complaints / faults/ breakdowns and taking rectification action, ensuring serviceability/satisfactory working condition of the systems, preventive maintenance, maintenance of records/documentations, etc. as per the detailed specifications, terms & conditions covered under this contract on all days including Sundays & holidays etc. complete as required. (The contractor has to depute a Fire supervisor/mechanic & other minimum manpower for a minimum visit in each month for satisfactory completion of work.)
24.10 | (a) First Year | 12.00 | Month |  | 5000.00 | 60000.00 | 15100.00 | 181200.00 | 1000.00 | 12000.00 | 6000.00 | 72000.00 | 1800.00 | 21600.00 | 9999.00 | 119988.00 | 22000.00 | 264000.00 | 4500.00 | 54000.00 | 12000.00 | 144000.00 | 12000.00 | 144000.00 | 6000.00 | 72000.00 | 8500.00 | 102000.00 | 8000.00 | 96000.00 | 10000.00 | 120000.00 | 12000.00 | Sew Engineering Works Pvt Ltd
24.20 | (b) Second Year | 12.00 | Month |  | 5000.00 | 60000.00 | 15100.00 | 181200.00 | 1200.00 | 14400.00 | 6500.00 | 78000.00 | 1800.00 | 21600.00 | 11111.00 | 133332.00 | 20000.00 | 240000.00 | 4500.00 | 54000.00 | 12400.00 | 148800.00 | 14000.00 | 168000.00 | 6000.00 | 72000.00 | 9000.00 | 108000.00 | 8000.00 | 96000.00 | 12000.00 | 144000.00 | 14400.00 | Sew Engineering Works Pvt Ltd
25.00 | Refilling of existing 2kg ABC type fire extinguishers including transportation. | 10.00 | Each |  | 400.00 | 4000.00 | 350.00 | 3500.00 | 150.00 | 1500.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 400.00 | 4000.00 | 350.00 | 3500.00 | 1500.00 | 15000.00 | 400.00 | 4000.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 700.00 | 7000.00 | 1500.00 | Sew Engineering Works Pvt Ltd
26.00 | Refilling of existing 10kg ABC type fire extinguishers including transportation . | 20.00 | Each |  | 700.00 | 14000.00 | 800.00 | 16000.00 | 250.00 | 5000.00 | 1100.00 | 22000.00 | 320.00 | 6400.00 | 999.00 | 19980.00 | 350.00 | 7000.00 | 4000.00 | 80000.00 | 1600.00 | 32000.00 | 600.00 | 12000.00 | 500.00 | 10000.00 | 700.00 | 14000.00 | 500.00 | 10000.00 | 1000.00 | 20000.00 | 5000.00 | Sew Engineering Works Pvt Ltd
27.00 | Refilling of existing 10kg CO2 type fire extinguishers including transportation . | 20.00 | Each |  | 700.00 | 14000.00 | 800.00 | 16000.00 | 800.00 | 16000.00 | 900.00 | 18000.00 | 325.00 | 6500.00 | 888.00 | 17760.00 | 350.00 | 7000.00 | 6000.00 | 120000.00 | 1600.00 | 32000.00 | 900.00 | 18000.00 | 500.00 | 10000.00 | 800.00 | 16000.00 | 500.00 | 10000.00 | 1000.00 | 20000.00 | 6500.00 | K B S ELECTRICALS
28.00 | Supply of 12 Volt, 180 AH, Lead Acid Battery along with complete initial Battery Charging etc required. | 4.00 | Each |  | 16500.00 | 66000.00 | 14200.00 | 56800.00 | 12500.00 | 50000.00 | 13000.00 | 52000.00 | 4500.00 | 18000.00 | 9999.00 | 39996.00 | 13500.00 | 54000.00 | 16000.00 | 64000.00 | 15200.00 | 60800.00 | 15500.00 | 62000.00 | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 13500.00 | 54000.00 | 15000.00 | 60000.00 | 18000.00 | K B S ELECTRICALS
29.00 | Supply of 12 Volt, 100 Ah Lead Acid Battery along with initial Battery Charging etc required. | 2.00 | Each |  | 12500.00 | 25000.00 | 4400.00 | 8800.00 | 8500.00 | 17000.00 | 9000.00 | 18000.00 | 3600.00 | 7200.00 | 5555.00 | 11110.00 | 3500.00 | 7000.00 | 9000.00 | 18000.00 | 12000.00 | 24000.00 | 10500.00 | 21000.00 | 10000.00 | 20000.00 | 3500.00 | 7000.00 | 10200.00 | 20400.00 | 12000.00 | 24000.00 | 7000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, The Imperial Electric Works
30.00 | Supply of SMF Battery 12 Volt, 65 AH etc. required. | 2.00 | Each |  | 10000.00 | 20000.00 | 2600.00 | 5200.00 | 6000.00 | 12000.00 | 6000.00 | 12000.00 | 2100.00 | 4200.00 | 5555.00 | 11110.00 | 1580.00 | 3160.00 | 7000.00 | 14000.00 | 6400.00 | 12800.00 | 8600.00 | 17200.00 | 8000.00 | 16000.00 | 3500.00 | 7000.00 | 5800.00 | 11600.00 | 10000.00 | 20000.00 | 3160.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
31.00 | Dismentalling / shifting / Re-installation of 1.5/2.0/3.0 TR Spilt / Tower type Airconditioners on wall, Floor or Ceiling i/c gas charging, accociated Civil Works and making all arangement for successful ITC of AC Units etc. complete as required. | 5.00 | Each |  | 3000.00 | 15000.00 | 1100.00 | 5500.00 | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 1500.00 | 7500.00 | 1999.00 | 9995.00 | 2003.00 | 10015.00 | 2500.00 | 12500.00 | 3600.00 | 18000.00 | 2500.00 | 12500.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 200.00 | 1000.00 | 2000.00 | 10000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
32.00 | Supply, Installation, Testing & Commissioning of suitable dia. Copper piping for suction and discharge liquid lines for 1.5/2/3 TR split / Tower type airconditioners i/c wiring, drain pipe, insulation and protective covering etc. complete as required. | 50.00 | Meter |  | 1000.00 | 50000.00 | 530.00 | 26500.00 | 800.00 | 40000.00 | 500.00 | 25000.00 | 300.00 | 15000.00 | 555.00 | 27750.00 | 950.00 | 47500.00 | 650.00 | 32500.00 | 280.00 | 14000.00 | 450.00 | 22500.00 | 100.00 | 5000.00 | 1500.00 | 75000.00 | 1100.00 | 55000.00 | 1500.00 | 75000.00 | 5000.00 | R. D. ENGINEERS
33.00 | Painting / Spray Painting of existing electrical L.T. cubical panels, Hydrant Pipes for fire fighting, feeder pillers, marshalling boxes etc. with two coat of synthetic enamel paint of approved make and colour i/c including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface etc. complete as required. | 50.00 | Sq.M. |  | 100.00 | 5000.00 | 125.00 | 6250.00 | 110.00 | 5500.00 | 70.00 | 3500.00 | 99.00 | 4950.00 | 111.00 | 5550.00 | 150.00 | 7500.00 | 220.00 | 11000.00 | 280.00 | 14000.00 | 150.00 | 7500.00 | 80.00 | 4000.00 | 2500.00 | 125000.00 | 60.00 | 3000.00 | 500.00 | 25000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
34.00 | Painting with Aluminium paint upto 9.00 mtr. height existing electric poles with two or more coats of approved Brand i/c including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface etc. complete as required. | 55.00 | Each |  | 100.00 | 5500.00 | 206.00 | 11330.00 | 90.00 | 4950.00 | 400.00 | 22000.00 | 300.00 | 16500.00 | 222.00 | 12210.00 | 102.00 | 5610.00 | 450.00 | 24750.00 | 240.00 | 13200.00 | 600.00 | 33000.00 | 400.00 | 22000.00 | 1200.00 | 66000.00 | 500.00 | 27500.00 | 150.00 | 8250.00 | 4950.00 | Sew Engineering Works Pvt Ltd
35.00 | Painting with Aluminium / Metal paint upto 4.5 mtr. height existing electric poles with two or more coats of approved Brand i/c including scrapping by sand/emery paper to get even surface and applying metal primer on corroded surface etc. complete as required. | 265.00 | Each |  | 100.00 | 26500.00 | 125.00 | 33125.00 | 290.00 | 76850.00 | 250.00 | 66250.00 | 200.00 | 53000.00 | 199.00 | 52735.00 | 75.00 | 19875.00 | 250.00 | 66250.00 | 200.00 | 53000.00 | 350.00 | 92750.00 | 200.00 | 53000.00 | 900.00 | 238500.00 | 300.00 | 79500.00 | 100.00 | 26500.00 | 19875.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
36.00 | To Carry out the complete items of work on CPWD schedule of rates (DSR-2018 - E&M) as per CPWD specifications as required for an amount of Rs 10,000/-. (Note : Rate of DSR items shall be calculated by deducting GST component from schedule rate on account of GST and the quantity. Rs 100000.00 is after deducting the GST component) (Refer Clause - 35 of Guidence to Tenderer at Page No. GTT -5 for quoting rate for this Item) | 100000.00 | Job |  | .60 | 60000.00 | .75 | 75000.00 | 1.10 | 110000.00 | .85 | 85000.00 | .90 | 90000.00 | .50 | 50000.00 | .50 | 50000.00 | .85 | 85000.00 | .95 | 95000.00 | .90 | 90000.00 | 1.00 | 100000.00 | 1.00 | 100000.00 | .85 | 85000.00 | .75 | 75000.00 | 50000.00 | ASHWANI REFRIGERATION AND ELECTRICALS, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 8247200.00 |  | 9571135.00 |  | 9235160.00 |  | 9020550.00 |  | 8561410.00 |  | 8380222.00 |  | 9201500.00 |  | 9565100.00 |  | 9153680.00 |  | 8457530.00 |  | 8569920.00 |  | 9625040.00 |  | 9191464.00 |  | 9216190.00
Lowest Amount Quoted BY: Anil Kumar Sharma(8247200.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical, Mechanical and Allied Works at Kangra Airport, Kangra 2021-23 Tender ID: 2021_AAI_74402_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anil Kumar Sharma | 8247200.00 | L1
| 2 | ASHWANI REFRIGERATION AND ELECTRICALS | 8380222.00 | L2
| 3 | ARNAV ENGINEERING CONSULTANCY SERVICES | 8457530.00 | L3
| 4 | K B S ELECTRICALS | 8561410.00 | L4
| 5 | R. D. ENGINEERS | 8569920.00 | L5
| 6 | NATIONAL SAFETY ENGINEERS | 9020550.00 | L6
| 7 | TEJA POWER TECH | 9153680.00 | L7
| 8 | ABHISHEK INTEGRATIONS LIMITED | 9191464.00 | L8
| 9 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 9201500.00 | L9
| 10 | JCC ENGINEERS PRIVATE LIMITED | 9216190.00 | L10
| 11 | Sew Engineering Works Pvt Ltd | 9235160.00 | L11
| 12 | Manish Electricals | 9565100.00 | L12
| 13 | MPC ELECTRICALS AND ENGINEERS | 9571135.00 | L13
| 14 | The Imperial Electric Works | 9625040.00 | L14