## BoQ1
Government eProcurement System Created By: Pawan Singh Created Date/Time: 07-May-2021 04:33 PM Tender Title: SITC of UPS for GLF system and IT/CNS Equipments and including other related works at Deoghar Airport, Deoghar Tender ID: 2021_AAI_74441_1
Tender Inviting Authority: AGM (Engg-Elect), AAI, Deoghar Airport, Deoghar.
Name of Work: SITC of UPS for GLF system & IT/CNS Equipments and including other related works at Deoghar Airport, Deoghar.
Contract No: 2021_AAI_74441_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ECS ENGINEERING PVT LTD(GSTN-09AABCE5944P1Z1) |  | DS SYSTEMS PVT. LTD.(GSTN-18AACCD8183C1ZO) |  | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | REWINDER TECHNO ELECTRICALS(GSTN-18AAFFR7457K1ZL) |  | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)(GSTN-27AAECP6991N1ZK) |  | Krishna Associates(GSTN-07AAOPG4334K1ZJ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 2 X 60 KVA UPS SITC of 2 X 60 KVA on-line UPS, IGBT based True on line double conversion type DSP based using VFI & PWM technology with three phase four wire AC input voltage 415 V (+15% ) to 480 V, 50 Hz + 10% and Single phase two wire AC output voltage 230 V , 50Hz , inbuilt isolation transformer, SMF (Sealed Maintainence Free) batteries of approved make having backup of not less than 30 min (Total VAH shall be 2 X 52800 VAH minimum), providing batteries stand including insulated copper conductor cable of suitable size from battery bank to UPS along with providing and fixing suitable capacity MCCB for battery isolation. It shall be housed in suitable rugged enclosure aesthetically finished duly pre treated and powder coated. Digital metering, Monitoring, Protection, Features & performance parameters as per technical specification of tender document. Note: Battery shall be guaranted for 03 years | 1.00 | Set | 2719420.00 | 1850000.00 | 1850000.00 | 2391800.00 | 2391800.00 | 1660000.00 | 1660000.00 | 3400000.00 | 3400000.00 | 1500000.00 | 1500000.00 | 1850000.00 | 1850000.00 | 1500000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.00 | SITC of 2 X 120 KVA UPS SITC of 2 X 120 KVA on-line UPS, IGBT based True on line double conversion type DSP based using VFI & PWM technology with three phase four wire AC input voltage 415 V (+15%) to 480 V, 50 Hz + 10% and Three phase four wire AC output voltage 415 V , 50Hz with 100% permissable load unbalance, inbuilt isolation transformer, SMF (Sealed Maintainence Free) batteries of approved make having backup of not less than 30 min (Total VAH shall be 2 X 108000 VAH minimum), providing batteries stand including insulated copper conductor cable of suitable size from battery bank to UPS along with providing and fixing suitable capacity MCCB for battery isolation. It shall be housed in suitable rugged enclosure aesthetically finished duly pre treated and powder coated. Digital metering, Monitoring, Protection, Features & performance parameters as per technical specification of tender document. Note: i) UPS Shall be capable to run on 100% unbalance load. ii) Battery shall be guaranteed for 03 years | 1.00 | Set | 3074740.00 | 2965000.00 | 2965000.00 | 3426500.00 | 3426500.00 | 2660000.00 | 2660000.00 | 4400000.00 | 4400000.00 | 2750000.00 | 2750000.00 | 3950000.00 | 3950000.00 | 2660000.00 | M/S AMAR ENTERPRISES
3.10 | Supply of XLPE insulated, FRLS Extruded PVC Outer sheathed, unarmoured ,1.1KV grade, stranded copper conductor as per IS 7098 (part 1) 1988 with upto date amendments of following sizes. Single core x 50 Sq mm | 420.00 | Mtr | 516.00 | 476.00 | 199920.00 | 650.00 | 273000.00 | 800.00 | 336000.00 | 700.00 | 294000.00 | 500.00 | 210000.00 | 460.00 | 193200.00 | 193200.00 | Krishna Associates
3.20 | Single core x 25 Sq mm | 630.00 | Mtr | 273.00 | 249.00 | 156870.00 | 350.00 | 220500.00 | 500.00 | 315000.00 | 450.00 | 283500.00 | 300.00 | 189000.00 | 245.00 | 154350.00 | 154350.00 | Krishna Associates
3.30 | Single core x 95 Sq mm | 252.00 | Mtr | 980.00 | 900.00 | 226800.00 | 1100.00 | 277200.00 | 1100.00 | 277200.00 | 1500.00 | 378000.00 | 250.00 | 63000.00 | 880.00 | 221760.00 | 63000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
3.40 | 2 Core x 10 Sq.mm | 1050.00 | Mtr | 220.00 | 247.00 | 259350.00 | 250.00 | 262500.00 | 300.00 | 315000.00 | 345.00 | 362250.00 | 150.00 | 157500.00 | 165.00 | 173250.00 | 157500.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
4.00 | Distribution board for 2X 60KVA 03 phase/ 01 Phase UPS (In accordance with IEC 60439-1). Design, Manufacture, Supplying, installation , testing and commissioning of following wall mounting switch gears as per SLD enclosed in tender document with polycarbonate enclosure ( Make: Hensel or Equivalent specification enclosed in tender document) Enclosure shall be IP-54 and Ik-08. The distribution shall consist of following swich gears, BUS Bars and other accessories complete as required and as per technical specification attached with tender document. A) Incomers for UPS :- i) 160Amps. 4 pole Thermal magnetic release ( adjustable, 125-160 Amp.) MCCB, Breaking capacity 25 KA with enclosure as above – 2 nos.(Incomers) ii) Extended operating mechanism for MCCB- 02 Nos. B) Power distribution board for Outgoings from UPS as per SLD of Tender Document :- a) Incoming from UPS- 250Amps. 2 pole Thermal magnetic release ( adjustable, 200-250 Amp) MCCB, Breaking capacity 65 KA – 2 nos.(Incomers). Extended operating mechanism for MCCB- 02 Nos. b) Bus coupler : 250Amps. 2 pole Thermal magnetic release ( adjustable, 200-250 Amp) MCCB, Breaking capacity 65 KA – 1 no.(Incomers). Extended operating mechanism for MCCB- 01 No. C) MCB: 63Amps. 2 pole D series, 10KA Breaking capacity-16 Nos. | 1.00 | Set | 413679.00 | 325000.00 | 325000.00 | 220000.00 | 220000.00 | 500000.00 | 500000.00 | 150000.00 | 150000.00 | 50000.00 | 50000.00 | 185000.00 | 185000.00 | 50000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
5.10 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. upto 35 sq. mm | 120.00 | Mtr | 17.00 | 30.00 | 3600.00 | 450.00 | 54000.00 | 100.00 | 12000.00 | 200.00 | 24000.00 | 150.00 | 18000.00 | 75.00 | 9000.00 | 3600.00 | ECS ENGINEERING PVT LTD
5.20 | Above 35 sq. mm and upto 95 sq. mm | 480.00 | Mtr | 27.00 | 35.00 | 16800.00 | 600.00 | 288000.00 | 100.00 | 48000.00 | 300.00 | 144000.00 | 200.00 | 96000.00 | 95.00 | 45600.00 | 16800.00 | ECS ENGINEERING PVT LTD
6.10 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray/Surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 1600.00 | Mtr | 26.00 | 35.00 | 56000.00 | 200.00 | 320000.00 | 100.00 | 160000.00 | 200.00 | 320000.00 | 350.00 | 560000.00 | 95.00 | 152000.00 | 56000.00 | ECS ENGINEERING PVT LTD
6.20 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 260.00 | Mtr | 57.00 | 45.00 | 11700.00 | 400.00 | 104000.00 | 100.00 | 26000.00 | 300.00 | 78000.00 | 150.00 | 39000.00 | 120.00 | 31200.00 | 11700.00 | ECS ENGINEERING PVT LTD
7.10 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. Single core x 50 Sq mm | 8.00 | Sets | 456.00 | 255.00 | 2040.00 | 350.00 | 2800.00 | 1000.00 | 8000.00 | 600.00 | 4800.00 | 15000.00 | 120000.00 | 1150.00 | 9200.00 | 2040.00 | ECS ENGINEERING PVT LTD
7.20 | Single core x 25 Sq mm | 8.00 | Sets | 356.00 | 155.00 | 1240.00 | 250.00 | 2000.00 | 1000.00 | 8000.00 | 600.00 | 4800.00 | 10000.00 | 80000.00 | 850.00 | 6800.00 | 1240.00 | ECS ENGINEERING PVT LTD
7.30 | Single core x 95 Sq mm | 8.00 | Sets | 599.00 | 332.00 | 2656.00 | 450.00 | 3600.00 | 1000.00 | 8000.00 | 600.00 | 4800.00 | 10000.00 | 80000.00 | 1350.00 | 10800.00 | 2656.00 | ECS ENGINEERING PVT LTD
7.40 | 2 Core x 16 Sq.mm | 16.00 | Sets | 385.00 | 277.00 | 4432.00 | 200.00 | 3200.00 | 1000.00 | 16000.00 | 600.00 | 9600.00 | 15000.00 | 240000.00 | 800.00 | 12800.00 | 3200.00 | DS SYSTEMS PVT. LTD.
| Total in Figures |  |  |  |  | 6081408.00 |  | 7849100.00 |  | 6349200.00 |  | 9857750.00 |  | 6152500.00 |  | 7004960.00
Lowest Amount Quoted BY: ECS ENGINEERING PVT LTD(6081408.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of UPS for GLF system and IT/CNS Equipments and including other related works at Deoghar Airport, Deoghar Tender ID: 2021_AAI_74441_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ECS ENGINEERING PVT LTD | 6081408.00 | L1
| 2 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd) | 6152500.00 | L2
| 3 | M/S AMAR ENTERPRISES | 6349200.00 | L3
| 4 | Krishna Associates | 7004960.00 | L4
| 5 | DS SYSTEMS PVT. LTD. | 7849100.00 | L5
| 6 | REWINDER TECHNO ELECTRICALS | 9857750.00 | L6