## BoQ1
Government eProcurement System Created By: Madan Gautam Created Date/Time: 17-Jun-2021 05:52 PM Tender Title: Re-Carpeting and Merging Of Existing Runway-05 (Flexible) Work With New Rigid Runway Pavement And Other Allied Works At Dibrugarh Airport Tender ID: 2021_AAI_74670_1
Tender Inviting Authority: Airports Authority of India
Name of Work: RECARPETING AND MERGING OF EXISTING RUNWAY-05 (FLEXIBLE) WORK WITH RIGID RUNWY PAVEMENT AND OTHER ALLIED WORKS AT DIBRUGARH AIRPORT .
Contract No: 2021_AAI_74670_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shree Gautam Construction Co. Ltd.(GSTN-18AAGCS4032F1ZJ) |  | VISHAL INFRASTRUCTURE LTD(GSTN-29AABCM3918R1ZT) |  | SBG Infracon Pvt. Ltd.(GSTN-07AAOCS8224P1ZJ) |  | NSC Projects Pvt. Ltd.(GSTN-07AADCN4958N1ZU) |  | Ganpati Builders(GSTN-08AAMFG1085B1ZL) |  | Brahma Infra(GSTN-08AAKFB0606M1ZG) |  | Singla Constructions Limited(GSTN-04AAMCS0138G1ZL) |  | pk and company(GSTN-NA) |  | MOHAN PODDAR(GSTN-NA) |  | JKG INFRATECH PRIVATE LIMITED(GSTN-NA) |  | M/s Macrocosm Builders(GSTN-NA) |  | KAMPUNG KAMYER TRADING CO.(GSTN-NA) |  | M/s Lord Shiva Construction Co Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CIVIL WORK
1.01 | Banking excavated earth in layers not exceeding 20 cm in depth, breaking clods, watering, rolling each layer with 1/2 tonne roller, or wooden or steel rammers, and rolling every 3rd and top-most layer with power roller of minimum 8 tonnes and dressing up, in embankments for roads, flood banks, marginal banks, and guide banks etc., lead upto 50 m and lift upto 1.5 m : a) All kinds of Soil | 8442.00 | CUM |  | 300.00 | 2532600.00 | 55.00 | 464310.00 | 200.00 | 1688400.00 | 40.00 | 337680.00 | 100.00 | 844200.00 | 125.00 | 1055250.00 | 100.00 | 844200.00 | 350.00 | 2954700.00 | 41.00 | 346122.00 | 50.00 | 422100.00 | 470.00 | 3967740.00 | 160.00 | 1350720.00 | 85.00 | 717570.00 | 337680.00 | NSC Projects Pvt. Ltd.
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including getting out disposal of excavated earth, lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed as directed by Engg-in-charge. (a) All kinds of soil | 8442.00 | CUM |  | 300.00 | 2532600.00 | 85.00 | 717570.00 | 100.00 | 844200.00 | 100.00 | 844200.00 | 100.00 | 844200.00 | 125.00 | 1055250.00 | 150.00 | 1266300.00 | 225.00 | 1899450.00 | 122.00 | 1029924.00 | 120.00 | 1013040.00 | 180.00 | 1519560.00 | 99.00 | 835758.00 | 85.00 | 717570.00 | 717570.00 | VISHAL INFRASTRUCTURE LTD, M/s Lord Shiva Construction Co Pvt Ltd
1.03 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 cement : 3 fine sand : 6 graded stone aggregate 40mm nominal size) | 126.00 | CUM |  | 10000.00 | 1260000.00 | 5940.00 | 748440.00 | 7000.00 | 882000.00 | 6000.00 | 756000.00 | 8000.00 | 1008000.00 | 6200.00 | 781200.00 | 10000.00 | 1260000.00 | 10000.00 | 1260000.00 | 7470.00 | 941220.00 | 6000.00 | 756000.00 | 7900.00 | 995400.00 | 5555.00 | 699930.00 | 5200.00 | 655200.00 | 655200.00 | M/s Lord Shiva Construction Co Pvt Ltd
1.04 | Dismantling manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : Water bound macadam road | 594.00 | SQM |  | 60.00 | 35640.00 | 50.00 | 29700.00 | 100.00 | 59400.00 | 100.00 | 59400.00 | 400.00 | 237600.00 | 300.00 | 178200.00 | 200.00 | 118800.00 | 195.00 | 115830.00 | 54.00 | 32076.00 | 50.00 | 29700.00 | 200.00 | 118800.00 | 215.00 | 127710.00 | 60.00 | 35640.00 | 29700.00 | VISHAL INFRASTRUCTURE LTD, JKG INFRATECH PRIVATE LIMITED
1.05 | Dismantling manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : bituminous road | 378.00 | SQM |  | 70.00 | 26460.00 | 70.00 | 26460.00 | 200.00 | 75600.00 | 150.00 | 56700.00 | 100.00 | 37800.00 | 400.00 | 151200.00 | 200.00 | 75600.00 | 380.00 | 143640.00 | 95.00 | 35910.00 | 100.00 | 37800.00 | 300.00 | 113400.00 | 375.00 | 141750.00 | 90.00 | 34020.00 | 26460.00 | Shree Gautam Construction Co. Ltd., VISHAL INFRASTRUCTURE LTD
1.06 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. (a) With material conforming to Grade-III (size range 26.5 mm to 0.075 mm ) having CBR Value-20 | 3594.50 | CUM |  | 3500.00 | 12580750.00 | 3115.00 | 11196867.50 | 3200.00 | 11502400.00 | 2600.00 | 9345700.00 | 3000.00 | 10783500.00 | 2920.00 | 10495940.00 | 4500.00 | 16175250.00 | 3000.00 | 10783500.00 | 4000.00 | 14378000.00 | 3600.00 | 12940200.00 | 3000.00 | 10783500.00 | 3655.20 | 13138616.40 | 4100.00 | 14737450.00 | 9345700.00 | NSC Projects Pvt. Ltd.
1.07 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 2648.75 | CUM |  | 5000.00 | 13243750.00 | 4800.00 | 12714000.00 | 4500.00 | 11919375.00 | 4500.00 | 11919375.00 | 4000.00 | 10595000.00 | 3850.00 | 10197687.50 | 5500.00 | 14568125.00 | 3300.00 | 8740875.00 | 4115.00 | 10899606.25 | 3800.00 | 10065250.00 | 4000.00 | 10595000.00 | 4555.00 | 12065056.25 | 4900.00 | 12978875.00 | 8740875.00 | pk and company
1.08 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-incharge, i/c cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete. a) New work (Two or more coats) | 29126.00 | SQM |  | 160.00 | 4660160.00 | 145.00 | 4223270.00 | 100.00 | 2912600.00 | 175.00 | 5097050.00 | 400.00 | 11650400.00 | 100.00 | 2912600.00 | 250.00 | 7281500.00 | 190.00 | 5533940.00 | 136.00 | 3961136.00 | 120.00 | 3495120.00 | 200.00 | 5825200.00 | 103.00 | 2999978.00 | 200.00 | 5825200.00 | 2912600.00 | SBG Infracon Pvt. Ltd., Brahma Infra
1.09 | Painting runway/taxi track/apron marking with adequate numbers of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-incharge, including cleaning the surface of all dirt, scales, oil, grease and other foreign material etc. and lining out complete. a) Old work (one or more coats) | 43689.00 | SQM |  | 125.00 | 5461125.00 | 145.00 | 6334905.00 | 60.00 | 2621340.00 | 120.00 | 5242680.00 | 350.00 | 15291150.00 | 70.00 | 3058230.00 | 200.00 | 8737800.00 | 120.00 | 5242680.00 | 109.00 | 4762101.00 | 85.00 | 3713565.00 | 150.00 | 6553350.00 | 65.00 | 2839785.00 | 150.00 | 6553350.00 | 2621340.00 | SBG Infracon Pvt. Ltd.
1.10 | Cutting of existing bituminous surface of Runway to the required width and depth by deploying milling machines with attachment of conveyor belt system including disposal of material by mechanical transport into Airport premises including cleaning and dressing of the surfaces etc complete as directed by Engineer In charge( excluding the cost of general cleaning considered under tack coat item no 1.11). | 513.00 | CUM |  | 2000.00 | 1026000.00 | 7000.00 | 3591000.00 | 2000.00 | 1026000.00 | 1500.00 | 769500.00 | 100.00 | 51300.00 | 800.00 | 410400.00 | 2000.00 | 1026000.00 | 2000.00 | 1026000.00 | 1000.00 | 513000.00 | 2000.00 | 1026000.00 | 2500.00 | 1282500.00 | 1345.00 | 689985.00 | 6200.00 | 3180600.00 | 51300.00 | Ganpati Builders
1.11 | (mechanical cleaning of surface): Providing and applying tack coat using hot straight run bitumen of Viscosity grade VG-30(60/70) or VG-10(80/100) including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing pavement surface with mechanical broom & air compressor as per specifications. For tendering purpose Viscosity grade bitumen content shall be taken as 0.75Kg/sqm. | 5820.00 | SQM |  | 55.00 | 320100.00 | 50.00 | 291000.00 | 50.00 | 291000.00 | 40.00 | 232800.00 | 45.00 | 261900.00 | 45.00 | 261900.00 | 50.00 | 291000.00 | 50.00 | 291000.00 | 54.00 | 314280.00 | 35.00 | 203700.00 | 40.00 | 232800.00 | 43.00 | 250260.00 | 58.00 | 337560.00 | 203700.00 | JKG INFRATECH PRIVATE LIMITED
1.12 | (mechanical cleaning of surface): Providing and applying tack coat using hot straight run bitumen of Viscosity grade VG-30(60/70) or VG-10(80/100) including heating ihe bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing pavement surface with mechanical broom & air compressor as per specifications. For tendering purpose Viscosity grade bitumen content shall be taken as 0.6Kg/sqm. | 118613.00 | SQM |  | 50.00 | 5930650.00 | 40.00 | 4744520.00 | 36.00 | 4270068.00 | 32.00 | 3795616.00 | 45.00 | 5337585.00 | 34.00 | 4032842.00 | 40.00 | 4744520.00 | 40.00 | 4744520.00 | 42.00 | 4981746.00 | 28.00 | 3321164.00 | 30.00 | 3558390.00 | 57.00 | 6760941.00 | 48.00 | 5693424.00 | 3321164.00 | JKG INFRATECH PRIVATE LIMITED
1.13 | (mechanical cleaning of surface): Providing and applying tack coat using hot straight run bitumen of Viscosity grade VG-30(60/70) or VG-10(80/100) including heating the bitumen, spraying the bitumen with mechanically operated spray unit and fitted on bitumen boiler, cleaning and preparing the existing pavement surface with mechanical broom & air compressor as per specifications. For tendering purpose Viscosity grade bitumen content shall be taken as 0.5Kg/sqm. | 248866.00 | SQM |  | 45.00 | 11198970.00 | 35.00 | 8710310.00 | 31.00 | 7714846.00 | 28.00 | 6968248.00 | 40.00 | 9954640.00 | 32.00 | 7963712.00 | 30.00 | 7465980.00 | 40.00 | 9954640.00 | 36.00 | 8959176.00 | 24.00 | 5972784.00 | 30.00 | 7465980.00 | 35.00 | 8710310.00 | 42.00 | 10452372.00 | 5972784.00 | JKG INFRATECH PRIVATE LIMITED
1.14 | Providing and laying of Hot Mix Dense Bituminous Macadam(DBM) using crushed stone aggregate of quality, size and grading as specified and 2% cement by weight of aggregate as filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk ) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [For tendering purpose VG bitumen of grade VG-30 shall be taken as 110 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 13249.50 | CUM |  | 12500.00 | 165618750.00 | 13220.00 | 175158390.00 | 13300.00 | 176218350.00 | 11800.00 | 156344100.00 | 12500.00 | 165618750.00 | 12750.00 | 168931125.00 | 13200.00 | 174893400.00 | 10600.00 | 140444700.00 | 11968.00 | 158570016.00 | 11800.00 | 156344100.00 | 12500.00 | 165618750.00 | 12175.80 | 161323262.10 | 13189.00 | 174747655.50 | 140444700.00 | pk and company
1.15 | Providing and laying of Hot Mix Semi Dense Asphaltic Concrete(SDAC) using crushed stone aggregate of quality, size and grading as specified and 2% cement by weight of aggregate as filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk ) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [For tendering purpose VG bitumen of grade VG-30 content shall be taken as 120 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 7115.00 | CUM |  | 13000.00 | 92495000.00 | 13705.00 | 97511075.00 | 14000.00 | 99610000.00 | 12800.00 | 91072000.00 | 14000.00 | 99610000.00 | 13150.00 | 93562250.00 | 14000.00 | 99610000.00 | 10975.00 | 78087125.00 | 12565.00 | 89399975.00 | 12300.00 | 87514500.00 | 12800.00 | 91072000.00 | 13285.00 | 94522775.00 | 14614.00 | 103978610.00 | 78087125.00 | pk and company
1.16 | Providing and laying of Hot Mix Dense Asphaltic Concrete(DAC) using crushed stone aggregate of quality, size and grading as specified and 2% cement by weight of aggregate as filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk ) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [For tendering purpose VG bitumen of grade VG-30 content shall be taken as 135 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 4907.25 | CUM |  | 15000.00 | 73608750.00 | 14170.00 | 69535732.50 | 14950.00 | 73363387.50 | 13500.00 | 66247875.00 | 15000.00 | 73608750.00 | 13500.00 | 66247875.00 | 15000.00 | 73608750.00 | 11750.00 | 57660187.50 | 13552.00 | 66503052.00 | 12850.00 | 63058162.50 | 13800.00 | 67720050.00 | 14085.00 | 69118616.25 | 16016.00 | 78594516.00 | 57660187.50 | pk and company
1.17 | Consolidation of sub grade with power road roller of 8 to 12 tonne capacity including making good the undulations etc. complete as per direction of Engineer-in-charge | 6720.00 | SQM |  | 50.00 | 336000.00 | 10.00 | 67200.00 | 20.00 | 134400.00 | 10.00 | 67200.00 | 250.00 | 1680000.00 | 50.00 | 336000.00 | 50.00 | 336000.00 | 190.00 | 1276800.00 | 30.00 | 201600.00 | 10.00 | 67200.00 | 3.00 | 20160.00 | 45.00 | 302400.00 | 30.00 | 201600.00 | 20160.00 | M/s Macrocosm Builders
1.18 | Supplying and filling good earth obtained from approved quarry (within radius of 10 km) in embankment or depressions in layers not exceeding 20cm (loose) in depth (or any thickness as approved by the Engineer-in-charge in case vibratory roller is used) including breaking clods, watering, consolidating each layer with power road roller 8-10 tonnes weight or vibratory roller of adequate capacity under optimum moisture content condition to give density not less than 98% of the maximum modified proctor lab density (as per IS 2720 Part VIII) complete including leveling, fine dressing to the required grade, camber and slope complete as per specifications and as directed by the Engineer-in-charge with all leads and lifts. (The item includes cost of work, payment of necessary royalty, carriage of good earth upto work site for all leads and lifts involved. Plasticity Index (PI) of the good earth shall not be more than 8, Payment to be made for compacted quantity only). | 20952.00 | CUM |  | 500.00 | 10476000.00 | 500.00 | 10476000.00 | 490.00 | 10266480.00 | 650.00 | 13618800.00 | 450.00 | 9428400.00 | 421.00 | 8820792.00 | 550.00 | 11523600.00 | 600.00 | 12571200.00 | 648.00 | 13576896.00 | 540.00 | 11314080.00 | 500.00 | 10476000.00 | 415.00 | 8695080.00 | 290.00 | 6076080.00 | 6076080.00 | M/s Lord Shiva Construction Co Pvt Ltd
1.19 | Providing and fixing stainless steel runway end marker of size 150mm dia as per standard specification of AAI including cutting the existing bituminous surface for positioning and embedding in cement concrete as per site requirement all complete as directed by Engineer in Charge. | 2.00 | Each |  | 200000.00 | 400000.00 | 59865.00 | 119730.00 | 14000.00 | 28000.00 | 3800.00 | 7600.00 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 100000.00 | 200000.00 | 25000.00 | 50000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 12895.00 | 25790.00 | 10003.00 | 20006.00 | 7600.00 | NSC Projects Pvt. Ltd.
2.00 | ELECTRICAL WORK
2.01 | Supply of C. I. isolating transformer housing box, water tight round type, metal container of outside diameter 330mm, height 450mm made of 10mm thick cast iron moulding all round, expect top surface, which is 15mm thick, cast iron moulding suitable to receive light fitting base plate/ cover plate on the top & under ground for housing transformer, power cable & having one/two/three nos holes as per site requirement on the periphery centre,75mm above bottom surface suitable to receive one no.of 50mm dia "B" class GI pipe as required. The box should have two SS earth bolts of M10 x 40mm tapped inside near the hole (4" away from the hole centre) and having a drain hole at the bottom suitably tapped to receive 15mm dia, 'B' class GI pipe and having clear opening of 220mm at the top surface and 6 nos. M10 tapped hole having center to center distance of 260mm to receive fitting/ base plate and bolts as required as per the drawings. | 40.00 | Each |  | 6700.00 | 268000.00 | 5450.00 | 218000.00 | 8000.00 | 320000.00 | 6200.00 | 248000.00 | 30000.00 | 1200000.00 | 7000.00 | 280000.00 | 6500.00 | 260000.00 | 6000.00 | 240000.00 | 7911.00 | 316440.00 | 5300.00 | 212000.00 | 25000.00 | 1000000.00 | 4800.00 | 192000.00 | 15000.00 | 600000.00 | 192000.00 | KAMPUNG KAMYER TRADING CO.
2.02 | Supply of following sizes of C.I collers compatible with existing installed CI housiong boxes as per AAI specifications etc as required.
2.03 | 75 mm Height CI coller | 10.00 | Each |  | 2000.00 | 20000.00 | 2330.00 | 23300.00 | 3800.00 | 38000.00 | 2200.00 | 22000.00 | 500.00 | 5000.00 | 4500.00 | 45000.00 | 2600.00 | 26000.00 | 4000.00 | 40000.00 | 613.00 | 6130.00 | 3600.00 | 36000.00 | 2000.00 | 20000.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 5000.00 | Ganpati Builders
2.04 | 100 mm Height CI coller | 40.00 | Each |  | 2500.00 | 100000.00 | 2615.00 | 104600.00 | 4000.00 | 160000.00 | 2500.00 | 100000.00 | 1000.00 | 40000.00 | 5000.00 | 200000.00 | 3350.00 | 134000.00 | 4000.00 | 160000.00 | 886.00 | 35440.00 | 3800.00 | 152000.00 | 3000.00 | 120000.00 | 1750.00 | 70000.00 | 1500.00 | 60000.00 | 35440.00 | MOHAN PODDAR
2.05 | 150 mm Height CI coller | 35.00 | Each |  | 3000.00 | 105000.00 | 3010.00 | 105350.00 | 4500.00 | 157500.00 | 2800.00 | 98000.00 | 1500.00 | 52500.00 | 5500.00 | 192500.00 | 3900.00 | 136500.00 | 4500.00 | 157500.00 | 1350.00 | 47250.00 | 4000.00 | 140000.00 | 4000.00 | 140000.00 | 2000.00 | 70000.00 | 2000.00 | 70000.00 | 47250.00 | MOHAN PODDAR
2.06 | 200 mm Height CI coller | 20.00 | Each |  | 4000.00 | 80000.00 | 3295.00 | 65900.00 | 5300.00 | 106000.00 | 3200.00 | 64000.00 | 2000.00 | 40000.00 | 6000.00 | 120000.00 | 4600.00 | 92000.00 | 4700.00 | 94000.00 | 2250.00 | 45000.00 | 4500.00 | 90000.00 | 5000.00 | 100000.00 | 2500.00 | 50000.00 | 5000.00 | 100000.00 | 40000.00 | Ganpati Builders
2.07 | Supply of shalow base 12", 150mm depth i/c gasket, bolts etc. for existing OCEM make inset type runway fittings. | 16.00 | Each |  | 1600.00 | 25600.00 | 21530.00 | 344480.00 | 7000.00 | 112000.00 | 14900.00 | 238400.00 | 500.00 | 8000.00 | 20000.00 | 320000.00 | 4550.00 | 72800.00 | 25000.00 | 400000.00 | 6138.00 | 98208.00 | 17500.00 | 280000.00 | 10000.00 | 160000.00 | 5000.00 | 80000.00 | 10000.00 | 160000.00 | 8000.00 | Ganpati Builders
2.08 | Installation of transformer housing boxes with base cement concrete of 1:3:6 of size 630 x 630 x 100mm thick, all round concrete of 1:2:4, 150mm thick, the top finished slope, including providing and fixing of 250mm long 15mm dia. "B" class GI pipe for drainage of water including excavation of side shoulder (bituminous / cc/soft soil) and refilling (wherever the transformers boxes are not in a line the same has to be aligned in such a way that the centre fall in a straight line) etc. complete as required as per drg. | 40.00 | Each |  | 3500.00 | 140000.00 | 3465.00 | 138600.00 | 6000.00 | 240000.00 | 2800.00 | 112000.00 | 5000.00 | 200000.00 | 4000.00 | 160000.00 | 2350.00 | 94000.00 | 5000.00 | 200000.00 | 6547.00 | 261880.00 | 3300.00 | 132000.00 | 3000.00 | 120000.00 | 4000.00 | 160000.00 | 5000.00 | 200000.00 | 94000.00 | Singla Constructions Limited
2.09 | Installation of following height CI Collers with base cement concrete of, all round concrete of 1:2:4, 150 mm thick, the top finished slope etc. complete as required.
2.10 | 75 mm Height CI coller | 10.00 | Each |  | 1000.00 | 10000.00 | 2300.00 | 23000.00 | 1500.00 | 15000.00 | 450.00 | 4500.00 | 3000.00 | 30000.00 | 3000.00 | 30000.00 | 1050.00 | 10500.00 | 2500.00 | 25000.00 | 1091.00 | 10910.00 | 1000.00 | 10000.00 | 500.00 | 5000.00 | 1150.00 | 11500.00 | 500.00 | 5000.00 | 4500.00 | NSC Projects Pvt. Ltd.
2.11 | 100 mm Height CI coller | 40.00 | Each |  | 1200.00 | 48000.00 | 2300.00 | 92000.00 | 2000.00 | 80000.00 | 450.00 | 18000.00 | 3000.00 | 120000.00 | 3000.00 | 120000.00 | 1175.00 | 47000.00 | 2500.00 | 100000.00 | 1500.00 | 60000.00 | 1000.00 | 40000.00 | 600.00 | 24000.00 | 1350.00 | 54000.00 | 800.00 | 32000.00 | 18000.00 | NSC Projects Pvt. Ltd.
2.12 | 150 mm Height CI coller | 35.00 | Each |  | 1500.00 | 52500.00 | 2300.00 | 80500.00 | 2500.00 | 87500.00 | 450.00 | 15750.00 | 3000.00 | 105000.00 | 3000.00 | 105000.00 | 1300.00 | 45500.00 | 2500.00 | 87500.00 | 2100.00 | 73500.00 | 1000.00 | 35000.00 | 800.00 | 28000.00 | 1550.00 | 54250.00 | 1000.00 | 35000.00 | 15750.00 | NSC Projects Pvt. Ltd.
2.13 | 200 mm Height CI coller | 20.00 | Each |  | 2000.00 | 40000.00 | 2300.00 | 46000.00 | 3000.00 | 60000.00 | 500.00 | 10000.00 | 3000.00 | 60000.00 | 3000.00 | 60000.00 | 1560.00 | 31200.00 | 2500.00 | 50000.00 | 3137.00 | 62740.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 2050.00 | 41000.00 | 1500.00 | 30000.00 | 10000.00 | NSC Projects Pvt. Ltd.
2.14 | Supply and laying of size 32 mm dia "B" class GI pipe including excavation of hard/soft soil complete with threading and alignment of pipe with transformer housing box, providing check nuts, etc. as required. | 90.00 | Mtr |  | 700.00 | 63000.00 | 745.00 | 67050.00 | 600.00 | 54000.00 | 500.00 | 45000.00 | 700.00 | 63000.00 | 750.00 | 67500.00 | 845.00 | 76050.00 | 1000.00 | 90000.00 | 886.00 | 79740.00 | 500.00 | 45000.00 | 3000.00 | 270000.00 | 500.00 | 45000.00 | 500.00 | 45000.00 | 45000.00 | NSC Projects Pvt. Ltd., M/s Lord Shiva Construction Co Pvt Ltd, KAMPUNG KAMYER TRADING CO., JKG INFRATECH PRIVATE LIMITED
2.15 | Supply and laying of size 50 mm dia "B" class GI pipe including excavation of hard/soft soil complete with threading and alignment of pipe with transformer housing box, providing check nuts, etc. as required. | 100.00 | Mtr |  | 1000.00 | 100000.00 | 1010.00 | 101000.00 | 1000.00 | 100000.00 | 500.00 | 50000.00 | 1200.00 | 120000.00 | 850.00 | 85000.00 | 975.00 | 97500.00 | 1200.00 | 120000.00 | 1227.00 | 122700.00 | 600.00 | 60000.00 | 3500.00 | 350000.00 | 640.00 | 64000.00 | 900.00 | 90000.00 | 50000.00 | NSC Projects Pvt. Ltd.
2.16 | Supply and laying of size 15 mm dia "B" class GI pipe compete with threading and alignment of pipe with transformer housing box, providing check nuts, etc. as required. | 20.00 | Mtr |  | 500.00 | 10000.00 | 345.00 | 6900.00 | 400.00 | 8000.00 | 280.00 | 5600.00 | 500.00 | 10000.00 | 375.00 | 7500.00 | 585.00 | 11700.00 | 500.00 | 10000.00 | 477.00 | 9540.00 | 350.00 | 7000.00 | 2300.00 | 46000.00 | 290.00 | 5800.00 | 400.00 | 8000.00 | 5600.00 | NSC Projects Pvt. Ltd.
2.17 | Supply of 5 KV grade plug and receptacle of type 1 class B connector and suitable field attachment with 5 KV grade PVC insulated PVC sheathed single core 6 sqmm size copper conductor cable confirming to the specified specification etc complete as required. | 50.00 | Each |  | 1450.00 | 72500.00 | 725.00 | 36250.00 | 800.00 | 40000.00 | 750.00 | 37500.00 | 2000.00 | 100000.00 | 1000.00 | 50000.00 | 585.00 | 29250.00 | 800.00 | 40000.00 | 1295.00 | 64750.00 | 450.00 | 22500.00 | 4800.00 | 240000.00 | 500.00 | 25000.00 | 5900.00 | 295000.00 | 22500.00 | JKG INFRATECH PRIVATE LIMITED
2.18 | Supply of 5 KV grade plug and receptacle of type 1 class B connector and suitable field attachment with 5 KV grade PVC insulated PVC sheathed single core 16 sqmm size copper conductor cable confirming to the specified specification etc complete as required. | 50.00 | Each |  | 1950.00 | 97500.00 | 725.00 | 36250.00 | 1000.00 | 50000.00 | 700.00 | 35000.00 | 2000.00 | 100000.00 | 1000.00 | 50000.00 | 585.00 | 29250.00 | 800.00 | 40000.00 | 1091.00 | 54550.00 | 450.00 | 22500.00 | 4800.00 | 240000.00 | 300.00 | 15000.00 | 19400.00 | 970000.00 | 15000.00 | KAMPUNG KAMYER TRADING CO.
2.19 | Supply of 10 mm thick M.S dummy Plate of 330 mm dia having 6 Nos. x M-10 through hole along the circumferential centre of 260 mm diameter of plate to receive bolts on the existing Transformer Housing Box along with providing rubber gasket and 1 set of 6 Nos. M 10 size SS Bolts for fixing the MS plate etc. as required. | 20.00 | Each |  | 2500.00 | 50000.00 | 1210.00 | 24200.00 | 2000.00 | 40000.00 | 1000.00 | 20000.00 | 5000.00 | 100000.00 | 2000.00 | 40000.00 | 1040.00 | 20800.00 | 1500.00 | 30000.00 | 1754.00 | 35080.00 | 1000.00 | 20000.00 | 7800.00 | 156000.00 | 6700.00 | 134000.00 | 4000.00 | 80000.00 | 20000.00 | NSC Projects Pvt. Ltd., JKG INFRATECH PRIVATE LIMITED
2.20 | Installation, testing and commissioning of elevated type HIRL /MIRL fitting on CI transformer housing box/ coller including installation of isolating transformer, lens, filters, lamps and other accessories, alignment, levelling, making transformer connection, earth connection etc., crimping/ jointing of plug & receptacles and making connections and etc. complete as required . | 200.00 | Each |  | 1200.00 | 240000.00 | 155.00 | 31000.00 | 1000.00 | 200000.00 | 500.00 | 100000.00 | 2000.00 | 400000.00 | 300.00 | 60000.00 | 260.00 | 52000.00 | 300.00 | 60000.00 | 5183.00 | 1036600.00 | 500.00 | 100000.00 | 1500.00 | 300000.00 | 600.00 | 120000.00 | 1600.00 | 320000.00 | 31000.00 | VISHAL INFRASTRUCTURE LTD
2.21 | Dismantling & reinstallation of existing inset type fitting including shallow base with all accessories as per manufacturer's recommendations in the runway including cutting the runway with machine tool and filling the all around gaps with suitable fast setting chemical compound & adhesive etc., and bringing the runway to the original shape and strength including alignment, laying of secondary lead between transformer housing box and the fitting, making necessary connections with testing and commissioning of fitting etc., complete as required. | 12.00 | Each |  | 3500.00 | 42000.00 | 10665.00 | 127980.00 | 10000.00 | 120000.00 | 11000.00 | 132000.00 | 2000.00 | 24000.00 | 10000.00 | 120000.00 | 13000.00 | 156000.00 | 13000.00 | 156000.00 | 7502.00 | 90024.00 | 16000.00 | 192000.00 | 200.00 | 2400.00 | 50.00 | 600.00 | 2000.00 | 24000.00 | 600.00 | KAMPUNG KAMYER TRADING CO.
2.22 | Dismantling of existing HIRL/MIRL fittings from CI Box including removing all connections and fixing of Dummy plate during recarpating work etc., complete as required as directed by the Engineer- in- Charge. | 200.00 | Nos. |  | 450.00 | 90000.00 | 155.00 | 31000.00 | 300.00 | 60000.00 | 300.00 | 60000.00 | 1000.00 | 200000.00 | 200.00 | 40000.00 | 260.00 | 52000.00 | 400.00 | 80000.00 | 750.00 | 150000.00 | 200.00 | 40000.00 | 200.00 | 40000.00 | 200.00 | 40000.00 | 500.00 | 100000.00 | 31000.00 | VISHAL INFRASTRUCTURE LTD
2.23 | Painting and Numbering of HIRL fittings with ISI approved enamel paint (double coat) with yellow paint as background and serially numbered with black paint of suitable size as directed by the Engineer-in-charge. | 200.00 | Nos. |  | 500.00 | 100000.00 | 75.00 | 15000.00 | 250.00 | 50000.00 | 100.00 | 20000.00 | 200.00 | 40000.00 | 130.00 | 26000.00 | 40.00 | 8000.00 | 500.00 | 100000.00 | 341.00 | 68200.00 | 30.00 | 6000.00 | 200.00 | 40000.00 | 95.00 | 19000.00 | 250.00 | 50000.00 | 6000.00 | JKG INFRATECH PRIVATE LIMITED
2.24 | Supply and laying of HDPE pipe of OD 50 mm dia. on runway by suitable kerf cutting of bituminous surface and filling with suitable fast setting chemical compound & adhesive etc. after laying the pipe and bringing the runway to the original shape and strength etc. as required. | 740.00 | Mtr |  | 950.00 | 703000.00 | 700.00 | 518000.00 | 1200.00 | 888000.00 | 600.00 | 444000.00 | 500.00 | 370000.00 | 400.00 | 296000.00 | 1050.00 | 777000.00 | 1000.00 | 740000.00 | 204.00 | 150960.00 | 400.00 | 296000.00 | 200.00 | 148000.00 | 300.00 | 222000.00 | 400.00 | 296000.00 | 148000.00 | M/s Macrocosm Builders
2.25 | Supply of 2 x 4 sqmm secondary lead made out of multi stranded copper conductor ERP Insulated & PVC sheathed, 1.1 KV grade underground cable complete as required. | 400.00 | Mtr. |  | 280.00 | 112000.00 | 195.00 | 78000.00 | 200.00 | 80000.00 | 200.00 | 80000.00 | 2000.00 | 800000.00 | 240.00 | 96000.00 | 260.00 | 104000.00 | 300.00 | 120000.00 | 170.00 | 68000.00 | 250.00 | 100000.00 | 100.00 | 40000.00 | 4900.00 | 1960000.00 | 1800.00 | 720000.00 | 40000.00 | M/s Macrocosm Builders
2.26 | Moulding of secondary cable size 2C x 4.0 sq.mm of 1.1 KV grade at site with required 2 pin male/female connector complete as required. | 20.00 | Set |  | 150.00 | 3000.00 | 965.00 | 19300.00 | 600.00 | 12000.00 | 1100.00 | 22000.00 | 5000.00 | 100000.00 | 1500.00 | 30000.00 | 520.00 | 10400.00 | 1210.63 | 24212.60 | 200.00 | 4000.00 | 450.00 | 9000.00 | 4800.00 | 96000.00 | 800.00 | 16000.00 | 20000.00 | 400000.00 | 3000.00 | Shree Gautam Construction Co. Ltd.
2.27 | Kerf cutting with machine in taxiway/ runway/ apron of PQC / bituminous surface of suitable depth and width for secondary and earth cable laying and refilling the same by suitable sealing material etc complete as required. | 460.00 | Mtr. |  | 1200.00 | 552000.00 | 575.00 | 264500.00 | 700.00 | 322000.00 | 400.00 | 184000.00 | 1000.00 | 460000.00 | 200.00 | 92000.00 | 1050.00 | 483000.00 | 900.00 | 414000.00 | 750.00 | 345000.00 | 300.00 | 138000.00 | 300.00 | 138000.00 | 180.00 | 82800.00 | 1000.00 | 460000.00 | 82800.00 | KAMPUNG KAMYER TRADING CO.
| Total in Figures |  |  |  |  | 406867405.00 |  | 409258640.00 |  | 408827846.50 |  | 374948274.00 |  | 421600675.00 |  | 383184953.50 |  | 426883275.00 |  | 346359000.10 |  | 382712478.25 |  | 363519465.50 |  | 391789980.00 |  | 388145673.00 |  | 430697298.50
Lowest Amount Quoted BY: pk and company(346359000.10)

## BOQ Summary
BOQ Summary Details Tender Title: Re-Carpeting and Merging Of Existing Runway-05 (Flexible) Work With New Rigid Runway Pavement And Other Allied Works At Dibrugarh Airport Tender ID: 2021_AAI_74670_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | pk and company | 346359000.10 | L1
| 2 | JKG INFRATECH PRIVATE LIMITED | 363519465.50 | L2
| 3 | NSC Projects Pvt. Ltd. | 374948274.00 | L3
| 4 | MOHAN PODDAR | 382712478.25 | L4
| 5 | Brahma Infra | 383184953.50 | L5
| 6 | KAMPUNG KAMYER TRADING CO. | 388145673.00 | L6
| 7 | M/s Macrocosm Builders | 391789980.00 | L7
| 8 | Shree Gautam Construction Co. Ltd. | 406867405.00 | L8
| 9 | SBG Infracon Pvt. Ltd. | 408827846.50 | L9
| 10 | VISHAL INFRASTRUCTURE LTD | 409258640.00 | L10
| 11 | Ganpati Builders | 421600675.00 | L11
| 12 | Singla Constructions Limited | 426883275.00 | L12
| 13 | M/s Lord Shiva Construction Co Pvt Ltd | 430697298.50 | L13