## BoQ1
Government eProcurement System Created By: Nirad Patra Created Date/Time: 20-Apr-2021 01:09 PM Tender Title: Modification of perimeter wall light at 14 side U shape area and allied works Tender ID: 2021_AAI_74856_1
Tender Inviting Authority: Asst. General Manager Engg (E)-II, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Modification of perimeter wall light at 14 side 'U' shape area and allied works in operational area at B.P.I.Airport, Bhubaneswar.
Contract No: 2021_AAI_74856_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of minimum 750 VA single phase Solar inverter suitable to operate 230 volt, 50 HZ AC supply along with two numbers mono perc solar panel(peak power rating of module ≥350 Wp) of minimum 2x165 Watt output and one no.12 V, 150AH maintenance free battery, inverter & battery rack including installation of solar panel on the existing roof sheet/ RCC/ Ground as per site requirement and supply & fixing of suitable rating copper FRLS wire from solar panel to inverter etc. with all other necessary accessories as required or as per direction of Engineer-In-Charge. Note: Warranty Certificate from OEM should be submitted for inverter(02 Years), solar module(25 Years) and battery(05 Years). | 14.00 | Each |  | 39213.00 | 548982.00 | 35000.00 | 490000.00 | 30000.00 | 420000.00 | 420000.00 | Youngmen Traders
2.00 | Supplying and fixing of pedestal fan sweep of minimum 300 mm with all necessary accessories suitable to operate 230 volt, 50 HZ AC supply as required or as per directions of Engineer-In-Charge. | 14.00 | Each |  | 2253.00 | 31542.00 | 3000.00 | 42000.00 | 2800.00 | 39200.00 | 31542.00 | Yash Energy Pvt. Ltd
3.00 | Supplying and fixing of recess mounted 10 W LED batten with 5700 ±300 K Aluminum housing & integrated electronic driver with all necessary accessories as required or as per directions of E-I-C. | 14.00 | Each |  | 259.00 | 3626.00 | 400.00 | 5600.00 | 300.00 | 4200.00 | 3626.00 | Yash Energy Pvt. Ltd
4.00 | Supplying and fixing of GI Bracket of size 1.2 Mtr length, 160° angle/as per site condition and 40mm dia for street light poles with all necessary accessories as required or as per directions of Engineer-In-Charge. | 120.00 | Each |  | 535.00 | 64200.00 | 600.00 | 72000.00 | 350.00 | 42000.00 | 42000.00 | Youngmen Traders
5.00 | Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminium conductor armoured power cable conforming to IS: 7098(Part 1)1988/ IS: 7098 (Part 1) with up to date amendments etc. complete as required.
5.01 | 4 core X 25 sq.mm armoured Aluminium cable | 350.00 | Mtr |  | 138.00 | 48300.00 | 160.00 | 56000.00 | 145.00 | 50750.00 | 48300.00 | Yash Energy Pvt. Ltd
6.00 | Supply of PVC Insulated single core copper conductor of size 2.5 sqmm of IS: 694 etc. complete as required or as per directions of E-I-C. | 250.00 | Mtr |  | 21.00 | 5250.00 | 22.00 | 5500.00 | 15.00 | 3750.00 | 3750.00 | Youngmen Traders
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
7.01 | Upto 35 sq. mm | 325.00 | Mtr |  | 25.00 | 8125.00 | 25.00 | 8125.00 | 40.00 | 13000.00 | 8125.00 | Yash Energy Pvt. Ltd, M/S DURGA SUPPLY AGENCIES
8.00 | L.T. CABLE END TERMINATION Supplying and making end termination with brass compression gland and Aluminum lugs for following size of XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1 KV grade as required.
8.01 | 4 Core, 25 Sq.mm. | 30.00 | Mtr |  | 499.00 | 14970.00 | 200.00 | 6000.00 | 170.00 | 5100.00 | 5100.00 | Youngmen Traders
9.00 | Supplying and fixing of 4 way MCB DB including 10A, 300 mA DP RCCB and 2 nos. single phase 2 A SP MCB with all necessary accessories as required or as per directions of Engineer-In-Charge. | 14.00 | Each |  | 3478.00 | 48692.00 | 2250.00 | 31500.00 | 2800.00 | 39200.00 | 31500.00 | M/S DURGA SUPPLY AGENCIES
10.00 | Dismantling of existing street light fittings and installation of the same including supplying & laying of 2.5 sqmm (FR) copper cable as per site requirement with all necessary accessories as required or as per directions of Engineer-In-Charge. | 120.00 | Each |  | 668.00 | 80160.00 | 500.00 | 60000.00 | 75.00 | 9000.00 | 9000.00 | Youngmen Traders
11.00 | Supply and fixing of polycarbonate Junction Box including din rail, 6A SPMCB and 20 A, 4 pole connector and screws/ bolls with all necessary accessories as required or as per directions of Engineer-In-Charge. | 70.00 | Each |  | 1714.00 | 119980.00 | 1500.00 | 105000.00 | 890.00 | 62300.00 | 62300.00 | Youngmen Traders
12.00 | Fabrication and position specified grade of steel reinforced cement concrete(RCC) of 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) with 10 mm steel bar frame or as per site condition and as per directions of E-I-C. | 3.00 | Cum |  | 8813.00 | 26439.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 15000.00 | M/S DURGA SUPPLY AGENCIES
13.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
13.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 150.00 | Mtr |  | 75.00 | 11250.00 | 150.00 | 22500.00 | 105.00 | 15750.00 | 11250.00 | Yash Energy Pvt. Ltd
14.00 | Supplying and fixing suitable size PVC box with cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 28.00 | Each |  | 395.00 | 11060.00 | 450.00 | 12600.00 | 215.00 | 6020.00 | 6020.00 | Youngmen Traders
15.00 | Supply and fixing of 50mm dia A class GI pipe including making neccessary threading works and instalation of the same at CAT-1 approach fittings. | 200.00 | Mtr |  | 501.00 | 100200.00 | 500.00 | 100000.00 | 425.00 | 85000.00 | 85000.00 | Youngmen Traders
16.00 | Dismantling and fixing of suitable breakable coupling (both side outside threaded) suitable for AMA make Approch Light Fittings and as per OEM specification and as per directions of EIC. | 20.00 | Each |  | 220.00 | 4400.00 | 200.00 | 4000.00 | 450.00 | 9000.00 | 4000.00 | M/S DURGA SUPPLY AGENCIES
17.00 | Dismantling of existing PAPI and re-installation of the same including leveling etc as per OEM specifications and as per directions of EIC. In presence of OEM Authorised Supervisor and submission of final satisfactory report by OEM or as per site condition. | 4.00 | Each |  | 27000.00 | 108000.00 | 1000.00 | 4000.00 | 6000.00 | 24000.00 | 4000.00 | M/S DURGA SUPPLY AGENCIES
18.00 | Dismantling of existing CI housing boxes and installation of same with a base concrete of 1:3:6 of size 630 x 630 x 100 mm thick all round concrete of 1:2:4, 150 mm thick, the top sloped with 1:2:4 cement including providing and fixing 250 mm long 15 mm dia "A" Class GI pipe with check nut for drainage of water including excavation of side shoulder and refilling etc complete as required. | 20.00 | Each |  | 8262.00 | 165240.00 | 2500.00 | 50000.00 | 1800.00 | 36000.00 | 36000.00 | Youngmen Traders
19.00 | Supply and fixing of self Operated Aerosol based fire Extinguishers for the protection of LT Panels using 8 gms of Aerosol. Model No: EPOTOS | 11.00 | Each |  | 4525.00 | 49775.00 | 4000.00 | 44000.00 | 3800.00 | 41800.00 | 41800.00 | Youngmen Traders
20.00 | Supply and fixing of self Operated Aerosol based fire Extinguishers for the protection of cable saft using 1000 gms of Aerosol. Model No: EPOTOS | 3.00 | Each |  | 49654.00 | 148962.00 | 5000.00 | 15000.00 | 80000.00 | 240000.00 | 15000.00 | M/S DURGA SUPPLY AGENCIES
21.00 | Supply of 45 watt LED street light with 5700 ±300 K made up of pressure die cast aluminium housing with high power LED as lighting source and lens embedded PC cover having TOP opening separate driver compartment with IP66 protection as per tender specifications complete as required. | 20.00 | Each |  | 1652.00 | 33040.00 | 3000.00 | 60000.00 | 2200.00 | 44000.00 | 33040.00 | Yash Energy Pvt. Ltd
22.00 | Installation of 45 watt LED street light with 5700 ±300 K including 1.2 mtr bracket with bend as per site conditions and all with necessary accessories or as per directions of E-I-C. | 20.00 | Each |  | 558.00 | 11160.00 | 500.00 | 10000.00 | 350.00 | 7000.00 | 7000.00 | Youngmen Traders
23.00 | Installation of CAT-1 approach fitting including base plate, brakable coupling and bolt all other necessary accessories or as per directions of E-I-C. | 20.00 | Each |  | 805.00 | 16100.00 | 2500.00 | 50000.00 | 2800.00 | 56000.00 | 16100.00 | Yash Energy Pvt. Ltd
24.00 | Supply of minimum 7.5 Mtr high hot dip galvanised octagonal poles with 130 mm bottom A/F & 70mm top A/F made up of 3mm thk. HT sheet alongwith base plate of size 200X200X16mm thk. (with 1 mtr single arm Bracket & foundation bolt including necessary foundation work and as per site condition) | 20.00 | Each |  | 12822.00 | 256440.00 | 11000.00 | 220000.00 | 8500.00 | 170000.00 | 170000.00 | Youngmen Traders
25.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground evel) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required.
25.01 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 350.00 | Mtr |  | 198.00 | 69300.00 | 130.00 | 45500.00 | 115.00 | 40250.00 | 40250.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 1985193.00 |  | 1534325.00 |  | 1487320.00
Lowest Amount Quoted BY: Youngmen Traders(1487320.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of perimeter wall light at 14 side U shape area and allied works Tender ID: 2021_AAI_74856_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 1487320.00 | L1
| 2 | M/S DURGA SUPPLY AGENCIES | 1534325.00 | L2
| 3 | Yash Energy Pvt. Ltd | 1985193.00 | L3