## BoQ1
Government eProcurement System Created By: Kamal Kishore Created Date/Time: 07-May-2021 11:31 AM Tender Title: Provision of Water Coolers and Purifiers for New Technical Block Cum ATC Tower at Khajuraho Airport Tender ID: 2021_AAI_74955_1
Tender Inviting Authority: Senior Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: "Provision of Water Coolers & Purifiers for New Technical Block Cum ATC Tower at Khajuraho Airport."
Contract No: 2021_AAI_74955_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ganga Enterprises(GSTN-23EHHPS2413F1ZL) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing and commissioning of 80 Ltr stainless steel 304 grade, water cooler having high energy efficient hermetically sealed reciprocating compressor & fin and tube type condenser, evaporator with copper tube wrapped on tank, CFC free refrigerant with 2 nos. faucets/taps, stainless steel tank, suitable to operate on single pahse 230 Volt, 50 Hz ac supply inluding all accessories as per site requirement. | 3.00 | Each |  | 38000.00 | 114000.00 | 41000.00 | 123000.00 | 114000.00 | Ganga Enterprises
2.00 | Supply, installation, testing and commissioning of 25 Ltr per hour RO water purifier with sediment filter, activated carbon filter, RO membrane, & auto start & shut off feature with power & purification indicators, having storage tank made from ABS food grade plastic including all accessories pipes, fittings, valve, connectors etc. suitable to operate on single phase 230 Volt, 50 Hz ac supply etc. complete as required. | 3.00 | Each |  | 25500.00 | 76500.00 | 18500.00 | 55500.00 | 55500.00 | Manish Electricals
| Total in Figures |  |  |  |  | 190500.00 |  | 178500.00
Lowest Amount Quoted BY: Manish Electricals(178500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Water Coolers and Purifiers for New Technical Block Cum ATC Tower at Khajuraho Airport Tender ID: 2021_AAI_74955_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 178500.00 | L1
| 2 | Ganga Enterprises | 190500.00 | L2