## BoQ1
Government eProcurement System Created By: DINESH KHATRI Created Date/Time: 12-May-2021 04:17 PM Tender Title: Replacement of existing lifts installed inside Terminal Building at M.P. Airport, Udaipur. Tender ID: 2021_AAI_75018_1
Tender Inviting Authority: Asstt. GM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: Replacement of existing lifts installed inside Terminal Building at M.P. Airport, Udaipur.
Contract No: AAI/UDR/ENGG(E)/LIFT/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Escon elevators Pvt Ltd(GSTN-27AAACE0977F1ZQ) |  | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9) |  | Techno Industries Private Limited(GSTN-NA) |  | ECE Industries Limited(GSTN-NA) |  | ORBIS ELEVATOR CO LTD(GSTN-NA) |  | METRO ELEVATOR CO PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, fabrication, supply, installation, testing & commissioning of machine room less electric traction type elevators of following capacity and type suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control, speed of 1.00 mtr/sec, electromagnetic brake system, simple operations, operating panel with luminous buttons including hand rail, Braille symbols and auditory signals, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI's EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman's switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, light fixtures, ventilation fan etc complete with all accessories including automatic rescue device in the event of power failure etc., as required and generally conforming to technical specifications and technical particulars enclosed in tender document. The traction motor of machine room less elevator shall be of gearless type and placed inside the elevator hoist way.
1.10 | 15/16 passenger (minimum 1020 Kg) capacity elevator, 2 stops & 2 openings (Ground Floor & First Floor) and entrance at front side on all the serving floors, automatic centre opening stainless steel door, car enclosure provided with stainless steel panel on all the four sides and suitable for travel height of 6.6 mtrs (approx.) | 1.00 | Each | 0.00 | 1309000.00 | 1309000.00 | 1210000.00 | 1210000.00 | 1000000.00 | 1000000.00 | 1195000.00 | 1195000.00 | 1070000.00 | 1070000.00 | 1165000.00 | 1165000.00 | 1000000.00 | Techno Industries Private Limited
1.20 | 15/16 passenger (minimum 1020 Kg) capacity elevator, 2 stops, 2 openings (Ground Floor & First Floor) and entrance at front side on all the serving floors, car enclosure provided with stainless steel panel on three sides and glass panel on one side (back side of the car) and suitable for travel height of 6.6 mtrs (approx.) | 1.00 | Each | 0.00 | 1309000.00 | 1309000.00 | 1260000.00 | 1260000.00 | 1000000.00 | 1000000.00 | 1220000.00 | 1220000.00 | 1090000.00 | 1090000.00 | 1165000.00 | 1165000.00 | 1000000.00 | Techno Industries Private Limited
1.30 | 15/16 passenger (minimum 1020 Kg) capacity elevator, 3 stops, 3 openings (Ground Floor, Service Floor & Second Floor) and entrance at front side on all the serving floors, car enclosure provided with stainless steel panel on three sides and glass panel on one side and suitable for travel height of 11.20 mtrs (approx.) | 1.00 | Each | 0.00 | 1413000.00 | 1413000.00 | 1300000.00 | 1300000.00 | 1100000.00 | 1100000.00 | 1300000.00 | 1300000.00 | 1184000.00 | 1184000.00 | 1265000.00 | 1265000.00 | 1100000.00 | Techno Industries Private Limited
2.00 | Dismatling of existing machine room less electric traction type elevators (make: UT Ltd.) of following capacity and type suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control, with all accessories including automatic rescue device, traction motor etc. and submission to AAI store.
2.10 | 16 passenger capacity elevator, 2 stops & 2 openings and entrance at front side on all the serving floors, automatic centre opening stainless steel door, car enclosure provided with stainless steel panel on all the four sides and suitable for travel height of 6.6 mtrs (approx.) | 1.00 | Each | 0.00 | 20000.00 | 20000.00 | 50000.00 | 50000.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 50000.00 | 50000.00 | 20000.00 | ORBIS ELEVATOR CO LTD, Escon elevators Pvt Ltd
2.20 | 16 passenger capacity elevator, 2 stops, 2 openings and entrance at front side on all the serving floors, car enclosure provided with stainless steel panel on three sides and glass panel on one side (back side of the car) and suitable for travel height of 6.6 mtrs (approx.) | 1.00 | Each | 0.00 | 20000.00 | 20000.00 | 50000.00 | 50000.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 50000.00 | 50000.00 | 20000.00 | ORBIS ELEVATOR CO LTD, Escon elevators Pvt Ltd
2.30 | 16 passenger capacity elevator, 3 stops, 3 openings and entrance at front side on all the serving floors, car enclosure provided with stainless steel panel on three sides and glass panel on one side and suitable for travel height of 11.20 mtrs (approx.) | 1.00 | Each | 0.00 | 25000.00 | 25000.00 | 50000.00 | 50000.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 65000.00 | 65000.00 | 20000.00 | ORBIS ELEVATOR CO LTD
3.00 | All inclusive comprehensive maintenance of contract of 02 nos. complete Electric Traction Type machine room less passenger elevator system including all electrical/ mechanical equipment safety control installed under this contract of 15/16 passenger capacity elevators with 2 stops & 2 openings shall be as per technical specification.
3.10 | Defect liability period (01 Year)
3.20 | First year after DLP (4% of SITC cost including frieght, insurance, transportation etc.) | 1.00 | Year | 0.00 | 117810.00 | 117810.00 | 111150.00 | 111150.00 | 90000.00 | 90000.00 | 108675.00 | 108675.00 | 97200.00 | 97200.00 | 104850.00 | 104850.00 | 90000.00 | Techno Industries Private Limited
3.30 | Second year after DLP (4% commulative enhancement on first year cost) | 1.00 | Year | 0.00 | 124879.00 | 124879.00 | 117819.00 | 117819.00 | 95400.00 | 95400.00 | 115196.00 | 115196.00 | 103032.00 | 103032.00 | 111141.00 | 111141.00 | 95400.00 | Techno Industries Private Limited
3.40 | Third year after DLP (5% commulative enhancement on second year cost) | 1.00 | Year | 0.00 | 132372.00 | 132372.00 | 124888.00 | 124888.00 | 101124.00 | 101124.00 | 122108.00 | 122108.00 | 109214.00 | 109214.00 | 117809.00 | 117809.00 | 101124.00 | Techno Industries Private Limited
3.50 | Fourth year after DLP (5% commulative enhancement on third year cost) | 1.00 | Year | 0.00 | 140314.00 | 140314.00 | 132381.00 | 132381.00 | 107191.00 | 107191.00 | 129434.00 | 129434.00 | 115767.00 | 115767.00 | 124878.00 | 124878.00 | 107191.00 | Techno Industries Private Limited
3.60 | Fifth year after DLP (5% commulative enhancement on forth year cost) | 1.00 | Year | 0.00 | 148733.00 | 148733.00 | 140324.00 | 140324.00 | 113622.00 | 113622.00 | 137200.00 | 137200.00 | 122713.00 | 122713.00 | 132371.00 | 132371.00 | 113622.00 | Techno Industries Private Limited
4.00 | All inclusive comprehensive maintenance contract of 01 no. complete Electric Traction Type machine room less passenger elevator system including all electrical/ mechanical equipment safety control installed under this contract of 15/16 passenger capacity elevators with 3 stops & 3 openings shall be as per technical specification.
4.10 | Defect liability period (01 Year)
4.20 | First year after DLP (4% of SITC cost including frieght, insurance, transportation etc.) | 1.00 | Year | 0.00 | 63585.00 | 63585.00 | 58500.00 | 58500.00 | 49500.00 | 49500.00 | 58500.00 | 58500.00 | 53280.00 | 53280.00 | 56925.00 | 56925.00 | 49500.00 | Techno Industries Private Limited
4.30 | Second year after DLP (4% commulative enhancement on first year cost) | 1.00 | Year | 0.00 | 67400.00 | 67400.00 | 62010.00 | 62010.00 | 52470.00 | 52470.00 | 62010.00 | 62010.00 | 56477.00 | 56477.00 | 60341.00 | 60341.00 | 52470.00 | Techno Industries Private Limited
4.40 | Third year after DLP (5% commulative enhancement on second year cost) | 1.00 | Year | 0.00 | 71444.00 | 71444.00 | 65731.00 | 65731.00 | 55618.00 | 55618.00 | 65731.00 | 65731.00 | 59866.00 | 59866.00 | 63961.00 | 63961.00 | 55618.00 | Techno Industries Private Limited
4.50 | Fourth year after DLP (5% commulative enhancement on third year cost) | 1.00 | Year | 0.00 | 75731.00 | 75731.00 | 69675.00 | 69675.00 | 58955.00 | 58955.00 | 69675.00 | 69675.00 | 63458.00 | 63458.00 | 67799.00 | 67799.00 | 58955.00 | Techno Industries Private Limited
4.60 | Fifth year after DLP (5% commulative enhancement on forth year cost) | 1.00 | Year | 0.00 | 80275.00 | 80275.00 | 73856.00 | 73856.00 | 62492.00 | 62492.00 | 73856.00 | 73856.00 | 67265.00 | 67265.00 | 71867.00 | 71867.00 | 62492.00 | Techno Industries Private Limited
| Total in Figures |  |  |  |  | 5118543.00 |  | 4876334.00 |  | 4006372.00 |  | 4747385.00 |  | 4252272.00 |  | 4671942.00
Lowest Amount Quoted BY: Techno Industries Private Limited(4006372.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing lifts installed inside Terminal Building at M.P. Airport, Udaipur. Tender ID: 2021_AAI_75018_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Industries Private Limited | 4006372.00 | L1
| 2 | ORBIS ELEVATOR CO LTD | 4252272.00 | L2
| 3 | METRO ELEVATOR CO PVT LTD | 4671942.00 | L3
| 4 | ECE Industries Limited | 4747385.00 | L4
| 5 | OMEGA ELEVATORS | 4876334.00 | L5
| 6 | Escon elevators Pvt Ltd | 5118543.00 | L6