## BoQ1
Government eProcurement System Created By: Mansing Mane Created Date/Time: 27-Apr-2021 12:48 PM Tender Title: Supply of Runway, Taxiway light fittings, PAPI and associated accessories for Kolhapur Airport. Tender ID: 2021_AAI_75049_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, Kolhapur AIRPORT, Kolhapur.
Name of Work: “Development of Kolhapur Airport. Extension & Strengthening of Existing Runway, Construction of New Apron, Taxiway & Isolation Bay and Associated works at Kolhapur Airport. SH: - Supply of Runway, Taxiway light fittings, PAPI and associated accessories for Kolhapur Airport.”
Contract No: 2021_AAI_75049_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited(GSTN-27AAACA1016F1ZE) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following Bi-Directional Elevated High Intensity Halogen Type Runway Edge Light Fitting complete with prefocus lamp holder suitable upto 200 watt 6.6 A halogen lamp ,clear outer prismatic dome,clear inner prismatic lens, lens holding mechanisam, ball joint for easy leveling, breakable coupling,central column mounting assembly, gaskets, two pin secondary lead plug suitable for connectionwith isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers &other accessories etc. and confirming to particular specification with lens including lamp (150 Watt) etc. asrequired to meet latest ICAO requirement.with 360º clear filter | 28.00 | Each |  | 6200.00 | 173600.00 | 6800.00 | 190400.00 | 6800.00 | 190400.00 | 8500.00 | 238000.00 | 7820.00 | 218960.00 | 173600.00 | AMA Private Limited
2.00 | Supply of following Bi-Directional Elevated High Intensity Halogen Type Runway Edge Light Fitting complete with prefocus lamp holder suitable upto 200 watt 6.6 A halogen lamp ,clear outer prismatic dome,clear inner prismatic lens, lens holding mechanisam, ball joint for easy leveling, breakable coupling,central column mounting assembly, gaskets, two pin secondary lead plug suitable for connectionwith isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers &other accessories etc. and confirming to particular specification with lens including lamp (150 Watt) etc. asrequired to meet latest ICAO requirement. with 1 no. 180º clear and 1 no. 180° yellow filter | 59.00 | Each |  | 6200.00 | 365800.00 | 6800.00 | 401200.00 | 6800.00 | 401200.00 | 8500.00 | 501500.00 | 7820.00 | 461380.00 | 365800.00 | AMA Private Limited
3.00 | Supply of LED Taxiway Edge Elevated type light fixtures up to 12 Watts & meeting ICAO requirments LED lamp of series circuit 2.8 - 6.6 amps current, complete with base plate, breakablecoupling, mounting assembly, gasket, BLUE lens, one 2 pole-plug with leads etc. conforming toparticular specification as required.. and confirming to ICAO requirements as per the enclosed particular specifications complete as required. | 236.00 | Each |  | 3800.00 | 896800.00 | 4000.00 | 944000.00 | 4493.00 | 1060348.00 | 4400.00 | 1038400.00 | 4620.00 | 1090320.00 | 896800.00 | AMA Private Limited
4.00 | Supply of Unidirectional Elevated Type High Intensity End Light Fitting with red lens suitable for use upto 200W, 6.6A halogen lamp complete with prefocus lamp holder, 150 watt 6.6 A halogen lamp, lens / spreader glass, lens holding mechanisam, reflector assembley, elevation and horizontal adjustment mechanisam, breakable coupling , central column mounting assembly, gaskets, two pin secondary lead plug suitable for connection with isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers & other accessories etc. and confirming to particular specification as required to meet latest ICAO requirement. | 30.00 | Each |  | 6800.00 | 204000.00 | 8500.00 | 255000.00 | 8800.00 | 264000.00 | 9500.00 | 285000.00 | 9820.00 | 294600.00 | 204000.00 | AMA Private Limited
5.00 | Supply of Uni-directional Elevated Type High Intensity Threshold Light Fitting with green lens suitable for use upto 200W, 6.6 A halogen lamp complete with prefocus lamp holder, 150 watt 6.6 A halogen lamp, lens / spreader glass, lens holding mechanisam, reflector assembley, elevation and horizontal adjustment mechanisam, breakable coupling , central column mounting assembly, gaskets, two pin secondary lead plug suitable for connection with isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers & other accessories etc. and confirming to technical specification as required to meet latest ICAO requirement. | 45.00 | Each |  | 6800.00 | 306000.00 | 8500.00 | 382500.00 | 8800.00 | 396000.00 | 9500.00 | 427500.00 | 9820.00 | 441900.00 | 306000.00 | AMA Private Limited
6.00 | Supply of PAPI System (one set of 04 units) along with all its accessories i/c. 200W lamps , lense , filters , checking stick base holder etc. complete as required as per ICAO specification and confirming to technical specifications. | 3.00 | Set |  | 400000.00 | 1200000.00 | 410000.00 | 1230000.00 | 465250.00 | 1395750.00 | 590000.00 | 1770000.00 | 510100.00 | 1530300.00 | 1200000.00 | AMA Private Limited
7.00 | Supply of Unidirectional Elevated Type High Intensity Approach Light Fitting with clear lens suitable for use upto 200W, 6.6 A halogen lamp complete with prefocus lamp holder, 200 watt 6.6 A halogen lamp, lens / spreader glass, lens holding mechanisam, reflector assembley, elevation and horizontal adjustment mechanisam, breakable coupling , central column mounting assembly, gaskets, two pin secondary lead plug suitable for connection with isolating transformer, base plate with 6 nos. M-10 stainless steel bolts, spring & plain washers & other accessories etc. and confirming to technical specification as required to meet latest ICAO requirement. | 5.00 | Each |  | 6800.00 | 34000.00 | 6950.00 | 34750.00 | 8800.00 | 44000.00 | 9500.00 | 47500.00 | 8030.00 | 40150.00 | 34000.00 | AMA Private Limited
8.00 | Supply of 150 watts 6.6 Amps 2 pin Halogen lamp suitable for the HIRL fitting./ Suitable for Existing AMA make elevated type HIRL fitting. | 190.00 | Each |  | 375.00 | 71250.00 | 425.00 | 80750.00 | 390.00 | 74100.00 | 550.00 | 104500.00 | 495.00 | 94050.00 | 71250.00 | AMA Private Limited
9.00 | Supply of following filters suitable for aviation ground lighting system for its elevated high intensity runway fittings (mentioned in item No1) generally conforming to relevant IS.180 deg. Yellow/Amber right & left filter suitable for elevated type runway fittings/ also should be suitable for elevated type AMA make fittings. | 25.00 | Each |  | 1800.00 | 45000.00 | 1500.00 | 37500.00 | 2400.00 | 60000.00 | 2250.00 | 56250.00 | 1730.00 | 43250.00 | 37500.00 | Vardhman Airport Solutions Pvt Ltd
10.00 | Supply of following filters suitable for aviation ground lighting system for its elevated high intensity runway fittings (mentioned in item No1) generally conforming to relevant IS.180˚ prismatic inner clear lens suitable for elevated type runway fittings/ also should be suitable for elevated type AMA make fittings. | 15.00 | Each |  | 1900.00 | 28500.00 | 1500.00 | 22500.00 | 2400.00 | 36000.00 | 2250.00 | 33750.00 | 1730.00 | 25950.00 | 22500.00 | Vardhman Airport Solutions Pvt Ltd
11.00 | Supply of following filters suitable for aviation ground lighting system for its elevated high intensity runway fittings (mentioned in item No1) generally conforming to relevant IS.Spreader Green Lens suitable for unidirectional runway threshold light | 10.00 | Each |  | 2200.00 | 22000.00 | 1250.00 | 12500.00 | 2400.00 | 24000.00 | 2800.00 | 28000.00 | 1445.00 | 14450.00 | 12500.00 | Vardhman Airport Solutions Pvt Ltd
12.00 | Supply of following filters suitable for aviation ground lighting system for its elevated high intensity runway fittings (mentioned in item No1) generally conforming to relevant IS.Spreader Red Lens for suitable for unidirectional runway end light | 10.00 | Each |  | 2200.00 | 22000.00 | 1250.00 | 12500.00 | 2400.00 | 24000.00 | 2800.00 | 28000.00 | 1445.00 | 14450.00 | 12500.00 | Vardhman Airport Solutions Pvt Ltd
13.00 | Supply of 360˚ outer clear DOME suitable for Halogen type Aviation ground lighting system for its HIRL elevated type fittings | 38.00 | Each |  | 2200.00 | 83600.00 | 1800.00 | 68400.00 | 3000.00 | 114000.00 | 2800.00 | 106400.00 | 2080.00 | 79040.00 | 68400.00 | Vardhman Airport Solutions Pvt Ltd
14.00 | Supply of 360˚ outer clear DOME suitable for LED/Halogen type Aviation ground lighting system for its MIRL (Blue Lense) elevated type fittings as per site requirement. | 25.00 | Each |  | 1200.00 | 30000.00 | 1500.00 | 37500.00 | 1750.00 | 43750.00 | 2200.00 | 55000.00 | 1735.00 | 43375.00 | 30000.00 | AMA Private Limited
15.00 | Supply of pre-focus 2 pin lamp holder for 150 W/45 W, 6.6 A HIRL/MIRL fittings | 88.00 | Each |  | 425.00 | 37400.00 | 150.00 | 13200.00 | 175.00 | 15400.00 | 280.00 | 24640.00 | 180.00 | 15840.00 | 13200.00 | Vardhman Airport Solutions Pvt Ltd
16.00 | Supply of following filters suitable for aviation ground lighting system generally conforming to relevant IS. Clear lenses for PAPI Unit (04 Units) | 1.00 | Set |  | 30600.00 | 30600.00 | 21000.00 | 21000.00 | 12000.00 | 12000.00 | 41400.00 | 41400.00 | 24260.00 | 24260.00 | 12000.00 | Techno Electricals
17.00 | Supply of following filters suitable for aviation ground lighting system generally conforming to relevant IS. Red filter for PAPI Unit. (04 Units) | 1.00 | Set |  | 30600.00 | 30600.00 | 36000.00 | 36000.00 | 27000.00 | 27000.00 | 44000.00 | 44000.00 | 42590.00 | 42590.00 | 27000.00 | Techno Electricals
18.00 | Supply of calibration kit ,clinometer, sprit level, checking stick & base plates etc complete for above mentioned PAPI set. | 1.00 | Set |  | 97500.00 | 97500.00 | 75000.00 | 75000.00 | 90000.00 | 90000.00 | 95000.00 | 95000.00 | 87635.00 | 87635.00 | 75000.00 | Vardhman Airport Solutions Pvt Ltd
| Total in Figures |  |  |  |  | 3678650.00 |  | 3854700.00 |  | 4271948.00 |  | 4924840.00 |  | 4562500.00
Lowest Amount Quoted BY: AMA Private Limited(3678650.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Runway, Taxiway light fittings, PAPI and associated accessories for Kolhapur Airport. Tender ID: 2021_AAI_75049_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AMA Private Limited | 3678650.00 | L1
| 2 | Vardhman Airport Solutions Pvt Ltd | 3854700.00 | L2
| 3 | Techno Electricals | 4271948.00 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 4562500.00 | L4
| 5 | Manish Electricals | 4924840.00 | L5