## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 29-Apr-2021 01:26 PM Tender Title: SITC of 2 TR split ACs Tender ID: 2021_AAI_75120_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : SITC of 2 TR Split ACs at Operational Area, IGI Airport, New Delhi (2020-21)
Contract No/Tender ID : 2021_AAI_75120_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Leo Air and Power Solution Pvt Ltd.,(GSTN-07AABCL1931F1ZW) |  | Pacific Depths(GSTN-07AAEPC7210N1ZU) |  | HONEY COLLECTION(GSTN-07ADPPT9971M1ZA) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | AQUATICS ENIGINEERS(GSTN-07AEMPM9860Q1ZE) |  | Mercantile Agency(GSTN-19AALFM1805G1ZB) |  | LIFE STYLE INTERIORS(GSTN-08AEWPT8384E1ZJ) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH- I
2.00 | 1. Supply of 2.0 TR wall mounted, invertor type 5 star Split Air conditioners with compressor operating on Refrigerant R -410a / R-134a/R-32, suitable for operation on 230 + 10 % Volts, 50 Hz, Single Phase AC supply with Cordless remote control capable of performing different functions such as cooling, dehumidifying, air circulation filtering etc. alongwith standard lenght of copper pipe & electrical cable, Make : As per AAI appoved makes. | 18.00 | Nos. | 100.00 | 40000.00 | 720000.00 | 38800.00 | 698400.00 | 41156.00 | 740808.00 | 39600.00 | 712800.00 | 47000.00 | 846000.00 | 37000.00 | 666000.00 | 38719.00 | 696942.00 | 39500.00 | 711000.00 | 42700.00 | 768600.00 | 666000.00 | AQUATICS ENIGINEERS
3.00 | SH- II
3.01 | 1. Installation, testing, commissioning of 2.0 TR hi-wall AC units alongwith dismantling of existing Split ACs etc. and making of necessary hole on concrete/brick wall and making good the damages. | 18.00 | Nos. | 10.00 | 1800.00 | 32400.00 | 1800.00 | 32400.00 | 2200.00 | 39600.00 | 1100.00 | 19800.00 | 2000.00 | 36000.00 | 1600.00 | 28800.00 | 1500.00 | 27000.00 | 1800.00 | 32400.00 | 1000.00 | 18000.00 | 18000.00 | Ganga Enterprises
3.02 | 2. Supply & fixing of extra copper refrigerant pipings of standard gauge beyond 3 mtr as per site requirement for 2 TR AC. | 60.00 | Meter | 10.00 | 550.00 | 33000.00 | 750.00 | 45000.00 | 850.00 | 51000.00 | 450.00 | 27000.00 | 900.00 | 54000.00 | 1000.00 | 60000.00 | 925.00 | 55500.00 | 1000.00 | 60000.00 | 600.00 | 36000.00 | 27000.00 | HONEY COLLECTION
3.03 | 3. Supply & fixing of hard PVC drain piping of proper dia as required at site upto the satisfaction of E-I-C. | 180.00 | Meter | 10.00 | 70.00 | 12600.00 | 92.00 | 16560.00 | 150.00 | 27000.00 | 80.00 | 14400.00 | 60.00 | 10800.00 | 150.00 | 27000.00 | 180.00 | 32400.00 | 90.00 | 16200.00 | 50.00 | 9000.00 | 9000.00 | Ganga Enterprises
3.04 | 4. Supply & fixing of 3 x 2.5 Sq. mm extra copper conductor cable for indoor & outdoor unit. | 90.00 | Meter | 10.00 | 80.00 | 7200.00 | 105.00 | 9450.00 | 130.00 | 11700.00 | 110.00 | 9900.00 | 58.00 | 5220.00 | 120.00 | 10800.00 | 135.00 | 12150.00 | 115.00 | 10350.00 | 120.00 | 10800.00 | 5220.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.05 | 5. Supply and fitting of Appropriate size and thickness of MS Stand/L-chair for fixing outdoor or condensing units along with necerssary anchor fastner/bolt & nuts etc on concrete/brick wall or floor etc.as required. | 18.00 | Nos. | 10.00 | 500.00 | 9000.00 | 850.00 | 15300.00 | 1000.00 | 18000.00 | 350.00 | 6300.00 | 450.00 | 8100.00 | 900.00 | 16200.00 | 700.00 | 12600.00 | 500.00 | 9000.00 | 400.00 | 7200.00 | 6300.00 | HONEY COLLECTION
3.06 | 6. Supplying and fixing 20A, 240 V, SPN Industrial type socket outlet with 2 pole and earth, metal enclosed plug top alongwith 20 A, "C" curve, SP, MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 18.00 | Nos. | 10.00 | 900.00 | 16200.00 | 865.00 | 15570.00 | 1500.00 | 27000.00 | 550.00 | 9900.00 | 625.00 | 11250.00 | 2000.00 | 36000.00 | 2134.00 | 38412.00 | 1600.00 | 28800.00 | 500.00 | 9000.00 | 9000.00 | Ganga Enterprises
| Total in Figures |  |  |  |  | 830400.00 |  | 832680.00 |  | 915108.00 |  | 800100.00 |  | 971370.00 |  | 844800.00 |  | 875004.00 |  | 867750.00 |  | 858600.00
Lowest Amount Quoted BY: HONEY COLLECTION(800100.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of 2 TR split ACs Tender ID: 2021_AAI_75120_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HONEY COLLECTION | 800100.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 830400.00 | L2
| 3 | Leo Air and Power Solution Pvt Ltd., | 832680.00 | L3
| 4 | AQUATICS ENIGINEERS | 844800.00 | L4
| 5 | Ganga Enterprises | 858600.00 | L5
| 6 | LIFE STYLE INTERIORS | 867750.00 | L6
| 7 | Mercantile Agency | 875004.00 | L7
| 8 | Pacific Depths | 915108.00 | L8
| 9 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 971370.00 | L9