## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 22-Jul-2021 11:34 AM Tender Title: ARMO of E and M Installations at Coimbatore International Airport for the year 2021_22 and 2022_23. SH_ Comprehensive Maintenance of Split AC Units and Water Coolers Cum fountains at Coimbatore International Airport. Tender ID: 2021_AAI_75445_1
Tender Inviting Authority: Asst.Gen.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: A.R.M.O. of E&M Installations at Coimbatore International Airport for the year 2021-22 & 2022-23. SH:Comprehensive Maintenance of Split AC Units and Water Coolers Cum fountains at Coimbatore International Airport.
Tender ID: 2021_AAI_75445_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAM ENGINEERING GROUPS(GSTN-33AANPU3943P1ZW) |  | GENIUS AIRCON PRIVATE LIMITED(GSTN-33AAECG9150C1ZY) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH : I FOR THE FIRST YEAR ( 2021-22) Annual comprehensive Maintenance of following air-conditioners of all makes of following capacity at different locations including providing all necessary consumables and spares complete as required as per special condition/technical specification including CMC of Voltage stabilizers & timers, wherever connected etc as required. More than 6 years old AC units
1.01 | 1.0 Ton Window/ Split AC Units | 1.00 | Each/per year |  | 2500.00 | 2500.00 | 2300.00 | 2300.00 | 1100.00 | 1100.00 | 1100.00 | ROSHAN REFRIGERATION AND ELECTRICALS
1.02 | 1.5/ 2.0 Ton Window/Split / Cassette AC Unit | 11.00 | Each/per year |  | 4900.00 | 53900.00 | 3250.00 | 35750.00 | 3200.00 | 35200.00 | 35200.00 | ROSHAN REFRIGERATION AND ELECTRICALS
1.03 | 3.0 / 4.0 Ton Split / Cassette / Floor mounting/ductable AC Unit | 3.00 | Each/per year |  | 7500.00 | 22500.00 | 5000.00 | 15000.00 | 4700.00 | 14100.00 | 14100.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.00 | Annual comprehensive Maintenance of following air-conditioners of all makes of following capacity at different locations including providing all necessary consumables and spares complete as required as per special condition/technical Specification, including CMC of Voltage stabilizers & timers, wherever connected etc as required.
2.01 | 1.0 Ton Window/ Split AC Units | 1.00 | Each/per year |  | 2500.00 | 2500.00 | 4000.00 | 4000.00 | 1100.00 | 1100.00 | 1100.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.02 | 1.5/ 2.0 Ton Window/Split / Cassette AC Unit | 96.00 | Each/per year |  | 4900.00 | 470400.00 | 4800.00 | 460800.00 | 3200.00 | 307200.00 | 307200.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.03 | 3.0 / 4.0 Ton Split / Cassette / Floor mounting/ductable AC Unit | 61.00 | Each/per year |  | 7500.00 | 457500.00 | 5800.00 | 353800.00 | 4700.00 | 286700.00 | 286700.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.04 | 5.5 TR walk in cooler ( Cargo ) | 1.00 | Each/per year |  | 15000.00 | 15000.00 | 13000.00 | 13000.00 | 7500.00 | 7500.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.05 | 11 TR Ductable AC units | 4.00 | Each/per year |  | 28000.00 | 112000.00 | 30000.00 | 120000.00 | 17000.00 | 68000.00 | 68000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
2.06 | 16.5 TR Ductable AC units | 3.00 | Each/per year |  | 34000.00 | 102000.00 | 40000.00 | 120000.00 | 18500.00 | 55500.00 | 55500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
3.00 | Annual comprehensive Maintenance of Water Coolers of all makes of capacity upto 150 Ltr at different locations including providing all necessary consumables and spare complete as required as per special condition/technical specification etc as required. | 8.00 | Each/per year |  | 3500.00 | 28000.00 | 6000.00 | 48000.00 | 7500.00 | 60000.00 | 28000.00 | RAM ENGINEERING GROUPS
4.00 | Dismantling and re-installation of following type split type AC units up to 4 mtrs refrigerant piping including mounting of indoor and out door units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene / PVC piping etc. complete as required
4.01 | 1.0/1.5 Ton/ 2 Ton Split AC Units | 15.00 | Each |  | 2400.00 | 36000.00 | 700.00 | 10500.00 | 3500.00 | 52500.00 | 10500.00 | GENIUS AIRCON PRIVATE LIMITED
4.02 | 3/4 Ton Split/ Cassette / Floor mounting AC Units | 10.00 | Each |  | 3500.00 | 35000.00 | 850.00 | 8500.00 | 6500.00 | 65000.00 | 8500.00 | GENIUS AIRCON PRIVATE LIMITED
5.00 | All inclusive Comprehensive maintenance contract of Drinking Water fountain system installed at Coimbatore Airport including attending all breakdowns, carrying out preventive maintenance checks and servicing, repairing/replacing all components of the system as per the scope of work etc as per technical specification complete as required. | 1.00 | Each/per year |  | 19500.00 | 19500.00 | 6300.00 | 6300.00 | 7500.00 | 7500.00 | 6300.00 | GENIUS AIRCON PRIVATE LIMITED
6.00 | Supply of extra copper pipe line suitable for 1.0TR, 1.5TR, 2.0TR,3TR & 4.0TR AC units including providing insulation control cable etc., complete as required.
6.01 | 3/8" and 1/2" Copper pipe line | 50.00 | Mtr |  | 740.00 | 37000.00 | 150.00 | 7500.00 | 450.00 | 22500.00 | 7500.00 | GENIUS AIRCON PRIVATE LIMITED
6.02 | 3/8" and 5/8" Copper pipe line | 50.00 | Mtr |  | 840.00 | 42000.00 | 150.00 | 7500.00 | 500.00 | 25000.00 | 7500.00 | GENIUS AIRCON PRIVATE LIMITED
6.03 | 1/4" and 1/2" Copper pipe line | 50.00 | Mtr |  | 650.00 | 32500.00 | 150.00 | 7500.00 | 500.00 | 25000.00 | 7500.00 | GENIUS AIRCON PRIVATE LIMITED
7.00 | SH: II FOR THE SECOND YEAR ( 2022-23) Annual comprehensive Maintenance of following air-conditioners of all makes of following capacity at different locations including providing all necessary consumables and spares complete as required as per special condition/technical specification including CMC of Voltage stabilizers & timers, wherever connected etc as required. More than 6 years old AC units
7.01 | 1.0 Ton Window/ Split AC Units | 1.00 | Each/per year |  | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 1100.00 | 1100.00 | 1100.00 | ROSHAN REFRIGERATION AND ELECTRICALS
7.02 | 1.5/ 2.0 Ton Window/Split / Cassette AC Unit | 11.00 | Each/per year |  | 4900.00 | 53900.00 | 2750.00 | 30250.00 | 3200.00 | 35200.00 | 30250.00 | GENIUS AIRCON PRIVATE LIMITED
7.03 | 3.0 / 4.0 Ton Split / Cassette / Floor mounting/ductable AC Unit | 3.00 | Each/per year |  | 7500.00 | 22500.00 | 5000.00 | 15000.00 | 4700.00 | 14100.00 | 14100.00 | ROSHAN REFRIGERATION AND ELECTRICALS
8.00 | Annual comprehensive Maintenance of following air-conditioners of all makes of following capacity at different locations including providing all necessary consumables and spares complete as required as per special condition/technical Specification, including CMC of Voltage stabilizers & timers, wherever connected etc as required.
8.01 | 1.0 Ton Window/ Split AC Units | 1.00 | Each/per year |  | 2500.00 | 2500.00 | 4800.00 | 4800.00 | 1100.00 | 1100.00 | 1100.00 | ROSHAN REFRIGERATION AND ELECTRICALS
8.02 | 1.5/ 2.0 Ton Window/Split / Cassette AC Unit | 96.00 | Each/per year |  | 4900.00 | 470400.00 | 5000.00 | 480000.00 | 3200.00 | 307200.00 | 307200.00 | ROSHAN REFRIGERATION AND ELECTRICALS
8.03 | 3.0 / 4.0 Ton Split / Cassette / Floor mounting/ductable AC Unit | 61.00 | Each/per year |  | 7500.00 | 457500.00 | 5800.00 | 353800.00 | 4700.00 | 286700.00 | 286700.00 | ROSHAN REFRIGERATION AND ELECTRICALS
8.04 | 5.5 TR walk in cooler ( Cargo ) | 1.00 | Each/per year |  | 15000.00 | 15000.00 | 13000.00 | 13000.00 | 7500.00 | 7500.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
8.05 | 11 TR Ductable AC units | 4.00 | Each/per year |  | 28000.00 | 112000.00 | 30000.00 | 120000.00 | 17000.00 | 68000.00 | 68000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
8.06 | 16.5 TR Ductable AC units | 3.00 | Each/per year |  | 34000.00 | 102000.00 | 40000.00 | 120000.00 | 18500.00 | 55500.00 | 55500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
9.00 | Annual comprehensive Maintenance of Water Coolers of all makes of capacity upto 150 Ltr at different locations including providing all necessary consumables and spare complete as required as per special condition/technical specification etc as required. | 8.00 | Each/per year |  | 3500.00 | 28000.00 | 6000.00 | 48000.00 | 7500.00 | 60000.00 | 28000.00 | RAM ENGINEERING GROUPS
10.00 | Dismantling and re-installation of following type split type AC units up to 4 mtrs refrigerant piping including mounting of indoor and out door units, drain piping arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene / PVC piping etc. complete as required
10.01 | 1.0/1.5 Ton/ 2 Ton Split AC Units | 15.00 | Each |  | 2400.00 | 36000.00 | 700.00 | 10500.00 | 3500.00 | 52500.00 | 10500.00 | GENIUS AIRCON PRIVATE LIMITED
10.02 | 3/4 Ton Split/ Cassette / Floor mounting AC Units | 10.00 | Each |  | 3500.00 | 35000.00 | 850.00 | 8500.00 | 6500.00 | 65000.00 | 8500.00 | GENIUS AIRCON PRIVATE LIMITED
11.00 | All inclusive Comprehensive maintenance contract of Drinking Water fountain system installed at Coimbatore Airport including attending all breakdowns, carrying out preventive maintenance checks and servicing, repairing/replacing all components of the system as per the scope of work etc as per technical specification complete as required. | 1.00 | Each/per year |  | 19500.00 | 19500.00 | 6800.00 | 6800.00 | 7500.00 | 7500.00 | 6800.00 | GENIUS AIRCON PRIVATE LIMITED
12.00 | Supply of extra copper pipe line suitable for 1.0TR, 1.5TR, 2.0TR,3TR & 4.0TR AC units including providing insulation control cable etc., complete as required.
12.01 | 3/8" and 1/2" Copper pipe line | 50.00 | Mtr |  | 740.00 | 37000.00 | 100.00 | 5000.00 | 450.00 | 22500.00 | 5000.00 | GENIUS AIRCON PRIVATE LIMITED
12.02 | 3/8" and 5/8" Copper pipe line | 50.00 | Mtr |  | 840.00 | 42000.00 | 100.00 | 5000.00 | 500.00 | 25000.00 | 5000.00 | GENIUS AIRCON PRIVATE LIMITED
12.03 | 1/4" and 1/2" Copper pipe line | 50.00 | Mtr |  | 650.00 | 32500.00 | 100.00 | 5000.00 | 500.00 | 25000.00 | 5000.00 | GENIUS AIRCON PRIVATE LIMITED
13.00 | Job Contract for providing regular Operation & Maintenance of Split Ac Units, Cassette Ac units, Tower AC units, Ductable AC units, Water fountain & Water Coolers installed in Terminal Building and ancillary buildings in general shift (2 skilled, 1 Un skilled), as per the special conditions /technical specification and as per the instructions of the Engineer-in-Charge Note: If your quote for this item is lesser than the monthly minimum wages given in tender document page no.177, then your tender will be rejected in the CPP portal itself and your tender will not be considered for further financial evaluation to assess the L1 Tender. | 24.00 | Months |  | 77000.00 | 1848000.00 | 76415.00 | 1833960.00 | 81111.00 | 1946664.00 | 1833960.00 | GENIUS AIRCON PRIVATE LIMITED
| Total in Figures |  |  |  |  | 4784600.00 |  | 4282060.00 |  | 4014464.00
Lowest Amount Quoted BY: ROSHAN REFRIGERATION AND ELECTRICALS(4014464.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Coimbatore International Airport for the year 2021_22 and 2022_23. SH_ Comprehensive Maintenance of Split AC Units and Water Coolers Cum fountains at Coimbatore International Airport. Tender ID: 2021_AAI_75445_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ROSHAN REFRIGERATION AND ELECTRICALS | 4014464.00 | L1
| 2 | GENIUS AIRCON PRIVATE LIMITED | 4282060.00 | L2
| 3 | RAM ENGINEERING GROUPS | 4784600.00 | L3