## BoQ1
Government eProcurement System Created By: Mansing Mane Created Date/Time: 30-Apr-2021 12:53 PM Tender Title: ITC of GLF fittings, equipments and laying of AFL Cable and other associated works at Kolhapur Airport. Tender ID: 2021_AAI_75475_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR.
Name Of Work :- “Development of Kolhapur Airport. Extension & Strengthening of Existing Runway, Construction of New Apron, Taxiway & Isolation Bay and Associated works at Kolhapur Airport. SH: ITC of GLF fittings,equipments and laying of AFL Cable and other associated works at Kolhapur Airport.”
Contract No: 2021_AAI_75475
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | REWINDER TECHNO ELECTRICALS(GSTN-18AAFFR7457K1ZL) |  | CREATIVE TRADING CO(GSTN-07AMEPK8023F1Z9) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Bi-directional INSET TYPE HIRL EDGE LIGHT FITTING with 105/105W 6.6Amps pre-focused Halogen Lamp prism with 12" shallow base with bottom hole entry and matching body of the fitting, innner body and outer cover made of die cast aluminium, complete with connected heat resistant accessories, prism assembly, optical assembly, 'O' ring seal, pressue relief test plug, lense(s), 2 x two pole secondary plug, hardware and all standard accessories and ready for site installation as required and as per the enclosed perticular specification and meeting ICAO requirment clear/yellow lenses etc. complete as required including 1 set of spare 'O' ring, gaskets and 1 Set of spare lamps as per the particular specifications enclosed. Clear / Yellow | 7.00 | Each |  | 60000.00 | 420000.00 | 48305.00 | 338135.00 | 75000.00 | 525000.00 | 57850.00 | 404950.00 | 63000.00 | 441000.00 | 65000.00 | 455000.00 | 338135.00 | Vardhman Airport Solutions Pvt Ltd
2.00 | Supply of Bi- Directional INSET TYPE HIRL EDGE LIGHT FITTING with 105/105W 6.6Amps pre-focused Halogen Lamp prism with 12" shallow base with bottom hole entry and matching body of the fitting, innner body and outer cover made of die cast aluminium complete with connected heat resistance accessories, prism assembly, optical assembly, 'O' ring seal, pressue relief test plug, lense(s), 2 x two pole secondary plug, hardware and all clear/yellow lenses and all standard accessories and ready for site installation as required and as per the enclosed perticular specification and meeting ICAO requirment complete as required including 1 set of spare 'O' ring, gaskets and 1 Set of spare lamps as per the particular specifications enclosed. Clear / Clear | 3.00 | Each |  | 59000.00 | 177000.00 | 48305.00 | 144915.00 | 68000.00 | 204000.00 | 57750.00 | 173250.00 | 63000.00 | 189000.00 | 65000.00 | 195000.00 | 144915.00 | Vardhman Airport Solutions Pvt Ltd
3.00 | Supply of 200 Watts 6.6/6.6 Amps 5KV grade 50 Hz series type isolating transformer conforming to relevant IS, encapsulated in polyster resin finally moulded with neoprene type rubber with primary & secondary connections as specified in particular specifications complete as required. | 198.00 | Each |  | 4255.00 | 842490.00 | 4146.00 | 820908.00 | 5000.00 | 990000.00 | 3700.00 | 732600.00 | 4500.00 | 891000.00 | 4500.00 | 891000.00 | 732600.00 | CREATIVE TRADING CO
4.00 | Supply of 15 Watts 6.6/6.6 Amps 5KV grade 50 Hz series type isolating transformer conforming to relevant IS, encapsulated in polyster resin finally moulded with neoprene type rubber with primary & secondary connections as specified in particular specifications complete as required. | 236.00 | Each |  | 2600.00 | 613600.00 | 2606.00 | 615016.00 | 3600.00 | 849600.00 | 2100.00 | 495600.00 | 2900.00 | 684400.00 | 2800.00 | 660800.00 | 495600.00 | CREATIVE TRADING CO
5.00 | Supply of 5 KV, Cu grade plug and receptacle of type I class "B" connector suitable for field attachment with 5 KV grade PVC insulated PVC sheathed/ XLPE insulated cable single core 6 Sq.mm copper conductor cable conforming to the relevant IS specification etc. complete as required. | 647.00 | Each |  | 316.00 | 204452.00 | 534.00 | 345498.00 | 500.00 | 323500.00 | 300.00 | 194100.00 | 400.00 | 258800.00 | 370.00 | 239390.00 | 194100.00 | CREATIVE TRADING CO
6.00 | Supply of ICAO complied rotating aerodrome beacon 30 flashes per minute ,white and green lights suitable to operate on 240V 50 hz AC supply complete as required. | 1.00 | Job |  | 525250.00 | 525250.00 | 471728.00 | 471728.00 | 900000.00 | 900000.00 | 558000.00 | 558000.00 | 500000.00 | 500000.00 | 610000.00 | 610000.00 | 471728.00 | Vardhman Airport Solutions Pvt Ltd
7.00 | Supply installation testing commissioning of Remote control pannel Cum display unit at control tower suitable for remote operation of constant current regulators and comprise of the following including interconnections etc. With terminal block etc. complete as required. a) Main power cable 40 A TPN MCB -01 nos and ON/OFF toggle switch, 5 position brightness control switch , DC power pack for indicating, LEDs, Mimic Diagram , Control Fuses, Terminal Blocks and selector switch for following as per AAI Specification a) PAPI(with CKT Selector )............................. 2 no b) Runway edge lights CKT 1 & CKT 2........... 2 nos c) SAPL ............................................................. 2 nos d) Windsock ...................................................... 1 no e) Landing-T ..................................................... 1 no f) Spare with ON/OFF binary switch ............. 5 nos g) Taxi way ....................................................... 2 nos h) Isolation bay ................................................. 1 no i) Isolation bay flood lights ............................... 1 no j) AFL tower ...................................................... 6 nos | 1.00 | Job |  | 200252.00 | 200252.00 | 156000.00 | 156000.00 | 400000.00 | 400000.00 | 300000.00 | 300000.00 | 150000.00 | 150000.00 | 285000.00 | 285000.00 | 150000.00 | Balaji Engineering
8.00 | Installation, testing and commissioning of elevated ruway edge /end /threshold / approach / taxiway light fittings with all accessories on the existing transformer housing box i/c. assembling of accessories, alignment, levelling, installation of isolating transformer, crimping / jointing of plug & receptacles including filling the gap with water sealent material& applying PVC HT insulation tape as required for complete etc. as required. | 322.00 | Each |  | 125.00 | 40250.00 | 150.00 | 48300.00 | 100.00 | 32200.00 | 250.00 | 80500.00 | 250.00 | 80500.00 | 200.00 | 64400.00 | 32200.00 | REWINDER TECHNO ELECTRICALS
9.00 | Installation, testing and commissioning of PAPI System (04 units) along with all its accessories i/c. transformer housing boxes, bases for checking stick including finalization of location, taking level & setting right angles (minimum 03 times) by Total Station / Theodolite, excavation, RCC foundation (1:2:4) upto required level, plastering, refilling, providing foundation bolts and nuts, fitting, fixing, cleaning, marking, earthing, connecting, providing pipe for secondary leads, painting and ground calibration of the system etc. complete as required. | 2.00 | Job |  | 45000.00 | 90000.00 | 45000.00 | 90000.00 | 210000.00 | 420000.00 | 90000.00 | 180000.00 | 90000.00 | 180000.00 | 75000.00 | 150000.00 | 90000.00 | Techno Electricals, Vardhman Airport Solutions Pvt Ltd
10.00 | Installation testing commissioning of Rotating beacon on top ATC tower with suitable foundation and mounted as per specifications complete as required. | 1.00 | Job |  | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 3000.00 | 3000.00 | 28000.00 | 28000.00 | 5000.00 | 5000.00 | 25000.00 | 25000.00 | 3000.00 | REWINDER TECHNO ELECTRICALS
11.00 | Supply of cast iron isolating Transformer housing box, water tight round type, metal container of outside size 330 mm dia, height 450 mm made of 10 mm thick cast iron moulding all round, except the top surface, which is 15 mm thick, cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer, power cable and having hole as per site requirement at the periphery, centre 75 mm above bottom surface suitable to receive 50 mm dia HDPE/medium class G.I pipe and one no of suitable hole to receive 15mm B class G.I pipe for loop earthing as required. The box should have two SS earh bolts of M10x40 mm tapped inside near the hole (4" away from hole centre) and having drain hole at the bottom suitably tapped to receive 15mm dia GI pipe and having clear opening of 220 mm at the top surface and 06 Nos. M10 tapped hole having centre to centre distance of 260mm alongwith bolts as required as per the drawings. Single Hole CI Housing Box | 50.00 | Each |  | 4650.00 | 232500.00 | 4900.00 | 245000.00 | 5000.00 | 250000.00 | 5200.00 | 260000.00 | 5000.00 | 250000.00 | 5200.00 | 260000.00 | 232500.00 | Techno Electricals
12.00 | Installation of Transformer Housing Box with a base concrete of 1:3:6 of size 630x630x100mm thick all round concrete of 1:2:4, 150mm thick, the top sloppedd with 1:2:4 cement concrete including providing and fixing 250mm long 15mm dia. "B" class GI pipe with check nut for drainage of water including excavation of side shoulder and refilling etc. complete as required. | 50.00 | Each |  | 2225.00 | 111250.00 | 2500.00 | 125000.00 | 1000.00 | 50000.00 | 3000.00 | 150000.00 | 2000.00 | 100000.00 | 1800.00 | 90000.00 | 50000.00 | REWINDER TECHNO ELECTRICALS
13.00 | Supply installation testing and commissioning of Crash siren (Horizontal Double mounting carbon brush less AC motor) suitable for operation at 240V 50 hz AC supply and audible range range should of 3 Km. | 1.00 | Job |  | 57520.00 | 57520.00 | 49079.00 | 49079.00 | 9000.00 | 9000.00 | 15000.00 | 15000.00 | 13500.00 | 13500.00 | 14500.00 | 14500.00 | 9000.00 | REWINDER TECHNO ELECTRICALS
14.00 | Making field connections by crimping 6 Sq.mm plug and receptacle with existing 6 sq.mm single core PVC copper conductor PVC insulated, PVC sheathed cable/XLPE cable including filling the gap with water sealing compound, applying HT insulation tape, over which PVC tape etc. as required. | 405.00 | Each |  | 75.00 | 30375.00 | 150.00 | 60750.00 | 100.00 | 40500.00 | 150.00 | 60750.00 | 200.00 | 81000.00 | 100.00 | 40500.00 | 30375.00 | Techno Electricals
15.00 | Providing, laying and fixing 50mm dia ISI marked G.I. pipe (mediumclass) in ground complete with G.I. fittings including trenching(75 cm deep)and re-filling etc as required. | 200.00 | Metre |  | 550.00 | 110000.00 | 510.00 | 102000.00 | 600.00 | 120000.00 | 550.00 | 110000.00 | 500.00 | 100000.00 | 590.00 | 118000.00 | 100000.00 | Balaji Engineering
16.00 | Providing, laying and fixing 15mm dia ISI marked G.I. pipe (mediumclass) in ground complete with G.I. fittings including trenching(75 cm deep)and re-filling etc as required. | 200.00 | Meter |  | 200.00 | 40000.00 | 225.00 | 45000.00 | 400.00 | 80000.00 | 225.00 | 45000.00 | 150.00 | 30000.00 | 290.00 | 58000.00 | 30000.00 | Balaji Engineering
17.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 40.00 | cum |  | 600.00 | 24000.00 | 1300.00 | 52000.00 | 500.00 | 20000.00 | 5000.00 | 200000.00 | 500.00 | 20000.00 | 650.00 | 26000.00 | 20000.00 | REWINDER TECHNO ELECTRICALS, Balaji Engineering
18.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 180.00 | Job |  | 225.00 | 40500.00 | 728.00 | 131040.00 | 1000.00 | 180000.00 | 1000.00 | 180000.00 | 500.00 | 90000.00 | 400.00 | 72000.00 | 40500.00 | Techno Electricals
19.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 44.00 | Set |  | 4500.00 | 198000.00 | 5500.00 | 242000.00 | 4000.00 | 176000.00 | 7999.00 | 351956.00 | 5000.00 | 220000.00 | 7000.00 | 308000.00 | 176000.00 | REWINDER TECHNO ELECTRICALS
20.00 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design | 6.00 | Job |  | 10000.00 | 60000.00 | 8500.00 | 51000.00 | 3000.00 | 18000.00 | 15000.00 | 90000.00 | 20000.00 | 120000.00 | 22000.00 | 132000.00 | 18000.00 | REWINDER TECHNO ELECTRICALS
21.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS 7098 (Part 2) amended upto date.3.5 X 185 sqmm. Cable | 110.00 | meter |  | 700.00 | 77000.00 | 859.00 | 94490.00 | 880.00 | 96800.00 | 674.00 | 74140.00 | 900.00 | 99000.00 | 750.00 | 82500.00 | 74140.00 | CREATIVE TRADING CO
22.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS 7098 (Part 2) amended upto date.3.5 x 50 sq.mm | 121.00 | meter |  | 210.00 | 25410.00 | 271.00 | 32791.00 | 400.00 | 48400.00 | 225.00 | 27225.00 | 450.00 | 54450.00 | 230.00 | 27830.00 | 25410.00 | Techno Electricals
23.00 | Supply of following sizes of XLPE insulated PVC sheathed, Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS 7098 (Part 2) amended upto date.3.5 X 25 sq.mm | 1325.00 | meter |  | 130.00 | 172250.00 | 168.00 | 222600.00 | 230.00 | 304750.00 | 161.00 | 213325.00 | 250.00 | 331250.00 | 160.00 | 212000.00 | 172250.00 | Techno Electricals
24.00 | Supply of 2.5 sq.mm 37 core armoured 650/ 1100V grade copper control cable XLPE insulated as per IS 7098 (Part-I) with ammendments up to date for Remote control panel etc complete as required. | 1540.00 | meter |  | 969.00 | 1492260.00 | 1241.00 | 1911140.00 | 1080.00 | 1663200.00 | 950.00 | 1463000.00 | 1200.00 | 1848000.00 | 1050.00 | 1617000.00 | 1463000.00 | CREATIVE TRADING CO
25.00 | Supply of 2 x 4 sq.mm size secondary lead made out of multi stranded copper conductor, EPR insulalted PCP sheathed, treated 600V grade cable as specified in particular specification and as required. | 440.00 | Meter |  | 125.00 | 55000.00 | 135.00 | 59400.00 | 280.00 | 123200.00 | 135.00 | 59400.00 | 150.00 | 66000.00 | 180.00 | 79200.00 | 55000.00 | Techno Electricals
26.00 | Supply of 600 V grade plug and receptacle of type II, class 'B' connector and suitable field attachment with EPR insulated, PCP sheathed, two core copper conductor secondary cable 4 sq.mm as required. | 50.00 | Each |  | 316.00 | 15800.00 | 652.00 | 32600.00 | 580.00 | 29000.00 | 649.00 | 32450.00 | 300.00 | 15000.00 | 900.00 | 45000.00 | 15000.00 | Balaji Engineering
27.00 | Supply of 6 mm thick powder coated MS cover plate to cover the CI transformer bousing box of 300 mm ouside dia with 6 nos. M10 tapped holes and required dia hole at the centre for entry of scondary lead as required.(Supply of bolt included) | 20.00 | Nos |  | 500.00 | 10000.00 | 756.00 | 15120.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 700.00 | 14000.00 | 1150.00 | 23000.00 | 10000.00 | Techno Electricals
28.00 | Laying of PVC Insulated / XLPE insulated and PE sheathed, copper conductor unarmoured airfield lighting cable of 5 KV grade direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required upto 16sq.mm. | 100.00 | meter |  | 250.00 | 25000.00 | 200.00 | 20000.00 | 300.00 | 30000.00 | 275.00 | 27500.00 | 400.00 | 40000.00 | 380.00 | 38000.00 | 20000.00 | Vardhman Airport Solutions Pvt Ltd
29.00 | Laying of one number PVC / XLPE insulated & PE sheathed un armoured copper conductor Runway primary/ secondary cable of grade 5 KV of size upto 16Sq.mm / 2.5 sq.mm x 37 core control cable in the existing RCC/HUME/STONEWARE / METAL/ HDPE pipe etc. as required. | 30000.00 | meter |  | 13.00 | 390000.00 | 20.00 | 600000.00 | 30.00 | 900000.00 | 15.00 | 450000.00 | 25.00 | 750000.00 | 15.00 | 450000.00 | 390000.00 | Techno Electricals
30.00 | Laying of one number PVC / XLPE insulated and PE sheathed, unarmoured copper conductor Airfield lighting cable of 5 KV grade of size not exceeding 16 sqmm in the existing cable duct / masonary trench etc. as required. | 220.00 | meter |  | 13.00 | 2860.00 | 20.00 | 4400.00 | 34.00 | 7480.00 | 10.00 | 2200.00 | 25.00 | 5500.00 | 20.00 | 4400.00 | 2200.00 | CREATIVE TRADING CO
31.00 | Laying of one number PVC / XLPE insulated & PVC sheathed armoured aluminium conductor power cable of grade 1.1 KV of following size in the existing RCC/HUME/STONEWARE / METAL/ HDPE pipe etc. as required.Upto 35 sq. mm | 1302.00 | meter |  | 15.00 | 19530.00 | 25.00 | 32550.00 | 33.00 | 42966.00 | 35.00 | 45570.00 | 25.00 | 32550.00 | 30.00 | 39060.00 | 19530.00 | Techno Electricals
32.00 | Laying of following size one number PVC / XLPE insulated and PVC sheathed, armoured aluminium conductor powewr cable cable of 1.1 KV grade of following size in the existing cable duct / masonary trench etc. as required.Above 35 sq. mm and upto 95 sq. mm | 50.00 | meter |  | 20.00 | 1000.00 | 35.00 | 1750.00 | 150.00 | 7500.00 | 10.00 | 500.00 | 25.00 | 1250.00 | 30.00 | 1500.00 | 500.00 | CREATIVE TRADING CO
33.00 | Laying of following size one number XLPE insulated and PVC sheathed, armoured aluminium conductor powewr cable cable of 1.1 KV grade of following size in the existing cable duct / masonary trench etc. as required.Above 95 sq. mm and upto 185 sq. mm | 50.00 | meter |  | 40.00 | 2000.00 | 35.00 | 1750.00 | 250.00 | 12500.00 | 25.00 | 1250.00 | 35.00 | 1750.00 | 40.00 | 2000.00 | 1250.00 | CREATIVE TRADING CO
34.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 80.00 | meter |  | 185.00 | 14800.00 | 230.00 | 18400.00 | 250.00 | 20000.00 | 225.00 | 18000.00 | 100.00 | 8000.00 | 190.00 | 15200.00 | 8000.00 | Balaji Engineering
35.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing cable as required | 17000.00 | meter |  | 20.00 | 340000.00 | 23.00 | 391000.00 | 25.00 | 425000.00 | 22.00 | 374000.00 | 20.00 | 340000.00 | 21.00 | 357000.00 | 340000.00 | Techno Electricals, Balaji Engineering
36.00 | Earthing with G.I.earthplate 600mm X 600mm X 6mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 2.00 | nos |  | 8500.00 | 17000.00 | 7200.00 | 14400.00 | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 7500.00 | 15000.00 | 9000.00 | 18000.00 | 10000.00 | REWINDER TECHNO ELECTRICALS
37.00 | Supplying and making indoor end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3.5 x 185 sq.mm | 4.00 | set |  | 500.00 | 2000.00 | 910.00 | 3640.00 | 600.00 | 2400.00 | 1500.00 | 6000.00 | 5000.00 | 20000.00 | 900.00 | 3600.00 | 2000.00 | Techno Electricals
38.00 | Supplying and making indoor end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3.5 x 50 sq.mm | 6.00 | set |  | 450.00 | 2700.00 | 373.00 | 2238.00 | 100.00 | 600.00 | 1000.00 | 6000.00 | 900.00 | 5400.00 | 400.00 | 2400.00 | 600.00 | REWINDER TECHNO ELECTRICALS
39.00 | Supplying and making indoor end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.3.5 x25 sq.mm | 14.00 | set |  | 350.00 | 4900.00 | 292.00 | 4088.00 | 100.00 | 1400.00 | 765.00 | 10710.00 | 300.00 | 4200.00 | 250.00 | 3500.00 | 1400.00 | REWINDER TECHNO ELECTRICALS
40.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.50 mm OD (Outer Dia) | 1500.00 | meter |  | 120.00 | 180000.00 | 145.00 | 217500.00 | 155.00 | 232500.00 | 145.00 | 217500.00 | 150.00 | 225000.00 | 180.00 | 270000.00 | 180000.00 | Techno Electricals
41.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.(OD-63 mm & ID-51 mm nominal) | 14996.00 | meter |  | 135.00 | 2024460.00 | 160.00 | 2399360.00 | 200.00 | 2999200.00 | 169.00 | 2534324.00 | 150.00 | 2249400.00 | 210.00 | 3149160.00 | 2024460.00 | Techno Electricals
42.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 15.00 | cum |  | 5500.00 | 82500.00 | 7500.00 | 112500.00 | 1000.00 | 15000.00 | 8000.00 | 120000.00 | 6000.00 | 90000.00 | 7500.00 | 112500.00 | 15000.00 | REWINDER TECHNO ELECTRICALS
43.00 | Shifting and re-installation of the following capacity microprocessor based CCR along with transportation from old power house to CCR room of new power house including securing and fixing with proper nut and bolts input and output cable connections , providing connection and required connector and other sundry items testing and comissioning etc. complete as required.7.5KW | 3.00 | nos |  | 5000.00 | 15000.00 | 12500.00 | 37500.00 | 3000.00 | 9000.00 | 35000.00 | 105000.00 | 5000.00 | 15000.00 | 12000.00 | 36000.00 | 9000.00 | REWINDER TECHNO ELECTRICALS
44.00 | Shifting and re-installation of the following capacity microprocessor based CCR along with transportation from old power house to CCR room of new power house including securing and fixing with proper nut and bolts input and output cable connections , providing connection and required connector and other sundry items testing and comissioning etc. complete as required.4KW | 4.00 | nos |  | 5000.00 | 20000.00 | 12500.00 | 50000.00 | 3000.00 | 12000.00 | 25000.00 | 100000.00 | 5000.00 | 20000.00 | 9000.00 | 36000.00 | 12000.00 | REWINDER TECHNO ELECTRICALS
45.00 | Shifting and re-installation of the following capacity microprocessor based CCR along with transportation from old power house to CCR room of new power house including securing and fixing with proper nut and bolts input and output cable connections , providing connection and required connector and other sundry items testing and comissioning etc. complete as required.20 Kw | 3.00 | nos |  | 6000.00 | 18000.00 | 12500.00 | 37500.00 | 3000.00 | 9000.00 | 30000.00 | 90000.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 9000.00 | REWINDER TECHNO ELECTRICALS
46.00 | Design, Supply, installation, testing and commissioning of guidance sign boards of various sizes (as per annexure) made of anodised 2 mm thick aluminium frame with suitable angle support with 1.5 mmm thick aluminium back cover and 4 mm thick poly carbonate sheet with glare free face, the letter and symbols should be screen printed with required colouring, suitable arrangement shall be made to function on both main and standby (runway/taxiway) circuits with internal control circuits. Suitable arrangements shall be made for water tightness and locking arrangement, sign boards shall be uniformly internally illuminated with required number of LED lights to achieve required illumination level, operated on input source of 2.5 A to 6.6 A constant current without any flickering, including its supporting legs, breakable coupling and base frame and foundation etc. complete as required as per ICAO. | 25.00 | sq.m |  | 37500.00 | 937500.00 | 38000.00 | 950000.00 | 43500.00 | 1087500.00 | 45000.00 | 1125000.00 | 36000.00 | 900000.00 | 33000.00 | 825000.00 | 825000.00 | Manish Electricals
47.00 | SITC CCR LT Panel Item Specifications as Per SoQ No. 39 In Tender Document. Incomers: i) 2 No. 400 Amps. 4P MCCB 50 KA, Icu=Ics with thermo magnetic based release having O/L ,S/C earth fault protection & necessary interlocking arrangement between two nos. incomers & one no. bus coupler and equipped with the following: a) 3 Nos. Phase indication LED lamps with 2Amp back up MCB, breaker 'ON/OFF/TRIP' indicating light with 2A MCB Digital Multifunction Meter, accuracy class 0.5s, with LED screen as per specs. with 3 Nos. cast resin current transformers of dual core CT's of suitable Amp. ratio, 15 VA Class1.0 metering. ,protection MCBs as required accessories to complete the system. Bus couplers: i) 1 No. 400 Amps. 4P MCCB 50 kA, Icu=Ics with Thermal Magnetic based release having O/L ,S/C protection. Bus Bar : 2 Sections of Electrolytic high conductivity Aluminium extensible three phase and neutral busbars rated at 500 amps , & auxiliary Bus Bars of suitable capacity insulated with heat shrinkable coloured PVC sleeves & suitable to withstand symmetrical fault level of 16 kA at 433 volts, i/c DMC/SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. Outgoings: i) 4 Nos. ‐ Microprocessor based 100 Amp. 4P MCCB ii) 2 Nos. - Microprocessor based 63 Amp. 4P MCCB ii) 10 Nos. ‐ Thermal Magnetic 32 Amp. 2P MCCB III) 6 Nos. ‐ Thermal Magnetic 16 Amp. 2P MCCB All MCCB (Ics=lcu) with O/L, S/C,E/F followings shall be applicable to each.All outgoing with MCCB for O/C, S/C,E/F protection with On, off trip indications of following capacity and rating, 50/35 KA (Ics=Icu=100% ) with Set of Digital flush type calibrated Intelligent multifunction meters (with communication port) suitable rating class ‐ 1.0 accuracy , showing V, A, KW with 3 Nos. cast resin current transformers of dual core CT's of suitable Amp. ratio, 5 VA Class 1.0 metering. , Spreader links and phase barrier, solid neutral link complete with wiring , connections etc. Necessary interlocking shall be successfully operational in all possible combinations.The Switchboard panel ( wall mounted) shall be complete with all interconnections, risers, internal wiring, labels, control/circuit fuses etc. complete as required. | 1.00 | Job |  | 1090000.00 | 1090000.00 | 902000.00 | 902000.00 | 350000.00 | 350000.00 | 400000.00 | 400000.00 | 250000.00 | 250000.00 | 485000.00 | 485000.00 | 250000.00 | Balaji Engineering
48.00 | Supply of ICAO complied LED model illuminated Wind sock/Wind indicator (WDI) with LEDobstruction Light , with frangible wind pole and with all accessories complete as required as follows: 1.Minimum 4.5 meter height FRP(fiber-reinforced plastic) fragible lattice mast (min 500mmx500mm) confirming to ICAO annex-14. 2.Mounting arrangement & provision of sufficent LED light fixtures to meet minimum lux level requirement as per ICAO standard. 3.One no. LED obstruction light aluminium cast body and red polycarbonate dome.4.Arrangment for titling down of mast for maintenance. | 1.00 | nos. |  | 250000.00 | 250000.00 | 180000.00 | 180000.00 | 200000.00 | 200000.00 | 390000.00 | 390000.00 | 225000.00 | 225000.00 | 225000.00 | 225000.00 | 180000.00 | Vardhman Airport Solutions Pvt Ltd
49.00 | Supply of ICAO complied H-Indicator with LED Light as required with all accessories complying IP 65 complete as required. | 1.00 | nos |  | 325000.00 | 325000.00 | 210000.00 | 210000.00 | 150803.00 | 150803.00 | 300000.00 | 300000.00 | 200000.00 | 200000.00 | 240000.00 | 240000.00 | 150803.00 | REWINDER TECHNO ELECTRICALS
50.00 | Supply of 150 Watts 6.6/6.6 Amps 5KV grade 50 Hz series type isolating transformer conforming to relevant IS, encapsulated in polyster resin finally moulded with neoprene type rubber with primary & secondary connections as specified in particular specifications complete as required. | 20.00 | nos |  | 4000.00 | 80000.00 | 4027.00 | 80540.00 | 3200.00 | 64000.00 | 3500.00 | 70000.00 | 4500.00 | 90000.00 | 4800.00 | 96000.00 | 64000.00 | REWINDER TECHNO ELECTRICALS
51.00 | Installation, Testing and Commissioning of inset fitting with core cutting, aligning and setting i/c providing sealing material and installation of Isolating Transformers, Crimping / Jointing of Plug receptacles, laying of secondary lead in existing GI pipe in groove i/c cutting and sealing of groove and other accessories required for commissioning i/c supply of all materials except fixture, secondary lead, plug and receptacles and isolating transformer etc. as required. | 10.00 | Job |  | 4500.00 | 45000.00 | 6500.00 | 65000.00 | 3500.00 | 35000.00 | 6100.00 | 61000.00 | 10000.00 | 100000.00 | 9000.00 | 90000.00 | 35000.00 | REWINDER TECHNO ELECTRICALS
| Total in Figures |  |  |  |  | 11764409.00 |  | 12847626.00 |  | 14499999.00 |  | 12983800.00 |  | 12434950.00 |  | 13304440.00
Lowest Amount Quoted BY: Techno Electricals(11764409.00)

## BOQ Summary
BOQ Summary Details Tender Title: ITC of GLF fittings, equipments and laying of AFL Cable and other associated works at Kolhapur Airport. Tender ID: 2021_AAI_75475_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 11764409.00 | L1
| 2 | Balaji Engineering | 12434950.00 | L2
| 3 | Vardhman Airport Solutions Pvt Ltd | 12847626.00 | L3
| 4 | CREATIVE TRADING CO | 12983800.00 | L4
| 5 | Manish Electricals | 13304440.00 | L5
| 6 | REWINDER TECHNO ELECTRICALS | 14499999.00 | L6