## BoQ1
Government eProcurement System Created By: MUKESH SAXENA Created Date/Time: 31-May-2021 03:04 PM Tender Title: SITC of Public Address System with 03 years On Site Warranty and 03 years CAMC with spares at Shrawasti Airport Tender ID: 2021_AAI_75549_1
Tender Inviting Authority: Airport Director, AAI, C.C.S.I. Airport, Lucknow.
Name of Work: SITC of Public Address System with three years onsite warranty and three years Comprehensive AMC after warranty with spares at Shrawasti Airport.
Contract No: AAI/LKO/CNS/hrawasti Airport-PA System/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TNS Networking Solutions Pvt Ltd(GSTN-07AACCT6872E1Z7) |  | PADMANABH COMPLETE SOLUTIONS PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of PA System
1.01 | Supply of Controller unit: Digital integrated system manager, 08 Zone,Multi-functional integration etc. as per specifications. | 1.00 | Each |  | 161904.00 | 161904.00 | 59800.00 | 59800.00 | 59800.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.02 | Supply of Microphone: PTT as per specifications. | 1.00 | Each |  | 2400.00 | 2400.00 | 0.00 | 0.00 | 0.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.03 | Supply of Call station unit:Configurable Network paging Console 4.3” colour touch screen suitable for desktop flush mount etc. as per specifications. | 5.00 | Each |  | 57142.00 | 285710.00 | 30360.00 | 151800.00 | 151800.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.04 | Supply of 500W Digital power Amplifier (preferably 120x4 multichannel ) as per specifications. | 2.00 | Each |  | 33333.00 | 66666.00 | 34500.00 | 69000.00 | 66666.00 | TNS Networking Solutions Pvt Ltd
1.05 | Supply Ceiling speakers: 6w ceiling speaker as per specifications. | 14.00 | Each |  | 600.00 | 8400.00 | 386.40 | 5409.60 | 5409.60 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.06 | Supply of Column Speakers: 20watt Column speaker as per specifications. | 2.00 | Each |  | 9047.00 | 18094.00 | 2300.00 | 4600.00 | 4600.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.07 | Supply of Wall mount speakers or Box speakers :10 watt wall mount speakers as per specifications. | 3.00 | Each |  | 1653.00 | 4959.00 | 1100.00 | 3300.00 | 3300.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.08 | Supply of Horn speakers: 15 watt, white/grey, ABS as per specifications. | 4.00 | Each |  | 4266.00 | 17064.00 | 2100.00 | 8400.00 | 8400.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.09 | Supply of Noise detector: Noise detector, Transmission distance upto 250 metres as per specifications. | 2.00 | Each |  | 3333.00 | 6666.00 | 15000.00 | 30000.00 | 6666.00 | TNS Networking Solutions Pvt Ltd
1.10 | Supply of Music Source: Hard Disk based CD/DVD Player capable of playback of common digital media like MP3/MP 4/USB/FM/AUX/WMA/AVI etc. as per specifications. | 1.00 | Each |  | 38095.00 | 38095.00 | 3500.00 | 3500.00 | 3500.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.11 | Supply & Laying of 0.5mm 02 pair with twisted pair PVC coated cable for Noise detector. | 500.00 | Mtr. |  | 27.00 | 13500.00 | 19.00 | 9500.00 | 9500.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.12 | Supply & Laying of Extension cable for call station: Cat-6 Cable/Cat-5 ( Legrand,Comscope, Systimax or any other reputed brand) as per specifications. | 600.00 | Mtr. |  | 26.00 | 15600.00 | 18.00 | 10800.00 | 10800.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.13 | Supply & Laying of speaker cable:1.5 sq.mm 2 core twisted pair pure copper noise free Zinc coated speaker cable laying with PVC conduit/casing capping with all accessories as per site requirement. | 1200.00 | Mtr. |  | 37.00 | 44400.00 | 46.00 | 55200.00 | 44400.00 | TNS Networking Solutions Pvt Ltd
1.14 | Supply of Rack : 24 U floor mount Rack with 6 sockets PDU,Support Angle_04 nos. ,Fan-02 nos. and mounting hardware etc. as per specifications. | 1.00 | Each |  | 23809.52 | 23809.52 | 15000.00 | 15000.00 | 15000.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
1.15 | Installation, Integration, Testing, Commissioning & Training of the whole PA system. | 1.00 | Job |  | 66666.00 | 66666.00 | 25000.00 | 25000.00 | 25000.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
2.00 | Total Capital Cost of Excluding GST
3.00 | Post warranty Comprehensive Annual Maintenance Contract (CAMC) for Three(03) years.
3.01 | CAMC charges for 1st Year | 1.00 | Job |  | 40623.00 | 40623.00 | 16000.00 | 16000.00 | 16000.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
3.02 | CAMC charges for 2nd Year | 1.00 | Job |  | 48748.00 | 48748.00 | 16000.00 | 16000.00 | 16000.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
3.03 | CAMC charges for 3rd Year | 1.00 | Job |  | 56872.00 | 56872.00 | 16000.00 | 16000.00 | 16000.00 | PADMANABH COMPLETE SOLUTIONS PVT LTD
4.00 | Total Cost of CAMC Excluding GST
| Total in Figures |  |  |  |  | 920176.52 |  | 499309.60
Lowest Amount Quoted BY: PADMANABH COMPLETE SOLUTIONS PVT LTD(499309.60)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Public Address System with 03 years On Site Warranty and 03 years CAMC with spares at Shrawasti Airport Tender ID: 2021_AAI_75549_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PADMANABH COMPLETE SOLUTIONS PVT LTD | 499309.60 | L1
| 2 | TNS Networking Solutions Pvt Ltd | 920176.52 | L2