## BoQ1
Government eProcurement System Created By: S.THIRVMAL MURUGAN Created Date/Time: 19-May-2021 04:58 PM Tender Title: ARMO E and M installations at Vijayawada Airport SH AMC with O M of fire detection alarm system 2021-23 Tender ID: 2021_AAI_75750_1
Tender Inviting Authority: Joint General Manager [Engg-E], AAI, Vijayawada Airport
Name of Work: ARMO E&M Installations at Vijayawada Airport. SH: AMC with O&M of Fire Detection, Alarm System (2021-23)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | SALIMAX SYSTEMS AND CONTROLS ENGG(GSTN-33AFKPR7224N1ZY) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation & maintenance of analogue addressable fire detection & alarm system with all accessories / units /wiring viz like Alarm Panels, detectors, hooters etc. for Terminal Building and Power house (as detailed in the inventory) including daily/ preventive / periodical / break down maintenance on all days excluding W/off etc complete as required as per the special condition of the contract excluding spare parts.
1.01 | a)2021-22 | 12.00 | MON |  | 31242.00 | 374904.00 | 40000.00 | 480000.00 | 40000.00 | 480000.00 | 29786.00 | 357432.00 | 37500.00 | 450000.00 | 357432.00 | Manish Electricals
1.02 | b)2022-23 | 12.00 | MON |  | 31242.00 | 374904.00 | 40000.00 | 480000.00 | 43000.00 | 516000.00 | 31786.00 | 381432.00 | 38500.00 | 462000.00 | 374904.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.00 | Job contract for maintenance of analogue NON- addressable fire detection & alarm system 4 Zone with all accessories / units /wiring for LLZ, DVOR,GP & CCR (as detailed in the inventory) including preventive / periodical / break down maintenance on monthly basis etc complete as required as per the special condition of the contract excluding spare parts.
2.01 | a)2021-22 | 12.00 | MON |  | 20000.00 | 240000.00 | 5000.00 | 60000.00 | 10000.00 | 120000.00 | 22000.00 | 264000.00 | 10000.00 | 120000.00 | 60000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.02 | b)2022-23 | 12.00 | Nos. |  | 20000.00 | 240000.00 | 5000.00 | 60000.00 | 11000.00 | 132000.00 | 25000.00 | 300000.00 | 11000.00 | 132000.00 | 60000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
3.00 | Supply of Notifier make Smoke Detector/MSD as per UL / LPCB / FM / EN-54 complete with all accessories like base etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required | 15.00 | EA |  | 9500.00 | 142500.00 | 3100.00 | 46500.00 | 3000.00 | 45000.00 | 3500.00 | 52500.00 | 3200.00 | 48000.00 | 45000.00 | CENTRE TAP ENGINEERING
4.00 | Supply of Notifier make Remote/Isolator module as per UL / LPCB / FM / EN-54 complete with all accessories like base etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required | 8.00 | EA |  | 3500.00 | 28000.00 | 2900.00 | 23200.00 | 2850.00 | 22800.00 | 4000.00 | 32000.00 | 3300.00 | 26400.00 | 22800.00 | CENTRE TAP ENGINEERING
5.00 | Supply of Notifier make MCP as per UL / LPCB / FM / EN-54 complete with all accessories like base etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required | 5.00 | EA |  | 3500.00 | 17500.00 | 3200.00 | 16000.00 | 4500.00 | 22500.00 | 3500.00 | 17500.00 | 3600.00 | 18000.00 | 16000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
6.00 | Supply of Response Indicator as per UL / LPCB / FM / EN-54 complete with all fixing accessories like base, etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required. | 5.00 | EA |  | 2565.00 | 12825.00 | 100.00 | 500.00 | 300.00 | 1500.00 | 2400.00 | 12000.00 | 200.00 | 1000.00 | 500.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
7.00 | Supplying and fixing of 20 mm medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit with extra bends on surface as required: | 100.00 | M |  | 70.00 | 7000.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 120.00 | 12000.00 | 200.00 | 20000.00 | 5000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG, CENTRE TAP ENGINEERING
8.00 | Supplying and drawing following sizes of HRFR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required: 2 x 1.5 sq. mm | 100.00 | M |  | 165.00 | 16500.00 | 83.00 | 8300.00 | 100.00 | 10000.00 | 160.00 | 16000.00 | 190.00 | 19000.00 | 8300.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
9.00 | Supplying and drawing following sizes of HRFR PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required: 4 x 1.5 sq. mm | 100.00 | M |  | 185.00 | 18500.00 | 83.00 | 8300.00 | 150.00 | 15000.00 | 250.00 | 25000.00 | 300.00 | 30000.00 | 8300.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
| Total in Figures |  |  |  |  | 1472633.00 |  | 1187800.00 |  | 1369800.00 |  | 1469864.00 |  | 1326400.00
Lowest Amount Quoted BY: SALIMAX SYSTEMS AND CONTROLS ENGG(1187800.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO E and M installations at Vijayawada Airport SH AMC with O M of fire detection alarm system 2021-23 Tender ID: 2021_AAI_75750_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SALIMAX SYSTEMS AND CONTROLS ENGG | 1187800.00 | L1
| 2 | Yash Energy Pvt. Ltd | 1326400.00 | L2
| 3 | CENTRE TAP ENGINEERING | 1369800.00 | L3
| 4 | Manish Electricals | 1469864.00 | L4
| 5 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 1472633.00 | L5