## BoQ1
Government eProcurement System Created By: UMESH KUMAR SINGH Created Date/Time: 09-Jun-2021 03:42 PM Tender Title: Replacement of ACs in offices at Surat Airport. Tender ID: 2021_AAI_75839_1
Tender Inviting Authority: SM (E-E), AAI, Surat Airport, Surat
Name of Work:Replacement of AC's in offices at Surat Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. PRANAM HVAC ENGINEERING PVT. LTD.(GSTN-24AAHCP2093C1ZP) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Taral Electricals(GSTN-24ACMPR0280M1Z9) |  | Manani Electricals(GSTN-27AFNPM3745C1ZE) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ARNAV ENGINEERING CONSULTANCY SERVICES(GSTN-07ABKFA7102Q1Z4) |  | Ganga Enterprises(GSTN-23EHHPS2413F1ZL) |  | LIFE STYLE INTERIORS(GSTN-08AEWPT8384E1ZJ) |  | AMI CONTROL SERVICES PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of BEE rated 5 star split type air conditioner with inverter type compressor,having minimum rated full load cooling capacity of 5kW with flexible loading mode, Copper condenser tube/coil, suitable for operation on single phase 230 +/- 10% volt, 50Hz AC power supply for out door & indoor unit, digital display panel at indoor unit and digital control with cordless remote for operation along with eco-friendly refrigerant, MS structure for mounting outdoor & indoor unit, including wiring with 3 x 2.5 sq.mm FR, PVC flexible copper cable between outdoor and indoor unit (approximate distance of 10 Ft) with minimum 10 ft refrigerant copper tubing between indoor and outdoor units. | 22.00 | Each |  | 39400.00 | 866800.00 | 34300.00 | 754600.00 | 36643.00 | 806146.00 | 34681.00 | 762982.00 | 38259.00 | 841698.00 | 36000.00 | 792000.00 | 37800.00 | 831600.00 | 36000.00 | 792000.00 | 33000.00 | 726000.00 | 36500.00 | 803000.00 | 726000.00 | LIFE STYLE INTERIORS
2.00 | SITC of BEE rated 5 star split type air conditioner with inverter type compressor, having minimum rated full load cooling capacity of 6kW with flexible loading mode, Copper condenser tube/coil, suitable for operation on single phase 230 +/- 10% volt, 50Hz AC power supply for out door & indoor unit, digital display panel at indoor unit and digital control with corded / cordless remote for operation along with eco-friendly refrigerant, MS structure for mounting outdoor & indoor unit, including wiring with 3 x 2.5 sq.mm FR, PVC flexible copper cable between outdoor and indoor unit (approximate distance of 10 mtr) with minimum with minimum 10 ft refrigerant copper tubing between indoor and outdoor units. | 4.00 | Each |  | 51450.00 | 205800.00 | 41750.00 | 167000.00 | 46510.00 | 186040.00 | 43165.00 | 172660.00 | 52000.00 | 208000.00 | 51500.00 | 206000.00 | 38600.00 | 154400.00 | 40000.00 | 160000.00 | 42000.00 | 168000.00 | 44500.00 | 178000.00 | 154400.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
3.00 | Providing and fixing of refrigerant copper tube for liquid line of size 3/8" dia and for gas line of size 5/8" dia including insulation etc. between indoor & outdoor unit complete as required. | 20.00 | Meter |  | 400.00 | 8000.00 | 740.00 | 14800.00 | 779.00 | 15580.00 | 967.00 | 19340.00 | 850.00 | 17000.00 | 750.00 | 15000.00 | 520.00 | 10400.00 | 300.00 | 6000.00 | 1000.00 | 20000.00 | 850.00 | 17000.00 | 6000.00 | Ganga Enterprises
4.00 | Providing and fixing of refrigerant copper tube for liquid line of size 1/4" dia and for gas line of size 1/2" dia including insulation etc. between indoor & outdoor unit complete as required. | 49.00 | Meter |  | 350.00 | 17150.00 | 740.00 | 36260.00 | 838.00 | 41062.00 | 1160.00 | 56840.00 | 1000.00 | 49000.00 | 600.00 | 29400.00 | 420.00 | 20580.00 | 300.00 | 14700.00 | 800.00 | 39200.00 | 750.00 | 36750.00 | 14700.00 | Ganga Enterprises
5.00 | Providing and fixing of 20mm dia UPVC drainage pipe for condensed water including insulation etc. complete as required. | 122.00 | Meter |  | 100.00 | 12200.00 | 125.00 | 15250.00 | 71.00 | 8662.00 | 155.00 | 18910.00 | 225.00 | 27450.00 | 100.00 | 12200.00 | 185.00 | 22570.00 | 50.00 | 6100.00 | 100.00 | 12200.00 | 150.00 | 18300.00 | 6100.00 | Ganga Enterprises
6.00 | Providing and fixing of 20mm dia flexible PVC drainage pipe for condensed water etc. complete as required. | 50.00 | Meter |  | 100.00 | 5000.00 | 85.00 | 4250.00 | 18.00 | 900.00 | 232.00 | 11600.00 | 165.00 | 8250.00 | 100.00 | 5000.00 | 85.00 | 4250.00 | 50.00 | 2500.00 | 60.00 | 3000.00 | 130.00 | 6500.00 | 900.00 | Taral Electricals
7.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
7.01 | 2 X 4 sq. mm + 1 x 4 sq.mm earth wire | 45.00 | Meter |  | 110.00 | 4950.00 | 115.00 | 5175.00 | 242.00 | 10890.00 | 141.00 | 6345.00 | 250.00 | 11250.00 | 174.00 | 7830.00 | 255.00 | 11475.00 | 300.00 | 13500.00 | 200.00 | 9000.00 | 185.00 | 8325.00 | 4950.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
8.00 | Supply and fixing of 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, metal cover for the socket out let etc. as required | 7.00 | Each |  | 300.00 | 2100.00 | 950.00 | 6650.00 | 774.00 | 5418.00 | 1475.00 | 10325.00 | 1000.00 | 7000.00 | 750.00 | 5250.00 | 1550.00 | 10850.00 | 500.00 | 3500.00 | 1200.00 | 8400.00 | 1050.00 | 7350.00 | 2100.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
9.00 | Supply, Installation, Testing & commissioning of fully stainless steel storage type water cooler of capacity 40/80 Ltr. suitable for single phase 230V ± 10, 50Hz AC supply as per OEM specification with inlet hose connection inbuilt float valve, 2 Nos. outlet faucet, drain pan with piping up to floor trap, suitable MS angle stand etc complete in all respect as required. (MAKE: Usha International, Voltas, Blue Star) | 2.00 | Each |  | 35000.00 | 70000.00 | 35000.00 | 70000.00 | 27795.00 | 55590.00 | 49440.00 | 98880.00 | 38500.00 | 77000.00 | 42500.00 | 85000.00 | 9500.00 | 19000.00 | 40000.00 | 80000.00 | 26500.00 | 53000.00 | 24525.00 | 49050.00 | 19000.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
10.00 | Dismantling of following type of air-conditiner unit including transporation of dismantled unit to the dismantled room.
10.01 | 1.5 Ton split AC | 6.00 | Job |  | 500.00 | 3000.00 | 800.00 | 4800.00 | 796.00 | 4776.00 | 590.00 | 3540.00 | 1000.00 | 6000.00 | 500.00 | 3000.00 | 800.00 | 4800.00 | 500.00 | 3000.00 | 1000.00 | 6000.00 | 950.00 | 5700.00 | 3000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD., Manish Electricals, Ganga Enterprises
10.02 | 1.5 Ton window AC | 4.00 | Job |  | 500.00 | 2000.00 | 800.00 | 3200.00 | 796.00 | 3184.00 | 591.00 | 2364.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 550.00 | 2200.00 | 2000.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD., Manish Electricals, ARNAV ENGINEERING CONSULTANCY SERVICES, Ganga Enterprises, LIFE STYLE INTERIORS
| Total in Figures |  |  |  |  | 1197000.00 |  | 1081985.00 |  | 1138248.00 |  | 1163786.00 |  | 1256648.00 |  | 1162680.00 |  | 1091925.00 |  | 1083300.00 |  | 1046800.00 |  | 1132175.00
Lowest Amount Quoted BY: LIFE STYLE INTERIORS(1046800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of ACs in offices at Surat Airport. Tender ID: 2021_AAI_75839_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LIFE STYLE INTERIORS | 1046800.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1081985.00 | L2
| 3 | Ganga Enterprises | 1083300.00 | L3
| 4 | ARNAV ENGINEERING CONSULTANCY SERVICES | 1091925.00 | L4
| 5 | AMI CONTROL SERVICES PVT LTD | 1132175.00 | L5
| 6 | Taral Electricals | 1138248.00 | L6
| 7 | Manish Electricals | 1162680.00 | L7
| 8 | Manani Electricals | 1163786.00 | L8
| 9 | M/s. PRANAM HVAC ENGINEERING PVT. LTD. | 1197000.00 | L9
| 10 | Techno Electricals | 1256648.00 | L10