## BoQ1
Government eProcurement System Created By: DEEPAK GARG Created Date/Time: 03-May-2021 04:17 PM Tender Title: Annual Operation and Maintenance contract of E and M installations at Lilabari Airport Tender ID: 2021_AAI_75918_1
Tender Inviting Authority: Sr. Manager (E-E), AAI, Lilabari Airport
Name of Work: Annual Operation & Maintenance contract of E&M installations at Lilabari Airport (2021-22)
Contract No: 2021_AAI_75918_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | SATYAJIT BORUAH(GSTN-18AGZPB7946B1Z1) |  | M/s North East Electricals(GSTN-18AGLPD8831B1ZJ) |  | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | M/s R.S. ENTERPRISE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: OPERATION & MAINTENANCE
1.10 | Operation & Maintenance of Electrical & Mechanical Installations at Lilabari Airport i/c all areas viz operational and Non-Operational area on all days (including sundays and holidays) on round the clock basis, which involves preventive maintenance, maintenance of records as per AAI/OEM requirement, attending day to day complaints, faults, ensuring 100% serviceability & satisfactory working condition of the installations. The agency is required to deploy minimum manpower in each shift as detailed in special conditions of contract, complete as required and as per direction of EIC. | 12.00 | Month |  | 273512.49 | 3282149.88 | 300000.00 | 3600000.00 | 210000.00 | 2520000.00 | 260000.00 | 3120000.00 | 292000.00 | 3504000.00 | 272800.00 | 3273600.00 | 276450.00 | 3317400.00 | 2520000.00 | SATYAJIT BORUAH
2.00 | SH:II PAINTING OF POLES, RUNWAY FITTINGS & REWINDING OF PUMPS
2.10 | Painting of Street Light poles of following sizes given below with min 2 coats of synthetic Enamel paint of Approved make/colour to give an even shade, including cleaning of surface, numbering & AAI Logo etc., as per the direction of EIC complete as required. Upto 3.5 mtr. Perimeter light poles. | 136.00 | Job |  | 271.95 | 36985.20 | 140.00 | 19040.00 | 100.00 | 13600.00 | 150.00 | 20400.00 | 300.00 | 40800.00 | 135.00 | 18360.00 | 116.00 | 15776.00 | 13600.00 | SATYAJIT BORUAH
2.20 | From 3.5 Mtr. to 4.5 mtr. street light/post top lantern poles. | 27.00 | Job |  | 271.95 | 7342.65 | 280.00 | 7560.00 | 100.00 | 2700.00 | 250.00 | 6750.00 | 400.00 | 10800.00 | 155.00 | 4185.00 | 130.00 | 3510.00 | 2700.00 | SATYAJIT BORUAH
2.30 | Beyond 4.5 Mtr to max 9.5 Sq.Mtr Poles with Single/double arm bracket. | 85.00 | Job |  | 451.50 | 38377.50 | 525.00 | 44625.00 | 100.00 | 8500.00 | 300.00 | 25500.00 | 650.00 | 55250.00 | 250.00 | 21250.00 | 261.00 | 22185.00 | 8500.00 | SATYAJIT BORUAH
2.40 | Painting of following GLF fittings with min two coats of synthetic enamel paint of Approved make/colour to give an even shade, including cleaning of surface, numbering etc. complete as required & as per direction of EIC.
2.50 | GLF i/c RWY End, Edge, Taxi, Threshold light fixtures etc. | 160.00 | Job |  | 180.00 | 28800.00 | 350.00 | 56000.00 | 80.00 | 12800.00 | 100.00 | 16000.00 | 250.00 | 40000.00 | 100.00 | 16000.00 | 145.00 | 23200.00 | 12800.00 | SATYAJIT BORUAH
2.60 | Lifting and lowering of different size submersible pumps i/c necessary connections (electrical & pipe line) dismantling of defective submersible pump set and reinstallion of repaired pump complete as required and as per direction of EIC. | 4.00 | Job |  | 4410.00 | 17640.00 | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 6000.00 | 24000.00 | 3000.00 | 12000.00 | 8000.00 | 32000.00 | 1455.00 | 5820.00 | 5820.00 | M/s R.S. ENTERPRISE
2.70 | Repairing/Rewinding of single/three phase monoblock / submersible pumps (above mentioned) by replacement of defective bushes, bearings, impellers, water seals, gasket, shaft etc. complete as required (Old dismantled copper winding material may be retained by agency).
2.80 | Upto & i/c 10HP | 4.00 | Job |  | 12800.00 | 51200.00 | 7000.00 | 28000.00 | 4000.00 | 16000.00 | 8500.00 | 34000.00 | 6000.00 | 24000.00 | 18000.00 | 72000.00 | 2910.00 | 11640.00 | 11640.00 | M/s R.S. ENTERPRISE
3.00 | SH:III SERVICING, CALIBRATION OF RELAYS & OIL FILTRATION
3.10 | Servicing, Checking and testing of 3 Ph 11KV 630A HT Oil Circuit Breaker (OCB) including testing of connected CTs & PTs, minor repairing works complete as required including submission of test report from OEM approved labs. (Testing as per OEM standards followed with submission of test report). Make: Alstom | 4.00 | Job |  | 12600.00 | 50400.00 | 7000.00 | 28000.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 8500.00 | 34000.00 | 970.00 | 3880.00 | 3880.00 | M/s R.S. ENTERPRISE
3.20 | Overhauling & servicing of following capacity ACBs through OEM/authorized service centre of OEM alongwith servicing/testing of all protection relays, testing of protection release of ACBs through secondary injection method where ever applicable, checking of IR value, functional check of all relays, cleaning of all contacts and carrying out all other necessary maintenance works as per OEM's standard. Make: GE power, capacity: upto & i/c 1600A | 8.00 | Job |  | 12600.00 | 100800.00 | 5250.00 | 42000.00 | 9000.00 | 72000.00 | 4000.00 | 32000.00 | 6000.00 | 48000.00 | 7500.00 | 60000.00 | 1940.00 | 15520.00 | 15520.00 | M/s R.S. ENTERPRISE
3.30 | Servicing, Testing and Calibration of over load and earth fault relays through secondary injection kit including testing of CT / PT etc as per OEM's standard and as per special conditions of contract complete as required. (1set =2no.O/L, 1 no-E/F, 1- auxiliary relay) i/c submission of test reports. | 6.00 | Set |  | 7350.00 | 44100.00 | 7000.00 | 42000.00 | 8000.00 | 48000.00 | 5000.00 | 30000.00 | 5000.00 | 30000.00 | 6500.00 | 39000.00 | 1455.00 | 8730.00 | 8730.00 | M/s R.S. ENTERPRISE
3.40 | Servicing, Testing and Calibration of transformer protection alarm and trip relays of out going transformers as per OEM's standard and as per special conditions of contract complete as required i/c submission of test reports. | 2.00 | Set |  | 7350.00 | 14700.00 | 10500.00 | 21000.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 1940.00 | 3880.00 | 3880.00 | M/s R.S. ENTERPRISE
3.50 | Dehydration/filtration of transformer oil by heat treatment method till transformer oil attains specified BDV as per IS including conducting BDV test before and after filtration complete as required i/c submission of test report. | 1500.00 | Ltrs. |  | 21.00 | 31500.00 | 21.00 | 31500.00 | 140.00 | 210000.00 | 35.00 | 52500.00 | 30.00 | 45000.00 | 18.00 | 27000.00 | 145.00 | 217500.00 | 27000.00 | ABHISHEK INTEGRATIONS LIMITED
3.60 | Supply of Insulating Transformer Oil confirming to IS 335:1993 with latest amendments | 100.00 | Ltrs. |  | 155.14 | 15514.00 | 98.00 | 9800.00 | 250.00 | 25000.00 | 150.00 | 15000.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 106.00 | 10600.00 | 9800.00 | SHREE GOURI ELECTRIC ENTERPRISE
3.70 | Supplying of Silica gel for transformer breather. | 1.00 | Kg |  | 399.00 | 399.00 | 700.00 | 700.00 | 2000.00 | 2000.00 | 200.00 | 200.00 | 450.00 | 450.00 | 240.00 | 240.00 | 970.00 | 970.00 | 200.00 | M/s North East Electricals
4.00 | SH: IV (Lighting Decoration work)
4.10 | Provision of decorative lighting on temporary basis in tri-colors i.e Green, White & Saffron on the Facia of Terminal Building, Technical building and other ancillary buildings of Lilabari Airport with LED series lighting of high lumen in all areas (max. 120Mtr length) on the occasion of Independence/Republic day having uniform spacing of rows not more than 0.75 mtrs. for min 03 days period as per the direction of EIC. The facades lighting should be enhanced with tri-color flood lights complete as required & as per the direction of EIC. | 2.00 | Job |  | 12500.00 | 25000.00 | 35000.00 | 70000.00 | 50000.00 | 100000.00 | 24000.00 | 48000.00 | 10000.00 | 20000.00 | 45000.00 | 90000.00 | 20952.00 | 41904.00 | 20000.00 | EASTERN POWER ENGINEERING
4.20 | Providing tri-colored Arch for entrance gates, main Airport entrance, Terminal building entrance: Tricolor (saffron, white and Green) cloth decoration along with Tri-color balloons. | 2.00 | Job |  | 8400.00 | 16800.00 | 10500.00 | 21000.00 | 40000.00 | 80000.00 | 6500.00 | 13000.00 | 5000.00 | 10000.00 | 36500.00 | 73000.00 | 9700.00 | 19400.00 | 10000.00 | EASTERN POWER ENGINEERING
4.30 | Making videography of all the decoration made highlighting the theme of min 5 min duration & submit the soft copy in pen drive to EIC complete as desired. | 2.00 | Job |  | 525.00 | 1050.00 | 17500.00 | 35000.00 | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 5200.00 | 10400.00 | 485.00 | 970.00 | 970.00 | M/s R.S. ENTERPRISE
5.00 | SH:V SUPPLY OF SPARES
5.10 | Supplying of following sizes ISI marked PVC insulated, Single core, FRLS grade strandard copper cables of 1.1 KV grade confirming to relevant IS of standard length etc as required
5.20 | 1.5 Sq. mm | 450.00 | Mtrs |  | 15.75 | 7087.50 | 17.00 | 7650.00 | 20.00 | 9000.00 | 15.00 | 6750.00 | 17.00 | 7650.00 | 25.00 | 11250.00 | 17.00 | 7650.00 | 6750.00 | M/s North East Electricals
5.30 | 2.5 Sq. mm | 360.00 | Mtrs |  | 26.35 | 9486.00 | 21.00 | 7560.00 | 35.00 | 12600.00 | 20.00 | 7200.00 | 28.00 | 10080.00 | 40.00 | 14400.00 | 27.00 | 9720.00 | 7200.00 | M/s North East Electricals
5.40 | 4 Sq. mm. | 270.00 | Mtrs |  | 38.74 | 10459.80 | 28.00 | 7560.00 | 50.00 | 13500.00 | 40.00 | 10800.00 | 39.00 | 10530.00 | 69.00 | 18630.00 | 41.00 | 11070.00 | 7560.00 | SHREE GOURI ELECTRIC ENTERPRISE
6.00 | Supplying of following sizes ISI marked PVC insulated, Multi core, FRLS grade strandard copper cables/wires of 1.1 KV grade confirming to relevant IS etc. as required
6.10 | 2 X 1.5 Sq. mm | 200.00 | Mtrs |  | 40.32 | 8064.00 | 35.00 | 7000.00 | 50.00 | 10000.00 | 30.00 | 6000.00 | 53.00 | 10600.00 | 57.00 | 11400.00 | 30.00 | 6000.00 | 6000.00 | M/s North East Electricals, M/s R.S. ENTERPRISE
6.20 | 3 X 1.5 Sq. mm | 200.00 | Mtrs |  | 56.95 | 11390.00 | 52.00 | 10400.00 | 65.00 | 13000.00 | 45.00 | 9000.00 | 67.00 | 13400.00 | 77.00 | 15400.00 | 50.00 | 10000.00 | 9000.00 | M/s North East Electricals
6.30 | 4 X 4 Sq. mm | 100.00 | Mtrs |  | 182.59 | 18259.00 | 112.00 | 11200.00 | 100.00 | 10000.00 | 160.00 | 16000.00 | 90.00 | 9000.00 | 240.00 | 24000.00 | 70.00 | 7000.00 | 7000.00 | M/s R.S. ENTERPRISE
7.00 | Supplying of following rating, 240/415 volts, "C" curve, Miniature Circuit Breaker (MCB) suitable for inductive load etc., as required.
7.10 | 6 amps. to 32 amps. ratings , SP MCB, “C” curve, 10 KA breaking capacity | 80.00 | Each |  | 116.55 | 9324.00 | 126.00 | 10080.00 | 120.00 | 9600.00 | 170.00 | 13600.00 | 215.00 | 17200.00 | 145.00 | 11600.00 | 175.00 | 14000.00 | 9324.00 | sudarshnacoolingcentre andelectricals
7.20 | 40A, FP MCB | 5.00 | Each |  | 1254.75 | 6273.75 | 630.00 | 3150.00 | 1200.00 | 6000.00 | 1600.00 | 8000.00 | 1500.00 | 7500.00 | 1185.00 | 5925.00 | 550.00 | 2750.00 | 2750.00 | M/s R.S. ENTERPRISE
8.00 | Supply of following switchs, sockets etc., and other miscellaneous items
8.01 | 6 A Piano Type one way switch | 100.00 | Each |  | 11.55 | 1155.00 | 28.00 | 2800.00 | 20.00 | 2000.00 | 15.00 | 1500.00 | 25.00 | 2500.00 | 17.00 | 1700.00 | 210.00 | 21000.00 | 1155.00 | sudarshnacoolingcentre andelectricals
8.02 | 6 A 5-Pin Piano Type Socket | 100.00 | Each |  | 22.05 | 2205.00 | 42.00 | 4200.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 35.00 | 3500.00 | 30.00 | 3000.00 | 20.00 | 2000.00 | 2000.00 | M/s R.S. ENTERPRISE
8.03 | 16 A 3-Pin Piano socket | 20.00 | Each |  | 57.75 | 1155.00 | 60.00 | 1200.00 | 50.00 | 1000.00 | 75.00 | 1500.00 | 75.00 | 1500.00 | 65.00 | 1300.00 | 20.00 | 400.00 | 400.00 | M/s R.S. ENTERPRISE
8.04 | 16 A Piano Switch | 30.00 | Each |  | 55.65 | 1669.50 | 56.00 | 1680.00 | 40.00 | 1200.00 | 70.00 | 2100.00 | 28.00 | 840.00 | 67.00 | 2010.00 | 85.00 | 2550.00 | 840.00 | EASTERN POWER ENGINEERING
8.05 | 5/10 A one way Modular switch | 20.00 | Each |  | 31.50 | 630.00 | 84.00 | 1680.00 | 30.00 | 600.00 | 30.00 | 600.00 | 35.00 | 700.00 | 52.00 | 1040.00 | 30.00 | 600.00 | 600.00 | SATYAJIT BORUAH, M/s North East Electricals, M/s R.S. ENTERPRISE
8.06 | 6 A 3-pin Modular socket | 20.00 | Each |  | 57.55 | 1151.00 | 105.00 | 2100.00 | 35.00 | 700.00 | 50.00 | 1000.00 | 41.00 | 820.00 | 52.00 | 1040.00 | 72.00 | 1440.00 | 700.00 | SATYAJIT BORUAH
8.07 | 3-pin 6A Top | 20.00 | Each |  | 42.00 | 840.00 | 35.00 | 700.00 | 30.00 | 600.00 | 60.00 | 1200.00 | 65.00 | 1300.00 | 50.00 | 1000.00 | 70.00 | 1400.00 | 600.00 | SATYAJIT BORUAH
8.08 | 3-pin 16A Top | 20.00 | Each |  | 54.60 | 1092.00 | 35.00 | 700.00 | 60.00 | 1200.00 | 70.00 | 1400.00 | 75.00 | 1500.00 | 70.00 | 1400.00 | 50.00 | 1000.00 | 700.00 | SHREE GOURI ELECTRIC ENTERPRISE
8.09 | Angle Holder | 50.00 | Each |  | 31.50 | 1575.00 | 28.00 | 1400.00 | 25.00 | 1250.00 | 30.00 | 1500.00 | 35.00 | 1750.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 1250.00 | SATYAJIT BORUAH
8.10 | Batten Holder | 50.00 | Each |  | 31.50 | 1575.00 | 28.00 | 1400.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 35.00 | 1750.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 1400.00 | SHREE GOURI ELECTRIC ENTERPRISE
8.11 | 6/16A Combined Switch and Socket with plastic Box (two fixing holes) | 50.00 | Each |  | 111.30 | 5565.00 | 245.00 | 12250.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 35.00 | 1750.00 | 125.00 | 6250.00 | 170.00 | 8500.00 | 1750.00 | EASTERN POWER ENGINEERING
9.00 | Ding Dong (poliphonic) call bell suitable to operate on 230V, 50Hz, AC supply etc complete as required. | 20.00 | Each |  | 107.10 | 2142.00 | 210.00 | 4200.00 | 250.00 | 5000.00 | 200.00 | 4000.00 | 190.00 | 3800.00 | 134.00 | 2680.00 | 145.00 | 2900.00 | 2142.00 | sudarshnacoolingcentre andelectricals
10.00 | Supply of 2.5 mfd fan capacitor | 10.00 | Each |  | 26.25 | 262.50 | 49.00 | 490.00 | 40.00 | 400.00 | 30.00 | 300.00 | 36.00 | 360.00 | 30.00 | 300.00 | 45.00 | 450.00 | 262.50 | sudarshnacoolingcentre andelectricals
11.00 | Supply of following capacity PVC Board, Casing Caping etc. as required.
11.10 | PVC Casing Caping of 25 mm x 12 mm x 2000mm size | 100.00 | Each |  | 54.60 | 5460.00 | 35.00 | 3500.00 | 80.00 | 8000.00 | 80.00 | 8000.00 | 56.00 | 5600.00 | 55.00 | 5500.00 | 65.00 | 6500.00 | 3500.00 | SHREE GOURI ELECTRIC ENTERPRISE
11.20 | PVC Switch Board 4 x 4 | 60.00 | Each |  | 38.85 | 2331.00 | 35.00 | 2100.00 | 80.00 | 4800.00 | 40.00 | 2400.00 | 62.00 | 3720.00 | 28.00 | 1680.00 | 40.00 | 2400.00 | 1680.00 | ABHISHEK INTEGRATIONS LIMITED
11.30 | PVC Switch Board 7 x 4 | 60.00 | Each |  | 59.85 | 3591.00 | 52.00 | 3120.00 | 90.00 | 5400.00 | 50.00 | 3000.00 | 85.00 | 5100.00 | 38.00 | 2280.00 | 70.00 | 4200.00 | 2280.00 | ABHISHEK INTEGRATIONS LIMITED
11.40 | PVC Switch Board 8 x 6 | 60.00 | Each |  | 78.75 | 4725.00 | 84.00 | 5040.00 | 100.00 | 6000.00 | 60.00 | 3600.00 | 115.00 | 6900.00 | 63.00 | 3780.00 | 75.00 | 4500.00 | 3600.00 | M/s North East Electricals
12.00 | Sypply of 36W Electronic Ballast, 240V / 415V 50Hz AC supply etc as required. | 60.00 | Each |  | 99.75 | 5985.00 | 350.00 | 21000.00 | 300.00 | 18000.00 | 150.00 | 9000.00 | 120.00 | 7200.00 | 123.00 | 7380.00 | 125.00 | 7500.00 | 5985.00 | sudarshnacoolingcentre andelectricals
13.00 | Supply of Fan Regulator two module type (Electronic/step/dimmer Type) suitable for operation on 240V 50Hz AC supply etc as required. | 20.00 | Each |  | 257.25 | 5145.00 | 280.00 | 5600.00 | 300.00 | 6000.00 | 210.00 | 4200.00 | 165.00 | 3300.00 | 211.00 | 4220.00 | 440.00 | 8800.00 | 3300.00 | EASTERN POWER ENGINEERING
14.00 | Supply of following 2 pin 9W LED light suitable for operation on 230 V, 50Hz, AC as required. | 100.00 | Each |  | 84.00 | 8400.00 | 105.00 | 10500.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 145.00 | 14500.00 | 115.00 | 11500.00 | 30.00 | 3000.00 | 3000.00 | M/s R.S. ENTERPRISE
15.00 | Single phase class 1 base mounting Energy Meter ( KWH meter) with LCD display, 5-30 Amp without optical port as per approved make). | 60.00 | Each |  | 488.25 | 29295.00 | 1200.00 | 72000.00 | 1000.00 | 60000.00 | 1200.00 | 72000.00 | 1200.00 | 72000.00 | 1350.00 | 81000.00 | 940.00 | 56400.00 | 29295.00 | sudarshnacoolingcentre andelectricals
16.00 | Supply of following capacity capacitors as required.
16.10 | 3 KVAr Heavy duty (compatible with APFC panel) | 2.00 | Each |  | 693.00 | 1386.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 900.00 | 1800.00 | 120.00 | 240.00 | 695.00 | 1390.00 | 1540.00 | 3080.00 | 240.00 | EASTERN POWER ENGINEERING
16.20 | 5KVAr Heavy duty (compatible with APFC panel) | 2.00 | Each |  | 1155.00 | 2310.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 130.00 | 260.00 | 1175.00 | 2350.00 | 2200.00 | 4400.00 | 260.00 | EASTERN POWER ENGINEERING
16.30 | 7.5 KVAr Heavy duty (compatible with APFC panel) | 2.00 | Each |  | 1732.50 | 3465.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 150.00 | 300.00 | 1698.00 | 3396.00 | 4000.00 | 8000.00 | 300.00 | EASTERN POWER ENGINEERING
17.00 | Supply of loop in loop out/junction Box with all accessories etc. complete as required. | 25.00 | Each |  | 367.50 | 9187.50 | 6000.00 | 150000.00 | 500.00 | 12500.00 | 600.00 | 15000.00 | 250.00 | 6250.00 | 1265.00 | 31625.00 | 10.00 | 250.00 | 250.00 | M/s R.S. ENTERPRISE
18.00 | Supply of following capacity Al. lugs etc. as required.
18.10 | 16 Sq. mm tinned tubular type | 5.00 | Each |  | 3.51 | 17.55 | 25.00 | 125.00 | 5.00 | 25.00 | 5.00 | 25.00 | 15.00 | 75.00 | 5.00 | 25.00 | 9.00 | 45.00 | 17.55 | sudarshnacoolingcentre andelectricals
18.20 | 25 Sq. mm tinned tubular type | 5.00 | Each |  | 4.88 | 24.40 | 40.00 | 200.00 | 7.00 | 35.00 | 6.00 | 30.00 | 18.00 | 90.00 | 6.50 | 32.50 | 13.00 | 65.00 | 24.40 | sudarshnacoolingcentre andelectricals
18.30 | 50 Sq. mm tinned tubular type | 5.00 | Each |  | 8.90 | 44.50 | 60.00 | 300.00 | 8.00 | 40.00 | 10.00 | 50.00 | 25.00 | 125.00 | 9.90 | 49.50 | 15.00 | 75.00 | 40.00 | SATYAJIT BORUAH
18.40 | 70 Sq. mm tinned tubular type | 3.00 | Each |  | 13.65 | 40.95 | 75.00 | 225.00 | 10.00 | 30.00 | 15.00 | 45.00 | 32.00 | 96.00 | 16.40 | 49.20 | 22.00 | 66.00 | 30.00 | SATYAJIT BORUAH
18.50 | 120 Sq. mm tinned tubular type | 3.00 | Each |  | 20.47 | 61.41 | 120.00 | 360.00 | 12.00 | 36.00 | 40.00 | 120.00 | 40.00 | 120.00 | 24.00 | 72.00 | 30.00 | 90.00 | 36.00 | SATYAJIT BORUAH
18.60 | 150 Sq. mm tinned tubular type | 3.00 | Each |  | 26.67 | 80.01 | 150.00 | 450.00 | 15.00 | 45.00 | 60.00 | 180.00 | 60.00 | 180.00 | 31.00 | 93.00 | 45.00 | 135.00 | 45.00 | SATYAJIT BORUAH
18.70 | 185 Sq. mm tinned tubular type | 3.00 | Each |  | 33.07 | 99.21 | 200.00 | 600.00 | 15.00 | 45.00 | 70.00 | 210.00 | 75.00 | 225.00 | 38.00 | 114.00 | 75.00 | 225.00 | 45.00 | SATYAJIT BORUAH
18.80 | 240 Sq. mm tinned tubular type | 3.00 | Each |  | 56.91 | 170.73 | 250.00 | 750.00 | 20.00 | 60.00 | 120.00 | 360.00 | 90.00 | 270.00 | 65.00 | 195.00 | 110.00 | 330.00 | 60.00 | SATYAJIT BORUAH
19.00 | Supply of following capacity Cu. lugs etc. complete as required.
19.10 | 10 Sq. mm tinned tubular type | 5.00 | Each |  | 8.08 | 40.40 | 25.00 | 125.00 | 10.00 | 50.00 | 15.00 | 75.00 | 50.00 | 250.00 | 14.10 | 70.50 | 95.00 | 475.00 | 40.40 | sudarshnacoolingcentre andelectricals
19.20 | 16 Sq. mm tinned tubular type | 5.00 | Each |  | 10.65 | 53.25 | 50.00 | 250.00 | 20.00 | 100.00 | 20.00 | 100.00 | 60.00 | 300.00 | 16.60 | 83.00 | 130.00 | 650.00 | 53.25 | sudarshnacoolingcentre andelectricals
19.30 | 25 Sq. mm tinned tubular type | 5.00 | Each |  | 17.58 | 87.90 | 75.00 | 375.00 | 25.00 | 125.00 | 30.00 | 150.00 | 70.00 | 350.00 | 22.00 | 110.00 | 160.00 | 800.00 | 87.90 | sudarshnacoolingcentre andelectricals
19.40 | 95 Sq. mm tinned tubular type | 3.00 | Each |  | 62.26 | 186.78 | 120.00 | 360.00 | 30.00 | 90.00 | 80.00 | 240.00 | 75.00 | 225.00 | 90.00 | 270.00 | 220.00 | 660.00 | 90.00 | SATYAJIT BORUAH
20.00 | SH:V DSR WORKS
20.10 | To carry out items listed in CPWD schedule of rates DSR (E&M) 2018 as per CPWD specifications. Agency has to quote in % of DSR rates against this item. The amount considered is Rs. 2,00,000/- | 200000.00 | Rs. |  | .68 | 136000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 1.10 | 220000.00 | .70 | 140000.00 | 1.00 | 200000.00 | .92 | 184000.00 | 136000.00 | sudarshnacoolingcentre andelectricals
| Total in Figures |  |  |  |  | 4082306.87 |  | 4655605.00 |  | 3633631.00 |  | 3939885.00 |  | 4270006.00 |  | 4290624.70 |  | 4132961.00
Lowest Amount Quoted BY: SATYAJIT BORUAH(3633631.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance contract of E and M installations at Lilabari Airport Tender ID: 2021_AAI_75918_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SATYAJIT BORUAH | 3633631.00 | L1
| 2 | M/s North East Electricals | 3939885.00 | L2
| 3 | sudarshnacoolingcentre andelectricals | 4082306.87 | L3
| 4 | M/s R.S. ENTERPRISE | 4132961.00 | L4
| 5 | EASTERN POWER ENGINEERING | 4270006.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED | 4290624.70 | L6
| 7 | SHREE GOURI ELECTRIC ENTERPRISE | 4655605.00 | L7