## BoQ1
Government eProcurement System Created By: Ravindra Nandurkar Created Date/Time: 17-May-2021 05:32 PM Tender Title: Annual Maintenance Contract of Fire Hydrant System and Fire alarm and detection system at ATS Complex and Nav-Aids in Operational area at C.S.M.I. Airport, Mumbai for the year 2021-22 to 2022-23 Tender ID: 2021_AAI_75961_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "A.R.M.O. of Electrical & Mechanical installations at Mumbai Airport for the Year 2021-22 to 2022-23. SH: Annual Maintenance Contract of Fire Hydrant System and Fire alarm & detection system at ATS Complex and Nav-Aids in Operational area at C.S.M.I. Airport, Mumbai for the year 2021-22 to 2022-23."
Contract No: MUM/ATS/ENGG-E/eNIT-01/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Reliance Fire Protection Systems(GSTN-27AEUPM3100KZ1B) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Annual Maintenance of Fire Hydrant System & water supply system including all Fire Pumps, water supply pumps, Internal and External hydrants, all Valves, Hose Reels, Hose Boxes, Control Panel, Diesel engine pump (excluding diesel engine). Work also includes Maintenance of the 01 nos. jockey pump, 01 nos. Main pump & 05 nos. water supply pumps including replacement of bearings, mechanical seals, couplings, foot valve, gaskets etc. (excluding major over-hauling and rewinding) as specified in the special conditions. Replacement of the faulty pressure gauge, pressure switches, necessary wiring, Electrical panels of the Fire Hydrant pumping system complete including minor repair works (excluding spare parts), preventive maintenance as per annex- I, attending the complaints / faults / breakdowns and taking rectification action to ensure serviceability & satisfactory working condition of the system to maintain water pressure as per firefighting standards and maintaining of records documentations etc. on all days including Saturdays, Sundays & Holidays as per the details, specifications, terms and conditions of the contract complete as required. a) First Year | 12.00 | Month |  | 26100.00 | 313200.00 | 20000.00 | 240000.00 | 21786.00 | 261432.00 | 240000.00 | CENTRE TAP ENGINEERING
1.02 | Annual Maintenance of Fire Hydrant System & water supply system including all Fire Pumps, water supply pumps, Internal and External hydrants, all Valves, Hose Reels, Hose Boxes, Control Panel, Diesel engine pump (excluding diesel engine). Work also includes Maintenance of the 01 nos. jockey pump, 01 nos. Main pump & 05 nos. water supply pumps including replacement of bearings, mechanical seals, couplings, foot valve, gaskets etc. (excluding major over-hauling and rewinding) as specified in the special conditions. Replacement of the faulty pressure gauge, pressure switches, necessary wiring, Electrical panels of the Fire Hydrant pumping system complete including minor repair works (excluding spare parts), preventive maintenance as per annex- I, attending the complaints / faults / breakdowns and taking rectification action to ensure serviceability & satisfactory working condition of the system to maintain water pressure as per firefighting standards and maintaining of records documentations etc. on all days including Saturdays, Sundays & Holidays as per the details, specifications, terms and conditions of the contract complete as required. b) Second Year | 12.00 | Month |  | 26100.00 | 313200.00 | 22000.00 | 264000.00 | 26786.00 | 321432.00 | 264000.00 | CENTRE TAP ENGINEERING
2.01 | Re-Painting of complete Fire Hydrant System including exposed Fire Hydrant water pipelines, Pumps, Hose Boxes, Hydrants, Sluice Valves, Non-Return Valves, main electrical control panel etc. complete by one coat of synthetic enamel paint of approved brand and colour. For corroded area cleaning the surface emery paper applying one coat of red oxide and two coat of synthetic enamel paint and numbering & marking of Hose boxes and writing the names on the pumps with the paint etc. complete as required as per the direction of Engineer-in-charge. a) First Year | 1.00 | Job |  | 69600.00 | 69600.00 | 30000.00 | 30000.00 | 15000.00 | 15000.00 | 15000.00 | Manish Electricals
2.02 | Re-Painting of complete Fire Hydrant System including exposed Fire Hydrant water pipelines, Pumps, Hose Boxes, Hydrants, Sluice Valves, Non-Return Valves, main electrical control panel etc. complete by one coat of synthetic enamel paint of approved brand and colour. For corroded area cleaning the surface emery paper applying one coat of red oxide and two coat of synthetic enamel paint and numbering & marking of Hose boxes and writing the names on the pumps with the paint etc. complete as required as per the direction of Engineer-in-charge. b) Second Year | 1.00 | Job |  | 74820.00 | 74820.00 | 33000.00 | 33000.00 | 18000.00 | 18000.00 | 18000.00 | Manish Electricals
3.01 | Providing, fixing, jointing and testing of Class "C" MS heavy duty Pipe IS:1239 / 3589 marked (as per the Approved make), with accessories like tees, elbows, flanged joints, reducers, compressed asbestos gaskets, nuts and bolts including fixing the pipe with suitable flat iron strip clamps/bracket, painting etc. complete as required for delivery/suction manifold relating to the pumps including painting of one coat of enamel and two coats of Red Oxide including all required support structure of MS angle/ civil breakages and making good the same. The job includes dismantling of existing pipes. a) 150 mm. dia. | 30.00 | Meter |  | 1392.00 | 41760.00 | 1500.00 | 45000.00 | 2100.00 | 63000.00 | 41760.00 | Reliance Fire Protection Systems
3.02 | Providing, fixing, jointing and testing of Class "C" MS heavy duty Pipe IS:1239 / 3589 marked (as per the Approved make), with accessories like tees, elbows, flanged joints, reducers, compressed asbestos gaskets, nuts and bolts including fixing the pipe with suitable flat iron strip clamps/bracket, painting etc. complete as required for delivery/suction manifold relating to the pumps including painting of one coat of enamel and two coats of Red Oxide including all required support structure of MS angle/ civil breakages and making good the same. The job includes dismantling of existing pipes. b) 100 mm. dia. | 10.00 | Meter |  | 1044.00 | 10440.00 | 1000.00 | 10000.00 | 1700.00 | 17000.00 | 10000.00 | CENTRE TAP ENGINEERING
3.03 | Providing, fixing, jointing and testing of Class "C" MS heavy duty Pipe IS:1239 / 3589 marked (as per the Approved make), with accessories like tees, elbows, flanged joints, reducers, compressed asbestos gaskets, nuts and bolts including fixing the pipe with suitable flat iron strip clamps/bracket, painting etc. complete as required for delivery/suction manifold relating to the pumps including painting of one coat of enamel and two coats of Red Oxide including all required support structure of MS angle/ civil breakages and making good the same. The job includes dismantling of existing pipes. c) 80 mm. dia. | 10.00 | Meter |  | 87.00 | 870.00 | 800.00 | 8000.00 | 1200.00 | 12000.00 | 870.00 | Reliance Fire Protection Systems
4.01 | Servicing of the Diesel engine (Kirloskar make 100 BHP Kirloskar make diesel engine (Engine Type: RB66TC)) from OEM or authorised service partner of OEM as per manufacturer's recommendations including carrying out routine maintenance and attending complaints etc. complete as required. a) First Year | 12.00 | Month |  | 3045.00 | 36540.00 | 1500.00 | 18000.00 | 5000.00 | 60000.00 | 18000.00 | CENTRE TAP ENGINEERING
4.02 | Servicing of the Diesel engine (Kirloskar make 100 BHP Kirloskar make diesel engine (Engine Type: RB66TC)) from OEM or authorised service partner of OEM as per manufacturer's recommendations including carrying out routine maintenance and attending complaints etc. complete as required. b) Second Year | 12.00 | Month |  | 3480.00 | 41760.00 | 1500.00 | 18000.00 | 6000.00 | 72000.00 | 18000.00 | CENTRE TAP ENGINEERING
5.01 | Supply of spares for 100 BHP diesel engine Kirloskar make diesel engine (Engine Type: RB66TC) from OEM or authorised service partner of OEM a) KOEL CARE Premium Genuine Oil 20 Liters CAN | 4.00 | Each |  | 5655.00 | 22620.00 | 4000.00 | 16000.00 | 9000.00 | 36000.00 | 16000.00 | CENTRE TAP ENGINEERING
5.02 | Supply of spares for 100 BHP diesel engine Kirloskar make diesel engine (Engine Type: RB66TC) from OEM or authorised service partner of OEM b) LUBE OIL FILTER ELEMENT | 4.00 | Each |  | 3915.00 | 15660.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 2000.00 | Manish Electricals
5.03 | Supply of spares for 100 BHP diesel engine Kirloskar make diesel engine (Engine Type: RB66TC) from OEM or authorised service partner of OEM c) FUEL FILTER KIT 1.1 LTR | 4.00 | Each |  | 2784.00 | 11136.00 | 1000.00 | 4000.00 | 500.00 | 2000.00 | 2000.00 | Manish Electricals
5.04 | Supply of spares for 100 BHP diesel engine Kirloskar make diesel engine (Engine Type: RB66TC) from OEM or authorised service partner of OEM d) KOEL CARE GENUINE COOLANT PREMIX 26 LITRE CAN | 4.00 | Each |  | 2175.00 | 8700.00 | 5000.00 | 20000.00 | 2000.00 | 8000.00 | 8000.00 | Manish Electricals
6.01 | Re-winding of the fire pump's motor, work includes dismantling of the existing motor, shifting/transportation from site to workshop & return back after rewinding, installation testing & commissioning. Rewinding is to be carried out by the OEM or its authorized service agency as per the actual motor capacity (i.e. winding type & specifications, voltage, speed, capacity etc). Dismantled material belongs to agency. a) Water supply pump motor, 5 HP | 1.00 | Each |  | 1740.00 | 1740.00 | 3000.00 | 3000.00 | 12000.00 | 12000.00 | 1740.00 | Reliance Fire Protection Systems
6.02 | Re-winding of the fire pump's motor, work includes dismantling of the existing motor, shifting/transportation from site to workshop & return back after rewinding, installation testing & commissioning. Rewinding is to be carried out by the OEM or its authorized service agency as per the actual motor capacity (i.e. winding type & specifications, voltage, speed, capacity etc). Dismantled material belongs to agency. b) Water supply pump motor, 7.5 HP | 1.00 | Each |  | 2610.00 | 2610.00 | 5000.00 | 5000.00 | 14000.00 | 14000.00 | 2610.00 | Reliance Fire Protection Systems
6.03 | Re-winding of the fire pump's motor, work includes dismantling of the existing motor, shifting/transportation from site to workshop & return back after rewinding, installation testing & commissioning. Rewinding is to be carried out by the OEM or its authorized service agency as per the actual motor capacity (i.e. winding type & specifications, voltage, speed, capacity etc). Dismantled material belongs to agency. c) Jockey pump's motor Motor rating, 25 HP | 1.00 | Each |  | 7395.00 | 7395.00 | 10000.00 | 10000.00 | 30000.00 | 30000.00 | 7395.00 | Reliance Fire Protection Systems
6.04 | Re-winding of the fire pump's motor, work includes dismantling of the existing motor, shifting/transportation from site to workshop & return back after rewinding, installation testing & commissioning. Rewinding is to be carried out by the OEM or its authorized service agency as per the actual motor capacity (i.e. winding type & specifications, voltage, speed, capacity etc). Dismantled material belongs to agency. d) Main Electrical Pump's motor, 100 HP | 1.00 | Each |  | 7395.00 | 7395.00 | 40000.00 | 40000.00 | 40000.00 | 40000.00 | 7395.00 | Reliance Fire Protection Systems
7.00 | Supply and installation of the ISI marked, Stainless steel, male & female coupling for fire canvas hose pipe including binding of the coupling as per the industrial standard on the house pipe, complete as required as per the direction of the Engineer in charge and site conditions. House pipe will be provided by AAI. | 20.00 | Each |  | 2436.00 | 48720.00 | 3000.00 | 60000.00 | 1200.00 | 24000.00 | 24000.00 | Manish Electricals
8.00 | Supply of ISI marked stainlee steel make branch pipe. | 30.00 | Each |  | 1566.00 | 46980.00 | 1500.00 | 45000.00 | 700.00 | 21000.00 | 21000.00 | Manish Electricals
9.01 | Annual Maintenance contract of conventional/addressable type Fire Detection and Alarm system along with all associated accessories installed at ATS complex, Mumbai Airport comprising of both periodical / preventive maintenance (monthly) and attending breakdown maintenance as and when required including supply of consumables & Internal parts of the Detector panel, including provision of suitable sim cards with sufficient calling balance for auto dialing system etc., complete as per the terms & conditions of the contract and inventories as enclosed in annexure -II i) ATS Complex a) First Year | 12.00 | Month |  | 13050.00 | 156600.00 | 14000.00 | 168000.00 | 12000.00 | 144000.00 | 144000.00 | Manish Electricals
9.02 | Annual Maintenance contract of conventional/addressable type Fire Detection and Alarm system along with all associated accessories installed at ATS complex, Mumbai Airport comprising of both periodical / preventive maintenance (monthly) and attending breakdown maintenance as and when required including supply of consumables & Internal parts of the Detector panel, including provision of suitable sim cards with sufficient calling balance for auto dialing system etc., complete as per the terms & conditions of the contract and inventories as enclosed in annexure -II i) ATS Complex b) Second Year | 12.00 | Month |  | 14790.00 | 177480.00 | 15500.00 | 186000.00 | 14000.00 | 168000.00 | 168000.00 | Manish Electricals
9.03 | Annual Maintenance contract of conventional/addressable type Fire Detection and Alarm system along with all associated accessories installed at ATS complex, Mumbai Airport comprising of both periodical / preventive maintenance (monthly) and attending breakdown maintenance as and when required including supply of consumables & Internal parts of the Detector panel, including provision of suitable sim cards with sufficient calling balance for auto dialing system etc., complete as per the terms & conditions of the contract and inventories as enclosed in annexure -II ii) Operational Area a) First Year | 12.00 | Month |  | 13050.00 | 156600.00 | 9000.00 | 108000.00 | 12000.00 | 144000.00 | 108000.00 | CENTRE TAP ENGINEERING
9.04 | Annual Maintenance contract of conventional/addressable type Fire Detection and Alarm system along with all associated accessories installed at ATS complex, Mumbai Airport comprising of both periodical / preventive maintenance (monthly) and attending breakdown maintenance as and when required including supply of consumables & Internal parts of the Detector panel, including provision of suitable sim cards with sufficient calling balance for auto dialing system etc., complete as per the terms & conditions of the contract and inventories as enclosed in annexure -II ii) Opertaional Area b) Second Year | 12.00 | Month |  | 13920.00 | 167040.00 | 10000.00 | 120000.00 | 14000.00 | 168000.00 | 120000.00 | CENTRE TAP ENGINEERING
10.01 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. a) Gland Packing for main Fire Hydrant pump | 4.00 | Each |  | 1740.00 | 6960.00 | 3000.00 | 12000.00 | 500.00 | 2000.00 | 2000.00 | Manish Electricals
10.02 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. b) Casing Gasket main Fire Hydrant pump | 2.00 | Each |  | 1305.00 | 2610.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 2000.00 | Manish Electricals
10.03 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. c) Pump Bearing DE main Fire Hydrant pump | 2.00 | Each |  | 2436.00 | 4872.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 2000.00 | Manish Electricals
10.04 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. d) Pump Bearing NDE main Fire Hydrant pump | 2.00 | Each |  | 2436.00 | 4872.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 4872.00 | Reliance Fire Protection Systems
10.05 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. e) Motor Bearing DE main Fire Hydrant pump | 1.00 | Each |  | 1914.00 | 1914.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 500.00 | Manish Electricals
10.06 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. f) Motor Bearing NDE main Fire Hydrant pump | 1.00 | Each |  | 1914.00 | 1914.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 500.00 | Manish Electricals
10.07 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. g) Gland Packing jockey Fire Hydrant pump | 2.00 | Each |  | 1044.00 | 2088.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 2088.00 | Reliance Fire Protection Systems
10.08 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. h) Casing Gasket jockey Fire Hydrant pump | 1.00 | Each |  | 6525.00 | 6525.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2000.00 | Manish Electricals
10.09 | Supply of the following for Fire Hydrant Pumping system and carrying out replacement from the OEM or its authorised service agency. i) Pump Bearing jockey Fire Hydrant pump | 2.00 | Each |  | 5394.00 | 10788.00 | 3000.00 | 6000.00 | 700.00 | 1400.00 | 1400.00 | Manish Electricals
11.01 | Supply of the following spares as and when required basis. a) Hooter suitable for Electrical panel of Fire Hydrant Pumping system. | 3.00 | Each |  | 1044.00 | 3132.00 | 1500.00 | 4500.00 | 2200.00 | 6600.00 | 3132.00 | Reliance Fire Protection Systems
11.02 | Supply of the following spares as and when required basis. b) Smoke Detector: Honeywell Morley IAS - Suitable with existing system. | 5.00 | Each |  | 3045.00 | 15225.00 | 2500.00 | 12500.00 | 1600.00 | 8000.00 | 8000.00 | Manish Electricals
11.03 | Supply of the following spares as and when required basis. c) Manual Call Point: Honeywell Morley IAS- Suitable with existing system. | 2.00 | Each |  | 3045.00 | 6090.00 | 2000.00 | 4000.00 | 2200.00 | 4400.00 | 4000.00 | CENTRE TAP ENGINEERING
11.04 | Supply of the following spares as and when required basis. d) Hooter Cum Flasher: Honeywell Morley IAS- Suitable with existing system. | 1.00 | Each |  | 3045.00 | 3045.00 | 2500.00 | 2500.00 | 3500.00 | 3500.00 | 2500.00 | CENTRE TAP ENGINEERING
11.05 | Supply of the following spares as and when required basis. e) Smoke Detector: Honeywell Morley XLS(240E). - Suitable with existing system. | 5.00 | Each |  | 3045.00 | 15225.00 | 2500.00 | 12500.00 | 3500.00 | 17500.00 | 12500.00 | CENTRE TAP ENGINEERING
11.06 | Supply of the following spares as and when required basis. f) Manual Call Point: Honeywell Morley XLS(240E). - Suitable with existing system. | 2.00 | Each |  | 3045.00 | 6090.00 | 2000.00 | 4000.00 | 2200.00 | 4400.00 | 4000.00 | CENTRE TAP ENGINEERING
11.07 | Supply of the following spares as and when required basis. g) Hooter Cum Flasher: Honeywell Morley XLS(240E). - Suitable with existing system. | 1.00 | Each |  | 3045.00 | 3045.00 | 2500.00 | 2500.00 | 2200.00 | 2200.00 | 2200.00 | Manish Electricals
11.08 | Supply of the following spares as and when required basis. h) Smoke Detector: Conventional type - Suitable with existing system. | 10.00 | Each |  | 1087.50 | 10875.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 10000.00 | CENTRE TAP ENGINEERING
11.09 | Supply of the following spares as and when required basis. i) Manual Call Point: Conventional type - Suitable with existing system. | 5.00 | Each |  | 870.00 | 4350.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 1500.00 | Manish Electricals
11.10 | Supply of the following spares as and when required basis. j) Hooter Cum Flasher: Conventional type - Suitable with existing system. | 5.00 | Each |  | 1087.50 | 5437.50 | 1000.00 | 5000.00 | 2200.00 | 11000.00 | 5000.00 | CENTRE TAP ENGINEERING
11.11 | Supply of the following spares as and when required basis. k) 12V DC, 7AH Battery for fire panel | 2.00 | Each |  | 2610.00 | 5220.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 3000.00 | CENTRE TAP ENGINEERING, Manish Electricals
11.12 | Supply of the following spares as and when required basis. l) Auto dialer (Securice or equivalent), with GSM & CDMA SIM calling facility ( Compatible with present day SIM technology for calling) and suitable to operate with existing fire alarm panel with required cable for interconnection, including provision of sim with validity up to contract period and sufficient balance for calling. | 3.00 | Each |  | 6525.00 | 19575.00 | 10000.00 | 30000.00 | 6000.00 | 18000.00 | 18000.00 | Manish Electricals
12.00 | Supplying & laying of 2x1.5 sqmm Fire Alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel/GI wire armouring & FRLS outer sheath complete as required and laying of the of interconnecting cable for Fire Alarm and Detection system on wall/duct/tray etc. as per the site requirement. | 200.00 | Meter |  | 239.25 | 47850.00 | 100.00 | 20000.00 | 160.00 | 32000.00 | 20000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 1920568.50 |  | 1619000.00 |  | 1800364.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(1619000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Fire Hydrant System and Fire alarm and detection system at ATS Complex and Nav-Aids in Operational area at C.S.M.I. Airport, Mumbai for the year 2021-22 to 2022-23 Tender ID: 2021_AAI_75961_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 1619000.00 | L1
| 2 | Manish Electricals | 1800364.00 | L2
| 3 | Reliance Fire Protection Systems | 1920568.50 | L3