## BoQ1
Government eProcurement System Created By: Ashvin Kumar Singh Created Date/Time: 03-May-2021 05:58 PM Tender Title: ARMO of various Electrical and Mechanical installations of Terminal building, Sub-station equipment, Operational area, City side area, CISF Barrack, DOG Kennal at Chandigarh International Airport Limited, Mohali- 160004 (PB) 2021-22 and 2022-23 Tender ID: 2021_AAI_76087_1
Tender Inviting Authority: Asstt. General Manager (Engg- Elect.), Chandigarh International Airport Ltd.(CHIAL), Mohali (PB)
Name of Work: ARMO of various Electrical & Mechanical installations of Terminal building, Sub-station equipment, Operational area, City side area, CISF Barrack, DOG Kennal at Chandigarh International Airport Limited, Mohali- 160004 (PB) 2021-22 & 2022-23.
Contract No: 0172-2242404, 0172-2242434
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s CGPL ELECTROMECH PVT LTD(GSTN-07AAGCC8228F1ZO) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ASHWANI REFRIGERATION AND ELECTRICALS(GSTN-36ACAPG1851D1Z7) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running, Operation of all Electrical & Mechanical Installations and Pumps of Terminal Buidling, Operational area, City side (excluding Sub-station equipments) on all days(Round the clock) as provided in contract day to day daily checking/complaints/fault/breakdowns and taking rectification actions, ensure serviceability/ satisfactory working conditions of the systems record/documentation as per details in SCC covered under this contract. | 24.00 | Month | 100.00 | 385580.00 | 9253920.00 | 459860.00 | 11036640.00 | 355556.00 | 8533344.00 | 391347.00 | 9392328.00 | 8533344.00 | ASHWANI REFRIGERATION AND ELECTRICALS
2.00 | Planned preventive maintenance of LT Panels and associated Bus duct / cables using Thermal Imaging Cameras equipment for Electrical Inspections / trouble shooting in panel board as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 1200.00 | Job | 100.00 | 489.00 | 586800.00 | 300.00 | 360000.00 | 666.00 | 799200.00 | 286.00 | 343200.00 | 343200.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Planned preventive maintenance of Perimeter light and Street light alongwith Feeder pilar as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 10128.00 | Job | 10.00 | 110.00 | 1114080.00 | 90.00 | 911520.00 | 111.00 | 1124208.00 | 286.00 | 2896608.00 | 911520.00 | Manish Electricals
4.00 | Planned preventive maintenance of Apron/Taxiway edge lights and Inset lights /Guidance signages / CAT- I approach / Touchdown Inset Lights / STT including associated items like CCR’s, Isolating transformer, connectors, cables etc. as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 1752.00 | Job | 100.00 | 558.00 | 977616.00 | 400.00 | 700800.00 | 666.00 | 1166832.00 | 286.00 | 501072.00 | 501072.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Planned preventive maintenance of MCB DB's using Thermal Imaging Cameras equipment for Electrical Inspections / trouble shooting in panel board as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 2400.00 | Job | 100.00 | 163.00 | 391200.00 | 110.00 | 264000.00 | 111.00 | 266400.00 | 286.00 | 686400.00 | 264000.00 | Manish Electricals
6.00 | Planned preventive maintenance of Earthing (36 nos. of Earthing) as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 1632.00 | Job | 100.00 | 680.00 | 1109760.00 | 300.00 | 489600.00 | 505.00 | 824160.00 | 286.00 | 466752.00 | 466752.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Planned preventive maintenance of 30 mtr. height High mast including their feeder pilar and associated cables as per the details, locations and as per maintenance schedule on Monthly basis given in SCC. | 264.00 | Job | 100.00 | 1180.00 | 311520.00 | 870.00 | 229680.00 | 888.00 | 234432.00 | 286.00 | 75504.00 | 75504.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Data entry Computer operator for recording day to day maintenance, complaint management, Store management as required as per the SCC. | 24.00 | Month | 10.00 | 20502.00 | 492048.00 | 24000.00 | 576000.00 | 22222.00 | 533328.00 | 23050.00 | 553200.00 | 492048.00 | M/s CGPL ELECTROMECH PVT LTD
9.00 | Rewinding of burnt ceiling fan motor including replacement of bearing, bush shaft etc. complete as required. | 25.00 | Job | 100.00 | 250.00 | 6250.00 | 400.00 | 10000.00 | 111.00 | 2775.00 | 425.00 | 10625.00 | 2775.00 | ASHWANI REFRIGERATION AND ELECTRICALS
10.00 | Rewinding of burnt exhaust / Padestal/ wall mounting/ kit fan of all types and sizes complete as required. | 25.00 | Job | 100.00 | 250.00 | 6250.00 | 400.00 | 10000.00 | 111.00 | 2775.00 | 425.00 | 10625.00 | 2775.00 | ASHWANI REFRIGERATION AND ELECTRICALS
11.00 | Repairing/replacement of Heating element & thermostate of storage type water geysors upto 25 litre storage capacity complete as required. | 15.00 | Job | 100.00 | 500.00 | 7500.00 | 700.00 | 10500.00 | 4444.00 | 66660.00 | 800.00 | 12000.00 | 7500.00 | M/s CGPL ELECTROMECH PVT LTD
12.00 | Repairing/replacement of heating element/ motor of heaters/Blowers complete as required. | 10.00 | Job | 100.00 | 100.00 | 1000.00 | 180.00 | 1800.00 | 101.00 | 1010.00 | 900.00 | 9000.00 | 1000.00 | M/s CGPL ELECTROMECH PVT LTD
13.00 | Supply and replacement halogen rod of halogen type heaters complete as required. | 20.00 | Job | 10.00 | 80.00 | 1600.00 | 100.00 | 2000.00 | 101.00 | 2020.00 | 2000.00 | 40000.00 | 1600.00 | M/s CGPL ELECTROMECH PVT LTD
14.00 | Rewinding of burnt 1.0 H.P. pump motor complete as required. | 4.00 | Job | 100.00 | 400.00 | 1600.00 | 1000.00 | 4000.00 | 202.00 | 808.00 | 600.00 | 2400.00 | 808.00 | ASHWANI REFRIGERATION AND ELECTRICALS
15.00 | Rewinding of burnt 1.5 H.P pump motor complete as required. | 4.00 | Job | 100.00 | 450.00 | 1800.00 | 1000.00 | 4000.00 | 202.00 | 808.00 | 8000.00 | 32000.00 | 808.00 | ASHWANI REFRIGERATION AND ELECTRICALS
16.00 | Lowering and lifting 15 HP/30 HP borewell pump and motor with tripod etc complete as required. | 4.00 | Job | 100.00 | 7500.00 | 30000.00 | 6000.00 | 24000.00 | 4999.00 | 19996.00 | 18000.00 | 72000.00 | 19996.00 | ASHWANI REFRIGERATION AND ELECTRICALS
17.00 | Repairing / Rewinding of burnt 15.0 H.P. pump motor/ pump implers /shaft etc.complete as required. | 2.00 | Job | 100.00 | 11500.00 | 23000.00 | 14000.00 | 28000.00 | 9999.00 | 19998.00 | 37000.00 | 74000.00 | 19998.00 | ASHWANI REFRIGERATION AND ELECTRICALS
18.00 | Repairing / Rewinding of burnt 30.0 H.P. pump motor/ pump implers /shaft etc.complete as required. | 2.00 | Job | 100.00 | 15000.00 | 30000.00 | 19000.00 | 38000.00 | 9999.00 | 19998.00 | 39000.00 | 78000.00 | 19998.00 | ASHWANI REFRIGERATION AND ELECTRICALS
19.00 | Repairing of Desert cooler including change of grass pad, capacitors, fan motor, water pump etc complete as required. | 30.00 | Job | 100.00 | 700.00 | 21000.00 | 500.00 | 15000.00 | 333.00 | 9990.00 | 3000.00 | 90000.00 | 9990.00 | ASHWANI REFRIGERATION AND ELECTRICALS
20.00 | Reparing and maintenance and servicing of CCR of NASU make upto 7.5 KW by service engineer of OEM or specialized agency only. | 8.00 | Job | 100.00 | 6500.00 | 52000.00 | 5000.00 | 40000.00 | 6000.00 | 48000.00 | 15000.00 | 120000.00 | 40000.00 | Manish Electricals
21.00 | Reparing and maintenance and servicing of invertor capacity upto 5 KVA by service engineer of OEM or specialized agency only. | 24.00 | Job | 100.00 | 700.00 | 16800.00 | 1000.00 | 24000.00 | 500.00 | 12000.00 | 5000.00 | 120000.00 | 12000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
22.00 | Repairing of drivers of LED lights fixture/ apron/taxi signages etc. complete as required. | 30.00 | Job | 100.00 | 250.00 | 7500.00 | 450.00 | 13500.00 | 111.00 | 3330.00 | 1250.00 | 37500.00 | 3330.00 | ASHWANI REFRIGERATION AND ELECTRICALS
23.00 | Painting of street light poles and peritmeter road light poles etc. as required. | 150.00 | Job | 10.00 | 250.00 | 37500.00 | 120.00 | 18000.00 | 222.00 | 33300.00 | 1150.00 | 172500.00 | 18000.00 | Manish Electricals
24.00 | Painting of Feeder pilar/LT panels etc. as required | 10.00 | Job | 100.00 | 1500.00 | 15000.00 | 600.00 | 6000.00 | 999.00 | 9990.00 | 2240.00 | 22400.00 | 6000.00 | Manish Electricals
25.00 | DSR-2018 Item for Rs. 2,00,000/- [NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 1,80,000/- then the Percentage will considered as 10% below DSR 2018. (ii) If quoted Rate is Rs. 2,00,000/- then Percentage will considered as 0% above /below DSR 2018. (iii) If quoted Rate is Rs. 2,20,000/- then Percentage will considered as 10% above DSR 2018. PLEASE NOTE THAT THE ITEMS SHALL BE EXECUTED FROM DSR-2018 RATE AT THE ABOVE QUOTED PERCENTAGE AS PER SITE REQUIREMENT. | 1.00 | Job | 100.00 | 180000.00 | 180000.00 | 150000.00 | 150000.00 | 100000.00 | 100000.00 | 200000.00 | 200000.00 | 100000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
26.00 | Signages item as and when required as per attached list of items Aneexure- A- 1 for Rs. 4,00,000/- [NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 3,40,000/- then the Percentage will considered as 15% below Aneexure- A- 1. (ii) If quoted Rate is Rs. 4,00,000/- then Percentage will considered as 0% above /below Aneexure- A- 1. (iii) If quoted Rate is Rs. 4,60,000/- then Percentage will considered as 15% above Aneexure- A- 1. PLEASE NOTE THAT THE ITEMS SHALL BE EXECUTED FROM ANNEXURE- A- 1 RATE AT THE ABOVE QUOTED PERCENTAGE AS PER SITE REQUIREMENT. | 1.00 | Job | 100.00 | 350000.00 | 350000.00 | 300000.00 | 300000.00 | 275000.00 | 275000.00 | 400000.00 | 400000.00 | 275000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
27.00 | Running, Operation of all Sub-station equipments on all days(Round the clock) as provided in contract day to day daily checking/complaints/fault/breakdowns and taking rectification actions, ensure serviceability/ satisfactory working conditions of the systems, record/documentation as per details in SCC covered under this contract. {w.e.f. 15.07.2021 or handing over site whichever is later.} | 24.00 | Month | 100.00 | 165000.00 | 3960000.00 | 185786.00 | 4458864.00 | 166667.00 | 4000008.00 | 181014.00 | 4344336.00 | 3960000.00 | M/s CGPL ELECTROMECH PVT LTD
28.00 | Planned preventive maintenance on Monthly basis for Sub-station equipments i.e. 11 KV HT panel board (with 02 Incomer, 01 Bus coupler and Six out going) and associated cable using Thermal Imaging Cameras equipment for Electrical Inspections / trouble shooting in panel board) complete as mentioned in Annexure- B as per technical specification and detailed maintenance schedule as applicable given in the SCC which includes Monthly / Quarterly / Half yearly / Yearly checks. {w.e.f. 15.07.2021 or handing over site whichever is later.} | 48.00 | Job | 10.00 | 3540.00 | 169920.00 | 2000.00 | 96000.00 | 1999.00 | 95952.00 | 2065.00 | 99120.00 | 95952.00 | ASHWANI REFRIGERATION AND ELECTRICALS
29.00 | Planned preventive maintenance on Monthly basis for Sub-station equipments i.e. 11 KV HT PANEL BOARD (At basement of Terminal Building) (Two incomers, Four bus couplers, Five sets isolators, double busbars and Three outgoings) and associated cable using Thermal Imaging Cameras equipment for Electrical Inspections / trouble shooting in panel board) complete as mentioned in Annexure- B as per technical specification and detailed maintenance schedule as applicable given in the SCC which includes Monthly / Quarterly / Half yearly / Yearly checks. {w.e.f. 15.07.2021 or handing over site whichever is later.} | 48.00 | Job | 100.00 | 3490.00 | 167520.00 | 2000.00 | 96000.00 | 1999.00 | 95952.00 | 2065.00 | 99120.00 | 95952.00 | ASHWANI REFRIGERATION AND ELECTRICALS
30.00 | Planned preventive maintenance on Monthly basis for Sub-station equipments i.e. APFC PANEL (450 KVAR) and associated Bus duct and cable using Thermal Imaging Cameras equipment for Electrical Inspections / trouble shooting in panel board complete as mentioned in Annexure- B as per technical specification and detailed maintenance schedule as applicable given in the SCC which includes Monthly / Quarterly / Half yearly / Yearly checks. {w.e.f. 15.07.2021 or handing over site whichever is later.} | 192.00 | Job | 100.00 | 880.00 | 168960.00 | 500.00 | 96000.00 | 555.00 | 106560.00 | 2065.00 | 396480.00 | 96000.00 | Manish Electricals
31.00 | Planned preventive maintenance on Monthly basis for Sub-station equipments i.e. MAIN LT PANEL FOR TERMINAL BUILDING (LOCATION - BASEMENT) (with 05 Incomer, 02 Bus coupler and sixteen out goings) and associated Bus duct and cable using Thermal Imaging Cameras equipment for Electrical Inspections / trouble shooting in panel board) complete as mentioned in Annexure- B as per technical specification and detailed maintenance schedule as applicable given in the SCC which includes Monthly / Quarterly / Half yearly / Yearly checks. {w.e.f. 15.07.2021 or handing over site whichever is later.} | 48.00 | Job | 100.00 | 3550.00 | 170400.00 | 1100.00 | 52800.00 | 2222.00 | 106656.00 | 2065.00 | 99120.00 | 52800.00 | Manish Electricals
32.00 | Planned preventive maintenance on Monthly basis for Sub-station equipments i.e. MAIN L.T. PANEL & SYNCHRONIZING PANEL (SERVICE YARD SUB-STATION) (with 03 Incomer, 02 Bus coupler) and associated Bus duct and cable using Thermal Imaging Cameras equipment for Electrical Inspections / trouble shooting in panel board) complete as mentioned in Annexure- B as per technical specification and detailed maintenance schedule as applicable given in the SCC which includes Monthly / Quarterly / Half yearly / Yearly checks. {w.e.f. 15.07.2021 or handing over site whichever is later.} | 48.00 | Job | 100.00 | 3450.00 | 165600.00 | 1200.00 | 57600.00 | 2222.00 | 106656.00 | 2065.00 | 99120.00 | 57600.00 | Manish Electricals
33.00 | Planned preventive maintenance on Monthly basis for Sub-station equipments i.e. 1000 KVA , 11KV/415 Volts Distribution Transformers (Oil type) and associated Bus duct and cables at Service yard alongwith their accessories as mentioned in Annexure- B complete as per technical specification and detailed maintenance schedule as applicable given in the SCC which includes Monthly / Quarterly / Half yearly / Yearly checks. {w.e.f. 15.07.2021 or handing over site whichever is later.} | 144.00 | Job | 100.00 | 1175.00 | 169200.00 | 900.00 | 129600.00 | 888.00 | 127872.00 | 2065.00 | 297360.00 | 127872.00 | ASHWANI REFRIGERATION AND ELECTRICALS
34.00 | Planned preventive maintenance on Monthly basis for Sub-station equipments i.e. 2000 KVA,11KV/415 Volts Distribution Transformers (DRY TYPE) and associated Bus duct and cables at Terminal Building basement alongwith their accessories as mentioned in Annexure- B complete as per technical specification and detailed maintenance schedule as applicable given in the SCC which includes Monthly / Quarterly / Half yearly / Yearly checks. {w.e.f. 15.07.2021 or handing over site whichever is later.} | 144.00 | Job | 100.00 | 1150.00 | 165600.00 | 700.00 | 100800.00 | 888.00 | 127872.00 | 2065.00 | 297360.00 | 100800.00 | Manish Electricals
35.00 | Dehydration and filteration of transformer oil at site by using filteration machine, providing reuired oil including testing the BDV and acidity before and after testing and submission of test reports for 1000 KVA, 11KV/433V Transformer of VOLTAMP make as per system requirement. | 3.00 | Job | 100.00 | 15000.00 | 45000.00 | 16000.00 | 48000.00 | 10000.00 | 30000.00 | 13500.00 | 40500.00 | 30000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
| Total in Figures |  |  |  |  | 20207944.00 |  | 20402704.00 |  | 18907890.00 |  | 22190630.00
Lowest Amount Quoted BY: ASHWANI REFRIGERATION AND ELECTRICALS(18907890.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of various Electrical and Mechanical installations of Terminal building, Sub-station equipment, Operational area, City side area, CISF Barrack, DOG Kennal at Chandigarh International Airport Limited, Mohali- 160004 (PB) 2021-22 and 2022-23 Tender ID: 2021_AAI_76087_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASHWANI REFRIGERATION AND ELECTRICALS | 18907890.00 | L1
| 2 | M/s CGPL ELECTROMECH PVT LTD | 20207944.00 | L2
| 3 | Manish Electricals | 20402704.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 22190630.00 | L4