## BoQ1
Government eProcurement System Created By: Arun Kumar Created Date/Time: 16-Jun-2021 04:35 PM Tender Title: AAI/RHQ/FTC-AMC-EnM/2021-23 Tender ID: 2021_AAI_76289_1
TENDER INVITING AUTHORITY: SENIOR MANAGER ENGG(E), RHQ, NR, AAI OPERATIONAL OFFICES, RANGPURI, NEW DELHI
NAME OF WORK: ARMO OF 11KV SUB-STAION I/C DIESEL GENERATING SETS, INTERNAL AND EXTERNAL ELECTRICAL INSTALLATIONS OF FIRE TRAINING CENTRE AND INDIAN AVIATION ACADEM (OLD NIAMAR), NEW DELHI (2021-23).
TENDER ID NO.: 2021_AAI_76289_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S TURBO POWER AND INFRASTRUCTURE(GSTN-09AAMFT5683N1Z5) |  | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | R. D. ENGINEERS(GSTN-07AAOPG1416G1ZZ) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-36AACCJ7269H1Z9) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | SUDHIR ELECTRICALS(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Day to Day Repair/Maintenance/ Operation of 11KV/415V Sub-station equipments i/c HT panel, Transformers, Diesel Generator sets & MV Panel, pumping sets, electrical & mechanical installations such as Internal Electrical Installation system (All type of light fixtures, ceiling fans, exhaust fans, light points, power points LT distribution boards, switch rooms, LT panel etc.) External Electrical Installation system (Pump House, Park lighting, Feeder pillers) for IAA (Old NIAMAR) & Fire Training Centre Building by providing following manpower as per requirement round the clock i/c Sundays & Holiday etc. as required. (a) Electrician cum Operator - Skilled - 06 Nos. (i.e. 02 No. round the clock on all days in every week & Reliever Shall be Provided on Weekly Off). (b) Electrician - Skilled - 01 Nos. (in general shift on 06 Days in every Week) (c) Helper - Unskilled - 06 Nos. (i.e. 02 Nos. round the clock on all days in every week & Reliever Shall be Provided on Weekly Off). (d) Helper - Unskilled- 01 Nos. (in general shift on 06 Days in every Week) | 24.00 | Month |  | 303000.00 | 7272000.00 | 219000.00 | 5256000.00 | 294374.00 | 7064976.00 | 203019.00 | 4872456.00 | 204522.00 | 4908528.00 | 260000.00 | 6240000.00 | 326400.00 | 7833600.00 | 275200.00 | 6604800.00 | 233333.00 | 5599992.00 | 297949.00 | 7150776.00 | 4872456.00 | SRS ENGINEERS
2.00 | Extra Manpower for misc. works in case of any emergency for following type of manpower as & when required basis :-
2.01 | Electrician (Skilled). | 50.00 | Hour |  | 140.00 | 7000.00 | 10.00 | 500.00 | 98.00 | 4900.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 900.00 | 45000.00 | 88.00 | 4400.00 | 100.00 | 5000.00 | 500.00 | ANAND AND COMPANTY
2.02 | Khallasi (Unskilled). | 50.00 | Hour |  | 90.00 | 4500.00 | 10.00 | 500.00 | 81.00 | 4050.00 | 65.00 | 3250.00 | 40.00 | 2000.00 | 90.00 | 4500.00 | 70.00 | 3500.00 | 750.00 | 37500.00 | 77.00 | 3850.00 | 81.00 | 4050.00 | 500.00 | ANAND AND COMPANTY
3.00 | Fuel Cost for Running of DG Set on per hour per DG Set basis (contractor has to quote considering cost of fuel consumption of following DG set as mentioned below complete as & when required.
3.01 | 2 x 160 KVA, TBD2V GREAVES Make DG set with alternator (Located at NIAMAR Sub-station) | 200.00 | Hour |  | 1000.00 | 200000.00 | 1100.00 | 220000.00 | 100.00 | 20000.00 | 7000.00 | 1400000.00 | 200.00 | 40000.00 | 3200.00 | 640000.00 | 1200.00 | 240000.00 | 500.00 | 100000.00 | 50.00 | 10000.00 | 95.00 | 19000.00 | 10000.00 | SUDHIR ELECTRICALS
3.02 | 1 x 66 KVA, Fire Engine coupled with fire pump of 2400 LPM at 70M head, Kirloskar make RB66 (Located at NIAMAR Fire Pump Room). | 75.00 | Hour |  | 600.00 | 45000.00 | 500.00 | 37500.00 | 50.00 | 3750.00 | 1580.00 | 118500.00 | 200.00 | 15000.00 | 1000.00 | 75000.00 | 750.00 | 56250.00 | 250.00 | 18750.00 | 30.00 | 2250.00 | 95.00 | 7125.00 | 2250.00 | SUDHIR ELECTRICALS
4.00 | Testing of Dielectric strength (BDV) of Transformer oil on yearly basis or as & when required for 02 nos. 500 KVA transformers & submission of report from government approved laboratory i/c collection of sample from site, transportation to lab complete as required. (1 Job includes complete testing of oil sample from 01 transformer) | 4.00 | Job |  | 10000.00 | 40000.00 | 4000.00 | 16000.00 | 100.00 | 400.00 | 2500.00 | 10000.00 | 200.00 | 800.00 | 5750.00 | 23000.00 | 2000.00 | 8000.00 | 10000.00 | 40000.00 | 30.00 | 120.00 | 12000.00 | 48000.00 | 120.00 | SUDHIR ELECTRICALS
5.00 | Dehydration & Filtration of Transformer oil with High Vaccum Filtration Machine to achieve BDV up to the level of relavent IS Dielectric strength as required including submission of oil test reports from government approved laboratory after dehydration of oil as & when required. | 1680.00 | Ltr. |  | 15.00 | 25200.00 | 6.00 | 10080.00 | 2.00 | 3360.00 | 5.00 | 8400.00 | 5.00 | 8400.00 | 16.00 | 26880.00 | 8.00 | 13440.00 | 15.00 | 25200.00 | 5.00 | 8400.00 | 35.00 | 58800.00 | 3360.00 | NATIONAL SAFETY ENGINEERS
6.00 | Supply & Toping up the transformer oil in conservator tank upto the recommended level with fresh/treated transformer oil as & when required. | 100.00 | Ltr. |  | 450.00 | 45000.00 | 130.00 | 13000.00 | 50.00 | 5000.00 | 115.00 | 11500.00 | 120.00 | 12000.00 | 125.00 | 12500.00 | 160.00 | 16000.00 | 150.00 | 15000.00 | 22.00 | 2200.00 | 18.00 | 1800.00 | 1800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.00 | Rewinding of following pump motors as & when required with enemelled copper winding wire, varnishing i/c greasing replacement of bearings/bush, repairing of shaft i/c transporatation charges completed as required. (All dismantle material belongs to the contractor)
7.01 | 5.0 HP, 3 Phase Submersible Pump | 2.00 | Each |  | 4000.00 | 8000.00 | 3500.00 | 7000.00 | 800.00 | 1600.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 8000.00 | 16000.00 | 7000.00 | 14000.00 | 200.00 | 400.00 | 6500.00 | 13000.00 | 400.00 | SUDHIR ELECTRICALS
7.02 | 7.5 HP, 3 Phase Submersible Pump | 2.00 | Each |  | 5000.00 | 10000.00 | 5500.00 | 11000.00 | 1000.00 | 2000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 8000.00 | 16000.00 | 9500.00 | 19000.00 | 7500.00 | 15000.00 | 200.00 | 400.00 | 8500.00 | 17000.00 | 400.00 | SUDHIR ELECTRICALS
8.00 | Lifting & lowering submersible motor along with column pipe detaching one length of column pipe from rest of column pipe by opening nut & bolts in the manner taking out entire pump system & lowering of entire pump system in reverse order of above process i/c chain block & supporting pipes transportation, testing & commissioning, replacement of nuts & bolts with lockable nuts & bolts etc. complete as reqd. | 3.00 | Each |  | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 1000.00 | 3000.00 | 650.00 | 1950.00 | 2000.00 | 6000.00 | 8000.00 | 24000.00 | 9000.00 | 27000.00 | 3000.00 | 9000.00 | 200.00 | 600.00 | 3500.00 | 10500.00 | 600.00 | SUDHIR ELECTRICALS
9.00 | Servicing & Testing of 12 KV Compact VCB HT Panel of make- ABB i/c servicing of 07 Nos. 630A rating compact VCB Breaker, 2 Nos. PT i/c checking & tightening of connections etc. including submission of report from OEM or its Authorised Dealer complete as required on yearly basis. (01 Job - Complete servicing & testing of complete HT panel i/c all the compact VCB breakers, PTs etc.) | 2.00 | Job |  | 12500.00 | 25000.00 | 15000.00 | 30000.00 | 2500.00 | 5000.00 | 13000.00 | 26000.00 | 15000.00 | 30000.00 | 2800.00 | 5600.00 | 22000.00 | 44000.00 | 10000.00 | 20000.00 | 200.00 | 400.00 | 21000.00 | 42000.00 | 400.00 | SUDHIR ELECTRICALS
10.00 | Complete Testing and Calibration of all type of Relays of 12 KV Compact VCB HT Panel HT Panel including submission of report for the same complete as per site requirement. | 12.00 | Each |  | 4000.00 | 48000.00 | 400.00 | 4800.00 | 200.00 | 2400.00 | 400.00 | 4800.00 | 1500.00 | 18000.00 | 2800.00 | 33600.00 | 3000.00 | 36000.00 | 2505.00 | 30060.00 | 200.00 | 2400.00 | 7000.00 | 84000.00 | 2400.00 | SUDHIR ELECTRICALS, NATIONAL SAFETY ENGINEERS
11.00 | Rewinding of following fans with enemelled copper winding wire i/c varnishing, changing of bearing, bush, oiling & greasing, assembling testing, transportation charges etc. complete as & when required.
11.01 | Ceiling Fan upto 1400mm as & when reqd. | 30.00 | Job |  | 600.00 | 18000.00 | 350.00 | 10500.00 | 100.00 | 3000.00 | 300.00 | 9000.00 | 500.00 | 15000.00 | 1400.00 | 42000.00 | 450.00 | 13500.00 | 500.00 | 15000.00 | 100.00 | 3000.00 | 2650.00 | 79500.00 | 3000.00 | SUDHIR ELECTRICALS, NATIONAL SAFETY ENGINEERS
12.00 | Repairing/overhauling of electric room heaters i/c repairing/replacement of thermostat, element coil, switch, assembling, testing, transportation charges (if any) etc. complete as & when required as per site requirement. | 10.00 | Job |  | 500.00 | 5000.00 | 200.00 | 2000.00 | 75.00 | 750.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 1400.00 | 14000.00 | 700.00 | 7000.00 | 750.00 | 7500.00 | 50.00 | 500.00 | 850.00 | 8500.00 | 500.00 | SUDHIR ELECTRICALS
13.00 | Repairing/overhauling of hot air blowers i/c repairing of motor, repairing/ replacement of thermostat, element coil, switch, assembling, testing, transportation charges (if any) etc. complete as & when required as per site requirement. | 10.00 | Job |  | 500.00 | 5000.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 450.00 | 4500.00 | 300.00 | 3000.00 | 1400.00 | 14000.00 | 500.00 | 5000.00 | 749.00 | 7490.00 | 50.00 | 500.00 | 950.00 | 9500.00 | 500.00 | SUDHIR ELECTRICALS
14.00 | Maintenance of 105 HP Fire Engine of Kirloskar make by conducting periodical preventive​ maintenance checks, 02 Nos. 'B' checks (i/c supply & installation of B-check spares) per year at an interval not exceeding 06 months as well as imparting necessary guidelines for conducting routine maintenance in conformity to the recommended service manual/instruction of the OEM, comprising of regular visits (at least 01 per month) by an authorised factory trained Service Engineer & attending the breakdown calls etc. complete as & when required at site for following two years:-
14.01 | For 1st Year (Maintenance & Monthly Visit) | 12.00 | Month |  | 2500.00 | 30000.00 | 1950.00 | 23400.00 | 2000.00 | 24000.00 | 1750.00 | 21000.00 | 1000.00 | 12000.00 | 20000.00 | 240000.00 | 4500.00 | 54000.00 | 10000.00 | 120000.00 | 100.00 | 1200.00 | 18000.00 | 216000.00 | 1200.00 | SUDHIR ELECTRICALS
14.02 | Supply & Installation of B-check spares for 1st Year | 2.00 | Job |  | 50000.00 | 100000.00 | 8500.00 | 17000.00 | 500.00 | 1000.00 | 12500.00 | 25000.00 | 10000.00 | 20000.00 | 35000.00 | 70000.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 100.00 | 200.00 | 25000.00 | 50000.00 | 200.00 | SUDHIR ELECTRICALS
14.03 | For 2nd Year (Maintenance & Monthly Visit) | 12.00 | Month |  | 2500.00 | 30000.00 | 1950.00 | 23400.00 | 2000.00 | 24000.00 | 2000.00 | 24000.00 | 1000.00 | 12000.00 | 20000.00 | 240000.00 | 6000.00 | 72000.00 | 10000.00 | 120000.00 | 100.00 | 1200.00 | 20000.00 | 240000.00 | 1200.00 | SUDHIR ELECTRICALS
14.04 | Supply & Installation of B-check spares for 2nd Year | 2.00 | Job |  | 50000.00 | 100000.00 | 8500.00 | 17000.00 | 500.00 | 1000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 35000.00 | 70000.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 100.00 | 200.00 | 28000.00 | 56000.00 | 200.00 | SUDHIR ELECTRICALS
15.00 | Supplying of following size of PVC casing & capping of ISI marked as required.
15.01 | 20mm x 12mm | 100.00 | Mtr. |  | 25.00 | 2500.00 | 25.00 | 2500.00 | 4.00 | 400.00 | 12.00 | 1200.00 | 20.00 | 2000.00 | 45.00 | 4500.00 | 20.00 | 2000.00 | 25.00 | 2500.00 | 30.00 | 3000.00 | 25.00 | 2500.00 | 400.00 | NATIONAL SAFETY ENGINEERS
15.02 | 25mm x 16mm | 100.00 | Mtr. |  | 30.00 | 3000.00 | 30.00 | 3000.00 | 5.00 | 500.00 | 15.00 | 1500.00 | 25.00 | 2500.00 | 68.00 | 6800.00 | 25.00 | 2500.00 | 30.00 | 3000.00 | 35.00 | 3500.00 | 35.00 | 3500.00 | 500.00 | NATIONAL SAFETY ENGINEERS
16.00 | Supply of following electrical spares & accessories material as & when required
16.01 | 3.15 mfd capacitor for fans | 50.00 | Each |  | 35.00 | 1750.00 | 30.00 | 1500.00 | 5.00 | 250.00 | 20.00 | 1000.00 | 30.00 | 1500.00 | 65.00 | 3250.00 | 25.00 | 1250.00 | 50.00 | 2500.00 | 10.00 | 500.00 | 55.00 | 2750.00 | 250.00 | NATIONAL SAFETY ENGINEERS
16.02 | Uni. 20A & 10A Switch Socket combined unit box with ceramic base with fixing hole (Gang Box) as required as per site requirement. | 200.00 | Each |  | 100.00 | 20000.00 | 150.00 | 30000.00 | 45.00 | 9000.00 | 100.00 | 20000.00 | 90.00 | 18000.00 | 200.00 | 40000.00 | 150.00 | 30000.00 | 175.00 | 35000.00 | 20.00 | 4000.00 | 155.00 | 31000.00 | 4000.00 | SUDHIR ELECTRICALS
16.03 | Power Strip with 4 universal socket with surge guard and indicator with at least 1.5 m cord suitable for 230 V, 50 Hz supply. | 10.00 | Each |  | 50.00 | 500.00 | 275.00 | 2750.00 | 100.00 | 1000.00 | 350.00 | 3500.00 | 260.00 | 2600.00 | 800.00 | 8000.00 | 450.00 | 4500.00 | 275.00 | 2750.00 | 25.00 | 250.00 | 480.00 | 4800.00 | 250.00 | SUDHIR ELECTRICALS
16.04 | Cordless bell with remote suitable for 230V, 50 Hz, minimum range of 30 m complete as required. | 5.00 | Each |  | 300.00 | 1500.00 | 250.00 | 1250.00 | 70.00 | 350.00 | 450.00 | 2250.00 | 600.00 | 3000.00 | 1800.00 | 9000.00 | 220.00 | 1100.00 | 300.00 | 1500.00 | 50.00 | 250.00 | 850.00 | 4250.00 | 250.00 | SUDHIR ELECTRICALS
16.05 | Ignitor for HPSV luminaries 70-400W sodium vapour. | 100.00 | Each |  | 300.00 | 30000.00 | 150.00 | 15000.00 | 50.00 | 5000.00 | 400.00 | 40000.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 350.00 | 35000.00 | 100.00 | 10000.00 | 20.00 | 2000.00 | 210.00 | 21000.00 | 2000.00 | SUDHIR ELECTRICALS
17.00 | Supply of Fully Automatic Star Delta Starter with protection of single phasing condition, phase reversal condition, phase unbalance condition, with appropriate relay range, suitable for up to 7.5 HP pump, 415V, 50 Hz, with operation mode auto, manual, bypass complete as per site requirement. | 2.00 | Each |  | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 1000.00 | 2000.00 | 8500.00 | 17000.00 | 30000.00 | 60000.00 | 3500.00 | 7000.00 | 9500.00 | 19000.00 | 5000.00 | 10000.00 | 200.00 | 400.00 | 5800.00 | 11600.00 | 400.00 | SUDHIR ELECTRICALS
18.00 | Supply of following Lamps
18.01 | 70 watt HPSV lamps elliptical | 20.00 | Each |  | 400.00 | 8000.00 | 250.00 | 5000.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 1000.00 | 20000.00 | 590.00 | 11800.00 | 350.00 | 7000.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 380.00 | 7600.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
18.02 | 150 watt HPSV Lamp elliptical | 20.00 | Each |  | 500.00 | 10000.00 | 350.00 | 7000.00 | 100.00 | 2000.00 | 250.00 | 5000.00 | 2000.00 | 40000.00 | 750.00 | 15000.00 | 450.00 | 9000.00 | 300.00 | 6000.00 | 120.00 | 2400.00 | 450.00 | 9000.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
18.03 | Supply of T-8, 18W/20W LED Tube Light suitable to retrofit with fitting of 36W. | 200.00 | Each |  | 300.00 | 60000.00 | 200.00 | 40000.00 | 100.00 | 20000.00 | 200.00 | 40000.00 | 460.00 | 92000.00 | 320.00 | 64000.00 | 320.00 | 64000.00 | 350.00 | 70000.00 | 30.00 | 6000.00 | 450.00 | 90000.00 | 6000.00 | SUDHIR ELECTRICALS
19.00 | Supply of COPPER BALLAST open construction suitable for operation on 230V, 50Hz AC supply.
19.01 | 70 watt HPSV | 30.00 | Each |  | 800.00 | 24000.00 | 400.00 | 12000.00 | 100.00 | 3000.00 | 550.00 | 16500.00 | 200.00 | 6000.00 | 1772.00 | 53160.00 | 650.00 | 19500.00 | 550.00 | 16500.00 | 100.00 | 3000.00 | 550.00 | 16500.00 | 3000.00 | SUDHIR ELECTRICALS, NATIONAL SAFETY ENGINEERS
19.02 | 150 watt HPSV | 25.00 | Each |  | 600.00 | 15000.00 | 500.00 | 12500.00 | 150.00 | 3750.00 | 1100.00 | 27500.00 | 400.00 | 10000.00 | 2169.00 | 54225.00 | 750.00 | 18750.00 | 850.00 | 21250.00 | 120.00 | 3000.00 | 850.00 | 21250.00 | 3000.00 | SUDHIR ELECTRICALS
20.00 | Supply of 20 W LED Bulb (white/cool day light/cool white) suitable for operation on 230V, 50Hz AC supply. | 25.00 | Each |  | 150.00 | 3750.00 | 140.00 | 3500.00 | 30.00 | 750.00 | 180.00 | 4500.00 | 180.00 | 4500.00 | 2100.00 | 52500.00 | 220.00 | 5500.00 | 150.00 | 3750.00 | 20.00 | 500.00 | 185.00 | 4625.00 | 500.00 | SUDHIR ELECTRICALS
21.00 | Supply of 12 W LED Bulb (white/cool day light/cool white) suitable for operation on 230V, 50Hz AC supply. | 30.00 | Each |  | 125.00 | 3750.00 | 115.00 | 3450.00 | 25.00 | 750.00 | 130.00 | 3900.00 | 160.00 | 4800.00 | 1800.00 | 54000.00 | 160.00 | 4800.00 | 125.00 | 3750.00 | 20.00 | 600.00 | 165.00 | 4950.00 | 600.00 | SUDHIR ELECTRICALS
22.00 | Supply of Bulb Holder (angled) with inner metal ring suitable for fixing of LED bulb and operation on 230 V, 50 Hz AC supply. | 30.00 | Each |  | 30.00 | 900.00 | 25.00 | 750.00 | 10.00 | 300.00 | 20.00 | 600.00 | 35.00 | 1050.00 | 75.00 | 2250.00 | 60.00 | 1800.00 | 30.00 | 900.00 | 10.00 | 300.00 | 35.00 | 1050.00 | 300.00 | SUDHIR ELECTRICALS, NATIONAL SAFETY ENGINEERS
23.00 | Supply of Flame Retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of AAI approved make of following size and coil length:
23.01 | 1 x 1.5 sqmm (90 meter coil each). | 4.00 | Each |  | 1300.00 | 5200.00 | 1200.00 | 4800.00 | 3.00 | 12.00 | 1600.00 | 6400.00 | 1418.00 | 5672.00 | 2671.00 | 10684.00 | 2100.00 | 8400.00 | 1000.00 | 4000.00 | 100.00 | 400.00 | 1600.00 | 6400.00 | 12.00 | NATIONAL SAFETY ENGINEERS
23.02 | 1 x 2.5 sqmm (90 meter coil each). | 4.00 | Each |  | 2200.00 | 8800.00 | 2000.00 | 8000.00 | 4.00 | 16.00 | 2500.00 | 10000.00 | 2233.00 | 8932.00 | 4250.00 | 17000.00 | 2800.00 | 11200.00 | 1500.00 | 6000.00 | 120.00 | 480.00 | 2200.00 | 8800.00 | 16.00 | NATIONAL SAFETY ENGINEERS
23.03 | 1 x 4.0 sqmm (90 meter coil each). | 4.00 | Each |  | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 5.00 | 20.00 | 3600.00 | 14400.00 | 3265.00 | 13060.00 | 6321.00 | 25284.00 | 3200.00 | 12800.00 | 2500.00 | 10000.00 | 140.00 | 560.00 | 3600.00 | 14400.00 | 20.00 | NATIONAL SAFETY ENGINEERS
24.00 | Supply of Flame Retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694/1990 with latest amendments of AAI approved make of following size and coil length:
24.01 | 3 x 1.5 sqmm (90 meter coil each) | 2.00 | Each |  | 3500.00 | 7000.00 | 4200.00 | 8400.00 | 10.00 | 20.00 | 5500.00 | 11000.00 | 1418.00 | 2836.00 | 9638.00 | 19276.00 | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 200.00 | 400.00 | 5800.00 | 11600.00 | 20.00 | NATIONAL SAFETY ENGINEERS
24.02 | 3 x 2.5 sqmm (90 meter coil each) | 2.00 | Each |  | 3800.00 | 7600.00 | 7500.00 | 15000.00 | 12.00 | 24.00 | 8900.00 | 17800.00 | 2233.00 | 4466.00 | 15455.00 | 30910.00 | 14000.00 | 28000.00 | 8500.00 | 17000.00 | 300.00 | 600.00 | 8500.00 | 17000.00 | 24.00 | NATIONAL SAFETY ENGINEERS
24.03 | 3 x 4.0 sqmm (90 meter coil each) | 2.00 | Each |  | 4500.00 | 9000.00 | 11000.00 | 22000.00 | 15.00 | 30.00 | 13500.00 | 27000.00 | 3265.00 | 6530.00 | 23767.00 | 47534.00 | 18000.00 | 36000.00 | 13000.00 | 26000.00 | 400.00 | 800.00 | 13500.00 | 27000.00 | 30.00 | NATIONAL SAFETY ENGINEERS
25.00 | Supply of Flat Three Core PVC Insulated & PVC Sheathed Industrial Cable suitable for Submersible Pump Motors, 1100 Volts, conforming to IS:694.
25.01 | 4.00 Sqmm | 200.00 | Mtr. |  | 30.00 | 6000.00 | 68.00 | 13600.00 | 20.00 | 4000.00 | 75.00 | 15000.00 | 120.00 | 24000.00 | 45.00 | 9000.00 | 220.00 | 44000.00 | 120.00 | 24000.00 | 8.00 | 1600.00 | 30000.00 | 6000000.00 | 1600.00 | SUDHIR ELECTRICALS
26.00 | Supply of Plug Top of following ratings:
26.01 | 6 Amp | 10.00 | Each |  | 35.00 | 350.00 | 40.00 | 400.00 | 5.00 | 50.00 | 35.00 | 350.00 | 40.00 | 400.00 | 290.00 | 2900.00 | 40.00 | 400.00 | 50.00 | 500.00 | 20.00 | 200.00 | 38.00 | 380.00 | 50.00 | NATIONAL SAFETY ENGINEERS
26.02 | 16 Amp | 10.00 | Each |  | 45.00 | 450.00 | 55.00 | 550.00 | 10.00 | 100.00 | 50.00 | 500.00 | 50.00 | 500.00 | 375.00 | 3750.00 | 60.00 | 600.00 | 75.00 | 750.00 | 30.00 | 300.00 | 55.00 | 550.00 | 100.00 | NATIONAL SAFETY ENGINEERS
27.00 | Supplying of following type MCCB conforming to IS/IEC 60947-2 & IEC 60947-2, 3 pole, 100 %Ics, etc. with fitting/trip mechanism as per site requirement.
27.01 | 3 Pole, 200 Amp breaking capacity 36 KA | 1.00 | Each |  | 8000.00 | 8000.00 | 10.00 | 10.00 | 1500.00 | 1500.00 | 7000.00 | 7000.00 | 9995.00 | 9995.00 | 1000.00 | 1000.00 | 28000.00 | 28000.00 | 7000.00 | 7000.00 | 500.00 | 500.00 | 6500.00 | 6500.00 | 10.00 | ANAND AND COMPANTY
27.02 | 3 Pole, 250 Amp breaking capacity 36 KA | 1.00 | Each |  | 15000.00 | 15000.00 | 10.00 | 10.00 | 2000.00 | 2000.00 | 8000.00 | 8000.00 | 11090.00 | 11090.00 | 1100.00 | 1100.00 | 32000.00 | 32000.00 | 7500.00 | 7500.00 | 600.00 | 600.00 | 7500.00 | 7500.00 | 10.00 | ANAND AND COMPANTY
27.03 | 3 Pole, 400 Amp breaking capacity 50 KA | 1.00 | Each |  | 20000.00 | 20000.00 | 10.00 | 10.00 | 3000.00 | 3000.00 | 10500.00 | 10500.00 | 14375.00 | 14375.00 | 1400.00 | 1400.00 | 45000.00 | 45000.00 | 13000.00 | 13000.00 | 800.00 | 800.00 | 10250.00 | 10250.00 | 10.00 | ANAND AND COMPANTY
28.00 | Supply of Lead Acid battery Sealed Maintenance Free of AAI Approved make with at least 02 years warranty​, 12 V, 180 AH suitable for 160 KVA DG sets. i/c buy back of old batteries. | 4.00 | Each |  | 10500.00 | 42000.00 | 14500.00 | 58000.00 | 5000.00 | 20000.00 | 12500.00 | 50000.00 | 13000.00 | 52000.00 | 16000.00 | 64000.00 | 16000.00 | 64000.00 | 10000.00 | 40000.00 | 1000.00 | 4000.00 | 15800.00 | 63200.00 | 4000.00 | SUDHIR ELECTRICALS
29.00 | Supply of Tube Light for 20W Insect Killer complete as required. | 10.00 | Each |  | 100.00 | 1000.00 | 110.00 | 1100.00 | 50.00 | 500.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 120.00 | 1200.00 | 120.00 | 1200.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 450.00 | 4500.00 | 500.00 | NATIONAL SAFETY ENGINEERS
30.00 | Supply of Starter for Insect Killer of 110/120V complete as required. | 10.00 | Each |  | 100.00 | 1000.00 | 50.00 | 500.00 | 5.00 | 50.00 | 15.00 | 150.00 | 50.00 | 500.00 | 30.00 | 300.00 | 60.00 | 600.00 | 50.00 | 500.00 | 20.00 | 200.00 | 150.00 | 1500.00 | 50.00 | NATIONAL SAFETY ENGINEERS
31.00 | Supply of Tuble Light Holder complete as required. | 50.00 | Each |  | 450.00 | 22500.00 | 30.00 | 1500.00 | 2.00 | 100.00 | 10.00 | 500.00 | 10.00 | 500.00 | 200.00 | 10000.00 | 30.00 | 1500.00 | 50.00 | 2500.00 | 10.00 | 500.00 | 25.00 | 1250.00 | 100.00 | NATIONAL SAFETY ENGINEERS
32.00 | Supply of Dimmer type fan regulator 400 Watt complete as required. | 25.00 | Each |  | 350.00 | 8750.00 | 200.00 | 5000.00 | 50.00 | 1250.00 | 185.00 | 4625.00 | 180.00 | 4500.00 | 100.00 | 2500.00 | 240.00 | 6000.00 | 250.00 | 6250.00 | 20.00 | 500.00 | 255.00 | 6375.00 | 500.00 | SUDHIR ELECTRICALS
33.00 | Supply of 4 Module (4 way) MCB enclosure IP65 rated complete as per site requirement. | 5.00 | Each |  | 450.00 | 2250.00 | 500.00 | 2500.00 | 150.00 | 750.00 | 750.00 | 3750.00 | 950.00 | 4750.00 | 750.00 | 3750.00 | 150.00 | 750.00 | 300.00 | 1500.00 | 50.00 | 250.00 | 1550.00 | 7750.00 | 250.00 | SUDHIR ELECTRICALS
34.00 | Supply of MCB TPN 'C' Series 63 A, 10 KA as per AAI approved make 'C' Series with short circuit fault indicator and suitable for operation on 240 V, 50Hz, 10kA, Single Phase, AC supply. | 10.00 | Each |  | 1500.00 | 15000.00 | 1400.00 | 14000.00 | 400.00 | 4000.00 | 1362.00 | 13620.00 | 1240.00 | 12400.00 | 1000.00 | 10000.00 | 900.00 | 9000.00 | 850.00 | 8500.00 | 250.00 | 2500.00 | 1450.00 | 14500.00 | 2500.00 | SUDHIR ELECTRICALS
35.00 | Supply of following spares of ISI marked for DLP U-PVC trunking system of size 105mm x 50mm as per site requirement.
35.01 | Trunking Body without cover (each of 2 mtr each) | 20.00 | Each |  | 500.00 | 10000.00 | 450.00 | 9000.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 750.00 | 15000.00 | 80.00 | 1600.00 | 450.00 | 9000.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 155.00 | 3100.00 | 1600.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
35.02 | Flexible Full cover width 85 mm (each pc. of 2 mtr each) | 20.00 | Each |  | 600.00 | 12000.00 | 200.00 | 4000.00 | 120.00 | 2400.00 | 250.00 | 5000.00 | 750.00 | 15000.00 | 80.00 | 1600.00 | 700.00 | 14000.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 185.00 | 3700.00 | 1600.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
35.03 | Plastic clip-on partition (each pc. of 2 mtr each) | 20.00 | Each |  | 25.00 | 500.00 | 50.00 | 1000.00 | 110.00 | 2200.00 | 200.00 | 4000.00 | 160.00 | 3200.00 | 80.00 | 1600.00 | 900.00 | 18000.00 | 150.00 | 3000.00 | 20.00 | 400.00 | 15.00 | 300.00 | 300.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
35.04 | End Caps | 30.00 | Each |  | 20.00 | 600.00 | 50.00 | 1500.00 | 20.00 | 600.00 | 90.00 | 2700.00 | 240.00 | 7200.00 | 120.00 | 3600.00 | 180.00 | 5400.00 | 50.00 | 1500.00 | 20.00 | 600.00 | 35.00 | 1050.00 | 600.00 | M/S TURBO POWER AND INFRASTRUCTURE, SUDHIR ELECTRICALS, NATIONAL SAFETY ENGINEERS
36.00 | DSR Items Percentage above/below CPWD Schedule of Rates for E&M (2018) works totaling to Rs.2,50,000/- (Item to be executed as per site requirement) (All DSR items rates to be taken excluding GST) | 1.00 | Job |  | 192500.00 | 192500.00 | 100000.00 | 100000.00 | 87500.00 | 87500.00 | 250000.00 | 250000.00 | 250000.00 | 250000.00 | 225000.00 | 225000.00 | 180000.00 | 180000.00 | 200000.00 | 200000.00 | 200000.00 | 200000.00 | 200000.00 | 200000.00 | 87500.00 | NATIONAL SAFETY ENGINEERS
| Total in Figures |  |  |  |  | 8627350.00 |  | 6145760.00 |  | 7357358.00 |  | 7254101.00 |  | 5891084.00 |  | 8703553.00 |  | 9304840.00 |  | 7875200.00 |  | 5897102.00 |  | 14774531.00
Lowest Amount Quoted BY: R. D. ENGINEERS(5891084.00)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/RHQ/FTC-AMC-EnM/2021-23 Tender ID: 2021_AAI_76289_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | R. D. ENGINEERS | 5891084.00 | L1
| 2 | SUDHIR ELECTRICALS | 5897102.00 | L2
| 3 | ANAND AND COMPANTY | 6145760.00 | L3
| 4 | SRS ENGINEERS | 7254101.00 | L4
| 5 | NATIONAL SAFETY ENGINEERS | 7357358.00 | L5
| 6 | M/s BHARAT ELECTRIC, NAGPUR | 7875200.00 | L6
| 7 | M/S TURBO POWER AND INFRASTRUCTURE | 8627350.00 | L7
| 8 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 8703553.00 | L8
| 9 | Manish Electricals | 9304840.00 | L9
| 10 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 14774531.00 | L10