## BoQ1
Government eProcurement System Created By: Rajnish Parasher Created Date/Time: 22-Jun-2021 05:17 PM Tender Title: Extension and Modification of Baggage Make Up Area at JPNI Airport, Patna Tender ID: 2021_AAI_76298_1
Tender Inviting Authority: <Asstt. G.M. (Engg.-Civil), JPNI Airport, Patna>
Name of Work: <Extension and Modification of Baggage Make Up Area at JPNI Airport, Patna.>
Contract No: <2021_AAI_76298_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VARDHMAN FAB TECH(GSTN-08AEFPJ5451D1ZQ) |  | Fermium Constructions LLP(GSTN-06AADFF1864C1ZU) |  | Vikash Kumar(GSTN-10CHXPK2471H1Z8) |  | M/S KUMAR CONSTRUCTION(GSTN-NA) |  | EESHA ELECTROMECH PVT LTD(GSTN-NA) |  | SUPURAN CONSTRUCTION PVT. LTD.(GSTN-NA) |  | Agile Works Pvt. Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1500.00 | kg | 100.00 | 70.00 | 105000.00 | 65.00 | 97500.00 | 78.00 | 117000.00 | 90.00 | 135000.00 | 80.00 | 120000.00 | 75.00 | 112500.00 | 70.00 | 105000.00 | 97500.00 | Fermium Constructions LLP
2.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 10 average compressive strength in super structure above plinth level up to floor V level in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.00 | Cum | 100.00 | 5000.00 | 25000.00 | 5500.00 | 27500.00 | 6000.00 | 30000.00 | 6500.00 | 32500.00 | 6000.00 | 30000.00 | 6500.00 | 32500.00 | 8000.00 | 40000.00 | 25000.00 | VARDHMAN FAB TECH
3.00 | Half brick masonry with non modular fly ash bricks of class designation 10, conformingio IS :12894, in super structure above plinth and upto floor V level. Cement mortar 1 : 3 (1 cement : 3 coarse sand) | 20.00 | Sqm. | 100.00 | 700.00 | 14000.00 | 700.00 | 14000.00 | 800.00 | 16000.00 | 7000.00 | 140000.00 | 800.00 | 16000.00 | 800.00 | 16000.00 | 1200.00 | 24000.00 | 14000.00 | VARDHMAN FAB TECH, Fermium Constructions LLP
4.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1500.00 | kg | 100.00 | 110.00 | 165000.00 | 100.00 | 150000.00 | 90.00 | 135000.00 | 90.00 | 135000.00 | 95.00 | 142500.00 | 90.00 | 135000.00 | 75.00 | 112500.00 | 112500.00 | Agile Works Pvt. Ltd
5.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 5000.00 | kg | 100.00 | 120.00 | 600000.00 | 100.00 | 500000.00 | 105.00 | 525000.00 | 120.00 | 600000.00 | 110.00 | 550000.00 | 112.00 | 560000.00 | 80.00 | 400000.00 | 400000.00 | Agile Works Pvt. Ltd
6.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 800.00 | kg | 100.00 | 600.00 | 480000.00 | 650.00 | 520000.00 | 500.00 | 400000.00 | 650.00 | 520000.00 | 400.00 | 320000.00 | 465.00 | 372000.00 | 450.00 | 360000.00 | 320000.00 | EESHA ELECTROMECH PVT LTD
7.00 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : 5.5 mm thick glass panes | 10.00 | sqm | 100.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 700.00 | 7000.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 1000.00 | 10000.00 | 550.00 | 5500.00 | 5500.00 | Agile Works Pvt. Ltd
8.00 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | 24.00 | cum | 100.00 | 4500.00 | 108000.00 | 5500.00 | 132000.00 | 6650.00 | 159600.00 | 6000.00 | 144000.00 | 5500.00 | 132000.00 | 7000.00 | 168000.00 | 5200.00 | 124800.00 | 108000.00 | VARDHMAN FAB TECH
9.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Dark shade pigment using ordinary cement | 40.00 | sqm | 100.00 | 450.00 | 18000.00 | 800.00 | 32000.00 | 700.00 | 28000.00 | 600.00 | 24000.00 | 750.00 | 30000.00 | 750.00 | 30000.00 | 970.00 | 38800.00 | 18000.00 | VARDHMAN FAB TECH
10.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 50.00 | sqm | 100.00 | 1100.00 | 55000.00 | 2000.00 | 100000.00 | 1100.00 | 55000.00 | 1100.00 | 55000.00 | 1100.00 | 55000.00 | 1000.00 | 50000.00 | 1000.00 | 50000.00 | 50000.00 | Agile Works Pvt. Ltd, SUPURAN CONSTRUCTION PVT. LTD.
11.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 150.00 | metre | 100.00 | 500.00 | 75000.00 | 500.00 | 75000.00 | 199.00 | 29850.00 | 400.00 | 60000.00 | 400.00 | 60000.00 | 280.00 | 42000.00 | 400.00 | 60000.00 | 29850.00 | Vikash Kumar
12.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 10.00 | each | 100.00 | 450.00 | 4500.00 | 300.00 | 3000.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 180.00 | 1800.00 | 390.00 | 3900.00 | 1500.00 | M/S KUMAR CONSTRUCTION, EESHA ELECTROMECH PVT LTD, Vikash Kumar
13.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 10.00 | each | 100.00 | 400.00 | 4000.00 | 200.00 | 2000.00 | 99.00 | 990.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 105.00 | 1050.00 | 350.00 | 3500.00 | 990.00 | Vikash Kumar
14.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 10.00 | each | 100.00 | 600.00 | 6000.00 | 400.00 | 4000.00 | 99.00 | 990.00 | 90.00 | 900.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 300.00 | 3000.00 | 900.00 | M/S KUMAR CONSTRUCTION
15.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 80.00 | sqm | 100.00 | 300.00 | 24000.00 | 600.00 | 48000.00 | 730.00 | 58400.00 | 1000.00 | 80000.00 | 800.00 | 64000.00 | 750.00 | 60000.00 | 525.00 | 42000.00 | 24000.00 | VARDHMAN FAB TECH
16.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 10.00 | metre | 100.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 425.00 | 4250.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 20.00 | 200.00 | 400.00 | 4000.00 | 200.00 | SUPURAN CONSTRUCTION PVT. LTD.
17.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Gutter (600 mm over all girth) | 10.00 | metre | 100.00 | 1200.00 | 12000.00 | 1500.00 | 15000.00 | 699.00 | 6990.00 | 350.00 | 3500.00 | 600.00 | 6000.00 | 900.00 | 9000.00 | 400.00 | 4000.00 | 3500.00 | M/S KUMAR CONSTRUCTION
18.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 100.00 | sqm | 100.00 | 400.00 | 40000.00 | 200.00 | 20000.00 | 190.00 | 19000.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 20.00 | 2000.00 | 250.00 | 25000.00 | 2000.00 | SUPURAN CONSTRUCTION PVT. LTD.
19.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 500.00 | sqm | 100.00 | 100.00 | 50000.00 | 80.00 | 40000.00 | 20.00 | 10000.00 | 30.00 | 15000.00 | 55.00 | 27500.00 | 50.00 | 25000.00 | 65.00 | 32500.00 | 10000.00 | Vikash Kumar
20.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 400.00 | sqm | 100.00 | 120.00 | 48000.00 | 90.00 | 36000.00 | 80.00 | 32000.00 | 100.00 | 40000.00 | 180.00 | 72000.00 | 95.00 | 38000.00 | 100.00 | 40000.00 | 32000.00 | Vikash Kumar
21.00 | Painting with aluminium paint of approved brand and manufacture to give an even shade . Two or more coats on new work | 20.00 | sqm | 100.00 | 150.00 | 3000.00 | 120.00 | 2400.00 | 90.00 | 1800.00 | 110.00 | 2200.00 | 500.00 | 10000.00 | 102.00 | 2040.00 | 140.00 | 2800.00 | 1800.00 | Vikash Kumar
22.00 | Floor painting with floor enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work | 50.00 | sqm | 100.00 | 200.00 | 10000.00 | 120.00 | 6000.00 | 110.00 | 5500.00 | 90.00 | 4500.00 | 320.00 | 16000.00 | 114.00 | 5700.00 | 120.00 | 6000.00 | 4500.00 | M/S KUMAR CONSTRUCTION
23.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 80.00 | sqm | 100.00 | 100.00 | 8000.00 | 60.00 | 4800.00 | 110.00 | 8800.00 | 90.00 | 7200.00 | 50.00 | 4000.00 | 90.00 | 7200.00 | 75.00 | 6000.00 | 4000.00 | EESHA ELECTROMECH PVT LTD
24.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 500.00 | Sqm. | 100.00 | 30.00 | 15000.00 | 20.00 | 10000.00 | 5.00 | 2500.00 | 50.00 | 25000.00 | 50.00 | 25000.00 | 15.00 | 7500.00 | 10.00 | 5000.00 | 2500.00 | Vikash Kumar
25.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 500.00 | Sqm. | 100.00 | 100.00 | 50000.00 | 130.00 | 65000.00 | 40.00 | 20000.00 | 100.00 | 50000.00 | 140.00 | 70000.00 | 90.00 | 45000.00 | 120.00 | 60000.00 | 20000.00 | Vikash Kumar
26.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 30.00 | Sqm. | 100.00 | 450.00 | 13500.00 | 100.00 | 3000.00 | 150.00 | 4500.00 | 400.00 | 12000.00 | 350.00 | 10500.00 | 400.00 | 12000.00 | 250.00 | 7500.00 | 3000.00 | Fermium Constructions LLP
27.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 50.00 | kg | 100.00 | 30.00 | 1500.00 | 20.00 | 1000.00 | 3.00 | 150.00 | 5.00 | 250.00 | 10.00 | 500.00 | 3.00 | 150.00 | 15.00 | 750.00 | 150.00 | Vikash Kumar, SUPURAN CONSTRUCTION PVT. LTD.
28.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 10.00 | cum | 100.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 50.00 | 500.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 100.00 | 1000.00 | 500.00 | 5000.00 | 500.00 | Vikash Kumar
29.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 20.00 | sqm | 100.00 | 700.00 | 14000.00 | 800.00 | 16000.00 | 750.00 | 15000.00 | 600.00 | 12000.00 | 700.00 | 14000.00 | 20.00 | 400.00 | 700.00 | 14000.00 | 400.00 | SUPURAN CONSTRUCTION PVT. LTD.
30.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 250.00 | sqm | 100.00 | 200.00 | 50000.00 | 100.00 | 25000.00 | 80.00 | 20000.00 | 30.00 | 7500.00 | 650.00 | 162500.00 | 60.00 | 15000.00 | 120.00 | 30000.00 | 7500.00 | M/S KUMAR CONSTRUCTION
31.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineerin- charge. (Old CC paver blocks shall be supplied by the department free of cost). | 150.00 | sqm | 100.00 | 300.00 | 45000.00 | 200.00 | 30000.00 | 200.00 | 30000.00 | 300.00 | 45000.00 | 300.00 | 45000.00 | 200.00 | 30000.00 | 175.00 | 26250.00 | 26250.00 | Agile Works Pvt. Ltd
32.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 400.00 | sqm | 100.00 | 800.00 | 320000.00 | 800.00 | 320000.00 | 860.00 | 344000.00 | 1100.00 | 440000.00 | 600.00 | 240000.00 | 800.00 | 320000.00 | 700.00 | 280000.00 | 240000.00 | EESHA ELECTROMECH PVT LTD
33.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 700.00 | kg | 100.00 | 500.00 | 350000.00 | 450.00 | 315000.00 | 350.00 | 245000.00 | 600.00 | 420000.00 | 350.00 | 245000.00 | 400.00 | 280000.00 | 320.00 | 224000.00 | 224000.00 | Agile Works Pvt. Ltd
34.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 200.00 | kg | 100.00 | 550.00 | 110000.00 | 500.00 | 100000.00 | 390.00 | 78000.00 | 450.00 | 90000.00 | 390.00 | 78000.00 | 460.00 | 92000.00 | 320.00 | 64000.00 | 64000.00 | Agile Works Pvt. Ltd
35.00 | Providing and fixing 14mm thick (minimum) Polycarbonate sheet roofing of extruded cellular structure UV protected polycarbonate panels incorporated into a complete system.Co‐extruded UV protected polycarbonate panel system of DPI Daylighting to ensure best performance and visual appearance. Panels shall have truss type bracing cell structure for better stability against wind uplift forces in roof application. Panels shall provide angular day lighting inside the building through their alternate angular louver system and also in combination of direct light transmitting system. Panels shall be fixed on with Special Aluminium Connectors to interlock the panels with snap on / click-on / grip lock mechanism to ensure maximum stability and to give a flushed screen facade. The panels shall be fixed over structural steel / MS framework and be secured with Snap-On connectors at all levels including all accessories like screws, trims etc. A water- tight Connection with adjacent structure by flashing to make leak proof screen system conforming to specifications and directions of Engineer-in-Charge. End-cap/Aluminium U-profile (mill finish) for ends. Shades of colors, all complete as per satisfaction and direction of the Engineer-in-Charge | 600.00 | sqm | 100.00 | 3500.00 | 2100000.00 | 1200.00 | 720000.00 | 3300.00 | 1980000.00 | 2000.00 | 1200000.00 | 2000.00 | 1200000.00 | 3200.00 | 1920000.00 | 2500.00 | 1500000.00 | 720000.00 | Fermium Constructions LLP
36.00 | Providing & fixing 8 mm thick polycarbonate sheet roofing , including fixing with bolts & nuts. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheet should be of uniform pigmentation and thickness without air pockets. The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified all complete as per direction and satisfaction of of of E.I.C. | 50.00 | sqm | 100.00 | 3000.00 | 150000.00 | 800.00 | 40000.00 | 150.00 | 7500.00 | 1800.00 | 90000.00 | 1500.00 | 75000.00 | 100.00 | 5000.00 | 750.00 | 37500.00 | 5000.00 | SUPURAN CONSTRUCTION PVT. LTD.
37.00 | [Structural Steel to be provided by the department] Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete as per the direction and satisfaction of Engg.-In-Charge. | 200.00 | kg | 100.00 | 60.00 | 12000.00 | 30.00 | 6000.00 | 25.00 | 5000.00 | 30.00 | 6000.00 | 35.00 | 7000.00 | 14.00 | 2800.00 | 80.00 | 16000.00 | 2800.00 | SUPURAN CONSTRUCTION PVT. LTD.
38.00 | Manufacturing, supplying and fixing retro reflective overhead signage boards made up of 1.5-2 mm thick aluminium sheet, face to be fully covered with high intensity retro reflective sheeting pasted on substrate by pressure sensitive adhesive backing which shall be activated by applying pressure and fixing the same to the plate of structural frame work rivets or bolts & nuts approximately @ 300 mm centre to centre all along the periphery, including the cost of painting with two or more coats of epoxy paint on the back side of aluminium sheet including appropriate priming coat. The rate includes the cost of rounding off the corners, fixing and erecting the same in position all complete as per drawings, specification and direction of the engineer-incharge. (Structural frame work including M.S. plate to be provided separately. Rectangular area of the sheet only shall be measured for payment). Informatory road signage | 25.00 | sqm | 100.00 | 1200.00 | 30000.00 | 3500.00 | 87500.00 | 3500.00 | 87500.00 | 5000.00 | 125000.00 | 8000.00 | 200000.00 | 3000.00 | 75000.00 | 4000.00 | 100000.00 | 30000.00 | VARDHMAN FAB TECH
39.00 | Providing Structural Consultancy for the design of the footing,truss, roofing and allied structures of the shed work in the airside of the Terminal building of JPNI Airport, Patna in the area adjoining existing Baggage Make-Up Area as per relevant design codes and Airport manuals including load calculation and preparation and providing of structural drawings and good for fabrication, erection and construction drawings and getting the drawings vetted by reputed engineering college e.g. Indian Institute of Technology/ National Institute of Technology or other reputed engineering college as approved by Engineer-In-Charge, all complete as per direction and satisfaction of Engineer-In-Charge. (This item shall be executed with the prior approval of Engineer In-charge after verification of the the experience of the consultant.) | 1.00 | Job | 100.00 | 50000.00 | 50000.00 | 50000.00 | 50000.00 | 100000.00 | 100000.00 | 50000.00 | 50000.00 | 250000.00 | 250000.00 | 120000.00 | 120000.00 | 75000.00 | 75000.00 | 50000.00 | VARDHMAN FAB TECH, M/S KUMAR CONSTRUCTION, Fermium Constructions LLP
40.00 | Credit items for taking dismantle Iron/Steel to be taken by the agency out side the premises of Airport at own transportation, loading, unloading etc all cost complete as per direction of E-I-C. | 200.00 | kg | 100.00 | 20.00 | -4000.00 | 20.00 | -4000.00 | 22.00 | -4400.00 | 15.00 | -3000.00 | 12.00 | -2400.00 | 14.00 | -2800.00 | 50.00 | -10000.00 | -10000.00 | Agile Works Pvt. Ltd
41.00 | Credit items for taking dismantle Aluminium to be taken by the agency out side the premises of Airport at own transportation, loading, unloading etc all cost complete as per direction of E-I-C. | 200.00 | kg | 100.00 | 100.00 | -20000.00 | 60.00 | -12000.00 | 90.00 | -18000.00 | 100.00 | -20000.00 | 40.00 | -8000.00 | 60.00 | -12000.00 | 250.00 | -50000.00 | -50000.00 | Agile Works Pvt. Ltd
| Total in Figures |  |  |  |  | 5155500.00 |  | 3622700.00 |  | 4569920.00 |  | 4596550.00 |  | 4318100.00 |  | 4592040.00 |  | 3878300.00
Lowest Amount Quoted BY: Fermium Constructions LLP(3622700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension and Modification of Baggage Make Up Area at JPNI Airport, Patna Tender ID: 2021_AAI_76298_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Fermium Constructions LLP | 3622700.00 | L1
| 2 | Agile Works Pvt. Ltd | 3878300.00 | L2
| 3 | EESHA ELECTROMECH PVT LTD | 4318100.00 | L3
| 4 | Vikash Kumar | 4569920.00 | L4
| 5 | SUPURAN CONSTRUCTION PVT. LTD. | 4592040.00 | L5
| 6 | M/S KUMAR CONSTRUCTION | 4596550.00 | L6
| 7 | VARDHMAN FAB TECH | 5155500.00 | L7