## BoQ1
Government eProcurement System Created By: ORATHY PERUMAL ELUMALAI Created Date/Time: 18-May-2021 03:25 PM Tender Title: Comprehensive Maintenance Contract of VRF, Cassette, Floor Stand Split Type Air Conditioning Units at Tirupati Airport Tender ID: 2021_AAI_76489_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Tirupati Airport.
Name of Work: ARMO of E&M Installations at Tirupati Airport for the year 2021-23. Sub Head: Comprehensive Maintenance Contract of VRF, Cassette, Floor Stand & Split Type Air-Conditioning Units at Tirupati Airport.
Contract No: AAI/TPT/ENGG(E)/M-01/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VEERABABU COMFORT COOL SYSTEM(GSTN-37BKKPM2510E1ZF) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | AIRTECH ENGINEERS(GSTN-27AJHPB7042D1ZM) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | M/S B COOL AIRCONDITIONS(GSTN-NA) |  | Zamzam Refrigeration and airconditioning(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance of following 3phase / 1phase Airconditioners and Water Coolers of different makes which includes periodical servicing as per the manufacturer's recommendation and replacement of spares like Capacitors, Relays, Electronic Controller (PCB), Selector switch, filters, electrical interconnections, rewinding of burnt out fan motor, blowers, any sheet metal work, replacement of defective compressor with new including leak test, Gas charging (R22 / R32 / R410 / R134A) etc and as per direction of Engineer-in-charge with approved shade etc, as required. - FIRST YEAR
1.10 | 4.0 Ton Cassette Type Airconditioners. | 11.00 | Each Per Annum |  | 6000.00 | 66000.00 | 6500.00 | 71500.00 | 4500.00 | 49500.00 | 4200.00 | 46200.00 | 8000.00 | 88000.00 | 2800.00 | 30800.00 | 30800.00 | Zamzam Refrigeration and airconditioning
1.20 | 3.0 Ton to 4.0 Ton Floor Stand Type Airconditioners. | 20.00 | Each Per Annum |  | 5500.00 | 110000.00 | 6000.00 | 120000.00 | 4500.00 | 90000.00 | 4000.00 | 80000.00 | 8000.00 | 160000.00 | 2800.00 | 56000.00 | 56000.00 | Zamzam Refrigeration and airconditioning
1.30 | 2.0 Ton Split Type Airconditioners. (Inverter/Convention type) | 27.00 | Each Per Annum |  | 4000.00 | 108000.00 | 4500.00 | 121500.00 | 4000.00 | 108000.00 | 3800.00 | 102600.00 | 4000.00 | 108000.00 | 2800.00 | 75600.00 | 75600.00 | Zamzam Refrigeration and airconditioning
1.40 | 1.5 Ton Split Type Airconditioners (Inverter/Convention type) | 68.00 | Each Per Annum |  | 3850.00 | 261800.00 | 3500.00 | 238000.00 | 3000.00 | 204000.00 | 3800.00 | 258400.00 | 3000.00 | 204000.00 | 2800.00 | 190400.00 | 190400.00 | Zamzam Refrigeration and airconditioning
1.50 | 1.0 Ton Split Type Airconditioners. (Inverter/Convention type) | 12.00 | Each Per Annum |  | 3000.00 | 36000.00 | 2500.00 | 30000.00 | 3000.00 | 36000.00 | 3800.00 | 45600.00 | 2300.00 | 27600.00 | 2800.00 | 33600.00 | 27600.00 | M/S B COOL AIRCONDITIONS
1.60 | Comprehensive Maintenance VRF Air-Conditioning System consisting of 08 HP outdoor unit with top discharge, 06 numbers of 1.0 TR ductable indoor and providing all necessary consumables and spares. (Location: NITB front side offices.) | 1.00 | Each Per Annum |  | 55000.00 | 55000.00 | 96000.00 | 96000.00 | 65000.00 | 65000.00 | 90000.00 | 90000.00 | 20000.00 | 20000.00 | 125000.00 | 125000.00 | 20000.00 | M/S B COOL AIRCONDITIONS
1.70 | Comprehensive Maintenance VRF Air-Conditioning System Consisting of 10 HP Outdor Unit with top discharge, 09 numbers of 1.0 TR ductable indoor unit (R410A Refrigerant) of BLUESTAR make including and providing all necessary consumables and spares. (Location: NITB city side ticketing counters.) | 1.00 | Each Per Annum |  | 60000.00 | 60000.00 | 130000.00 | 130000.00 | 96000.00 | 96000.00 | 90000.00 | 90000.00 | 23500.00 | 23500.00 | 125000.00 | 125000.00 | 23500.00 | M/S B COOL AIRCONDITIONS
1.80 | Comprehensive Maintenance VRF Air-Conditioning System Consisting of 10 HP Outdor Unit with top discharge, 05 numbers of 1.5 TR and 01 number of 2.0 TR ductable indoor unit (R410A Refrigerant) of BLUESTAR make including and providing all necessary consumables and spares. (Location: Backup Offices.) | 1.00 | Each Per Annum |  | 60000.00 | 60000.00 | 130000.00 | 130000.00 | 100000.00 | 100000.00 | 90000.00 | 90000.00 | 23500.00 | 23500.00 | 125000.00 | 125000.00 | 23500.00 | M/S B COOL AIRCONDITIONS
2.00 | Comprehensive Maintenance of following 3phase / 1phase Airconditioners and Water Coolers of different makes which includes periodical servicing as per the manufacturer's recommendation and replacement of spares like Capacitors, Relays, Electronic Controller (PCB), Selector switch, filters, electrical interconnections, rewinding of burnt out fan motor, blowers, any sheet metal work, replacement of defective compressor with new including leak test, Gas charging (R22 / R32 / R410 / R134A) etc and as per direction of Engineer-in-charge with approved shade etc, as required - SECOND YEAR
2.10 | 4.0 Ton Cassette Type Airconditioners. | 11.00 | Each Per Annum |  | 6000.00 | 66000.00 | 6500.00 | 71500.00 | 4500.00 | 49500.00 | 4300.00 | 47300.00 | 8100.00 | 89100.00 | 2800.00 | 30800.00 | 30800.00 | Zamzam Refrigeration and airconditioning
2.20 | 4.0 Ton Floor Stand Type Airconditioners. | 20.00 | Each Per Annum |  | 5500.00 | 110000.00 | 6000.00 | 120000.00 | 4500.00 | 90000.00 | 4000.00 | 80000.00 | 8100.00 | 162000.00 | 2800.00 | 56000.00 | 56000.00 | Zamzam Refrigeration and airconditioning
2.30 | 2.0 Ton Split Type Airconditioners. (Inverter/Convention type) | 27.00 | Each Per Annum |  | 4000.00 | 108000.00 | 4500.00 | 121500.00 | 4000.00 | 108000.00 | 3800.00 | 102600.00 | 4100.00 | 110700.00 | 2800.00 | 75600.00 | 75600.00 | Zamzam Refrigeration and airconditioning
2.40 | 1.5 Ton Split Type Airconditioners (Inverter/Convention type) | 68.00 | Each Per Annum |  | 3850.00 | 261800.00 | 3500.00 | 238000.00 | 3000.00 | 204000.00 | 3800.00 | 258400.00 | 3300.00 | 224400.00 | 2800.00 | 190400.00 | 190400.00 | Zamzam Refrigeration and airconditioning
2.50 | 1.0 Ton Split Type Airconditioners. (Inverter/Convention type) | 12.00 | Each Per Annum |  | 3000.00 | 36000.00 | 2500.00 | 30000.00 | 3000.00 | 36000.00 | 3800.00 | 45600.00 | 2300.00 | 27600.00 | 2800.00 | 33600.00 | 27600.00 | M/S B COOL AIRCONDITIONS
2.60 | Comprehensive Maintenance VRF Air-Conditioning System consisting of 08 HP outdoor unit with top discharge, 06 numbers of 1.0 TR ductable indoor and providing all necessary consumables and spares. (Location: NITB front side offices.) | 1.00 | Each Per Annum |  | 55000.00 | 55000.00 | 96000.00 | 96000.00 | 75000.00 | 75000.00 | 90000.00 | 90000.00 | 25000.00 | 25000.00 | 200000.00 | 200000.00 | 25000.00 | M/S B COOL AIRCONDITIONS
2.70 | Comprehensive Maintenance VRF Air-Conditioning System Consisting of 10 HP Outdor Unit with top discharge, 09 numbers of 1.0 TR ductable indoor unit (R410A Refrigerant) of BLUESTAR make including and providing all necessary consumables and spares. (Location: NITB city side ticketing counters.) | 1.00 | Each Per Annum |  | 60000.00 | 60000.00 | 130000.00 | 130000.00 | 100000.00 | 100000.00 | 90000.00 | 90000.00 | 28000.00 | 28000.00 | 200000.00 | 200000.00 | 28000.00 | M/S B COOL AIRCONDITIONS
2.80 | Comprehensive Maintenance VRF Air-Conditioning System Consisting of 10 HP Outdor Unit with top discharge, 05 numbers of 1.5 TR and 01 number of 2.0 TR ductable indoor unit (R410A Refrigerant) of BLUESTAR make including and providing all necessary consumables and spares. (Location: Backup Offices.) | 1.00 | Each Per Annum |  | 60000.00 | 60000.00 | 130000.00 | 130000.00 | 110000.00 | 110000.00 | 90000.00 | 90000.00 | 28000.00 | 28000.00 | 200000.00 | 200000.00 | 28000.00 | M/S B COOL AIRCONDITIONS
3.00 | Dismantling & Reinstallation of Indoor and Outdoor unit of 1.5TR/2.0TR Air-Conditioner to any location as specified by AAI, including pipe connection complete etc. as required. | 6.00 | Each |  | 1700.00 | 10200.00 | 2500.00 | 15000.00 | 2000.00 | 12000.00 | 1200.00 | 7200.00 | 1400.00 | 8400.00 | 1500.00 | 9000.00 | 7200.00 | M K ENTERPRISES
4.00 | Installation, Testing and Commissioning of Indoor and Outdoor unit of 1.5TR/2.0TR Air-Condtioner to any location as specified by AAI including pipe connection complete etc. as required. | 5.00 | Each |  | 1230.00 | 6150.00 | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 1500.00 | 7500.00 | 5000.00 | M/S B COOL AIRCONDITIONS
5.00 | Supply, Laying and connecting of OEM recommended copper refrigerent piping (liquid and gas) with Nitrile Rubber insulation of thickness not less than 13mm and with all other accessories suitable for 1 phase, 1.5TR split AC including covering the Copper piping with suitable size casing capping / PVC pipe etc. complete as required (Length of liquid and gas line will be measured as single measurement). | 10.00 | Meter |  | 1299.00 | 12990.00 | 550.00 | 5500.00 | 950.00 | 9500.00 | 350.00 | 3500.00 | 600.00 | 6000.00 | 900.00 | 9000.00 | 3500.00 | M K ENTERPRISES
6.00 | Supply, Laying and connecting of OEM recommended copper refrigerent piping (liquid and gas) with Nitrile Rubber insulation of thickness not less than 13mm and with all other accessories suitable for 1 phase, 2.0TR split AC including covering the copper piping with suitable size casing cappint / PVC pipe etc. complete as required (Length of Liquid and gas line will be measured as single measurement). | 10.00 | Meter |  | 1300.00 | 13000.00 | 600.00 | 6000.00 | 950.00 | 9500.00 | 350.00 | 3500.00 | 490.00 | 4900.00 | 900.00 | 9000.00 | 3500.00 | M K ENTERPRISES
7.00 | Supply and laying / fixing of ISI marked CPVC pipe of 20mm dia with required bends / connectors on surface / suspension for draining out the water including interconnection of drain pipe etc. complete as required. | 15.00 | Meter |  | 100.00 | 1500.00 | 120.00 | 1800.00 | 35.00 | 525.00 | 80.00 | 1200.00 | 500.00 | 7500.00 | 200.00 | 3000.00 | 525.00 | AIRTECH ENGINEERS
| Total in Figures |  |  |  |  | 1557440.00 |  | 1917300.00 |  | 1560025.00 |  | 1634600.00 |  | 1381200.00 |  | 1785300.00
Lowest Amount Quoted BY: M/S B COOL AIRCONDITIONS(1381200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract of VRF, Cassette, Floor Stand Split Type Air Conditioning Units at Tirupati Airport Tender ID: 2021_AAI_76489_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S B COOL AIRCONDITIONS | 1381200.00 | L1
| 2 | VEERABABU COMFORT COOL SYSTEM | 1557440.00 | L2
| 3 | AIRTECH ENGINEERS | 1560025.00 | L3
| 4 | M K ENTERPRISES | 1634600.00 | L4
| 5 | Zamzam Refrigeration and airconditioning | 1785300.00 | L5
| 6 | ROSHAN REFRIGERATION AND ELECTRICALS | 1917300.00 | L6