## BoQ1
Government eProcurement System Created By: Pushkar Pagnis Created Date/Time: 31-Aug-2021 04:11 PM Tender Title: Construction of Terminal Building and associated works at aleh Airport. SH SITC of additional Elevators and Escalators. Tender ID: 2021_AAI_76574_1
Tender Inviting Authority: Sr. Manager (Engg.-E) Airports Authority of India O/o GM-Project KBR Airport, Leh UT of Ladakh- 194101
Name of Work:Construction of Terminal Building & associated works at Leh Airport. SH: SITC of additional Elevators & Escalators
Contract No: BID No:- 2021_AAI_76574_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD) |  | thyssenkrupp Elevator (India) Pvt Ltd(GSTN-07AABCT6921F1ZG)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, engineering, fabrication, assembly at shop, inspection, shop painting (primer + finish coat), testing at manufacturer's work, packing, supply, storage & assembly at work site, installation, testing, site painting, pre-commissioning, commissioning of following Electric Traction Type fully automatc machine room less (MRL) Passenger elevator(Outdoor) microprocessor based with AC variable voltage & variable frequency drive unit suitable for operation on 415 V, 3 phase, 50 Hz Ac supply, automatic central opening type Framed (SS hairline finish) Fire rated glass car & landing doors of width 1000 mm, SS constructed full car enclosure with hairline finish, polished granite car flooring, SS (hairline finish) car ceiling, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, emergency light, intercom suitable for hook up with EPBAX system, infrared full height curtain electronic door detection system, fire man's switch with hammer at main landing floors, digital car positions indicator in car & at all floors with UP/Down direction, LED car lighting & LED emergency lighting with battery & battery charger, ventilation fan/ blower, main beam in shaft for machine, pit ladder, pit buffer etc.complete with all accessories serving different floors in the lift shaft along with Automatic Resue Device (ARD) complete with maintenance free batteries as required including supply of all commissioning spares, special tools and tackles, test weights, erection material, first fill of oils, lubricants, consumables etc., training to client's personel at site, drawings and documentation as per the enclosed scope of work, job specifications and other codes & standards attached or referred.
1.01 | Lift No. 10, 11 & 12 (Passenger Lifts), 16 Passenger / 1088 Kg load, Speed of 1m/ sec, Travel rise of 3.3 meters, Two Landings, Door openings are on opposite side, Simplex collective operation | 3.00 | Job |  | 3724381.00 | 11173143.00 | 5490622.00 | 16471866.00 | 11173143.00 | Johnson Lifts Pvt Ltd
1.02 | Lift No. 13, 14 & 15 (Passenger Lifts), 16 Passenger / 1088 Kg load, Speed of 1m/ sec., Travel rise of 9.0 meters, Two Landings, Door openings are on opposite side, Simplex collective operation | 3.00 | Job |  | 3761619.00 | 11284857.00 | 5565796.00 | 16697388.00 | 11284857.00 | Johnson Lifts Pvt Ltd
2.00 | Design, engineering, fabrication, assembly at shop, inspection, shop painting (primer + finish coat), testing at manufacturer's work, packing, supply,storage at work site, assembly at work site, installation, testing, site painting, pre-commissioning, commissioning of following Step reversible Escalators (outdoor)conforming to IS:4591 (latest) having capacity of 6000 passengers per hour at an operating speed of 30 linear meter per minute (0.5 meter per second), having step width not less than 1000mm between interior panel, complete with drive mechanism, emergency push Buttons at upper, intermediate and lower newel post, overspeed governor, combplate at both the landings, solid balustrading along with moving handrails, machine room for housing machines of escalator, all operating & safety devices complete as required for operation on 415 V ± 10%, 3 phase, 50 Hz Ac supply including supply of all commissioning spares, special tools and tackles, erection material, first fill of oils, lubricants, consumables etc., training to client's personel at site, drawings and documentation as per the enclosed scope of work, job specifications and other codes and standards attached or referred.
2.01 | Escalator No. 2A & 2B from Level-2 to Level -1 with total travel rise of 4.05 meters, Angle of inclination 35⁰ | 2.00 | Job |  | 3929000.00 | 7858000.00 | 5484264.50 | 10968529.00 | 7858000.00 | Johnson Lifts Pvt Ltd
2.02 | Escalator No. 5, 6 & 7 from Level-2 to Level -1A with total travel rise of 3.6 meters, Angle of inclination 35⁰ | 3.00 | Job |  | 3857000.00 | 11571000.00 | 5709739.00 | 17129217.00 | 11571000.00 | Johnson Lifts Pvt Ltd
2.03 | Escalator No. 8,9 & 10 from Level-1A to Level -3 with total travel rise of 9.0 meters, Angle of inclination 30⁰ | 3.00 | Job |  | 6551000.00 | 19653000.00 | 8956600.00 | 26869800.00 | 19653000.00 | Johnson Lifts Pvt Ltd
3.00 | All Inclusive Comprehensive Annual Maintenance Contract (AICMC) for 06 nos. passenger Lifts (Lift no. 10,11,12,13,14 & 15) and 08 nos. Escalators (Escalator No. 2A, 2B, 5,6,7,8,9 & 10) as provided under the main contract including trouble shooting, preventive & breakdown maintenance, man-trap rescue services, spares etc. as per enclosed scope of work, job specifications and other documents attached or reffered. Note :Rate not to be Quoted by Bidder (The AICMC cost will be determined on the basis of pre-fixed percentage for Item No 3.03 to 3.07)
3.01 | 1st Year of Defect Liability Period
3.02 | 2nd year of Defect Liability Period
3.03 | 1st Year after DLP ( 4 % of Total SITC cost of Item No 1.01,1.02,2.01,2.02 and 2.03)
3.04 | 2nd Year after DLP ( yearly 7 % cumulative enchancement on first year cost shall be applicable for Second year)
3.05 | 3rd Year after DLP ( yearly 7 % cumulative enchancement on second year cost shall be applicable for Third year)
3.06 | 4th Year after DLP ( yearly 7% cumulative enchancement on third year cost shall be applicable for Fourth year)
3.07 | 5th Year after DLP ( yearly 7% cumulative enchancement on Fourth year cost shall be applicable for Fifth year)
| Total in Figures |  |  |  |  | 61540000.00 |  | 88136800.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | Johnson Lifts Pvt Ltd | 61540000 | 61440000.00 | Six Crore Fourteen Lakh Fourty Thousand
2 | thyssenkrupp Elevator (India) Pvt Ltd | 61540000 | Not Quoted | Not Quoted
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(6.144E7)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Terminal Building and associated works at aleh Airport. SH SITC of additional Elevators and Escalators. Tender ID: 2021_AAI_76574_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd | 61540000.00 | L1
| 2 | thyssenkrupp Elevator (India) Pvt Ltd | 88136800.00 | L2