## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 14-Jun-2021 12:09 PM Tender Title: Replacement of FRP fan assembly of Mihir make Cooling Tower at S.V. Airport, Raipur. Tender ID: 2021_AAI_76745_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Replacement of FRP fan assembly of Mihir make Cooling Tower at S.V. Airport, Raipur.
Contract No: 2021_AAI_76745
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PRIYA ENETRPRISES(GSTN-27AAIPR8982N1ZK) |  | SONA COOLING TOWERS(GSTN-07ADNPC8873D1ZD) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | NIRVANA TECHNOLOGIES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of FRP Fan Assembly (2400mm dia.) comprising of Fan Blades, Fan Hub, Fan blade clamps and hardware suitable for Cooling Tower Mihir Make Model No. FM16/7.5E/10 complete etc as required. | 3.00 | Set | 84335.00 | 63000.00 | 189000.00 | 56800.00 | 170400.00 | 109000.00 | 327000.00 | 14500.00 | 43500.00 | 43500.00 | NIRVANA TECHNOLOGIES
2.00 | Supply of PVC Fills of (size 825 x 300 x 300 mm), complete etc as required. | 273.00 | Nos. | 581.00 | 576.00 | 157248.00 | 545.00 | 148785.00 | 780.00 | 212940.00 | 290.00 | 79170.00 | 79170.00 | NIRVANA TECHNOLOGIES
3.00 | Supply of PVC Fills of (size 825 x 150 x 150 mm), complete etc as required. | 273.00 | Nos. | 247.00 | 153.00 | 41769.00 | 280.00 | 76440.00 | 320.00 | 87360.00 | 175.00 | 47775.00 | 41769.00 | PRIYA ENETRPRISES
4.00 | Supply of PVC Eliminator of ( size1200 x 600 x 100 mm), complete etc as required. | 51.00 | Nos. | 899.00 | 1240.00 | 63240.00 | 845.00 | 43095.00 | 1200.00 | 61200.00 | 640.00 | 32640.00 | 32640.00 | NIRVANA TECHNOLOGIES
5.00 | Water Distribution system [Comprising of Main Header (200 x 3450 mm : 1 No.), Branch Pipes (90 x 1730 mm 4 Nos. & 90 x 1380 mm 4 Nos.), Tail Piece (200 mm 1 No.), FlangeE (200 mm 1 No.), Nozzles - 20 Nos.], complete etc as required. Capacity : 3969 LPM, Water entering temperature : 37.0 Deg.C , Water leaving temperature : 32.2 Deg.C, (Total count 01 Set) complete etc as required. | 3.00 | Set | 64438.00 | 63000.00 | 189000.00 | 34800.00 | 104400.00 | 86800.00 | 260400.00 | 110000.00 | 330000.00 | 104400.00 | SONA COOLING TOWERS
6.00 | Supply of Float valve set (bronze), comes with Ball, Aluminium rod and PVC Ball Cock-25mm, complete etc as required. | 6.00 | Nos. | 758.00 | 900.00 | 5400.00 | 1250.00 | 7500.00 | 1000.00 | 6000.00 | 3000.00 | 18000.00 | 5400.00 | PRIYA ENETRPRISES
7.00 | Installation, testing & commssioning of FRP fan aasenbly, pvc fills, pvc eliminator, float valve, complete etc as required. | 3.00 | Job | 22725.00 | 32500.00 | 97500.00 | 28700.00 | 86100.00 | 15000.00 | 45000.00 | 40000.00 | 120000.00 | 45000.00 | M/S DURGA SUPPLY AGENCIES
8.00 | Supply of Spare Fan Motor suitable to operate on 3 phase 415 + 10% voltage variation, 50 Hz, 10HP, 565/600 RPM, insulation class 'F', confirming to IS:325. The drive shall be weather proof with IP-55 protection. Fan shall be protected with a fan guard, complete etc as required. (Equivallent or Similar to Hindustan Electric Motors Model No. FR 180L) | 1.00 | Nos. | 55741.00 | 72000.00 | 72000.00 | 78400.00 | 78400.00 | 129000.00 | 129000.00 | 65000.00 | 65000.00 | 65000.00 | NIRVANA TECHNOLOGIES
| Total in Figures |  |  |  |  | 815157.00 |  | 715120.00 |  | 1128900.00 |  | 736085.00
Lowest Amount Quoted BY: SONA COOLING TOWERS(715120.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of FRP fan assembly of Mihir make Cooling Tower at S.V. Airport, Raipur. Tender ID: 2021_AAI_76745_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SONA COOLING TOWERS | 715120.00 | L1
| 2 | NIRVANA TECHNOLOGIES | 736085.00 | L2
| 3 | PRIYA ENETRPRISES | 815157.00 | L3
| 4 | M/S DURGA SUPPLY AGENCIES | 1128900.00 | L4