## BoQ1
Government eProcurement System Created By: Mahesh Chandra Created Date/Time: 09-Jul-2021 03:37 PM Tender Title: SITC of EPABX system at Aligarh airport Tender ID: 2021_AAI_76891_1
Tender Inviting Authority: Airports Authority of India, Agra Airport
Name of Work: SITC of EPABX System with all accessories at Aligarh airport with 03 years Warranty
Contract No: AAI/AGRA/CNS/Aligarh-EPABX/2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | UNIQUE SERVICES PVT. LTD.(GSTN-07AABCU6100FIZS) |  | TAKYON NETWORKS PRIVATE LIMITED(GSTN-09AAFCT3428D1ZG)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Server Based IP-EPABXSystem that shall be non-blocking and open standard (based on SIP), with Active-Active Duplicate/Redundant Servers, in load sharing architecture, able to switchover to other server without disconnecting the call in case of failure of one server, along with a standard 19"/24U Rack for EPABX etc. (Including handouts and training) as per specifications. | 1.00 | Each |  | 391500.00 | 391500.00 | 507265.00 | 507265.00 | 391500.00 | UNIQUE SERVICES PVT. LTD.
2.00 | Supply of Low End 2-Port IP Phones with 2 way speaker phone with Complete accessories for installation as per specifications. | 10.00 | Each |  | 4030.00 | 40300.00 | 5336.00 | 53360.00 | 40300.00 | UNIQUE SERVICES PVT. LTD.
3.00 | Supply of Corded Analog Phone with Complete accessories for installation as per specifications. | 40.00 | Each |  | 650.00 | 26000.00 | 972.00 | 38880.00 | 26000.00 | UNIQUE SERVICES PVT. LTD.
4.00 | Supply of Management platforminclusive of Management software as per specifications | 1.00 | Set |  | 13000.00 | 13000.00 | 9200.00 | 9200.00 | 9200.00 | TAKYON NETWORKS PRIVATE LIMITED
5.00 | Supply of PC based IP Operator Console with Complete accessories as per specifications. | 1.00 | Set |  | 26000.00 | 26000.00 | 6888.00 | 6888.00 | 6888.00 | TAKYON NETWORKS PRIVATE LIMITED
6.00 | Supply of 100 pairs MainDistribution Frame (MDF) with Complete accessories as perspecifications. | 2.00 | Each |  | 3900.00 | 7800.00 | 11621.00 | 23242.00 | 7800.00 | UNIQUE SERVICES PVT. LTD.
7.00 | Supply of 50 pairs Main DistributionFrame (MDF) with Complete accessories as per specifications. | 2.00 | Each |  | 1950.00 | 3900.00 | 5872.00 | 11744.00 | 3900.00 | UNIQUE SERVICES PVT. LTD.
8.00 | Supply of 20 pairs Main Distribution Frame (MDF) with Complete accessories as per specifications. | 10.00 | Each |  | 1040.00 | 10400.00 | 2135.00 | 21350.00 | 10400.00 | UNIQUE SERVICES PVT. LTD.
9.00 | Supply of 24 port POE Switch with Complete accessories as per specifications. | 1.00 | Each |  | 22100.00 | 22100.00 | 63250.00 | 63250.00 | 22100.00 | UNIQUE SERVICES PVT. LTD.
10.00 | Supply of 8 port POE Switch with Complete accessories as per specifications. | 2.00 | Each |  | 11050.00 | 22100.00 | 16100.00 | 32200.00 | 22100.00 | UNIQUE SERVICES PVT. LTD.
11.00 | Supply & Laying of Industrial Grade Cat 6 Cable as per specifications. | 915.00 | Mtr |  | 26.00 | 23790.00 | 57.00 | 52155.00 | 23790.00 | UNIQUE SERVICES PVT. LTD.
12.00 | Supply & Laying of 50 mm dia HDPE Pipe as per specifications. | 250.00 | Mtr |  | 65.00 | 16250.00 | 57.00 | 14250.00 | 14250.00 | TAKYON NETWORKS PRIVATE LIMITED
13.00 | Supply & Laying of 25 mm dia PVC Pipe as per specifications | 600.00 | Mtr |  | 39.00 | 23400.00 | 32.00 | 19200.00 | 19200.00 | TAKYON NETWORKS PRIVATE LIMITED
14.00 | Supply & Laying of 3 core 1.5 sqmm multistrand un-armoured Power Cable as per specifications | 50.00 | Mtr |  | 39.00 | 1950.00 | 57.50 | 2875.00 | 1950.00 | UNIQUE SERVICES PVT. LTD.
15.00 | Supply of 0.5 mm, 20 Pair Armoured PJF Telephone Cable as per specifications. | 400.00 | Mtr |  | 156.00 | 62400.00 | 115.00 | 46000.00 | 46000.00 | TAKYON NETWORKS PRIVATE LIMITED
16.00 | Supply and Laying of 2 Pair 0.5 mm Telephone Cable as per specifications. | 1000.00 | Mtr |  | 26.00 | 26000.00 | 12.00 | 12000.00 | 12000.00 | TAKYON NETWORKS PRIVATE LIMITED
17.00 | Digging in Hard/soft soil for laying of Telephone Cable up-to required depth of 75 cm and resurfacing as per specifications. | 100.00 | Mtr |  | 390.00 | 39000.00 | 362.00 | 36200.00 | 36200.00 | TAKYON NETWORKS PRIVATE LIMITED
18.00 | Laying/Pulling of 20 Pair Armoured PJF Telephone Cable on surface/wall/ pipe/ underground as per specifications. | 400.00 | Mtr |  | 65.00 | 26000.00 | 161.00 | 64400.00 | 26000.00 | UNIQUE SERVICES PVT. LTD.
19.00 | Supply of 2 KVA online UPS (with 30 minute backup) as per specifications. | 1.00 | Each |  | 28600.00 | 28600.00 | 43125.00 | 43125.00 | 28600.00 | UNIQUE SERVICES PVT. LTD.
20.00 | Installation, Integration, Testing, Commissioning, Training & documentation of the complete system. | 1.00 | Job |  | 84500.00 | 84500.00 | 25000.00 | 25000.00 | 25000.00 | TAKYON NETWORKS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 894990.00 |  | 1082584.00
Lowest Amount Quoted BY: UNIQUE SERVICES PVT. LTD.(894990.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of EPABX system at Aligarh airport Tender ID: 2021_AAI_76891_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | UNIQUE SERVICES PVT. LTD. | 894990.00 | L1
| 2 | TAKYON NETWORKS PRIVATE LIMITED | 1082584.00 | L2