## BoQ1
Government eProcurement System Created By: SUBBIAN VELUSWAMY SENTHIL KUMAR Created Date/Time: 09-Jun-2021 04:26 PM Tender Title: Construction of New Apron, Link Taxiway and associated works at Vijayawada Airport. SH Apron flood lighting and Electrical Works Tender ID: 2021_AAI_76913_1
Tender Inviting Authority: Joint General Manager [Engg-E], AAI, Vijayawada Airport
Name of Work: Construction of New Apron, Link Taxiway and associated works at Vijayawada Airport.. SH: Apron flood lighting and Electrical Works
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRI RAGHAVENDRA ELECTRICALS(GSTN-36AJHPP7899J1Z7) |  | Kripa Electronics india pvt ltd(GSTN-27AACCK9472B1ZI) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | VISHAL ELECTRICALS(GSTN-09ACYPB4483E1Z9) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | HDC Power Systems Pvt Ltd(GSTN-33AABCH1022K1Z4) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-37AACCJ7269H1Z7) |  | M/s CGPL ELECTROMECH PVT LTD(GSTN-07AAGCC8228F1ZO) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | SARASWAT ENGINEERING SERVICES(GSTN-27AAZFS6239C1ZO) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | SRINIVASA ELECTRICALS(GSTN-37AGGPP9295C1ZY) |  | CHANDRA ELECTRICALS PVT LTD(GSTN-37AADCC8724B1ZV) |  | Ruchira Associates(GSTN-37AAQFR2340N1ZO) |  | SHRI KARNI LIGHT HOUSE(GSTN-NA) |  | SGA INFRAPROJECTS PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of of 24 Mtr High Mast Systems with all accessories. Mast shaft shall be in three section,and made of S 355 grade as per BS-EN 10025, hot dip Galvanised and suitable for wind velocity as per IS 875 part 3. The system shall include accessories for high mast including head frame, SS Wire rope 6mm dia (7/19 construction), 2 Runs of multicore Trailing Cable, double drum winch, Galvanised Lantern carriage arrangement suitable for fixing LED Flood light Luminaires & its controlgear as per detailed design, lightning finial, suitable foundation bolts manufacturered from special steel, nuts and washers, anchor plates and templates and outdoor electrical control panel housing 32A TPN MCCB, 25kA, 24 hour digial timer, power contactor and circuit for automatic control of luminaires, outgoing terminals and control for the power tools motor. The mast shall have an integeral power tool installed inside the base compartment for its operation along with mechanical tripping facility and manual handle complete as required and confirming to particular specifications enclosed. | 5.00 | Nos. |  | 300000.00 | 1500000.00 | 311705.89 | 1558529.45 | 400000.00 | 2000000.00 | 296079.00 | 1480395.00 | 1000000.00 | 5000000.00 | 357500.00 | 1787500.00 | 333333.00 | 1666665.00 | 299486.00 | 1497430.00 | 375000.00 | 1875000.00 | 275000.00 | 1375000.00 | 310500.00 | 1552500.00 | 390000.00 | 1950000.00 | 310343.00 | 1551715.00 | 326000.00 | 1630000.00 | 361301.25 | 1806506.25 | 337667.00 | 1688335.00 | 379450.00 | 1897250.00 | 233500.00 | 1167500.00 | 300000.00 | 1500000.00 | 1167500.00 | SHRI KARNI LIGHT HOUSE
2.00 | Supply of of 18 Mtr High Mast Systems with all accessories. Mast shaft shall be in two section,and made of S 355 grade as per BS-EN 10025, hot dip Galvanised and suitable for wind velocity as per IS 875 part 3. The system shall include accessories for high mast including head frame, SS Wire rope 6mm dia (7/19 construction), 2 Runs of multicore Trailing Cable, double drum winch, Galvanised Lantern carriage arrangement suitable for fixing LED Flood light Luminaires & its controlgear as per detailed design, lightning finial, suitable foundation bolts manufacturered from special steel, nuts and washers, anchor plates and templates and outdoor electrical control panel housing 32A TPN MCCB, 25kA, 24 hour digial timer, power contactor and circuit for automatic control of luminaires, outgoing terminals and control for the power tools motor. The mast shall have an integeral power tool installed inside the base compartment for its operation along with mechanical tripping facility and manual handle complete as required and confirming to particular specifications enclosed. | 5.00 | Nos. |  | 230000.00 | 1150000.00 | 235529.42 | 1177647.10 | 350000.00 | 1750000.00 | 226550.00 | 1132750.00 | 1000000.00 | 5000000.00 | 273000.00 | 1365000.00 | 249990.00 | 1249950.00 | 227084.00 | 1135420.00 | 190000.00 | 950000.00 | 245000.00 | 1225000.00 | 242300.00 | 1211500.00 | 325000.00 | 1625000.00 | 234642.00 | 1173210.00 | 276000.00 | 1380000.00 | 273170.00 | 1365850.00 | 255294.00 | 1276470.00 | 320200.00 | 1601000.00 | 199900.00 | 999500.00 | 232280.00 | 1161400.00 | 950000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
3.00 | Supply of 400W LED type flood light luminaires with all accessories including driver similar to Crompton Greaves model No. LPLPI-400-CDL or equivalent. | 50.00 | Nos. |  | 16500.00 | 825000.00 | 18000.00 | 900000.00 | 16000.00 | 800000.00 | 13800.00 | 690000.00 | 1.00 | 50.00 | 16200.00 | 810000.00 | 19500.00 | 975000.00 | 21353.00 | 1067650.00 | 14000.00 | 700000.00 | 18500.00 | 925000.00 | 17825.00 | 891250.00 | 27700.00 | 1385000.00 | 15239.00 | 761950.00 | 32000.00 | 1600000.00 | 21420.00 | 1071000.00 | 17900.00 | 895000.00 | 31300.00 | 1565000.00 | 17670.00 | 883500.00 | 20000.00 | 1000000.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.00 | Supply of omni directional Twin LED Aviation Obstruction Lights 10/12 watt with built in day/night sensor complete as required. (Model no:Geltronix code AVI002 or its equivalent from approved makes) | 5.00 | Nos. |  | 4680.00 | 23400.00 | 6076.48 | 30382.40 | 5000.00 | 25000.00 | 2875.00 | 14375.00 | 1.00 | 5.00 | 7200.00 | 36000.00 | 3500.00 | 17500.00 | 5187.00 | 25935.00 | 9000.00 | 45000.00 | 7500.00 | 37500.00 | 4500.00 | 22500.00 | 18000.00 | 90000.00 | 3519.00 | 17595.00 | 5300.00 | 26500.00 | 5162.50 | 25812.50 | 3718.00 | 18590.00 | 4820.00 | 24100.00 | 7450.00 | 37250.00 | 4100.00 | 20500.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.00 | Supply of 1.1KV grade 3.5C 240 Sq.mm. armoured aluminium conductor XLPE insulated and PVC sheathed cable conforming to IS - 7098 (Part - I) 1985 respectively with upto date ammendments. | 1000.00 | Mtrs. |  | 1088.00 | 1088000.00 | 950.30 | 950300.00 | 900.00 | 900000.00 | 1031.55 | 1031550.00 | 1.00 | 1000.00 | 1020.00 | 1020000.00 | 1294.00 | 1294000.00 | 961.00 | 961000.00 | 700.00 | 700000.00 | 1020.00 | 1020000.00 | 1010.00 | 1010000.00 | 925.00 | 925000.00 | 923.00 | 923000.00 | 810.00 | 810000.00 | 1218.75 | 1218750.00 | 1246.00 | 1246000.00 | 720.00 | 720000.00 | 923.00 | 923000.00 | 900.00 | 900000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.00 | Supply of 1.1KV grade 3.5C 95 Sq.mm. armoured aluminium conductor XLPE insulated and PVC sheathed cable conforming to IS - 7098 (Part - I) 1985 respectively with upto date ammendments. | 500.00 | Mtrs. |  | 466.00 | 233000.00 | 407.12 | 203560.00 | 450.00 | 225000.00 | 441.60 | 220800.00 | 1.00 | 500.00 | 420.00 | 210000.00 | 567.00 | 283500.00 | 419.00 | 209500.00 | 360.00 | 180000.00 | 465.00 | 232500.00 | 430.00 | 215000.00 | 395.00 | 197500.00 | 396.00 | 198000.00 | 340.00 | 170000.00 | 522.50 | 261250.00 | 536.00 | 268000.00 | 310.00 | 155000.00 | 396.00 | 198000.00 | 475.00 | 237500.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Supply of 1.1KV grade 3.5C 50 Sq.mm. armoured Aluminium conductor XLPE insulated and PVC sheathed cable conforming to IS - 7098 (Part - I) 1985 respectively with upto date ammendments. | 1000.00 | Mtrs. |  | 287.00 | 287000.00 | 240.89 | 240890.00 | 300.00 | 300000.00 | 261.00 | 261000.00 | 1.00 | 1000.00 | 264.00 | 264000.00 | 369.00 | 369000.00 | 239.00 | 239000.00 | 275.00 | 275000.00 | 270.00 | 270000.00 | 253.00 | 253000.00 | 235.00 | 235000.00 | 234.00 | 234000.00 | 200.00 | 200000.00 | 308.75 | 308750.00 | 317.00 | 317000.00 | 185.00 | 185000.00 | 236.00 | 236000.00 | 260.00 | 260000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.00 | Supply of 1.1KV grade 4C 10 Sq.mm. armoured Copper conductor XLPE insulated and PVC sheathed cable conforming to IS - 7098 (Part - I) 1985 respectively with upto date ammendments. | 2500.00 | Mtrs. |  | 518.00 | 1295000.00 | 452.65 | 1131625.00 | 500.00 | 1250000.00 | 491.63 | 1229075.00 | 1.00 | 2500.00 | 516.00 | 1290000.00 | 899.00 | 2247500.00 | 470.00 | 1175000.00 | 600.00 | 1500000.00 | 130.00 | 325000.00 | 482.00 | 1205000.00 | 95.00 | 237500.00 | 450.00 | 1125000.00 | 310.00 | 775000.00 | 131.25 | 328125.00 | 133.00 | 332500.00 | 280.00 | 700000.00 | 101.00 | 252500.00 | 420.00 | 1050000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Supply of Outdoor MV Feeder Pillar Panel (Partially Type Tested Assembly) with double door, outer shell made up of 10 SWG, all inner covers and partitions made up of 14 SWG CRCA sheet steel, dust tight, vermin proof, totally enclosed, cubicle type, floor mounting, free standing, including providing and fixing 160A 4P Aluminium Bus bar with all accessories suitable for operation at 433 V, 3 phase, 4 wire, 50 Hz, A.C. Supply complete with all accessories, interconnection, connection, earthing terminal, painting etc. complete and comprising the following:- a. 160A, 35 KA, 4P MCCB with Microprocessor based releases as incomer with R,Y,B,ON, OFF, Trip LED indication lamps, resin cast CT's with multifuction meter - 2 set as incomer with 2 Lock 1 Key interlock. b. 100A, 25KA, 4P MCCB with Microprocessor based releases with ON, OFF, Trip LED indication lamps, resin cast CT's with Digital VAF meter as outgoing - 1 Set c. 32A, 25KA, 4P MCCB with Microprocessor based releases with ON, OFF, Trip LED indication lamps as outgoing - 5 Sets d. Spare compartments - 2 Nos. with out switch gear e. 63 amps 3P+N+E panel mounting socket -1 No. for connecting DG supply in one of the incomer | 1.00 | Nos. |  | 23000.00 | 23000.00 | 385129.42 | 385129.42 | 350000.00 | 350000.00 | 357000.00 | 357000.00 | 1.00 | 1.00 | 92000.00 | 92000.00 | 349000.00 | 349000.00 | 211428.00 | 211428.00 | 85000.00 | 85000.00 | 295000.00 | 295000.00 | 347000.00 | 347000.00 | 210000.00 | 210000.00 | 346150.00 | 346150.00 | 220000.00 | 220000.00 | 533950.00 | 533950.00 | 285466.00 | 285466.00 | 234920.00 | 234920.00 | 223050.00 | 223050.00 | 250000.00 | 250000.00 | 1.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Supply of Outdoor MV Feeder Pillar Panel (Partially Type Tested Assembly) with double door, outer shell made up of 10 SWG, all inner covers and partitions made up of 14 SWG CRCA sheet steel,dust tight, vermin proof, totally enclosed, cubicle type, floor mounting, free standing, including providing and fixing 100A 4P Aluminium Bus bar with all accessories suitable for operation at 433 V, 3 phase, 4 wire, 50 Hz, A.C. Supply complete with all accessories, interconnection, connection, earthing terminal, painting etc. complete and comprising the following:- a. 100A, 35 KA, 4P MCCB with Microprocessor based releases as incomer with R,Y,B,ON, OFF, Trip LED indication lamps, resin cast CT's with multifuction meter - 2 set as incomer with 2 Lock 1 Key interlock. b. 32A, 25KA, 4P MCCB with Microprocessor based releases with ON, OFF, Trip LED indication lamps as outgoing - 5 Sets c. Spare compartments - 3 Nos. with out switch gear d. 63 amps 3P+N+E panel mounting socket -1 No. for connecting DG supply in one of the incomer | 1.00 | Nos. |  | 212520.00 | 212520.00 | 346176.48 | 346176.48 | 300000.00 | 300000.00 | 312750.00 | 312750.00 | 1.00 | 1.00 | 92000.00 | 92000.00 | 299000.00 | 299000.00 | 202093.00 | 202093.00 | 80000.00 | 80000.00 | 265000.00 | 265000.00 | 270750.00 | 270750.00 | 175000.00 | 175000.00 | 292100.00 | 292100.00 | 206000.00 | 206000.00 | 473475.00 | 473475.00 | 278669.00 | 278669.00 | 224548.00 | 224548.00 | 203050.00 | 203050.00 | 200000.00 | 200000.00 | 1.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.00 | Design and Consturction of suitable shallow foundation with suitable garde concrete (M20 grade or better) for 24 M high mast considering soil bearing capacity at site with all materials and labour using the anchor plates and template, and foundation supplied against item No.1. Installation of 24m high mast on the base using suitable equipments, tools and tackles etc. complete as required. Design of lighting design using 400W LED flood light fittings supplied against item No. 3. Fixing of required LED flood fittings, providing Junction boxes(255X355X122 Hensel Model KF 5000G), wiring with 3C 2.5 Sq.mm. Cu. cable, lugs, connectors, counter weights, trailing cables, highmast control panel etc. complete as required. | 5.00 | Job |  | 150000.00 | 750000.00 | 176470.59 | 882352.95 | 70000.00 | 350000.00 | 130000.00 | 650000.00 | 1.00 | 5.00 | 80500.00 | 402500.00 | 195000.00 | 975000.00 | 64800.00 | 324000.00 | 88000.00 | 440000.00 | 75000.00 | 375000.00 | 112000.00 | 560000.00 | 120000.00 | 600000.00 | 103500.00 | 517500.00 | 130000.00 | 650000.00 | 250000.00 | 1250000.00 | 224668.00 | 1123340.00 | 129600.00 | 648000.00 | 84600.00 | 423000.00 | 60000.00 | 300000.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.00 | Design and Consturction of suitable shallow foundation with suitable garde concrete (M20 grade or better) for 18 M high mast considering soil bearing capacity at site with all materials and labour using the anchor plates and template, and foundation supplied against item No.2. Installation of 18m high mast on the base using suitable equipments, tools and tackles etc. complete as required. Design of lighting design using 350W LED flood light fittings dismantled from the existing highmast. Fixing of required LED flood fittings, providing Junction boxes(255X355X122 Hensel Model KF 5000G), wiring with 3C 2.5 Sq.mm. Cu. cable, lugs, connectors, counter weights, trailing cables, highmast control panel etc. complete as required. | 5.00 | Job |  | 135000.00 | 675000.00 | 129411.77 | 647058.85 | 65000.00 | 325000.00 | 110000.00 | 550000.00 | 1.00 | 5.00 | 80500.00 | 402500.00 | 165000.00 | 825000.00 | 60750.00 | 303750.00 | 71000.00 | 355000.00 | 75000.00 | 375000.00 | 90000.00 | 450000.00 | 105000.00 | 525000.00 | 86250.00 | 431250.00 | 130000.00 | 650000.00 | 225000.00 | 1125000.00 | 204228.00 | 1021140.00 | 122570.00 | 612850.00 | 79800.00 | 399000.00 | 60000.00 | 300000.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
13.00 | Installation, testing and commissioning of Outdoor MV Feeder Pillar Panel as mencioned in Item No. 9 with all accessories, grouting, providing pedastal, etc. as required complete as required. | 1.00 | Nos. |  | 8000.00 | 8000.00 | 11764.71 | 11764.71 | 3500.00 | 3500.00 | 10000.00 | 10000.00 | 1.00 | 1.00 | 10350.00 | 10350.00 | 20000.00 | 20000.00 | 11500.00 | 11500.00 | 8000.00 | 8000.00 | 5500.00 | 5500.00 | 5500.00 | 5500.00 | 5000.00 | 5000.00 | 10350.00 | 10350.00 | 10000.00 | 10000.00 | 12500.00 | 12500.00 | 20178.00 | 20178.00 | 13780.00 | 13780.00 | 4450.00 | 4450.00 | 4500.00 | 4500.00 | 1.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Installation, testing and commissioning of Outdoor MV Feeder Pillar Panel as mencioned in Item No. 10 with all accessories, grouting, providing pedastal, etc. as required complete as required. | 1.00 | Nos. |  | 8000.00 | 8000.00 | 11764.71 | 11764.71 | 2500.00 | 2500.00 | 10000.00 | 10000.00 | 1.00 | 1.00 | 10350.00 | 10350.00 | 20000.00 | 20000.00 | 11500.00 | 11500.00 | 8000.00 | 8000.00 | 5500.00 | 5500.00 | 5500.00 | 5500.00 | 5000.00 | 5000.00 | 10350.00 | 10350.00 | 10000.00 | 10000.00 | 12500.00 | 12500.00 | 20178.00 | 20178.00 | 13170.00 | 13170.00 | 4450.00 | 4450.00 | 4500.00 | 4500.00 | 1.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.00 | Supply and laying of HDPE pipe of 90mm OD of PE 63 PN 4 ISI Marked along with all accessories like socket, bend etc. conforming to IS 4984 complete with fitting and cutting, jointing etc. direct in ground at a depth of 0.75m below the ground level i/c excavation and refilling the trench but excluding sand cushioning and protective covering etc. as required. | 1000.00 | Mtr. |  | 290.00 | 290000.00 | 341.18 | 341180.00 | 350.00 | 350000.00 | 318.40 | 318400.00 | 750.00 | 750000.00 | 575.00 | 575000.00 | 425.00 | 425000.00 | 264.00 | 264000.00 | 335.00 | 335000.00 | 295.00 | 295000.00 | 330.00 | 330000.00 | 350.00 | 350000.00 | 528.00 | 528000.00 | 250.00 | 250000.00 | 245.00 | 245000.00 | 397.00 | 397000.00 | 235.00 | 235000.00 | 235.00 | 235000.00 | 500.00 | 500000.00 | 235000.00 | SHRI KARNI LIGHT HOUSE, Ruchira Associates
16.00 | Supply and laying of HDPE pipe of 63 mm OD of PE 63 PN 4 ISI Marked along with all accessories like socket, bend etc. conforming to IS 4984 complete with fitting and cutting, jointing etc. direct in ground at a depth of 0.75m below the ground level i/c excavation and refilling the trench but excluding sand cushioning and protective covering etc. as required. | 2000.00 | Mtr. |  | 180.00 | 360000.00 | 235.30 | 470600.00 | 200.00 | 400000.00 | 186.80 | 373600.00 | 500.00 | 1000000.00 | 460.00 | 920000.00 | 295.00 | 590000.00 | 165.00 | 330000.00 | 295.00 | 590000.00 | 255.00 | 510000.00 | 230.00 | 460000.00 | 240.00 | 480000.00 | 377.00 | 754000.00 | 166.00 | 332000.00 | 123.00 | 246000.00 | 291.00 | 582000.00 | 140.00 | 280000.00 | 165.00 | 330000.00 | 450.00 | 900000.00 | 246000.00 | SRINIVASA ELECTRICALS
17.00 | Supply and laying of HDPE pipe of 40mm OD of PE 63 PN 4 ISI Marked along with all accessories like socket, bend etc. conforming to IS 4984 complete with fitting and cutting, jointing etc. In the existing trench as per site requirement required. | 1200.00 | Mtrs. |  | 135.00 | 162000.00 | 152.95 | 183540.00 | 150.00 | 180000.00 | 113.20 | 135840.00 | 1.00 | 1200.00 | 184.00 | 220800.00 | 208.00 | 249600.00 | 68.00 | 81600.00 | 227.00 | 272400.00 | 125.00 | 150000.00 | 80.00 | 96000.00 | 175.00 | 210000.00 | 91.00 | 109200.00 | 100.00 | 120000.00 | 51.00 | 61200.00 | 227.00 | 272400.00 | 90.00 | 108000.00 | 123.00 | 147600.00 | 300.00 | 360000.00 | 1200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
18.00 | Cutting kerb (concrete/bitumin) of 150x150mm(D) including chipping, hammering, cleaning & drying etc. Supply and laying of 65 mm NB GI pipe, C- Class with clamps, bends/ tees/unions and all accessories complete as required. Filling/finishing with Cement Concrete (1:2:4) and top 1 inch to be filled with Epoxy /Fosrock sealent material etc. as required. | 600.00 | Mtr. |  | 500.00 | 300000.00 | 411.77 | 247062.00 | 650.00 | 390000.00 | 1170.00 | 702000.00 | 1.00 | 600.00 | 920.00 | 552000.00 | 950.00 | 570000.00 | 1093.00 | 655800.00 | 200.00 | 120000.00 | 950.00 | 570000.00 | 2150.00 | 1290000.00 | 1500.00 | 900000.00 | 1236.00 | 741600.00 | 1100.00 | 660000.00 | 315.00 | 189000.00 | 478.00 | 286800.00 | 1115.00 | 669000.00 | 550.00 | 330000.00 | 1200.00 | 720000.00 | 600.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
19.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 200.00 | Cum |  | 1000.00 | 200000.00 | 211.77 | 42354.00 | 350.00 | 70000.00 | 190.00 | 38000.00 | 1.00 | 200.00 | 402.50 | 80500.00 | 450.00 | 90000.00 | 162.00 | 32400.00 | 225.00 | 45000.00 | 220.00 | 44000.00 | 300.00 | 60000.00 | 340.00 | 68000.00 | 690.00 | 138000.00 | 150.00 | 30000.00 | 3750.00 | 750000.00 | 531.00 | 106200.00 | 158.00 | 31600.00 | 545.00 | 109000.00 | 900.00 | 180000.00 | 200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 13.00 | Job |  | 30000.00 | 390000.00 | 1058.83 | 13764.79 | 7500.00 | 97500.00 | 7500.00 | 97500.00 | 1.00 | 13.00 | 4600.00 | 59800.00 | 6500.00 | 84500.00 | 6000.00 | 78000.00 | 4500.00 | 58500.00 | 8500.00 | 110500.00 | 7000.00 | 91000.00 | 10000.00 | 130000.00 | 4025.00 | 52325.00 | 5000.00 | 65000.00 | 12500.00 | 162500.00 | 16992.00 | 220896.00 | 5720.00 | 74360.00 | 1500.00 | 19500.00 | 6000.00 | 78000.00 | 13.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size above 35 Sq.mm. and upto 95 sq.mm as required in the exising open masonary duct. | 100.00 | Mtrs. |  | 20.00 | 2000.00 | 129.42 | 12942.00 | 25.00 | 2500.00 | 80.00 | 8000.00 | 1.00 | 100.00 | 46.00 | 4600.00 | 90.00 | 9000.00 | 26.00 | 2600.00 | 180.00 | 18000.00 | 95.00 | 9500.00 | 40.00 | 4000.00 | 40.00 | 4000.00 | 52.00 | 5200.00 | 16.00 | 1600.00 | 125.00 | 12500.00 | 192.00 | 19200.00 | 28.00 | 2800.00 | 10.00 | 1000.00 | 50.00 | 5000.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Laying of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size Above 185 sq. mm and upto 400 sq. mm as required In existing RCC/Hume/ Stoneware/Pipe . | 1000.00 | Mtrs. |  | 35.00 | 35000.00 | 129.42 | 129420.00 | 45.00 | 45000.00 | 140.00 | 140000.00 | 1.00 | 1000.00 | 46.00 | 46000.00 | 140.00 | 140000.00 | 42.00 | 42000.00 | 220.00 | 220000.00 | 150.00 | 150000.00 | 75.00 | 75000.00 | 70.00 | 70000.00 | 109.00 | 109000.00 | 88.00 | 88000.00 | 165.00 | 165000.00 | 192.00 | 192000.00 | 82.00 | 82000.00 | 15.00 | 15000.00 | 80.00 | 80000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
23.00 | Laying of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size above 35 Sq.mm. and upto 95 sq.mm. as required In existing RCC/Hume/ Stoneware/Pipe . | 2000.00 | Mtrs. |  | 30.00 | 60000.00 | 105.89 | 211780.00 | 35.00 | 70000.00 | 80.00 | 160000.00 | 1.00 | 2000.00 | 34.50 | 69000.00 | 70.00 | 140000.00 | 36.00 | 72000.00 | 180.00 | 360000.00 | 90.00 | 180000.00 | 45.00 | 90000.00 | 30.00 | 60000.00 | 52.00 | 104000.00 | 24.00 | 48000.00 | 125.00 | 250000.00 | 170.00 | 340000.00 | 35.00 | 70000.00 | 10.00 | 20000.00 | 60.00 | 120000.00 | 2000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | Laying of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size upto 35 sq.mm. as required In existing RCC/Hume/ Stoneware/Pipe . | 2500.00 | Mtrs. |  | 25.00 | 62500.00 | 94.12 | 235300.00 | 40.00 | 100000.00 | 70.00 | 175000.00 | 1.00 | 2500.00 | 23.00 | 57500.00 | 50.00 | 125000.00 | 22.00 | 55000.00 | 180.00 | 450000.00 | 55.00 | 137500.00 | 30.00 | 75000.00 | 30.00 | 75000.00 | 35.00 | 87500.00 | 20.00 | 50000.00 | 125.00 | 312500.00 | 117.00 | 292500.00 | 23.00 | 57500.00 | 15.00 | 37500.00 | 50.00 | 125000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3.5C 240 Sq.mm. PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Nos. |  | 7000.00 | 14000.00 | 6470.59 | 12941.18 | 4800.00 | 9600.00 | 2552.00 | 5104.00 | 1.00 | 2.00 | 4600.00 | 9200.00 | 3500.00 | 7000.00 | 2290.00 | 4580.00 | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 5500.00 | 11000.00 | 5500.00 | 11000.00 | 8441.00 | 16882.00 | 4000.00 | 8000.00 | 18750.00 | 37500.00 | 5069.00 | 10138.00 | 3850.00 | 7700.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 2.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3.5C 95Sq.mm. PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Nos. |  | 4000.00 | 8000.00 | 6470.59 | 12941.18 | 1800.00 | 3600.00 | 2161.00 | 4322.00 | 1.00 | 2.00 | 4600.00 | 9200.00 | 3500.00 | 7000.00 | 1470.00 | 2940.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 3200.00 | 6400.00 | 5148.00 | 10296.00 | 2600.00 | 5200.00 | 10000.00 | 20000.00 | 3708.00 | 7416.00 | 2065.00 | 4130.00 | 6500.00 | 13000.00 | 5000.00 | 10000.00 | 2.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.00 | Supplying and making end termination with Flame proof Double compression gland and aluminium lugs for 3.5C 95 Sq.mm. size of PVC/XLPE insulated and PVC sheathed armoured aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Nos. |  | 2800.00 | 11200.00 | 647.06 | 2588.24 | 1450.00 | 5800.00 | 1746.00 | 6984.00 | 1.00 | 4.00 | 299.00 | 1196.00 | 2200.00 | 8800.00 | 722.00 | 2888.00 | 850.00 | 3400.00 | 550.00 | 2200.00 | 375.00 | 1500.00 | 1100.00 | 4400.00 | 3875.00 | 15500.00 | 900.00 | 3600.00 | 2500.00 | 10000.00 | 2831.00 | 11324.00 | 900.00 | 3600.00 | 650.00 | 2600.00 | 800.00 | 3200.00 | 4.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.00 | Supplying and making end termination with Flame proof Double compression gland and aluminium lugs for 3.5C 50 Sq.mm. size of PVC/XLPE insulated and PVC sheathed armoured aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Nos. |  | 2000.00 | 4000.00 | 529.42 | 1058.84 | 1250.00 | 2500.00 | 1357.00 | 2714.00 | 1.00 | 2.00 | 184.00 | 368.00 | 1900.00 | 3800.00 | 722.00 | 1444.00 | 650.00 | 1300.00 | 350.00 | 700.00 | 375.00 | 750.00 | 900.00 | 1800.00 | 907.00 | 1814.00 | 700.00 | 1400.00 | 2500.00 | 5000.00 | 2793.00 | 5586.00 | 635.00 | 1270.00 | 450.00 | 900.00 | 700.00 | 1400.00 | 2.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
29.00 | Supplying and making end termination with Flame proof Double compression gland and Copper lugs for 4C 10 Sq.mm. size of PVC/XLPE insulated and PVC sheathed armoured copper conductor cable of 1.1 KV grade as required. | 20.00 | Nos. |  | 1500.00 | 30000.00 | 411.77 | 8235.40 | 450.00 | 9000.00 | 335.00 | 6700.00 | 1.00 | 20.00 | 115.00 | 2300.00 | 550.00 | 11000.00 | 440.00 | 8800.00 | 830.00 | 16600.00 | 220.00 | 4400.00 | 125.00 | 2500.00 | 600.00 | 12000.00 | 605.00 | 12100.00 | 440.00 | 8800.00 | 2500.00 | 50000.00 | 1275.00 | 25500.00 | 420.00 | 8400.00 | 185.00 | 3700.00 | 300.00 | 6000.00 | 20.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
30.00 | Providing and fixing 25 mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 75.00 | Mtrs. |  | 144.00 | 10800.00 | 152.95 | 11471.25 | 200.00 | 15000.00 | 140.00 | 10500.00 | 1.00 | 75.00 | 264.50 | 19837.50 | 90.00 | 6750.00 | 150.00 | 11250.00 | 60.00 | 4500.00 | 120.00 | 9000.00 | 230.00 | 17250.00 | 120.00 | 9000.00 | 156.00 | 11700.00 | 160.00 | 12000.00 | 65.00 | 4875.00 | 265.00 | 19875.00 | 150.00 | 11250.00 | 128.00 | 9600.00 | 80.00 | 6000.00 | 75.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
31.00 | Provision of Chemical earthing with 50 mm dia GI pipe of length 3 mtr with conductive crystaline compund fitted inside with 25*3000 mm ,GI pipe with sealing on both ends , ECO friendly ROHS complient maintence free ,earthing compound of 50 Kg bags ,provision of Earth CI/MS cap etc. as required. | 24.00 | Nos. |  | 15000.00 | 360000.00 | 10588.24 | 254117.76 | 4250.00 | 102000.00 | 8125.00 | 195000.00 | 1.00 | 24.00 | 6900.00 | 165600.00 | 14500.00 | 348000.00 | 7200.00 | 172800.00 | 8000.00 | 192000.00 | 8500.00 | 204000.00 | 8500.00 | 204000.00 | 10000.00 | 240000.00 | 12650.00 | 303600.00 | 8000.00 | 192000.00 | 10000.00 | 240000.00 | 6216.00 | 149184.00 | 7010.00 | 168240.00 | 7550.00 | 181200.00 | 7500.00 | 180000.00 | 24.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
32.00 | Dismantling of highmast of height from (12 Mtrs - 30 mtr). from the foundation using crane and other appropriate equipments complete and shifting and stacking at AAI stores at a distance of not more than 2 KM complete as required. Demolition of the concrete base and cutting and removal of the foundation bolts as per the direction of the engineer-in-Charge complete as required. | 4.00 | Nos. |  | 45000.00 | 180000.00 | 52941.18 | 211764.72 | 15000.00 | 60000.00 | 75000.00 | 300000.00 | 1.00 | 4.00 | 40250.00 | 161000.00 | 120000.00 | 480000.00 | 30000.00 | 120000.00 | 25000.00 | 100000.00 | 5500.00 | 22000.00 | 28000.00 | 112000.00 | 30000.00 | 120000.00 | 23000.00 | 92000.00 | 20000.00 | 80000.00 | 31250.00 | 125000.00 | 25488.00 | 101952.00 | 40375.00 | 161500.00 | 7000.00 | 28000.00 | 6000.00 | 24000.00 | 4.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
33.00 | Supply of 160mm OD PN-10, PE 80 HDPE pipe conforming to IS 4984-1995 and butt welding at site etc complete as required. | 100.00 | Mtrs. |  | 1600.00 | 160000.00 | 1235.30 | 123530.00 | 1235.00 | 123500.00 | 1454.00 | 145400.00 | 1.00 | 100.00 | 1380.00 | 138000.00 | 650.00 | 65000.00 | 715.00 | 71500.00 | 750.00 | 75000.00 | 320.00 | 32000.00 | 1233.00 | 123300.00 | 1100.00 | 110000.00 | 1476.00 | 147600.00 | 1000.00 | 100000.00 | 1405.00 | 140500.00 | 470.00 | 47000.00 | 832.00 | 83200.00 | 455.00 | 45500.00 | 800.00 | 80000.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
34.00 | Drilling, reaming and laying of 160mm OD HDPE pipe including jointing/welding of HDPE pipes across the runway, taxiways and roads by trenchless directional drilling (HDD) method (including jointing/welding of HDPE pipes, deploying HDD machines, Mud mixing system, Earth movers etc.) complete as required. | 100.00 | Mtrs. |  | 5000.00 | 500000.00 | 294.12 | 29412.00 | 450.00 | 45000.00 | 1500.00 | 150000.00 | 1.00 | 100.00 | 1380.00 | 138000.00 | 1500.00 | 150000.00 | 3520.00 | 352000.00 | 800.00 | 80000.00 | 1400.00 | 140000.00 | 2500.00 | 250000.00 | 3000.00 | 300000.00 | 2530.00 | 253000.00 | 2400.00 | 240000.00 | 4500.00 | 450000.00 | 1770.00 | 177000.00 | 4180.00 | 418000.00 | 1495.00 | 149500.00 | 50.00 | 5000.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
35.00 | Constructing brick masonry road gully chamber 110x50x77.5 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm precast R.C.C. horizontal grating with frame and vertical grating complete as per standard design :With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Each |  | 35000.00 | 70000.00 | 941.18 | 1882.36 | 8500.00 | 17000.00 | 15000.00 | 30000.00 | 1.00 | 2.00 | 5750.00 | 11500.00 | 7000.00 | 14000.00 | 10450.00 | 20900.00 | 4500.00 | 9000.00 | 10500.00 | 21000.00 | 12000.00 | 24000.00 | 9500.00 | 19000.00 | 9315.00 | 18630.00 | 12000.00 | 24000.00 | 12500.00 | 25000.00 | 20178.00 | 40356.00 | 10930.00 | 21860.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 2.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
36.00 | Providing Baarricades with MS Channel ISMC 150 of size 2Mx2MX0.75m (height) above ground with minimum 2 runs on each side complete as per site requirement | 10.00 | Job |  | 25000.00 | 250000.00 | 9411.77 | 94117.70 | 22000.00 | 220000.00 | 9500.00 | 95000.00 | 1.00 | 10.00 | 40250.00 | 402500.00 | 39000.00 | 390000.00 | 19800.00 | 198000.00 | 5000.00 | 50000.00 | 17500.00 | 175000.00 | 37000.00 | 370000.00 | 70000.00 | 700000.00 | 63756.00 | 637560.00 | 20000.00 | 200000.00 | 31250.00 | 312500.00 | 8500.00 | 85000.00 | 18800.00 | 188000.00 | 3500.00 | 35000.00 | 20000.00 | 200000.00 | 10.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
37.00 | Supply of of 12 Mtr High Mast Systems with all accessories. Mast shaft shall be in two section,and made of S 355 grade as per BS-EN 10025, hot dip Galvanised and suitable for wind velocity as per IS 875 part 3. The system shall include accessories for high mast including head frame, SS Wire rope 6mm dia (7/19 construction), 2 Runs of multicore Trailing Cable, double drum winch, Galvanised Lantern carriage arrangement suitable for fixing LED Flood light Luminaires & its controlgear as per detailed design, lightning finial, suitable foundation bolts manufacturered from special steel, nuts and washers, anchor plates and templates and , outgoing terminals and control for the power tools motor. The mast shall have an integeral power tool installed inside the base compartment for its operation along with mechanical tripping facility and manual handle complete as required and confirming to particular specifications enclosed. | 1.00 | Nos. |  | 177465.00 | 177465.00 | 205352.95 | 205352.95 | 200000.00 | 200000.00 | 127500.00 | 127500.00 | 1.00 | 1.00 | 180000.00 | 180000.00 | 170000.00 | 170000.00 | 153604.00 | 153604.00 | 170000.00 | 170000.00 | 185000.00 | 185000.00 | 173000.00 | 173000.00 | 165000.00 | 165000.00 | 157800.00 | 157800.00 | 110000.00 | 110000.00 | 184375.00 | 184375.00 | 190765.00 | 190765.00 | 118500.00 | 118500.00 | 124500.00 | 124500.00 | 200000.00 | 200000.00 | 1.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
38.00 | Installation Testing and Commissioning of 12m high mast on existing foundation using suitable crane,equipments, tools and tackles etc. complete as required. Design of lighting design using 350W LED flood light fittings dismantled from the existing highmast. Fixing of required LED flood fittings, providing Junction box(255X355X122 Hensel Model KF 5000G), wiring with 3C 2.5 Sq.mm. Cu. cable, lugs, connectors, counter weights, trailing cables, highmast control panel etc.and dismentlling existing 12 mts and shifting and stacking at AAI stores at a distance of not more than 2 KM complete as required. | 1.00 | Job |  | 120000.00 | 120000.00 | 52941.18 | 52941.18 | 15000.00 | 15000.00 | 65000.00 | 65000.00 | 1.00 | 1.00 | 108000.00 | 108000.00 | 55000.00 | 55000.00 | 25000.00 | 25000.00 | 50000.00 | 50000.00 | 25000.00 | 25000.00 | 55000.00 | 55000.00 | 15000.00 | 15000.00 | 86250.00 | 86250.00 | 26000.00 | 26000.00 | 31250.00 | 31250.00 | 62658.00 | 62658.00 | 25400.00 | 25400.00 | 59600.00 | 59600.00 | 115000.00 | 115000.00 | 1.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 11834885.00 |  | 11387478.62 |  | 11114000.00 |  | 11242259.00 |  | 11763029.00 |  | 11724101.50 |  | 14730565.00 |  | 10134312.00 |  | 10437700.00 |  | 9719800.00 |  | 11923800.00 |  | 12225600.00 |  | 11985727.00 |  | 10993100.00 |  | 13823168.75 |  | 12433616.00 |  | 11425928.00 |  | 7873950.00 |  | 11111000.00
Lowest Amount Quoted BY: SHRI KARNI LIGHT HOUSE(7873950.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Apron, Link Taxiway and associated works at Vijayawada Airport. SH Apron flood lighting and Electrical Works Tender ID: 2021_AAI_76913_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRI KARNI LIGHT HOUSE | 7873950.00 | L1
| 2 | M/s CGPL ELECTROMECH PVT LTD | 9719800.00 | L2
| 3 | Vardhman Airport Solutions Pvt Ltd | 10134312.00 | L3
| 4 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 10437700.00 | L4
| 5 | KALKI ELECTRICALS | 10993100.00 | L5
| 6 | SGA INFRAPROJECTS PVT LTD | 11111000.00 | L6
| 7 | jaydeep agency corporation | 11114000.00 | L7
| 8 | VISHAL ELECTRICALS | 11242259.00 | L8
| 9 | Kripa Electronics india pvt ltd | 11387478.62 | L9
| 10 | Ruchira Associates | 11425928.00 | L10
| 11 | RVD INFRA SOLUTION PVT.LTD. | 11724101.50 | L11
| 12 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 11763029.00 | L12
| 13 | SRI RAGHAVENDRA ELECTRICALS | 11834885.00 | L13
| 14 | vk sam engineering | 11923800.00 | L14
| 15 | SARASWAT ENGINEERING SERVICES | 11985727.00 | L15
| 16 | LAKSHMI ELECTRICAL ENTERPRISES | 12225600.00 | L16
| 17 | CHANDRA ELECTRICALS PVT LTD | 12433616.00 | L17
| 18 | SRINIVASA ELECTRICALS | 13823168.75 | L18
| 19 | HDC Power Systems Pvt Ltd | 14730565.00 | L19