## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 05-Jul-2021 06:35 PM Tender Title: Annual Rate Contract of Supply of Batteries for DG Sets and UPS at BPI Airport Bhubaneswar Tender ID: 2021_AAI_76930_2
Tender Inviting Authority: Asst. General Manager Engg (E)-I, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Annual Rate Contract of Supply of Batteries for DG Sets & UPS at B.P.I Airport, Bhubaneswar
Contract No: 2021_AAI_76930_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | NG Powertech(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 12V, 150 AH battery as per latest IS specification as required. (Model No:- XP-1500 Make:-Exide or equivalent) | 2.00 | Each |  | 10500.00 | 21000.00 | 11015.00 | 22030.00 | 10867.00 | 21734.00 | 21000.00 | M/S DURGA SUPPLY AGENCIES
2.00 | Supply of 12V, 100 AH SMF-VRLA (Valve Regulated Lead Acid) battery for UPS as per latest IS specification as required. (Model No:- EP100-12 Make:-Exide or equivalent) | 30.00 | Each |  | 5900.00 | 177000.00 | 8755.00 | 262650.00 | 6300.00 | 189000.00 | 177000.00 | M/S DURGA SUPPLY AGENCIES
3.00 | Supply of 2volt 100Ah Valve Regulated Lead Acid Battery in PP(Polypropylene) container, along with MS Racks & Connectors. (Model No:-UPST 100, Make:-Exide or equivalent) | 15.00 | Each |  | 2600.00 | 39000.00 | 2350.00 | 35250.00 | 1456.00 | 21840.00 | 21840.00 | NG Powertech
4.00 | Supply of 12V,18 AH SMF-VRLA(Valve Regulated Lead-Acid) battery for UPS as per latest IS specification as required. (Model No:- EP18-12 Make:-Exide or equivalent) | 16.00 | Each |  | 1550.00 | 24800.00 | 2030.00 | 32480.00 | 1776.00 | 28416.00 | 24800.00 | M/S DURGA SUPPLY AGENCIES
5.00 | Supply of 12V, 7.5 AH SMF-VRLA(Valve Regulated Lead-Acid) battery for UPS as per latest IS specification as required. (Model No:- EP7.5-12 Make :-Exide or equivalent) | 12.00 | Each |  | 700.00 | 8400.00 | 730.00 | 8760.00 | 577.00 | 6924.00 | 6924.00 | NG Powertech
6.00 | Supply of 12V, 75 AH SMF-VRLA (Valve Regulated Lead-Acid) battery for UPS as per latest IS specification as required. (Model no EP75-12 Make-Exide or equivalent) | 20.00 | Each |  | 4700.00 | 94000.00 | 6375.00 | 127500.00 | 4930.00 | 98600.00 | 94000.00 | M/S DURGA SUPPLY AGENCIES
7.00 | Supply of Lead Acid Battery 12 V, 180 Amp-hour, maintenance free for DG Sets as per latest IS specification as required. (Model No:-XP 1800 Make:-Exide or equivalent) | 18.00 | Each |  | 11500.00 | 207000.00 | 12620.00 | 227160.00 | 12582.00 | 226476.00 | 207000.00 | M/S DURGA SUPPLY AGENCIES
8.00 | Supply of 2volt 125Ah Valve Regulated Lead Acid Battery in PP(Polypropylene) container, along with MS Racks & Connectors. . (Model No:- UPST 125, Make:-Exide or equivalent) | 12.00 | Each |  | 3200.00 | 38400.00 | 2455.00 | 29460.00 | 1820.00 | 21840.00 | 21840.00 | NG Powertech
9.00 | Supply of 12V, 65 AH SMF-VRLA (Valve Regulated Lead Acid) battery for UPS & Street Light as per latest IS specification as required. (Model no EP65-12 Make-Exide or equivalent) | 51.00 | Each |  | 3750.00 | 191250.00 | 5860.00 | 298860.00 | 4375.00 | 223125.00 | 191250.00 | M/S DURGA SUPPLY AGENCIES
10.00 | Supply of 12V, 2.5 AH SMF-VRLA(Valve Regulated Lead-Acid) battery as per latest IS specification as required. (Model no XL2.5LC Make-Exide or equivalent) | 6.00 | Each |  | 690.00 | 4140.00 | 840.00 | 5040.00 | 918.00 | 5508.00 | 4140.00 | M/S DURGA SUPPLY AGENCIES
11.00 | Supply of 12V, 26 AH SMF-VRLA(Valve Regulated Lead-Acid) battery as per latest IS specification as required. (Model no :- EP26-12 , Make :-Exide or equivalent) | 2.00 | Each |  | 1800.00 | 3600.00 | 2510.00 | 5020.00 | 2100.00 | 4200.00 | 3600.00 | M/S DURGA SUPPLY AGENCIES
12.00 | Supply of Battery Charger of reputed make made out with CRCA sheet of 1.6 mm thick, operating on input voltage 230V AC 50 Hz, float cum boost mode charging having 24V DC out put voltage with 10A for Load current and simultaneously 10 A current for battery charging of 02 nos. 150Ah maintenace free batteries. Battery charger should have protection against the overload, short circuit & battery overcharging. Battery charger should have LED indicating lamps for input ON, output ON, battery in boost & float mode, Mains fails and battery under voltage also including two digital panel meters for out put Voltage & current with selector switch for load and battery, as per technical specification. | 1.00 | Each |  | 8000.00 | 8000.00 | 38625.00 | 38625.00 | 5500.00 | 5500.00 | 5500.00 | NG Powertech
13.00 | Supply of 12V,10Amp Solar charge controlller with dusk to dawn facility , suitable for 45 watt LED Street Light with minimum 1 year warranty. | 36.00 | Each |  | 500.00 | 18000.00 | 875.00 | 31500.00 | 1000.00 | 36000.00 | 18000.00 | M/S DURGA SUPPLY AGENCIES
14.00 | Buy back of 12 V,160 AH maintenance free batteries used for DG Sets. (Make Cummins) | 5.00 | Each |  | 2500.00 | -12500.00 | 1550.00 | -7750.00 | 1620.00 | -8100.00 | -12500.00 | M/S DURGA SUPPLY AGENCIES
15.00 | Buy back of 12 V,18 AH,SMF-VRLA(Valve Regulated Lead-Acid) batteries used for UPS. | 2.00 | Each |  | 300.00 | -600.00 | 300.00 | -600.00 | 350.00 | -700.00 | -700.00 | NG Powertech
16.00 | Buy back of 12 V,180 AH maintenance free batteries used for DG Sets. | 10.00 | Each |  | 2500.00 | -25000.00 | 2000.00 | -20000.00 | 1920.00 | -19200.00 | -25000.00 | M/S DURGA SUPPLY AGENCIES
| Total in Figures |  |  |  |  | 796490.00 |  | 1095985.00 |  | 861163.00
Lowest Amount Quoted BY: M/S DURGA SUPPLY AGENCIES(796490.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Rate Contract of Supply of Batteries for DG Sets and UPS at BPI Airport Bhubaneswar Tender ID: 2021_AAI_76930_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DURGA SUPPLY AGENCIES | 796490.00 | L1
| 2 | NG Powertech | 861163.00 | L2
| 3 | Yash Energy Pvt. Ltd | 1095985.00 | L3