## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 10-Jun-2021 06:10 PM Tender Title: Provision of Air conditioning and other Electrical Spares Items at MSSR Radar Station Berhampur Tender ID: 2021_AAI_77244_1
Tender Inviting Authority: Asst. General Manager Engg (E)-I, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Provision of Air-conditioning and other Electrical Spares Items at MSSR Radar Station, Berhampur.
Contract No: 2021_AAI_77244_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 18 watt Surface mounted circular type led fitting made up of Aluminium die cast Body, minimum 100 Lumens / watt with driver suitable for single phase 230V AC,50 Hz power supply. | 10.00 | Each |  | 825.00 | 8250.00 | 800.00 | 8000.00 | 540.00 | 5400.00 | 1130.00 | 11300.00 | 5400.00 | M/s LEESHA ELECTRICALS
2.00 | Supply of 45 watt LED Street light made up of pressure die cast Aluminium housing, including driver, IP 66 of min 110 Lumens/watt output with LED driver with 230V AC, 50 Hz power supply. | 20.00 | Each |  | 1700.00 | 34000.00 | 3000.00 | 60000.00 | 2400.00 | 48000.00 | 2168.00 | 43360.00 | 34000.00 | VOLKS ENERGIE PVT LTD
3.00 | Supply of Single way 5/6 amps standard switch ISI marked | 30.00 | Each |  | 24.00 | 720.00 | 10.00 | 300.00 | 80.00 | 2400.00 | 14.00 | 420.00 | 300.00 | M/S DURGA SUPPLY AGENCIES
4.00 | Supply of Single way 5/6 amps standard socket ISI marked | 30.00 | Each |  | 58.00 | 1740.00 | 23.00 | 690.00 | 260.00 | 7800.00 | 31.00 | 930.00 | 690.00 | M/S DURGA SUPPLY AGENCIES
5.00 | Supply of 15/16 amps Standard Switch ISI marked | 20.00 | Each |  | 60.00 | 1200.00 | 50.00 | 1000.00 | 220.00 | 4400.00 | 61.00 | 1220.00 | 1000.00 | M/S DURGA SUPPLY AGENCIES
6.00 | Supply of 15/16 amps Standard Socket ISI marked | 20.00 | Each |  | 100.00 | 2000.00 | 55.00 | 1100.00 | 360.00 | 7200.00 | 66.00 | 1320.00 | 1100.00 | M/S DURGA SUPPLY AGENCIES
7.00 | Supply of 5 step, single module 100 watt electronic fan regulator as required. | 30.00 | Each |  | 250.00 | 7500.00 | 200.00 | 6000.00 | 550.00 | 16500.00 | 167.00 | 5010.00 | 5010.00 | Yash Energy Pvt. Ltd
8.00 | Supply of 2.5 mfd, 440 Volt capacitor suitable for ceiling fan. | 30.00 | Each |  | 30.00 | 900.00 | 15.00 | 450.00 | 28.00 | 840.00 | 19.00 | 570.00 | 450.00 | M/S DURGA SUPPLY AGENCIES
9.00 | Supply of 4.0 mfd, 440 Volt capacitor suitable for heavy duty Exhaust fan. | 10.00 | Each |  | 40.00 | 400.00 | 18.00 | 180.00 | 2450.00 | 24500.00 | 22.00 | 220.00 | 180.00 | M/S DURGA SUPPLY AGENCIES
10.00 | Supply of following size PVC Insulated unsheathed single core bright annealed bare Copper conductor multi strand flexible FRLSH cable complete as required.
10.01 | 1.5 sq mm (coil -90mtr length) | 1.00 | Coil |  | 1280.00 | 1280.00 | 1200.00 | 1200.00 | 1050.00 | 1050.00 | 1661.00 | 1661.00 | 1050.00 | M/s LEESHA ELECTRICALS
10.02 | 2.5 sq mm (coil -90mtr length) | 1.00 | Coil |  | 2150.00 | 2150.00 | 2000.00 | 2000.00 | 1650.00 | 1650.00 | 2596.00 | 2596.00 | 1650.00 | M/s LEESHA ELECTRICALS
10.03 | 4 sq mm (coil -90mtr length) | 1.00 | Coil |  | 3100.00 | 3100.00 | 3000.00 | 3000.00 | 2350.00 | 2350.00 | 3945.00 | 3945.00 | 2350.00 | M/s LEESHA ELECTRICALS
11.00 | Supply of following rating 'C' series MCB of 10KA breaking capacity and suitable for 230/415 V, AC Supply (As per approved make list)
11.01 | 63A TPN MCB | 7.00 | Each |  | 960.00 | 6720.00 | 1050.00 | 7350.00 | 1250.00 | 8750.00 | 1017.00 | 7119.00 | 6720.00 | VOLKS ENERGIE PVT LTD
11.02 | 6 Amp SP MCB | 10.00 | Each |  | 130.00 | 1300.00 | 110.00 | 1100.00 | 90.00 | 900.00 | 108.00 | 1080.00 | 900.00 | M/s LEESHA ELECTRICALS
11.03 | 10 Amp SP MCB | 10.00 | Each |  | 130.00 | 1300.00 | 110.00 | 1100.00 | 120.00 | 1200.00 | 108.00 | 1080.00 | 1080.00 | Yash Energy Pvt. Ltd
11.04 | 16 Amp SP MCB | 10.00 | Each |  | 130.00 | 1300.00 | 110.00 | 1100.00 | 130.00 | 1300.00 | 108.00 | 1080.00 | 1080.00 | Yash Energy Pvt. Ltd
11.05 | 32 Amp SP MCB | 10.00 | Each |  | 130.00 | 1300.00 | 110.00 | 1100.00 | 150.00 | 1500.00 | 108.00 | 1080.00 | 1080.00 | Yash Energy Pvt. Ltd
12.00 | Supply of Single phase electronic energy meter with multi range of rating 5 to 30 A with LCD display of rating 5 to 30 A with box (L&T- Cat No- WM101BC5DL0BOX or equivalent.) | 15.00 | Each |  | 1335.00 | 20025.00 | 1050.00 | 15750.00 | 1650.00 | 24750.00 | 1412.00 | 21180.00 | 15750.00 | M/S DURGA SUPPLY AGENCIES
13.00 | Supply of 5/6 amps, three pin plug Top ISI marked. | 10.00 | Each |  | 40.00 | 400.00 | 30.00 | 300.00 | 50.00 | 500.00 | 52.00 | 520.00 | 300.00 | M/S DURGA SUPPLY AGENCIES
14.00 | Supply of 15/16 amps, three pin plug Top ISI marked. | 10.00 | Each |  | 60.00 | 600.00 | 50.00 | 500.00 | 160.00 | 1600.00 | 66.00 | 660.00 | 500.00 | M/S DURGA SUPPLY AGENCIES
15.00 | Supply of 1x 20 Watt Batten type LED fittings , with extruded aluminum, of min 100 Lumens/watt with driver and inbuilt diffuser suitable for single phase 230V AC,50 Hz power supply. | 20.00 | Each |  | 375.00 | 7500.00 | 550.00 | 11000.00 | 950.00 | 19000.00 | 370.00 | 7400.00 | 7400.00 | Yash Energy Pvt. Ltd
16.00 | Supply of LED indication lamp 230 volt AC suitable for existing LT panels.
16.01 | Red Indicator | 30.00 | Each |  | 40.00 | 1200.00 | 130.00 | 3900.00 | 75.00 | 2250.00 | 81.00 | 2430.00 | 1200.00 | VOLKS ENERGIE PVT LTD
16.02 | Yellow Indicator | 20.00 | Each |  | 40.00 | 800.00 | 130.00 | 2600.00 | 75.00 | 1500.00 | 81.00 | 1620.00 | 800.00 | VOLKS ENERGIE PVT LTD
16.03 | Blue Indicator | 20.00 | Each |  | 40.00 | 800.00 | 130.00 | 2600.00 | 125.00 | 2500.00 | 145.00 | 2900.00 | 800.00 | VOLKS ENERGIE PVT LTD
16.04 | Green Indicator | 15.00 | Each |  | 40.00 | 600.00 | 130.00 | 1950.00 | 75.00 | 1125.00 | 81.00 | 1215.00 | 600.00 | VOLKS ENERGIE PVT LTD
17.00 | Supply of three phase digital type Ammeter (5A secondary current ) suitable for existing LT panels. | 2.00 | Each |  | 950.00 | 1900.00 | 800.00 | 1600.00 | 850.00 | 1700.00 | 1552.00 | 3104.00 | 1600.00 | M/S DURGA SUPPLY AGENCIES
18.00 | Supply of three phase digital type Voltmeter(0-500V) suitable for existing LT panels. | 3.00 | Each |  | 950.00 | 2850.00 | 800.00 | 2400.00 | 850.00 | 2550.00 | 1552.00 | 4656.00 | 2400.00 | M/S DURGA SUPPLY AGENCIES
19.00 | Supply of 5 star rated as per latest BEE standards, for best energy efficiency, inverter type 1.5TR split Air-conditioner with all accessories, cordless remote & of cooling capacity 4500 K Cal/hr (1.5 Ton) fitted with rotary / semi-hermetic compressor along with copper condenser unit operating on refrigerant R-32/ other Non CFC suitable for wall mounting & suitable for operation on 230 Volt, 50HZ, Single phase AC supply capable of performing following functions; (i) Cooling (ii) dehumidifying, (iii) Air Circulating, & (iv) Filtering etc as required. | 10.00 | Each |  | 30200.00 | 302000.00 | 30000.00 | 300000.00 | 36750.00 | 367500.00 | 32877.00 | 328770.00 | 300000.00 | M/S DURGA SUPPLY AGENCIES
20.00 | ITC of Split type Air-conditioner with cordless remote & of cooling capacity 1.5TR including fixing of indoor & outdoor units, providing & fixing of suitable refrigerant piping, control cabling and drain pipe (upto length of 3.0 meters), leakage testing, providing & charging of refrigerant gas (R-32 /Non CFC) etc. complete as required as per site condition and as per the direction of E-I-C. | 10.00 | Each |  | 1500.00 | 15000.00 | 750.00 | 7500.00 | 2000.00 | 20000.00 | 2884.00 | 28840.00 | 7500.00 | M/S DURGA SUPPLY AGENCIES
21.00 | Supply & fixing of Iron Angle stand suitable for installation of outdoor unit of above mentioned 1.5 TR split air-conditioners including painting etc. complete as required. | 10.00 | Each |  | 450.00 | 4500.00 | 500.00 | 5000.00 | 800.00 | 8000.00 | 923.00 | 9230.00 | 4500.00 | VOLKS ENERGIE PVT LTD
22.00 | Supply & fixing of additional copper pipe (both suction and discharge refrigerant piping) line along with 3 core isi marked copper pvc insulated control cable suitable for above said air conditioners from indoor unit to outdoor unit as per site condition and as per the direction of E-I-C. | 70.00 | Mtr |  | 600.00 | 42000.00 | 350.00 | 24500.00 | 850.00 | 59500.00 | 1153.00 | 80710.00 | 24500.00 | M/S DURGA SUPPLY AGENCIES
23.00 | Supply and fixing of additional braided type PVC drain pipe along with accessories from indoor unit as per site condition and as per the direction of E-I-C. | 100.00 | Mtr |  | 120.00 | 12000.00 | 70.00 | 7000.00 | 150.00 | 15000.00 | 127.00 | 12700.00 | 7000.00 | M/S DURGA SUPPLY AGENCIES
24.00 | Supply of ceiling fan of 1200 mm sweep , single phase induction motor, with maximum power consumption of 50 watts with double ball bearing, blades , canopy, minimum 30 cm down rod suitable for single phase 230 V 50 HZ, AC supply with two year warranty . | 30.00 | Mtr |  | 1260.00 | 37800.00 | 2100.00 | 63000.00 | 1670.00 | 50100.00 | 1246.00 | 37380.00 | 37380.00 | Yash Energy Pvt. Ltd
25.00 | Supply of following XLPE insulated & PVC sheathed 1.1 KV grade, aluminium conductor, armoured power cable conforming to IS:7098, PART-1/1988 upto date Amendments
25.01 | 4core 16sq.mm | 30.00 | Mtr |  | 120.00 | 3600.00 | 120.00 | 3600.00 | 110.00 | 3300.00 | 130.00 | 3900.00 | 3300.00 | M/s LEESHA ELECTRICALS
26.00 | Supply of following XLPE insulated & PVC sheathed 1.1 KV grade, aluminium conductor, armoured power cable conforming to IS:7098, PART-1/1988 upto date Amendments .
26.01 | 4C x 10 sq.mm | 100.00 | Mtr |  | 120.00 | 12000.00 | 100.00 | 10000.00 | 90.00 | 9000.00 | 111.00 | 11100.00 | 9000.00 | M/s LEESHA ELECTRICALS
27.00 | Supply & Installation of 125 Amps multistage 3 phase series Power filter consists of inductance wounded in ferrite core, capacitance with MOV 70kA+40kA in transverse and common mode, rating 125 Amps continuous per phase in IP55 grade power coated metal enclosure with safety circuit breaker and 125 Amps service bypass changeover switch and inter connecting cables, end termination etc. as required to be installed in the input of the UPS. | 1.00 | No |  | 190000.00 | 190000.00 | 175000.00 | 175000.00 | 165000.00 | 165000.00 | 184576.00 | 184576.00 | 165000.00 | M/s LEESHA ELECTRICALS
28.00 | Supply and fixing of 100 Amp Four pole On load Changeover switch disconnector in sheet steel enclosure, with all accessories etc.complete as required. | 2.00 | No |  | 6150.00 | 12300.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 6147.00 | 12294.00 | 11000.00 | M/s LEESHA ELECTRICALS
29.00 | Supply & fixing of AC-1 250A 4P contactor, 4NO, 220V AC for existing panel .(Similar to Make TC model LC1 FDP 1504A). | 4.00 | No |  | 15500.00 | 62000.00 | 12000.00 | 48000.00 | 26750.00 | 107000.00 | 17060.00 | 68240.00 | 48000.00 | M/S DURGA SUPPLY AGENCIES
30.00 | Supply of 12V, 65 AH Sealed Maintenace Free, Valve Regulated Lead Acid battery for Solar Street Light as per latest IS specification as required. (Model no EP65-12 Make-Exide or equivalent) | 12.00 | Set |  | 7000.00 | 84000.00 | 3500.00 | 42000.00 | 6800.00 | 81600.00 | 4960.00 | 59520.00 | 42000.00 | M/S DURGA SUPPLY AGENCIES
31.00 | Supply of 12V,10Amp Solar charge controlller with dusk to dawn facility , suitable for 45 watt LED Street Light with minimum 1 year warranty. | 12.00 | No |  | 1700.00 | 20400.00 | 750.00 | 9000.00 | 6250.00 | 75000.00 | 1442.00 | 17304.00 | 9000.00 | M/S DURGA SUPPLY AGENCIES
32.00 | Supply of 3 HP submersible pump-motor set consisting of multistage pumps with suitable motor suitable for operation on 415 volt, 50 Hz, Three phase A/C supply. Pumps and motors must be connected with alignment shafts etc. complete as required . (Make : Model KU4-0334T of Kirloskar or its equivalent to approved make list). | 1.00 | Set |  | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 22800.00 | 22800.00 | 27225.00 | 27225.00 | 20000.00 | M/S DURGA SUPPLY AGENCIES
33.00 | Design, supply, Installation, Testing and commissioning of Automatic Power factor corrector panel 40 KVAR, 3 ph, 415v, totally enclosed, free standing, free mounting, dust and vermin proof, cubicle type to be fabricated out of minimum 2 mm thick sheet steel, with provision for capacitor mounting arrangement inside the panel with copper, Busbars, interconnections, adequate number of louvers and power coated with approved shade including supply & installation of following components and as per technical specifications. a) Incomer:-100A 3P MCCB 36 KA with adjustable overload & Short circuit protection 1. 3 phase Digital Voltmeter - 1 No 2. 3 phase Digital Ammeter - 1 No 3. CT (100/5A) - 3 Nos 4. Indicator-R/Y/B - 3 Nos 5. Control MCB 1P 6A (C Series) - 3 Nos 6. APFC Relay-5 stage or higher - 1 No 7. Auto Manual selector Switch - 1 No 8. Control Contactor - 9 Nos 9. Emergency Stop push Button - 1 No 10. 6A DP MCB(C Series) - 1 No 11. 8" Sweep,single phase 230V AC, 55Watt Cooling Fan(Plastic body type) - 4 Nos 12. On Delay Timer - 1 No b) Outgoing Stages:-10KVAr x 3No 1. 25A 3P MCCB with Extended Rotary Handle & Spreader Terminal-36KA - 1 No 2. 3 pole Capacitor duty contactor which can switching upto 12.5KVAr Capacitor bank with 1NO+1NC - 1 No 3. Push Button on & off - 2 Nos 4. Indicator Red & Green - 2 Nos 5. 10KVAr Ultra heave duty capacitor - 2 Nos 6. 6A DP MCB(C Series) - 6 Nos 5KVAr x 2Nos 1. 16A 3P MCCB with extended Rotary Handle & Spreader Terminal-36KA - 2 Nos 2. 3 pole Capacitor duty Contactor which can switching upto 8.5KVAr Capacitor bank with 1NO+1NC - 2 Nos 3. Push Button on & off - 4 Nos 4. Indicator Red & Green - 4 Nos 5. 5KVAr Ultra heavy duty capacitor - 4 Nos 6. 6A DP MCB (C Series) - 4 Nos | 1.00 | Set |  | 169565.00 | 169565.00 | 145000.00 | 145000.00 | 175000.00 | 175000.00 | 222415.00 | 222415.00 | 145000.00 | M/S DURGA SUPPLY AGENCIES
| Total in Figures |  |  |  |  | 1109000.00 |  | 1009870.00 |  | 1363015.00 |  | 1233880.00
Lowest Amount Quoted BY: M/S DURGA SUPPLY AGENCIES(1009870.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Air conditioning and other Electrical Spares Items at MSSR Radar Station Berhampur Tender ID: 2021_AAI_77244_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DURGA SUPPLY AGENCIES | 1009870.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1109000.00 | L2
| 3 | Yash Energy Pvt. Ltd | 1233880.00 | L3
| 4 | M/s LEESHA ELECTRICALS | 1363015.00 | L4