## BoQ1
Government eProcurement System Created By: VENKATACHALAPATHI A T Created Date/Time: 30-Jun-2021 12:51 PM Tender Title: Facility Management and Comprehensive Maintenance Contract of 1.5 MWp roof top grid connected solar PV plant installed at Integrated Cargo Complex, Chennai Airport. 3 Years 01.08.2021 to 01.07.2024 Tender ID: 2021_AAI_77354_1
Tender Inviting Authority: Asst.General Manager (Engg-Elect), AMED-VII
Name of Work: Facility Management and Comprehensive Maintenance Contract of 1.5 MWp roof top grid connected solar PV plant installed at Integrated Cargo Complex, Chennai Airport. (3 Years: 01.08.2021 to 31.07.2024)
Contract No: AAI/CHE/AMED-VII/2021/02 Tender ID: 2021_AAI_77354_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kunamneni Technologies Private Limited(GSTN-29AAECK4698R1ZD) |  | RelyOn Solar Pvt. Ltd(GSTN-27AAECR7425D1ZG) |  | DD Project Services Private Limited(GSTN-33AAECD1564D1Z5) |  | SWELECT ENERGY SYSTEMS LTD(GSTN-33AAACN2366F2ZS) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-36AACCJ7269H1Z9)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH- I: FMC of Solar Plant
1.01 | Monitoring, operation and Maintenance of 1500 KWp roof top Solar Photovoltaic Power Plant comprising of Solar PV modules, Junction boxes, connectors, Support systems, Power Conditioning Units (Inverters), String Monitoring Units (DCDBs), solar system DC/ AC copper cables, lightning and earthing protection arrangements, plant monitoring SCADA system, UPS, Step up Transformer (2000KVA Dry Type), HT panels, HT Power cable, weather monitoring system and water cleaning system (as per Annexure 'I' - List of Inventories) for maintaining the system for 100% serviceability (Shift - 8 Hours For One Shift + General shift as per Annexure 'II'), Monitoring, Opertaion and Maintenance for 100% Serviceability including Co-ordination with Solar Power House and Integrated Cargo Complex Substation, attending minor faults/ repairs, ensuring 100% Serviceability/ satisfactory working condition of the systems, routine and general preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/ yearly basis as per standard manufacturer's practices, Special Conditions of Contract and Technical Specifications, maintenance of records and log books and reporting as and when required, complete General Housekeeping and Upkeeping of the solar plant, Associated area and solar power evacuation substation etc., on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge as required. (Note: The quoted rate shall be exclusive of Goods and Service Tax, EPF, ESI/Mediclaim policy premium and Bonus)
1.02 | 4th Year after defect liability Period 01.08.2021 to 31.07.2022 (First Year) | 12.00 | Months |  | 309000.00 | 3708000.00 | 180180.00 | 2162160.00 | 260402.00 | 3124824.00 | 156000.00 | 1872000.00 | 150000.00 | 1800000.00 | 1800000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
1.03 | 5th Year after defect liability Period 01.08.2022 to 31.07.2023 (Second Year) | 12.00 | Months |  | 322463.00 | 3869556.00 | 184895.00 | 2218740.00 | 273422.00 | 3281064.00 | 171600.00 | 2059200.00 | 155000.00 | 1860000.00 | 1860000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
1.04 | 6th Year after defect liability Period 01.08.2023 to 31.07.2024 (Third Year) | 12.00 | Months |  | 336759.00 | 4041108.00 | 189986.00 | 2279832.00 | 287093.00 | 3445116.00 | 188760.00 | 2265120.00 | 160000.00 | 1920000.00 | 1920000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
2.00 | SH- II: FMC of Solar Plant
2.01 | All Inclusive Comprehensive Maintenance Contract of 1500 KWp roof top Solar Photovoltaic Power Plant comprising of Junction Boxes & MC4 Connectors with DC cable of 04 sq.mm in solar panel side, Support systems, Power Conditioning Units (Inverters), String Monitoring Units (DCDBs), solar system DC/ AC copper cables, Connectors (cable side), lightning and earthing protection arrangements plant monitoring SCADA system, UPS, Step up Transformer (2000KVA Dry Type), HT panels, HT Power cable, weather monitoring system and water cleaning system (as per Annexure 'III' - List of Inventories) covering the scope of activities given in special conditions of contract and technical specifications, attending faults, carrying out supply and replacement of defective components / parts (Free of Cost) of same rating and make, ensuring serviceability / satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance, Painting of PV module structure supporting concrete blocks on second year only etc. complete as specified and as directed by Engineer-In-Charge as required. (Note: Replacement of Only Solar PV Modules arises due to manufacturing defects shall be covered under Guarantee obligation and shall be replaced by the Original Solar Plant system Integrator.)
2.02 | 4th Year after defect liability Period 01.08.2021 to 31.07.2022 (First Year) | 12.00 | Months |  | 58857.00 | 706284.00 | 277250.00 | 3327000.00 | 163046.00 | 1956552.00 | 675234.00 | 8102808.00 | 200000.00 | 2400000.00 | 706284.00 | Kunamneni Technologies Private Limited
2.03 | 5th Year after defect liability Period 01.08.2022 to 31.07.2023 (Second Year) | 12.00 | Months |  | 61421.00 | 737052.00 | 320479.00 | 3845748.00 | 171198.00 | 2054376.00 | 548300.00 | 6579600.00 | 205000.00 | 2460000.00 | 737052.00 | Kunamneni Technologies Private Limited
2.04 | 6th Year after defect liability Period 01.08.2023 to 31.07.2024 (Third Year) | 12.00 | Months |  | 64144.00 | 769728.00 | 336000.00 | 4032000.00 | 179758.00 | 2157096.00 | 602892.00 | 7234704.00 | 210000.00 | 2520000.00 | 769728.00 | Kunamneni Technologies Private Limited
| Total in Figures |  |  |  |  | 13831728.00 |  | 17865480.00 |  | 16019028.00 |  | 28113432.00 |  | 12960000.00
Lowest Amount Quoted BY: JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(12960000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management and Comprehensive Maintenance Contract of 1.5 MWp roof top grid connected solar PV plant installed at Integrated Cargo Complex, Chennai Airport. 3 Years 01.08.2021 to 01.07.2024 Tender ID: 2021_AAI_77354_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 12960000.00 | L1
| 2 | Kunamneni Technologies Private Limited | 13831728.00 | L2
| 3 | DD Project Services Private Limited | 16019028.00 | L3
| 4 | RelyOn Solar Pvt. Ltd | 17865480.00 | L4
| 5 | SWELECT ENERGY SYSTEMS LTD | 28113432.00 | L5