## BoQ1
Government eProcurement System Created By: Saubhik Pan Created Date/Time: 19-Jul-2021 06:23 PM Tender Title: MO Power supply including standby DG sets at NSCBI Airport during 2021 22 SH Annual Comprehensive Maintenance Operation and monitoring of 2 MWp Roof Top type Solar Power Plant at NSCBI Airport Kolkata Tender ID: 2021_AAI_77422_1
Tender Inviting Authority: Airports Authority of India
Name of Work: M.O. Power supply i/c standby DG sets at NSCBI Airport during 2021-22. SH: Annual Comprehensive Maintenance, Operation and monitoring of 2 MWp Roof Top type Solar Power Plant at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-36AACCJ7269H1Z9) |  | VIKRAM SOLAR LIMITED(GSTN-19AABCI5168D2ZK)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual maintenance and monitoring of 2 MWp roof top type solar photovoltaic power plant installations comprising of installed solar PV modules, structural support systems, power conditioning units, lightning and earthing, protection systems, solar system cables, LT Evacuation / injection points/terminals, auxiliary & control supply system, DC & AC distribution boards along with available switchgears & control gears, invertor rooms along with AC & DC power cables, other alied communication and control cables, including solar plant radiation & environment monitoring system excluding SCADA system and including cleaning of modules as per scope of works & technical specification enclosed and as directed by the Engineer-in-charge. (a) 1st Year | 12.00 | Month | 166666.67 | 180000.00 | 2160000.00 | 155000.00 | 1860000.00 | 1860000.00 | VIKRAM SOLAR LIMITED
2.00 | Annual maintenance and monitoring of 2 MWp roof top type solar photovoltaic power plant installations comprising of installed solar PV modules, structural support systems, power conditioning units, lightning and earthing, protection systems, solar system cables, LT Evacuation / injection points/terminals, auxiliary & control supply system, DC & AC distribution boards along with available switchgears & control gears, invertor rooms along with AC & DC power cables, other alied communication and control cables, including solar plant radiation & environment monitoring system excluding SCADA system and including cleaning of modules as per scope of works & technical specification enclosed and as directed by the Engineer-in-charge. (b) 2nd Year | 12.00 | Month | 180000.00 | 180000.00 | 2160000.00 | 155000.00 | 1860000.00 | 1860000.00 | VIKRAM SOLAR LIMITED
3.00 | Annual maintenance and monitoring of 2 MWp roof top type solar photovoltaic power plant installations comprising of installed solar PV modules, structural support systems, power conditioning units, lightning and earthing, protection systems, solar system cables, LT Evacuation / injection points/terminals, auxiliary & control supply system, DC & AC distribution boards along with available switchgears & control gears, invertor rooms along with AC & DC power cables, other alied communication and control cables, including solar plant radiation & environment monitoring system excluding SCADA system and including cleaning of modules as per scope of works & technical specification enclosed and as directed by the Engineer-in-charge. (c ) 3rd Year | 12.00 | Month | 194400.00 | 180000.00 | 2160000.00 | 155000.00 | 1860000.00 | 1860000.00 | VIKRAM SOLAR LIMITED
4.00 | Annual comprehensive maintenance of following Inverters as per OEM standard and as directed by the Engineer-in-Charge. (i) 62.5 KWp - 33 nos. (ii) 33 KWp - 01 no. (a) 1st Year | 12.00 | Month | 66666.67 | 32000.00 | 384000.00 | 75000.00 | 900000.00 | 384000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
5.00 | Annual comprehensive maintenance of following Inverters as per OEM standard and as directed by the Engineer-in-Charge. (i) 62.5 KWp - 33 nos. (ii) 33 KWp - 01 no. (b) 2nd Year | 12.00 | Month | 72000.00 | 32000.00 | 384000.00 | 75000.00 | 900000.00 | 384000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
6.00 | Annual comprehensive maintenance of following Inverters as per OEM standard and as directed by the Engineer-in-Charge. (i) 62.5 KWp - 33 nos. (ii) 33 KWp - 01 no. (c ) 3rd Year | 12.00 | Month | 77760.00 | 33000.00 | 396000.00 | 75000.00 | 900000.00 | 396000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
7.00 | Annual Comprehensive maintenance of the complete SCADA System (Hard Ware & Soft Ware) including necessary network connectivity related to the above installations to deliver all the status of 2 MWp PV Solar System at the control room as per item no. 01 on daily basis and as directed by the Engineer-in-Charge. (a) 1st Year. | 12.00 | Month | 22500.00 | 23000.00 | 276000.00 | 20000.00 | 240000.00 | 240000.00 | VIKRAM SOLAR LIMITED
8.00 | Annual Comprehensive maintenance of the complete SCADA System (Hard Ware & Soft Ware) including necessary network connectivity related to the above installations to deliver all the status of 2 MWp PV Solar System at the control room as per item no. 01 on daily basis and as directed by the Engineer-in-Charge. (b) 2nd Year | 12.00 | Month | 24300.00 | 23000.00 | 276000.00 | 20000.00 | 240000.00 | 240000.00 | VIKRAM SOLAR LIMITED
9.00 | Annual Comprehensive maintenance of the complete SCADA System (Hard Ware & Soft Ware) including necessary network connectivity related to the above installations to deliver all the status of 2 MWp PV Solar System at the control room as per item no. 01 on daily basis and as directed by the Engineer-in-Charge. (c ) 3rd Year | 12.00 | Month | 26244.00 | 24000.00 | 288000.00 | 20000.00 | 240000.00 | 240000.00 | VIKRAM SOLAR LIMITED
| Total in Figures |  |  |  |  | 8484000.00 |  | 9000000.00
Lowest Amount Quoted BY: JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(8484000.00)

## BOQ Summary
BOQ Summary Details Tender Title: MO Power supply including standby DG sets at NSCBI Airport during 2021 22 SH Annual Comprehensive Maintenance Operation and monitoring of 2 MWp Roof Top type Solar Power Plant at NSCBI Airport Kolkata Tender ID: 2021_AAI_77422_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 8484000.00 | L1
| 2 | VIKRAM SOLAR LIMITED | 9000000.00 | L2