## BoQ1
Government eProcurement System Created By: MUTHAMILAN M Created Date/Time: 07-Jun-2021 05:55 PM Tender Title: SITC of Apron Flood Lighting High Masts, LT Panels and Allied Electrical Works at Rajahmundry Airport Tender ID: 2021_AAI_77591_1
Tender Inviting Authority: ASST. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, RAJAHMUNDRY AIRPORT, RAJAHMUNDRY
Name of Work: Extention of Apron in order to reconfigureate 11 Nos bays along with construction of Additiona 4 Nos Helicopter bays at Rajahmundry Airport. Sub Head: SITC Of Apron Flood Lighting High Masts, LT Panels and allied Electrical Works.
Contract No: 2021_AAI_77591_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ECS ENGINEERING PVT LTD(GSTN-09AABCE5944P1Z1) |  | Kripa Electronics india pvt ltd(GSTN-27AACCK9472B1ZI) |  | Mukherjee Commercial Enterprise(GSTN-19ALVPM0307N1ZJ) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | VISHAL ELECTRICALS(GSTN-09ACYPB4483E1Z9) |  | Rekha Enterprises(GSTN-27ADZPB3409Q1ZV) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | M/s CGPL ELECTROMECH PVT LTD(GSTN-07AAGCC8228F1ZO) |  | ENERGYGREEN TECHNOPOWER PVT LTD(GSTN-23AAECE7344J1ZM) |  | SRI RAGHAVENDRA ELECTRICALS(GSTN-36AJHPP7899J1Z7) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-37AACCJ7269H1Z7) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Ruchira Associates(GSTN-37AAQFR2340N1ZO) |  | Manoprabha Electricals(GSTN-33AGNPM4749D3Z9) |  | SRINIVASA ELECTRICALS(GSTN-37AGGPP9295C1ZY) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | METRO ENGINEERS SERVICES(GSTN-NA) |  | SHRI KARNI LIGHT HOUSE(GSTN-NA) |  | A Goverdhan(GSTN-NA) |  | C R ELECTRICALS(GSTN-NA) |  | Inovonz Engineering Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design,Fabrication,Supply, Installation, Testing and commissioning of High mast shaft of 25 mtrs in Three sections, hot galvanized Steel plates confirming to BSEN 10025:1993 suitable for wind speed as per IS:875,part 3 with raising lowering system comprising, head frame, lantern carriage suitable to install Minimum 14 Nos. 350 W LED luminaries in symmetrical arrangement, double drum winch, 6 mm diameter SS wire rope, Two number 5C X 2.5 Sq.mm tinned unarmoured copper conductor EPR insulated & PVC sheathed trailing cable from Junction Box of lantern carriage to control panel, one number 3CX4 Sq.mm, PVC insulated, PVC sheathed unarmoured Copper conductor cable for Power tool from control panel, connectors, 415 V, 32 A, 3P+N+E Plug & Sockets, integral power tool motor with mechanically tripping facility & manual handle, terminations Junction Box, lightening finial including the followings.High mast tower shall conform to tender specification & as required complete in all respects. Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template. Construction of shallow foundation with M25 grade concrete for the highmast considering the safe soil bearing capacity at site as 10 T/sqmtr at 2 metre depth with all materials and labour. Erection of the high mast including all accessories with the help of suitable tools and plants. Installation, testing and commissioning of 350 W LED Flood lights upto 14 No's or as per site requirements and 01 No. Twin Type aviation obstruction light on the existing lantern carriage including wiring of all luminaires with all wiring materials like PVC insulated PVC sheathed flexible cable of suitable copper conductor cores of 2.5 sq. mm from Junction Box of Lantern Carriage to individual light fittings, lugs, mounting accessories and all labour etc. | 1.00 | Job |  | 446000.00 | 446000.00 | 364326.09 | 364326.09 | 450000.00 | 450000.00 | 450000.00 | 450000.00 | 415000.00 | 415000.00 | 388720.00 | 388720.00 | 372000.00 | 372000.00 | 600000.00 | 600000.00 | 460000.00 | 460000.00 | 275000.00 | 275000.00 | 391860.00 | 391860.00 | 385000.00 | 385000.00 | 400000.00 | 400000.00 | 340209.00 | 340209.00 | 396531.00 | 396531.00 | 313500.00 | 313500.00 | 320000.00 | 320000.00 | 300000.00 | 300000.00 | 368400.00 | 368400.00 | 402695.00 | 402695.00 | 350000.00 | 350000.00 | 310000.00 | 310000.00 | 375000.00 | 375000.00 | 295000.00 | 295000.00 | 319450.00 | 319450.00 | 360000.00 | 360000.00 | 384036.00 | 384036.00 | 275000.00 | M/s CGPL ELECTROMECH PVT LTD
2.00 | Design, Fabrication,Supply, Installation, Testing and commissioning of High mast shaft of 19 mtrs in minimum Two sections, hot galvanized Steel plates confirming to BSEN 10025:1993 suitable for wind speed as per IS:875,part 3 with raising lowering system comprising, head frame, lantern carriage suitable to install Minimum 12 Nos. 350 W LED luminaries in asymmetrical arrangement, double drum winch, 6 mm diameter SS wire rope, Two number 5C X 2.5 Sq.mm tinned unarmoured copper conductor EPR insulated & PVC sheathed trailing cable from Junction Box of lantern carriage to control panel, one number 3CX4 Sq.mm, PVC insulated, PVC sheathed unarmoured Copper conductor cable for Power tool from control panel, connectors, 415 V, 32 A, 3P+N+E Plug & Sockets, integral power tool motor with mechanically tripping facility & manual handle, terminations Junction Box, lightening finial including the followings.High mast tower shall conform to tender specification & as required complete in all respects. Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template. Construction of shallow foundation with M25 grade concrete for the highmast considering the safe soil bearing capacity at site as 10 T/sqmtr at 2 metre depth with all materials and labour. Erection of the high mast including all accessories with the help of suitable tools and plants. Installation, testing and commissioning of 350 W LED Flood lights upto 12 No's or as per site requirements and 01 No. Twin Type aviation obstruction light on the existing lantern carriage including wiring of all luminaires with all wiring materials like PVC insulated PVC sheathed flexible cable of suitable copper conductor cores of 2.5 sq. mm from Junction Box of Lantern Carriage to individual light fittings, lugs, mounting accessories and all labour etc. | 1.00 | Job |  | 286000.00 | 286000.00 | 272222.83 | 272222.83 | 400000.00 | 400000.00 | 400000.00 | 400000.00 | 375000.00 | 375000.00 | 288600.00 | 288600.00 | 310200.00 | 310200.00 | 540000.00 | 540000.00 | 345000.00 | 345000.00 | 255000.00 | 255000.00 | 273420.00 | 273420.00 | 245000.00 | 245000.00 | 225000.00 | 225000.00 | 236775.00 | 236775.00 | 298526.00 | 298526.00 | 277500.00 | 277500.00 | 255000.00 | 255000.00 | 210000.00 | 210000.00 | 324000.00 | 324000.00 | 309614.00 | 309614.00 | 250000.00 | 250000.00 | 266000.00 | 266000.00 | 345000.00 | 345000.00 | 214000.00 | 214000.00 | 267000.00 | 267000.00 | 260000.00 | 260000.00 | 311027.00 | 311027.00 | 210000.00 | Manoprabha Electricals
3.00 | Design, Fabrication, Supply, Installation, Testing and commissioning of High mast shaft of 18 mtrs in minimum Two sections, hot galvanized Steel plates confirming to BSEN 10025:1993 suitable for wind speed as per IS:875,part 3 with raising lowering system comprising, head frame, lantern carriage suitable to install Minimum 12 Nos. 350 W LED luminaries in asymmetrical/symmetrical arrangement, double drum winch, 6 mm diameter SS wire rope, Two number 5C X 2.5 Sq.mm tinned unarmoured copper conductor EPR insulated & PVC sheathed trailing cable from Junction Box of lantern carriage to control panel, one number 3CX4 Sq.mm, PVC insulated, PVC sheathed unarmoured Copper conductor cable for Power tool from control panel, connectors, 415 V, 32 A, 3P+N+E Plug & Sockets, integral power tool motor with mechanically tripping facility & manual handle, terminations Junction Box, lightening finial including the followings.High mast tower shall conform to tender specification & as required complete in all respects. Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template. Construction of shallow foundation with M25 grade concrete for the highmast considering the safe soil bearing capacity at site as 10 T/sqmtr at 2 metre depth with all materials and labour. Erection of the high mast including all accessories with the help of suitable tools and plants. Installation, testing and commissioning of 350 W LED Flood lights upto 12No's or as per site requirements and 01 No. Twin Type aviation obstruction light on the existing lantern carriage including wiring of all luminaires with all wiring materials like PVC insulated PVC sheathed flexible cable of suitable copper conductor cores of 2.5 sq. mm from Junction Box of Lantern Carriage to individual light fittings, lugs, mounting accessories and all labour etc. | 2.00 | Job |  | 272000.00 | 544000.00 | 255983.70 | 511967.40 | 350000.00 | 700000.00 | 380000.00 | 760000.00 | 330000.00 | 660000.00 | 282800.00 | 565600.00 | 302400.00 | 604800.00 | 540000.00 | 1080000.00 | 345000.00 | 690000.00 | 235000.00 | 470000.00 | 269640.00 | 539280.00 | 231000.00 | 462000.00 | 225000.00 | 450000.00 | 227307.00 | 454614.00 | 298526.00 | 597052.00 | 272350.00 | 544700.00 | 255000.00 | 510000.00 | 210000.00 | 420000.00 | 314400.00 | 628800.00 | 290168.00 | 580336.00 | 230000.00 | 460000.00 | 260000.00 | 520000.00 | 330000.00 | 660000.00 | 210000.00 | 420000.00 | 259000.00 | 518000.00 | 245000.00 | 490000.00 | 290312.00 | 580624.00 | 420000.00 | Manoprabha Electricals, SHRI KARNI LIGHT HOUSE
4.00 | Design,Fabrication, Supply, Installation, Testing and commissioning of High mast shaft of 12 mtrs in single sections hot galvanized Steel plates confirming to BSEN 10025:1993 suitable for wind speed as per IS:875,part 3 with raising lowering system comprising, head frame, lantern carriage suitable to install Minimum 8 Nos. 350 W LED luminaries in asymmetrical arrangement, double drum winch, 6 mm diameter SS wire rope, Two number 5C X 2.5 Sq.mm tinned unarmoured copper conductor EPR insulated & PVC sheathed trailing cable from Junction Box of lantern carriage to control panel, one number 3CX4 Sq.mm, PVC insulated, PVC sheathed unarmoured Copper conductor cable for Power tool from control panel, connectors, 415 V, 32 A, 3P+N+E Plug & Sockets, integral power tool motor with mechanically tripping facility & manual handle, terminations Junction Box, lightening finial including the followings.High mast tower shall conform to tender specification & as required complete in all respects. Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template. Construction of shallow foundation with M25 grade concrete for the highmast considering the safe soil bearing capacity at site as 10 T/sqmtr at 2 metre depth with all materials and labour. Erection of the high mast including all accessories with the help of suitable tools and plants. Installation, testing and commissioning of 350 W LED Flood lights upto 8No's or as per site requirements and 01 No. Twin Type aviation obstruction light on the existing lantern carriage including wiring of all luminaires with all wiring materials like PVC insulated PVC sheathed flexible cable of suitable copper conductor cores of 2.5 sq. mm from Junction Box of Lantern Carriage to individual light fittings, lugs, mounting accessories and all labour etc. | 2.00 | Job |  | 177200.00 | 354400.00 | 214255.43 | 428510.86 | 325000.00 | 650000.00 | 250000.00 | 500000.00 | 255000.00 | 510000.00 | 206240.00 | 412480.00 | 222000.00 | 444000.00 | 420000.00 | 840000.00 | 333500.00 | 667000.00 | 165000.00 | 330000.00 | 220500.00 | 441000.00 | 180000.00 | 360000.00 | 180000.00 | 360000.00 | 179348.00 | 358696.00 | 171667.00 | 343334.00 | 179000.00 | 358000.00 | 150000.00 | 300000.00 | 165000.00 | 330000.00 | 200400.00 | 400800.00 | 233576.00 | 467152.00 | 160000.00 | 320000.00 | 180000.00 | 360000.00 | 265000.00 | 530000.00 | 145000.00 | 290000.00 | 159700.00 | 319400.00 | 160000.00 | 320000.00 | 168872.00 | 337744.00 | 290000.00 | SHRI KARNI LIGHT HOUSE
5.00 | Design,Fabrication, Supply, Installation, Testing and commissioning of High mast shaft of 08 mtrs in single sections hot galvanized Steel plates confirming to BSEN 10025:1993 suitable for wind speed as per IS:875,part 3 with raising lowering system comprising, head frame, lantern carriage suitable to install Minimum 8 Nos. 350 W LED luminaries in asymmetrical arrangement, double drum winch, 6 mm diameter SS wire rope, Two number 5C X 2.5 Sq.mm tinned unarmoured copper conductor EPR insulated & PVC sheathed trailing cable from Junction Box of lantern carriage to control panel, one number 3CX4 Sq.mm, PVC insulated, PVC sheathed unarmoured Copper conductor cable for Power tool from control panel, connectors, 415 V, 32 A, 3P+N+E Plug & Sockets, integral power tool motor with mechanically tripping facility & manual handle, terminations Junction Box, lightening finial including the followings.High mast tower shall conform to tender specification & as required complete in all respects. Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template. Construction of shallow foundation with M25 grade concrete for the highmast considering the safe soil bearing capacity at site as 10 T/sqmtr at 2 metre depth with all materials and labour. Erection of the high mast including all accessories with the help of suitable tools and plants. Installation, testing and commissioning of 350 W LED Flood lights upto 08 No's or as per site requirements and 01 No. Twin Type aviation obstruction light on the existing lantern carriage including wiring of all luminaires with all wiring materials like PVC insulated PVC sheathed flexible cable of suitable copper conductor cores of 2.5 sq. mm from Junction Box of Lantern Carriage to individual light fittings, lugs, mounting accessories and all labour etc. | 1.00 | Job |  | 122600.00 | 122600.00 | 212347.83 | 212347.83 | 450000.00 | 450000.00 | 200000.00 | 200000.00 | 175000.00 | 175000.00 | 171880.00 | 171880.00 | 208800.00 | 208800.00 | 360000.00 | 360000.00 | 230000.00 | 230000.00 | 85000.00 | 85000.00 | 197820.00 | 197820.00 | 121000.00 | 121000.00 | 150000.00 | 150000.00 | 151095.00 | 151095.00 | 152261.00 | 152261.00 | 146750.00 | 146750.00 | 135000.00 | 135000.00 | 165000.00 | 165000.00 | 152400.00 | 152400.00 | 193918.00 | 193918.00 | 120000.00 | 120000.00 | 110000.00 | 110000.00 | 155000.00 | 155000.00 | 100000.00 | 100000.00 | 135400.00 | 135400.00 | 125000.00 | 125000.00 | 50005.00 | 50005.00 | 50005.00 | Inovonz Engineering Pvt Ltd
6.00 | Supply of LED flood light luminaire with secondary optical lens having minimum output of 38500 lm and rated power not exceeding 350 watts with 5 years warranty designed with Powder coated Pressure Die Cast aluminium housing, frame , MS mounting bracket, integral driver with Surge protection, heat resistant toughned glass, Conforming to IP 65/IP66 protection etc. complete as required. (LED & Power Drive Should meet the AAI Specifications) | 70.00 | Each |  | 13900.00 | 973000.00 | 11359.00 | 795130.00 | 20000.00 | 1400000.00 | 14000.00 | 980000.00 | 18000.00 | 1260000.00 | 9600.00 | 672000.00 | 21187.00 | 1483090.00 | 18600.00 | 1302000.00 | 15525.00 | 1086750.00 | 8500.00 | 595000.00 | 5670.00 | 396900.00 | 15000.00 | 1050000.00 | 11500.00 | 805000.00 | 11115.00 | 778050.00 | 19667.00 | 1376690.00 | 15000.00 | 1050000.00 | 14155.00 | 990850.00 | 13000.00 | 910000.00 | 18360.00 | 1285200.00 | 14250.00 | 997500.00 | 14500.00 | 1015000.00 | 20000.00 | 1400000.00 | 16300.00 | 1141000.00 | 13550.00 | 948500.00 | 21500.00 | 1505000.00 | 13000.00 | 910000.00 | 12402.00 | 868140.00 | 396900.00 | ENERGYGREEN TECHNOPOWER PVT LTD
7.00 | Supply of Twin type aviation dome obstruction LED light fitting comprising of aluminium housing and polycarbinate diffuser suitable for operation on 230V;50Hz AC single phase power supply etc. complete as required. | 7.00 | Each |  | 4100.00 | 28700.00 | 5124.22 | 35869.54 | 5000.00 | 35000.00 | 2900.00 | 20300.00 | 5500.00 | 38500.00 | 2950.00 | 20650.00 | 29803.00 | 208621.00 | 6000.00 | 42000.00 | 3910.00 | 27370.00 | 6500.00 | 45500.00 | 3150.00 | 22050.00 | 5000.00 | 35000.00 | 6800.00 | 47600.00 | 4589.00 | 32123.00 | 5346.00 | 37422.00 | 3700.00 | 25900.00 | 4990.00 | 34930.00 | 6000.00 | 42000.00 | 4800.00 | 33600.00 | 4275.00 | 29925.00 | 4500.00 | 31500.00 | 5000.00 | 35000.00 | 5000.00 | 35000.00 | 5500.00 | 38500.00 | 6650.00 | 46550.00 | 5300.00 | 37100.00 | 4343.00 | 30401.00 | 20300.00 | jaydeep agency corporation
8.00 | Design, Fabrication, Supply, Installation, Testing & Commissioning of cubicle type, Totally enclosed, double door with sloped roof, Outdoor type (IP55 or higher), floor mounted, fully CRCA steel built feeder pillar fabricated in compartmentalised design made out of 2.0 mm thick CRCA sheet, duly powder coated in approved shade suitable for operation on 415 V, 3 phase , 4 wire, 50 Hz AC supply, TPN aluminium busbars of high conductivity, DMC/SMC busbar supports with bottom base channel with mounting legs made out of steel section of not less than 3mm thickness, entire panel shall have a common copper earthbar of size 20mm X 3 mm at the rear with 2 Nos. earth studs, solid connection from main busbar to switchgears with required size of aluminium busbar, suitable cement concrete foundation, control wiring with FRLS insulated copper conductor cables, cable alleys , cable gland plates, neoprene gaskets, terminal blocks etc to accommodate the following accessories etc. complete as required. I) Incomer MCCBs : 63 A, FP, Breaking capacity of 25kA at 415 Volts MCCB (Ics= 100% Icu) with Thermal magnetic release having O/L & S/C protection - 1 Set II) LED Phase Indication (R,Y,B) lamps ON&OFF indication lamps with control MCBs & 1.5 Sq.mm FRLS Copper wiring - 01 Set III)Ougoing MCBs : 32 A, 10 KA, 4P, C Series MCB - 4 Nos ( two lighting circuit, one motor circuit & one spare) IV) Common 4 Pole,100A capacity Aluminium Busbar. V) Single dial time switch with 32A FP contactor with 2NO+2NC auxiliary contacts for the automatic switching of Highmast flood lighting - 01 Set VI) 32A FP contactor with 2NO+2NC auxiliary contacts for the automatic switching of Highmast flood lighting - 01 Set VII) Power tool Motor control with Two number 32 A, FP contactors with 2NO+2NC auxiliary contacts, Over load protection and Raise & lower push buttons - 0 1Set (for raising lowering system of Highmast). VIII) Remote /Manual operation Selector Switch -01 No. (In Remote Mode, Highmast lighting control from ATC Tower and Manual Mode, highmast Lighting control through manual operation ). IX) Necessary Internal control wiring & earthing strip as per specifications. I/C providing & fixing of suitable Rail Mounted Terminal Connectors etc. | 7.00 | Job |  | 92200.00 | 645400.00 | 56288.82 | 394021.74 | 75000.00 | 525000.00 | 35000.00 | 245000.00 | 91000.00 | 637000.00 | 132500.00 | 927500.00 | 62400.00 | 436800.00 | 36000.00 | 252000.00 | 28750.00 | 201250.00 | 35600.00 | 249200.00 | 69300.00 | 485100.00 | 165000.00 | 1155000.00 | 65000.00 | 455000.00 | 77221.00 | 540547.00 | 39163.00 | 274141.00 | 95000.00 | 665000.00 | 92220.00 | 645540.00 | 83000.00 | 581000.00 | 300000.00 | 2100000.00 | 80750.00 | 565250.00 | 145000.00 | 1015000.00 | 80000.00 | 560000.00 | 21500.00 | 150500.00 | 42500.00 | 297500.00 | 55000.00 | 385000.00 | 59000.00 | 413000.00 | 29575.00 | 207025.00 | 150500.00 | METRO ENGINEERS SERVICES
9.00 | Design, Supply, Installation, Testing and commissioning of weather proof, vermin proof, powder coated, free floor standing, fully compartmentalised , bottom entry double door type , outdoor canopy type , MV cubicle Electrical Main Feeder Piller panel, generally conforming to IP-55 and higher, fabricated from 2 mm. thick CRCA sheet , treated through seven tank process along with detachable 3mm thick gland plate sutable for operation on 415 V, 3 phase , 4 wire, 50 Hz AC supply, TPN aluminium busbars of high conductivity, DMC/SMC busbar supports with bottom base channel made out of MS section not less than 100 mm x50 mm x 5 mm thick, entire panel shall have a common copper earthbar of size 20mm X 5 mm at the rear with 2 Nos. earth studs ,solid connection from main busbar to switchgears with required size of aluminium busbar & control wiring with 2.5 sqmm FRLS insulated copper conductor cable, cable alleys, lifting hooks including swapping, recoiling and handling of all incoming and outgoing cables, Civil work for CC foundation, cutting , fixing, grouting, painting and sign writing etc. complete as required. Incomer : 400A, FP,36kA MCCB (Ics=100%Icu) with O/L and S/C fault Protection with Adjustable Thermal magnetic release with front operated rotary handle - 02 nos. Buscoupler : 400A, FP,36kA MCCB (Ics=100%Icu) with with O/L and S/C fault Protection with Adjustable Thermal magnetic release with front operated rotary handle - 01 No. Mechanical Interlock with 3 lock 2 key - 1 set Busbar:500 A, Al - Bus bar, Four pole with Fibre glass insulated support & pvc sleave etc-1set Out goings 160, FP, 25kA MCCB (Ics=100%Icu) with Thermal magnetic release having O/L & S/C protection with rotary handle - 2 Nos 125A, FP, 25kA MCCB (Ics=100%Icu) with Thermal magnetic release having O/L & S/C protection with rotary handle - 2 Nos 63A, FP, 'C' curve, 25kA MCCB (Ics=100%Icu) with Thermal magnetic release having O/L & S/C protection with rotary handle - 8 Nos Metering: Digital Multifunction meter, 3 phase, 5A, class -1 with CTs (400/5) = 02 set(for incomers). LED Phase Indication lamp with control MCBs - 02 Set's ON-OFF indication lamps (LED type) -14 sets | 1.00 | Job |  | 410000.00 | 410000.00 | 375108.70 | 375108.70 | 325000.00 | 325000.00 | 425000.00 | 425000.00 | 345000.00 | 345000.00 | 476250.00 | 476250.00 | 348000.00 | 348000.00 | 300000.00 | 300000.00 | 184000.00 | 184000.00 | 355000.00 | 355000.00 | 245700.00 | 245700.00 | 210000.00 | 210000.00 | 90000.00 | 90000.00 | 396785.00 | 396785.00 | 344372.00 | 344372.00 | 425000.00 | 425000.00 | 450000.00 | 450000.00 | 380000.00 | 380000.00 | 300000.00 | 300000.00 | 390070.00 | 390070.00 | 430000.00 | 430000.00 | 260000.00 | 260000.00 | 320000.00 | 320000.00 | 295000.00 | 295000.00 | 315000.00 | 315000.00 | 495450.00 | 495450.00 | 370030.00 | 370030.00 | 90000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
10.00 | Design, Supply, Installation, Testing and commissioning of weather proof, vermin proof, powder coated, free floor standing, fully compartmentalised , bottom entry double door type , outdoor canopy type , MV cubicle Feeder Piller panel (Junction Box ), generally conforming to IP-55 and higher, fabricated from 2 mm. thick CRCA sheet , treated through seven tank process along with detachable 3mm thick gland plate sutable for operation on 415 V, 3 phase , 4 wire, 50 Hz AC supply, TPN aluminium busbars of high conductivity, DMC/SMC busbar supports with bottom base channel made out of MS section not less than 100 mm x50 mm x 5 mm thick, entire panel shall have a common copper earthbar of size 20mm X 5 mm at the rear with 2 Nos. earth studs ,solid connection from main busbar to switchgears with required size of aluminium busbar & control wiring with 2.5 sqmm FRLS insulated copper conductor cable, cable alleys, lifting hooks including swapping, recoiling and handling of all incoming and outgoing cables, Civil work for CC foundation, cutting , fixing, grouting, painting and sign writing etc. complete as required. Incomer : 400A, FP,36kA MCCB (Ics=100%Icu) with O/L and S/C fault Protection with Adjustable Thermal magnetic release with front operated rotary handle - 01 no. Busbar:500 A, Al - Bus bar, Four pole with Fibre glass insulated support & pvc sleave etc-1set Out goings 400, FP, 36kA MCCB (Ics=100%Icu) with Thermal magnetic release having O/L & S/C protection with rotary handle - 01 No 250A, FP, 36kA MCCB (Ics=100%Icu) with Thermal magnetic release having O/L & S/C protection with rotary handle - 01 No 63A, FP, 'C' curve, 25kA MCCB (Ics=100%Icu) with Thermal magnetic release having O/L & S/C protection with rotary handle - 01 Nos Metering: Digital Multifunction meter, 3 phase, 5A, class -1 with CTs (400/5) = 01 set(for incomer). LED Phase Indication lamp with control MCBs - 01 Set's ON-OFF indication lamps (LED type) -03 sets | 1.00 | Job |  | 112700.00 | 112700.00 | 136021.74 | 136021.74 | 225000.00 | 225000.00 | 275000.00 | 275000.00 | 132000.00 | 132000.00 | 207500.00 | 207500.00 | 162000.00 | 162000.00 | 180000.00 | 180000.00 | 184400.00 | 184400.00 | 245000.00 | 245000.00 | 100800.00 | 100800.00 | 220000.00 | 220000.00 | 90000.00 | 90000.00 | 132825.00 | 132825.00 | 139943.00 | 139943.00 | 155000.00 | 155000.00 | 150159.00 | 150159.00 | 130000.00 | 130000.00 | 300000.00 | 300000.00 | 134073.00 | 134073.00 | 270000.00 | 270000.00 | 360000.00 | 360000.00 | 300000.00 | 300000.00 | 145000.00 | 145000.00 | 115000.00 | 115000.00 | 159802.00 | 159802.00 | 127286.00 | 127286.00 | 90000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
11.00 | Design, Supply, Installation, Testing and commissioning of weather proof, vermin proof, powder coated, free floor standing, fully compartmentalised , bottom entry double door type , outdoor canopy type , MV cubicle Electrical Outdoor panel( At CARGO Department), generally conforming to IP-55 and higher , fabricated from 2 mm. thick CRCA sheet , treated through seven tank process along with detachable 3mm thick gland plate sutable for operation on 415 V, 3 phase , 4 wire, 50 Hz AC supply, TPN aluminium busbars of high conductivity, DMC/SMC busbar supports with bottom base channel made out of MS section not less than 100 mm x50 mm x 5 mm thick, entire panel shall have a common copper earthbar of size 20mm X 3 mm at the rear with 2 Nos. earth studs ,solid connection from main busbar to switchgears with required size of aluminium busbar & control wiring with FRLS insulated copper conductor cable, cable alleys, lifting hooks including swapping, recoiling and handling of all incoming and outgoing cables, Civil work for CC foundation, cutting , fixing, grouting, painting and sign writing etc. complete as required. Incomer : 100A, FP,25kA MCCB (Ics=100%Icu) with with O/L and S/C fault Protection with Thermal magnetic release with front operated rotary handle - 01 nos Busbar:125A, Al - Bus bar, Four pole with Fibre glass insulated support & pvc sleave etc-1set Out goings 63A, FP, 25kA MCCB (Ics=100%Icu) with Thermal magnetic release having O/L & S/C protection with rotary handle - 05 Nos Metering: Digital Multifunction meter, 3 phase, 5A, class -1 with CTs (100/5) = 01 set(for incomer). ON-OFF indication lamps (LED type) with Control Fuse/MCB's -7 sets LED Phase Indication lamp with control MCBs - 1 Set. | 1.00 | Job |  | 149300.00 | 149300.00 | 134326.09 | 134326.09 | 180000.00 | 180000.00 | 150000.00 | 150000.00 | 145000.00 | 145000.00 | 179500.00 | 179500.00 | 177600.00 | 177600.00 | 180000.00 | 180000.00 | 172500.00 | 172500.00 | 125000.00 | 125000.00 | 88200.00 | 88200.00 | 180000.00 | 180000.00 | 65000.00 | 65000.00 | 111990.00 | 111990.00 | 121655.00 | 121655.00 | 166750.00 | 166750.00 | 111228.00 | 111228.00 | 137200.00 | 137200.00 | 300000.00 | 300000.00 | 144124.00 | 144124.00 | 270000.00 | 270000.00 | 110000.00 | 110000.00 | 220000.00 | 220000.00 | 115000.00 | 115000.00 | 125000.00 | 125000.00 | 152665.00 | 152665.00 | 108998.00 | 108998.00 | 65000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
12.00 | Supply of following size cables of grade 1.1 KV, XLPE insulated, PVC sheathed, armoured Aluminium conductor conforming to IS 7098 (Part 1) amended upto date.
12.01 | 3.5C X 400 Sqmm | 2035.00 | Mtr |  | 1397.00 | 2842895.00 | 1443.21 | 2936932.35 | 1250.00 | 2543750.00 | 1280.00 | 2604800.00 | 1395.00 | 2838825.00 | 1395.00 | 2838825.00 | 1596.00 | 3247860.00 | 1500.00 | 3052500.00 | 1092.00 | 2222220.00 | 1380.00 | 2808300.00 | 1575.00 | 3205125.00 | 1750.00 | 3561250.00 | 1200.00 | 2442000.00 | 1485.00 | 3021975.00 | 1576.00 | 3207160.00 | 1435.00 | 2920225.00 | 1124.00 | 2287340.00 | 1390.00 | 2828650.00 | 1680.00 | 3418800.00 | 1480.00 | 3011800.00 | 1590.00 | 3235650.00 | 1100.00 | 2238500.00 | 1375.00 | 2798125.00 | 1380.00 | 2808300.00 | 1430.00 | 2910050.00 | 1317.00 | 2680095.00 | 1360.00 | 2767600.00 | 2222220.00 | RVD INFRA SOLUTION PVT.LTD.
12.02 | 3.5C X 50 Sqmm | 260.00 | Mtr |  | 234.00 | 60840.00 | 237.39 | 61721.40 | 250.00 | 65000.00 | 255.00 | 66300.00 | 240.00 | 62400.00 | 235.00 | 61100.00 | 264.00 | 68640.00 | 276.00 | 71760.00 | 230.00 | 59800.00 | 230.00 | 59800.00 | 283.50 | 73710.00 | 295.00 | 76700.00 | 275.00 | 71500.00 | 239.00 | 62140.00 | 260.00 | 67600.00 | 245.00 | 63700.00 | 258.00 | 67080.00 | 270.00 | 70200.00 | 297.00 | 77220.00 | 243.00 | 63180.00 | 290.00 | 75400.00 | 300.00 | 78000.00 | 256.00 | 66560.00 | 285.00 | 74100.00 | 260.00 | 67600.00 | 217.00 | 56420.00 | 224.00 | 58240.00 | 56420.00 | C R ELECTRICALS
12.03 | 4C X 35 Sq mm | 880.00 | Mtr |  | 200.00 | 176000.00 | 202.45 | 178156.00 | 225.00 | 198000.00 | 220.00 | 193600.00 | 205.00 | 180400.00 | 200.00 | 176000.00 | 224.40 | 197472.00 | 240.00 | 211200.00 | 207.00 | 182160.00 | 195.00 | 171600.00 | 245.70 | 216216.00 | 82.00 | 72160.00 | 200.00 | 176000.00 | 207.00 | 182160.00 | 222.00 | 195360.00 | 210.00 | 184800.00 | 220.00 | 193600.00 | 220.00 | 193600.00 | 205.00 | 180400.00 | 188.00 | 165440.00 | 245.00 | 215600.00 | 200.00 | 176000.00 | 205.00 | 180400.00 | 220.00 | 193600.00 | 225.00 | 198000.00 | 185.00 | 162800.00 | 195.00 | 171600.00 | 72160.00 | SRI RAGHAVENDRA ELECTRICALS
13.00 | Supply and making end termination with brass compression gland and aluminium lugs for XLPE Insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade and sizes as required for the following.
13.01 | 3.5C X 400 Sqmm | 6.00 | Set |  | 1658.00 | 9948.00 | 380.43 | 2282.58 | 800.00 | 4800.00 | 1550.00 | 9300.00 | 1800.00 | 10800.00 | 950.00 | 5700.00 | 6375.60 | 38253.60 | 960.00 | 5760.00 | 920.00 | 5520.00 | 550.00 | 3300.00 | 3150.00 | 18900.00 | 3500.00 | 21000.00 | 1550.00 | 9300.00 | 1654.00 | 9924.00 | 2244.00 | 13464.00 | 500.00 | 3000.00 | 1600.00 | 9600.00 | 700.00 | 4200.00 | 6000.00 | 36000.00 | 1710.00 | 10260.00 | 1200.00 | 7200.00 | 2200.00 | 13200.00 | 100.00 | 600.00 | 750.00 | 4500.00 | 2500.00 | 15000.00 | 1400.00 | 8400.00 | 3170.00 | 19020.00 | 600.00 | METRO ENGINEERS SERVICES
13.02 | 3.5C X 50Sqmm | 4.00 | Set |  | 220.00 | 880.00 | 326.09 | 1304.36 | 250.00 | 1000.00 | 350.00 | 1400.00 | 750.00 | 3000.00 | 400.00 | 1600.00 | 1470.00 | 5880.00 | 720.00 | 2880.00 | 345.00 | 1380.00 | 220.00 | 880.00 | 1890.00 | 7560.00 | 3000.00 | 12000.00 | 650.00 | 2600.00 | 535.00 | 2140.00 | 711.00 | 2844.00 | 450.00 | 1800.00 | 400.00 | 1600.00 | 300.00 | 1200.00 | 2400.00 | 9600.00 | 332.00 | 1328.00 | 450.00 | 1800.00 | 900.00 | 3600.00 | 100.00 | 400.00 | 450.00 | 1800.00 | 1500.00 | 6000.00 | 500.00 | 2000.00 | 770.00 | 3080.00 | 400.00 | METRO ENGINEERS SERVICES
13.03 | 4 C X 35 Sq mm | 12.00 | Set |  | 212.00 | 2544.00 | 326.09 | 3913.08 | 200.00 | 2400.00 | 250.00 | 3000.00 | 600.00 | 7200.00 | 350.00 | 4200.00 | 966.00 | 11592.00 | 600.00 | 7200.00 | 287.00 | 3444.00 | 180.00 | 2160.00 | 1827.00 | 21924.00 | 1800.00 | 21600.00 | 650.00 | 7800.00 | 505.00 | 6060.00 | 884.00 | 10608.00 | 400.00 | 4800.00 | 350.00 | 4200.00 | 200.00 | 2400.00 | 2400.00 | 28800.00 | 237.00 | 2844.00 | 350.00 | 4200.00 | 600.00 | 7200.00 | 100.00 | 1200.00 | 450.00 | 5400.00 | 1000.00 | 12000.00 | 300.00 | 3600.00 | 607.00 | 7284.00 | 1200.00 | METRO ENGINEERS SERVICES
14.00 | Supplying of following size , DWC HDPE pipe, ISI marked conforming to IS 14930 Part II with upto date amendments etc.complete as required.
14.01 | 125mm Dia(outer)/107mm Dia (inner) | 610.00 | Mtr |  | 125.00 | 76250.00 | 131.24 | 80056.40 | 120.00 | 73200.00 | 120.00 | 73200.00 | 145.00 | 88450.00 | 153.00 | 93330.00 | 132.00 | 80520.00 | 168.00 | 102480.00 | 126.00 | 76860.00 | 220.00 | 134200.00 | 315.00 | 192150.00 | 135.00 | 82350.00 | 165.00 | 100650.00 | 138.00 | 84180.00 | 190.00 | 115900.00 | 145.00 | 88450.00 | 127.00 | 77470.00 | 120.00 | 73200.00 | 660.00 | 402600.00 | 152.00 | 92720.00 | 160.00 | 97600.00 | 166.00 | 101260.00 | 245.00 | 149450.00 | 210.00 | 128100.00 | 175.00 | 106750.00 | 130.00 | 79300.00 | 139.00 | 84790.00 | 73200.00 | Mukherjee Commercial Enterprise, jaydeep agency corporation, Manoprabha Electricals
14.02 | 63mm dia(outer)/50 mm Dia(inner) | 840.00 | Mtr |  | 65.00 | 54600.00 | 58.88 | 49459.20 | 60.00 | 50400.00 | 70.00 | 58800.00 | 80.00 | 67200.00 | 68.00 | 57120.00 | 84.00 | 70560.00 | 90.00 | 75600.00 | 63.00 | 52920.00 | 125.00 | 105000.00 | 100.80 | 84672.00 | 67.00 | 56280.00 | 100.00 | 84000.00 | 44.00 | 36960.00 | 83.00 | 69720.00 | 68.00 | 57120.00 | 55.00 | 46200.00 | 60.00 | 50400.00 | 118.00 | 99120.00 | 82.00 | 68880.00 | 95.00 | 79800.00 | 77.00 | 64680.00 | 155.00 | 130200.00 | 135.00 | 113400.00 | 115.00 | 96600.00 | 55.00 | 46200.00 | 69.00 | 57960.00 | 36960.00 | Vardhman Airport Solutions Pvt Ltd
15.00 | Laying of following size DWC HDPE pipe Complete with all fitting & couplers direct in ground (75 cm below ground level) including excavation and refilling the trench after laying Pipe etc., complete as required.
15.01 | 125mm Dia(outer) | 610.00 | Mtr |  | 125.00 | 76250.00 | 86.96 | 53045.60 | 125.00 | 76250.00 | 50.00 | 30500.00 | 180.00 | 109800.00 | 80.00 | 48800.00 | 180.00 | 109800.00 | 120.00 | 73200.00 | 299.00 | 182390.00 | 65.00 | 39650.00 | 151.20 | 92232.00 | 120.00 | 73200.00 | 200.00 | 122000.00 | 88.00 | 53680.00 | 129.00 | 78690.00 | 35.00 | 21350.00 | 98.00 | 59780.00 | 100.00 | 61000.00 | 180.00 | 109800.00 | 169.00 | 103090.00 | 120.00 | 73200.00 | 100.00 | 61000.00 | 100.00 | 61000.00 | 110.00 | 67100.00 | 150.00 | 91500.00 | 130.00 | 79300.00 | 150.00 | 91500.00 | 21350.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
15.02 | Upto 63mm Dia(outer) | 840.00 | Mtr |  | 125.00 | 105000.00 | 86.96 | 73046.40 | 80.00 | 67200.00 | 50.00 | 42000.00 | 175.00 | 147000.00 | 70.00 | 58800.00 | 162.00 | 136080.00 | 120.00 | 100800.00 | 230.00 | 193200.00 | 65.00 | 54600.00 | 126.00 | 105840.00 | 110.00 | 92400.00 | 150.00 | 126000.00 | 64.00 | 53760.00 | 117.00 | 98280.00 | 35.00 | 29400.00 | 65.00 | 54600.00 | 100.00 | 84000.00 | 180.00 | 151200.00 | 133.00 | 111720.00 | 90.00 | 75600.00 | 90.00 | 75600.00 | 100.00 | 84000.00 | 100.00 | 84000.00 | 150.00 | 126000.00 | 130.00 | 109200.00 | 150.00 | 126000.00 | 29400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
16.00 | Providing, laying and fixing following dia G.I. pipe (medium class) complete with G.I fittings direct in ground (75 cm below the ground level) including excavation and refilling the trench after laying G.I Pipe etc.complete as required.
16.01 | 125 mm dia | 75.00 | Mtrs |  | 2014.00 | 151050.00 | 429.35 | 32201.25 | 850.00 | 63750.00 | 1080.00 | 81000.00 | 2220.00 | 166500.00 | 1534.00 | 115050.00 | 2709.60 | 203220.00 | 960.00 | 72000.00 | 1150.00 | 86250.00 | 1350.00 | 101250.00 | 1537.20 | 115290.00 | 2000.00 | 150000.00 | 1200.00 | 90000.00 | 1332.00 | 99900.00 | 1748.00 | 131100.00 | 950.00 | 71250.00 | 750.00 | 56250.00 | 1850.00 | 138750.00 | 14400.00 | 1080000.00 | 1738.00 | 130350.00 | 1800.00 | 135000.00 | 1600.00 | 120000.00 | 1500.00 | 112500.00 | 1200.00 | 90000.00 | 500.00 | 37500.00 | 1800.00 | 135000.00 | 2057.00 | 154275.00 | 32201.25 | Kripa Electronics india pvt ltd
16.02 | 50 mm dia | 78.00 | Mtrs |  | 730.00 | 56940.00 | 429.35 | 33489.30 | 650.00 | 50700.00 | 580.00 | 45240.00 | 750.00 | 58500.00 | 460.00 | 35880.00 | 904.80 | 70574.40 | 480.00 | 37440.00 | 632.00 | 49296.00 | 650.00 | 50700.00 | 655.20 | 51105.60 | 600.00 | 46800.00 | 500.00 | 39000.00 | 474.00 | 36972.00 | 650.00 | 50700.00 | 500.00 | 39000.00 | 300.00 | 23400.00 | 700.00 | 54600.00 | 10800.00 | 842400.00 | 655.00 | 51090.00 | 650.00 | 50700.00 | 800.00 | 62400.00 | 780.00 | 60840.00 | 450.00 | 35100.00 | 400.00 | 31200.00 | 635.00 | 49530.00 | 864.00 | 67392.00 | 23400.00 | Ruchira Associates
17.00 | Providing, laying and fixing following dia G.I. pipe (medium class) complete with G.I fittings in the existing excavated trench etc. complete as required. 50 mm dia | 120.00 | Mtrs |  | 610.00 | 73200.00 | 429.35 | 51522.00 | 450.00 | 54000.00 | 520.00 | 62400.00 | 600.00 | 72000.00 | 460.00 | 55200.00 | 784.80 | 94176.00 | 480.00 | 57600.00 | 517.00 | 62040.00 | 450.00 | 54000.00 | 604.80 | 72576.00 | 700.00 | 84000.00 | 450.00 | 54000.00 | 426.00 | 51120.00 | 650.00 | 78000.00 | 500.00 | 60000.00 | 300.00 | 36000.00 | 550.00 | 66000.00 | 9600.00 | 1152000.00 | 570.00 | 68400.00 | 525.00 | 63000.00 | 700.00 | 84000.00 | 780.00 | 93600.00 | 400.00 | 48000.00 | 100.00 | 12000.00 | 650.00 | 78000.00 | 714.00 | 85680.00 | 12000.00 | A Goverdhan
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as reqd.
18.01 | a) Above 185 sqmm upto 400 sqmm | 960.00 | Mtr |  | 70.00 | 67200.00 | 86.96 | 83481.60 | 150.00 | 144000.00 | 45.00 | 43200.00 | 80.00 | 76800.00 | 150.00 | 144000.00 | 144.00 | 138240.00 | 72.00 | 69120.00 | 115.00 | 110400.00 | 95.00 | 91200.00 | 75.60 | 72576.00 | 30.00 | 28800.00 | 150.00 | 144000.00 | 21.00 | 20160.00 | 85.00 | 81600.00 | 75.00 | 72000.00 | 125.00 | 120000.00 | 20.00 | 19200.00 | 180.00 | 172800.00 | 71.00 | 68160.00 | 90.00 | 86400.00 | 80.00 | 76800.00 | 70.00 | 67200.00 | 50.00 | 48000.00 | 75.00 | 72000.00 | 70.00 | 67200.00 | 100.00 | 96000.00 | 19200.00 | Manoprabha Electricals
18.02 | b) Above 35sqmm upto 90 sqmm | 230.00 | Mtr |  | 40.00 | 9200.00 | 86.96 | 20000.80 | 75.00 | 17250.00 | 30.00 | 6900.00 | 60.00 | 13800.00 | 80.00 | 18400.00 | 108.00 | 24840.00 | 60.00 | 13800.00 | 57.00 | 13110.00 | 45.00 | 10350.00 | 63.00 | 14490.00 | 25.00 | 5750.00 | 100.00 | 23000.00 | 20.00 | 4600.00 | 59.00 | 13570.00 | 75.00 | 17250.00 | 65.00 | 14950.00 | 30.00 | 6900.00 | 180.00 | 41400.00 | 47.00 | 10810.00 | 60.00 | 13800.00 | 36.00 | 8280.00 | 70.00 | 16100.00 | 25.00 | 5750.00 | 75.00 | 17250.00 | 50.00 | 11500.00 | 50.00 | 11500.00 | 4600.00 | Vardhman Airport Solutions Pvt Ltd
18.03 | c) Upto 35 sq. mm | 810.00 | Mtr |  | 40.00 | 32400.00 | 86.96 | 70437.60 | 50.00 | 40500.00 | 20.00 | 16200.00 | 40.00 | 32400.00 | 70.00 | 56700.00 | 54.00 | 43740.00 | 48.00 | 38880.00 | 23.00 | 18630.00 | 35.00 | 28350.00 | 50.40 | 40824.00 | 20.00 | 16200.00 | 100.00 | 81000.00 | 14.00 | 11340.00 | 47.00 | 38070.00 | 75.00 | 60750.00 | 35.00 | 28350.00 | 20.00 | 16200.00 | 120.00 | 97200.00 | 42.00 | 34020.00 | 40.00 | 32400.00 | 25.00 | 20250.00 | 70.00 | 56700.00 | 25.00 | 20250.00 | 50.00 | 40500.00 | 30.00 | 24300.00 | 45.00 | 36450.00 | 11340.00 | Vardhman Airport Solutions Pvt Ltd
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct/Cable trench as required. Above185 sqmm upto 400 sqmm | 570.00 | Mtr |  | 70.00 | 39900.00 | 108.70 | 61959.00 | 70.00 | 39900.00 | 45.00 | 25650.00 | 80.00 | 45600.00 | 150.00 | 85500.00 | 144.00 | 82080.00 | 96.00 | 54720.00 | 92.00 | 52440.00 | 80.00 | 45600.00 | 75.60 | 43092.00 | 40.00 | 22800.00 | 150.00 | 85500.00 | 35.00 | 19950.00 | 70.00 | 39900.00 | 75.00 | 42750.00 | 85.00 | 48450.00 | 30.00 | 17100.00 | 300.00 | 171000.00 | 80.00 | 45600.00 | 90.00 | 51300.00 | 70.00 | 39900.00 | 100.00 | 57000.00 | 25.00 | 14250.00 | 75.00 | 42750.00 | 70.00 | 39900.00 | 80.00 | 45600.00 | 14250.00 | SHRI KARNI LIGHT HOUSE
20.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface/CableTray as required. Above 185 sqmm upto 400 sqmm | 430.00 | Mtr |  | 80.00 | 34400.00 | 108.70 | 46741.00 | 100.00 | 43000.00 | 45.00 | 19350.00 | 60.00 | 25800.00 | 150.00 | 64500.00 | 138.00 | 59340.00 | 120.00 | 51600.00 | 92.00 | 39560.00 | 125.00 | 53750.00 | 100.80 | 43344.00 | 35.00 | 15050.00 | 150.00 | 64500.00 | 23.00 | 9890.00 | 94.00 | 40420.00 | 75.00 | 32250.00 | 135.00 | 58050.00 | 30.00 | 12900.00 | 300.00 | 129000.00 | 90.00 | 38700.00 | 90.00 | 38700.00 | 30.00 | 12900.00 | 100.00 | 43000.00 | 25.00 | 10750.00 | 75.00 | 32250.00 | 70.00 | 30100.00 | 100.00 | 43000.00 | 9890.00 | Vardhman Airport Solutions Pvt Ltd
21.00 | Supply and making of straight through joint with heat shrinkable kit including ferrules and other insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade as required.
21.01 | 3.5CX 400 sqmm | 4.00 | Sets |  | 4100.00 | 16400.00 | 2717.39 | 10869.56 | 5000.00 | 20000.00 | 2100.00 | 8400.00 | 3100.00 | 12400.00 | 4630.00 | 18520.00 | 22278.00 | 89112.00 | 7200.00 | 28800.00 | 8050.00 | 32200.00 | 3500.00 | 14000.00 | 27720.00 | 110880.00 | 4000.00 | 16000.00 | 7000.00 | 28000.00 | 1626.00 | 6504.00 | 8042.00 | 32168.00 | 2500.00 | 10000.00 | 6000.00 | 24000.00 | 6000.00 | 24000.00 | 26400.00 | 105600.00 | 5225.00 | 20900.00 | 4500.00 | 18000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 8500.00 | 34000.00 | 10000.00 | 40000.00 | 4000.00 | 16000.00 | 5331.00 | 21324.00 | 6504.00 | Vardhman Airport Solutions Pvt Ltd
21.02 | 3.5CX 50 sqmm | 2.00 | Sets |  | 1400.00 | 2800.00 | 2173.91 | 4347.82 | 3000.00 | 6000.00 | 850.00 | 1700.00 | 2400.00 | 4800.00 | 3450.00 | 6900.00 | 14431.00 | 28862.00 | 2400.00 | 4800.00 | 3450.00 | 6900.00 | 2500.00 | 5000.00 | 15120.00 | 30240.00 | 1600.00 | 3200.00 | 4000.00 | 8000.00 | 526.00 | 1052.00 | 3551.00 | 7102.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 9000.00 | 18000.00 | 2375.00 | 4750.00 | 2500.00 | 5000.00 | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 4500.00 | 9000.00 | 7500.00 | 15000.00 | 2000.00 | 4000.00 | 2372.00 | 4744.00 | 1052.00 | Vardhman Airport Solutions Pvt Ltd
21.03 | 4CX35 sqmm | 4.00 | Sets |  | 1200.00 | 4800.00 | 2717.39 | 10869.56 | 2500.00 | 10000.00 | 650.00 | 2600.00 | 3100.00 | 12400.00 | 3450.00 | 13800.00 | 12878.00 | 51512.00 | 1800.00 | 7200.00 | 3450.00 | 13800.00 | 1800.00 | 7200.00 | 12600.00 | 50400.00 | 1600.00 | 6400.00 | 2500.00 | 10000.00 | 497.00 | 1988.00 | 2722.00 | 10888.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 6000.00 | 24000.00 | 1710.00 | 6840.00 | 2000.00 | 8000.00 | 1600.00 | 6400.00 | 1000.00 | 4000.00 | 4500.00 | 18000.00 | 5000.00 | 20000.00 | 2000.00 | 8000.00 | 2372.00 | 9488.00 | 1988.00 | Vardhman Airport Solutions Pvt Ltd
22.00 | Supply, installation, testing and commissioning of the following rating and breaking capacity Ics=100%Icu, thermal magnetc release 4P MCCB with spreader terminals and extended rotary handles fixed on existing compartment of MV Panel including providing suitable rating Aluminium Busbar to connect with common busbar and to receive out going cables and making connections etc., complete as required. 630A, 50KA | 1.00 | Each |  | 33300.00 | 33300.00 | 67391.30 | 67391.30 | 2000.00 | 2000.00 | 45000.00 | 45000.00 | 55000.00 | 55000.00 | 52750.00 | 52750.00 | 28046.00 | 28046.00 | 33600.00 | 33600.00 | 86250.00 | 86250.00 | 48500.00 | 48500.00 | 44100.00 | 44100.00 | 30000.00 | 30000.00 | 10000.00 | 10000.00 | 40320.00 | 40320.00 | 23187.00 | 23187.00 | 1500.00 | 1500.00 | 20000.00 | 20000.00 | 37000.00 | 37000.00 | 6000.00 | 6000.00 | 34912.00 | 34912.00 | 75000.00 | 75000.00 | 92000.00 | 92000.00 | 5500.00 | 5500.00 | 25500.00 | 25500.00 | 45000.00 | 45000.00 | 55000.00 | 55000.00 | 44005.00 | 44005.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
23.00 | Supplying and drawing of 2cx2.5Sqmm FR PVC insulated copper conductor,multi core cable in the existing surface/ recessed steel/ G.I conduit as required. | 540.00 | Mtrs |  | 99.00 | 53460.00 | 108.70 | 58698.00 | 90.00 | 48600.00 | 90.00 | 48600.00 | 80.00 | 43200.00 | 77.00 | 41580.00 | 102.00 | 55080.00 | 54.00 | 29160.00 | 63.00 | 34020.00 | 65.00 | 35100.00 | 88.20 | 47628.00 | 200.00 | 108000.00 | 120.00 | 64800.00 | 117.00 | 63180.00 | 101.00 | 54540.00 | 90.00 | 48600.00 | 55.00 | 29700.00 | 70.00 | 37800.00 | 150.00 | 81000.00 | 92.00 | 49680.00 | 160.00 | 86400.00 | 66.00 | 35640.00 | 155.00 | 83700.00 | 55.00 | 29700.00 | 70.00 | 37800.00 | 110.00 | 59400.00 | 119.00 | 64260.00 | 29160.00 | Industrial Traders
24.00 | Supplying and laying of 20mm dia G.I conduit along with accessories direct in ground (50 cm below ground level) including excavation and refilling the trench after laying Pipe etc., complete as required. | 520.00 | Mtrs |  | 298.00 | 154960.00 | 108.70 | 56524.00 | 250.00 | 130000.00 | 128.00 | 66560.00 | 325.00 | 169000.00 | 257.00 | 133640.00 | 852.00 | 443040.00 | 216.00 | 112320.00 | 230.00 | 119600.00 | 130.00 | 67600.00 | 239.40 | 124488.00 | 220.00 | 114400.00 | 240.00 | 124800.00 | 202.00 | 105040.00 | 260.00 | 135200.00 | 75.00 | 39000.00 | 125.00 | 65000.00 | 250.00 | 130000.00 | 280.00 | 145600.00 | 204.00 | 106080.00 | 280.00 | 145600.00 | 220.00 | 114400.00 | 115.00 | 59800.00 | 250.00 | 130000.00 | 350.00 | 182000.00 | 200.00 | 104000.00 | 216.00 | 112320.00 | 39000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.00 | Earthing with G.I. earth pipe of 4 metre long, 40 mm dia including accessories, and providing 300x300x450(H) mm RCC earth pit chamber suitable to receive 6mm thick MS chequered plate with handle, strengthening & compaction of soil below the earth pit chamber including providing suitable ratio PCC, providing & laying Plain Cement Concrete (PCC) (1:2:4) of depth 100mm surrounding the earth pit chamber covering surface area of 01 SqMeter,including providing and fixing of reducer, water funnel with wire mesh arrangement for watering etc. with charcoal/coke and salt as required. | 9.00 | Job |  | 12180.00 | 109620.00 | 5434.78 | 48913.02 | 3500.00 | 31500.00 | 4200.00 | 37800.00 | 8500.00 | 76500.00 | 7484.00 | 67356.00 | 9360.00 | 84240.00 | 8400.00 | 75600.00 | 11500.00 | 103500.00 | 5500.00 | 49500.00 | 5040.00 | 45360.00 | 16000.00 | 144000.00 | 7000.00 | 63000.00 | 14537.00 | 130833.00 | 10646.00 | 95814.00 | 3700.00 | 33300.00 | 5000.00 | 45000.00 | 7000.00 | 63000.00 | 9600.00 | 86400.00 | 6555.00 | 58995.00 | 7000.00 | 63000.00 | 8000.00 | 72000.00 | 15500.00 | 139500.00 | 3500.00 | 31500.00 | 7150.00 | 64350.00 | 5000.00 | 45000.00 | 15001.00 | 135009.00 | 31500.00 | Mukherjee Commercial Enterprise, SHRI KARNI LIGHT HOUSE
26.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories and providing 300x300 X 450(H) mm RCC earth pit chamber suitable to receive 6mm thick MS chequered plate with handle, strengthening & compaction of soil below the earth pit chamber including providing suitable ratio PCC, providing & laying Plain Cement Concrete (PCC) (1:2:4) of depth 100mm surrounding the earth pit chamber covering surface area of 01 SqMeter,including providing and fixing of reducer, water funnel with wire mesh arrangement for watering etc. with charcoal/coke and salt as required. | 18.00 | Job |  | 13100.00 | 235800.00 | 5434.78 | 97826.04 | 4000.00 | 72000.00 | 4950.00 | 89100.00 | 8500.00 | 153000.00 | 10037.00 | 180666.00 | 10800.00 | 194400.00 | 8400.00 | 151200.00 | 13800.00 | 248400.00 | 6000.00 | 108000.00 | 8190.00 | 147420.00 | 20000.00 | 360000.00 | 8000.00 | 144000.00 | 13467.00 | 242406.00 | 18936.00 | 340848.00 | 6500.00 | 117000.00 | 6500.00 | 117000.00 | 9000.00 | 162000.00 | 12000.00 | 216000.00 | 7125.00 | 128250.00 | 6500.00 | 117000.00 | 8000.00 | 144000.00 | 2150.00 | 38700.00 | 6500.00 | 117000.00 | 7500.00 | 135000.00 | 4000.00 | 72000.00 | 14772.00 | 265896.00 | 38700.00 | METRO ENGINEERS SERVICES
27.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc.as required. | 110.00 | Mtrs |  | 568.00 | 62480.00 | 108.70 | 11957.00 | 625.00 | 68750.00 | 590.00 | 64900.00 | 650.00 | 71500.00 | 122.00 | 13420.00 | 240.00 | 26400.00 | 120.00 | 13200.00 | 138.00 | 15180.00 | 130.00 | 14300.00 | 226.80 | 24948.00 | 500.00 | 55000.00 | 156.00 | 17160.00 | 527.00 | 57970.00 | 118.00 | 12980.00 | 400.00 | 44000.00 | 230.00 | 25300.00 | 580.00 | 63800.00 | 84.00 | 9240.00 | 639.00 | 70290.00 | 450.00 | 49500.00 | 310.00 | 34100.00 | 120.00 | 13200.00 | 110.00 | 12100.00 | 425.00 | 46750.00 | 500.00 | 55000.00 | 277.00 | 30470.00 | 9240.00 | SRINIVASA ELECTRICALS
28.00 | Providing and fixing 25mm x 5mm GI strip on surface or in recess from earth electrode to electrical panel/Highmast as required. | 50.00 | Mtrs |  | 160.00 | 8000.00 | 108.70 | 5435.00 | 160.00 | 8000.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 122.00 | 6100.00 | 204.00 | 10200.00 | 120.00 | 6000.00 | 138.00 | 6900.00 | 110.00 | 5500.00 | 151.20 | 7560.00 | 125.00 | 6250.00 | 60.00 | 3000.00 | 138.00 | 6900.00 | 118.00 | 5900.00 | 110.00 | 5500.00 | 75.00 | 3750.00 | 120.00 | 6000.00 | 60.00 | 3000.00 | 256.00 | 12800.00 | 180.00 | 9000.00 | 140.00 | 7000.00 | 120.00 | 6000.00 | 110.00 | 5500.00 | 210.00 | 10500.00 | 200.00 | 10000.00 | 166.00 | 8300.00 | 3000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED, SRINIVASA ELECTRICALS
29.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 Sets of G.I. nut bolt & spring washer spaced at 50mm) | 55.00 | Mtrs |  | 219.00 | 12045.00 | 130.43 | 7173.65 | 200.00 | 11000.00 | 225.00 | 12375.00 | 525.00 | 28875.00 | 142.00 | 7810.00 | 204.00 | 11220.00 | 120.00 | 6600.00 | 253.00 | 13915.00 | 125.00 | 6875.00 | 176.40 | 9702.00 | 140.00 | 7700.00 | 120.00 | 6600.00 | 155.00 | 8525.00 | 207.00 | 11385.00 | 110.00 | 6050.00 | 150.00 | 8250.00 | 180.00 | 9900.00 | 3600.00 | 198000.00 | 310.00 | 17050.00 | 180.00 | 9900.00 | 200.00 | 11000.00 | 120.00 | 6600.00 | 110.00 | 6050.00 | 410.00 | 22550.00 | 200.00 | 11000.00 | 277.00 | 15235.00 | 6050.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, SHRI KARNI LIGHT HOUSE
30.00 | Excavation of existing Bituminous/ Concrete road to facilitate laying of GI pipe including disposal of material within 50 Meters lead and providing & layinjg in position 1:2:4 (1 cement : 2 Coarse sand : 4 Graded stone aggregated of 20 mm nominal size all works up to plinth level to fill up the excavated trenches after laying of the GI pipe complete above as required. | 25.00 | Cu.m |  | 8500.00 | 212500.00 | 4347.83 | 108695.75 | 3500.00 | 87500.00 | 620.00 | 15500.00 | 4800.00 | 120000.00 | 6000.00 | 150000.00 | 4200.00 | 105000.00 | 1200.00 | 30000.00 | 2300.00 | 57500.00 | 6500.00 | 162500.00 | 3150.00 | 78750.00 | 2000.00 | 50000.00 | 9000.00 | 225000.00 | 2530.00 | 63250.00 | 2350.00 | 58750.00 | 450.00 | 11250.00 | 6000.00 | 150000.00 | 1000.00 | 25000.00 | 30000.00 | 750000.00 | 522.00 | 13050.00 | 2500.00 | 62500.00 | 7600.00 | 190000.00 | 3000.00 | 75000.00 | 1000.00 | 25000.00 | 4000.00 | 100000.00 | 5500.00 | 137500.00 | 7500.00 | 187500.00 | 11250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
31.00 | SITC of LED vechicular Road traffic signal lights made of polycarbonate body with IP-65 protectedl, having 300mm dia, full circle, 2 Nos (RED & Green Colour) LED Lights, UV stablized polycarbonate lens, waterproof sealed gasket including providing 1.8 meter,75 mm dia high mountng G.I pole with brackets,clamps & painting with suitable colour, Civil foundation work and operating voltage of 230V AC, 50Hz etc as required. | 2.00 | Sets |  | 16000.00 | 32000.00 | 54347.83 | 108695.66 | 2500.00 | 5000.00 | 18500.00 | 37000.00 | 20000.00 | 40000.00 | 15620.00 | 31240.00 | 28200.00 | 56400.00 | 12000.00 | 24000.00 | 69000.00 | 138000.00 | 6500.00 | 13000.00 | 27720.00 | 55440.00 | 6000.00 | 12000.00 | 16000.00 | 32000.00 | 18779.00 | 37558.00 | 11253.00 | 22506.00 | 1000.00 | 2000.00 | 8355.00 | 16710.00 | 15000.00 | 30000.00 | 6000.00 | 12000.00 | 34675.00 | 69350.00 | 35000.00 | 70000.00 | 88000.00 | 176000.00 | 1000.00 | 2000.00 | 45000.00 | 90000.00 | 7500.00 | 15000.00 | 15000.00 | 30000.00 | 15201.00 | 30402.00 | 2000.00 | METRO ENGINEERS SERVICES, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 8879762.00 |  | 8096999.10 |  | 9375450.00 |  | 8227675.00 |  | 9498150.00 |  | 8955167.00 |  | 10622291.00 |  | 10297020.00 |  | 8536055.00 |  | 7381465.00 |  | 8430672.60 |  | 9774290.00 |  | 7596810.00 |  | 8066146.00 |  | 9226181.00 |  | 8226195.00 |  | 7612337.00 |  | 7910200.00 |  | 16047380.00 |  | 8885996.00 |  | 9587750.00 |  | 8440710.00 |  | 8688375.00 |  | 7444250.00 |  | 8699700.00 |  | 7992762.00 |  | 8231240.00
Lowest Amount Quoted BY: M/s CGPL ELECTROMECH PVT LTD(7381465.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Apron Flood Lighting High Masts, LT Panels and Allied Electrical Works at Rajahmundry Airport Tender ID: 2021_AAI_77591_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s CGPL ELECTROMECH PVT LTD | 7381465.00 | L1
| 2 | SHRI KARNI LIGHT HOUSE | 7444250.00 | L2
| 3 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 7596810.00 | L3
| 4 | Ruchira Associates | 7612337.00 | L4
| 5 | Manoprabha Electricals | 7910200.00 | L5
| 6 | C R ELECTRICALS | 7992762.00 | L6
| 7 | Vardhman Airport Solutions Pvt Ltd | 8066146.00 | L7
| 8 | Kripa Electronics india pvt ltd | 8096999.10 | L8
| 9 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 8226195.00 | L9
| 10 | jaydeep agency corporation | 8227675.00 | L10
| 11 | Inovonz Engineering Pvt Ltd | 8231240.00 | L11
| 12 | ENERGYGREEN TECHNOPOWER PVT LTD | 8430672.60 | L12
| 13 | KALKI ELECTRICALS | 8440710.00 | L13
| 14 | RVD INFRA SOLUTION PVT.LTD. | 8536055.00 | L14
| 15 | METRO ENGINEERS SERVICES | 8688375.00 | L15
| 16 | A Goverdhan | 8699700.00 | L16
| 17 | ECS ENGINEERING PVT LTD | 8879762.00 | L17
| 18 | vk sam engineering | 8885996.00 | L18
| 19 | VISHAL ELECTRICALS | 8955167.00 | L19
| 20 | BR Power Control and Automation Services | 9226181.00 | L20
| 21 | Mukherjee Commercial Enterprise | 9375450.00 | L21
| 22 | LAKSHMI ELECTRICAL ENTERPRISES | 9498150.00 | L22
| 23 | Manish Electricals | 9587750.00 | L23
| 24 | SRI RAGHAVENDRA ELECTRICALS | 9774290.00 | L24
| 25 | Industrial Traders | 10297020.00 | L25
| 26 | Rekha Enterprises | 10622291.00 | L26
| 27 | SRINIVASA ELECTRICALS | 16047380.00 | L27