## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 06-Aug-2021 12:46 PM Tender Title: Annual Operation and Maintenance Contract for PAPI and Beacon lights at Shirdi Airport. Year 2021-23 Tender ID: 2021_AAI_77700_1
Tender Inviting Authority: Asst.General Manager (E-E)
Name of Work:“Annual operation and maintenance contract for PAPI and Beacon lights at Shridi Airport Year 2021-23 "
Contract No: 2021_AAI_77700_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-36AACCJ7269H1Z9) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD(GSTN-NA) |  | J D ELECTRIC WORKS(GSTN-NA) |  | N.B.Electricals & Contractor(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of PAPI units and Beacon lights including CCRs and operation of PAPI units i/c minor repairing & attending to faults/ breakdowns ensuring serviceability, satisfactory working condition of the system, preventive maintenance, maintenance of records/ documentation etc. as per the detailed specification terms and condition covered under this contract by deploying manpower round the clock on all days including Sundays and holidays on shift as per requirement etc. as required. (1 no. skilled + 1 no. un-skilled) in each shift
1.10 | In Two Shifts (1 no. skilled + 1 no. un-skilled in each shift) | 24.00 | Month |  | 95569.00 | 2293656.00 | 69266.00 | 1662384.00 | 69000.00 | 1656000.00 | 63031.00 | 1512744.00 | 66300.00 | 1591200.00 | 64964.64 | 1559151.36 | 69177.00 | 1660248.00 | 75101.25 | 1802430.00 | 66333.00 | 1591992.00 | 1512744.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
1.20 | Extra One Shift (1 no. skilled + 1 no. un-skilled) | 24.00 | Month |  | 5000.00 | 120000.00 | 32166.00 | 771984.00 | 34000.00 | 816000.00 | 44608.00 | 1070592.00 | 33100.00 | 794400.00 | 32482.32 | 779575.68 | 28050.00 | 673200.00 | 37648.71 | 903569.04 | 33111.00 | 794664.00 | 120000.00 | Techno Electricals
2.00 | Carrying out one time Calibration and Sensitivity of relay of 3 nos. 4KW capacity NASU make Constant Current Regulator (CCR) through OEM and submission of reports etc., complete as required. | 2.00 | Job | 0.00 | 20000.00 | 40000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 18000.00 | 36000.00 | 21000.00 | 42000.00 | 26000.00 | 52000.00 | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 25000.00 | 50000.00 | 4000.00 | N.B.Electricals & Contractor
3.00 | Carrying out one time Calibration of 1 no. AMA make Clinometer through OEM and submission of reports etc., complete as required. | 4.00 | Each | 0.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 3000.00 | 12000.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 12240.00 | 48960.00 | 11500.00 | 46000.00 | 2000.00 | 8000.00 | 12600.00 | 50400.00 | 8000.00 | N.B.Electricals & Contractor
4.00 | Supply of 200 W, 6.6 Amps bi-pin halogen lamp for PAPI units | 20.00 | Each | 0.00 | 750.00 | 15000.00 | 750.00 | 15000.00 | 350.00 | 7000.00 | 1100.00 | 22000.00 | 360.00 | 7200.00 | 501.00 | 10020.00 | 3500.00 | 70000.00 | 2000.00 | 40000.00 | 399.00 | 7980.00 | 7000.00 | M/s BHARAT ELECTRIC, NAGPUR
5.00 | Supply of Holder for 200 W and 45 W ,6.6 Amps bi-pin halogen lamp | 10.00 | Each | 0.00 | 600.00 | 6000.00 | 550.00 | 5500.00 | 250.00 | 2500.00 | 650.00 | 6500.00 | 200.00 | 2000.00 | 501.00 | 5010.00 | 3500.00 | 35000.00 | 1950.00 | 19500.00 | 263.00 | 2630.00 | 2000.00 | Manish Electricals
6.00 | Supply of 1000 W, 220V lamp with holder for Beacon lights | 4.00 | Each | 0.00 | 10000.00 | 40000.00 | 5500.00 | 22000.00 | 4425.00 | 17700.00 | 6000.00 | 24000.00 | 3800.00 | 15200.00 | 4200.00 | 16800.00 | 6500.00 | 26000.00 | 2846.00 | 11384.00 | 2048.00 | 8192.00 | 8192.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Supply of 200 W, 20 Amps / 6.6 amps or 6.6 Amps / 6.6 amps isolating transformer | 4.00 | Each | 0.00 | 4500.00 | 18000.00 | 750.00 | 3000.00 | 1500.00 | 6000.00 | 4900.00 | 19600.00 | 3800.00 | 15200.00 | 4000.00 | 16000.00 | 5000.00 | 20000.00 | 4000.00 | 16000.00 | 4148.00 | 16592.00 | 3000.00 | M K ENTERPRISES
8.00 | Execution of Complete items of CPWD Delhi Schedule of Rates (E &M) 2018 upto Rs. 80,000/-(excluding GST) | 80000.00 | Excess (+) | 0.00 | .10 | 72000.00 | .10 | 72000.00 | .35 | 52000.00 | .25 | 100000.00 | .50 | 40000.00 | .20 | 64000.00 | 0.00 | 80000.00 | .10 | 88000.00 | .35 | 52000.00 | 40000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 2624656.00 |  | 2611868.00 |  | 2575200.00 |  | 2831436.00 |  | 2527200.00 |  | 2551517.04 |  | 2622448.00 |  | 2892883.04 |  | 2574450.00
Lowest Amount Quoted BY: Manish Electricals(2527200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for PAPI and Beacon lights at Shirdi Airport. Year 2021-23 Tender ID: 2021_AAI_77700_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 2527200.00 | L1
| 2 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD | 2551517.04 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 2574450.00 | L3
| 4 | M/s BHARAT ELECTRIC, NAGPUR | 2575200.00 | L4
| 5 | M K ENTERPRISES | 2611868.00 | L5
| 6 | J D ELECTRIC WORKS | 2622448.00 | L6
| 7 | Techno Electricals | 2624656.00 | L7
| 8 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 2831436.00 | L8
| 9 | N.B.Electricals & Contractor | 2892883.04 | L9