## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 29-Jun-2021 12:34 PM Tender Title: Upgradation of Illumination at Various areas of VSS Airport, Jharsuguda Tender ID: 2021_AAI_77769_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-Elect), VSS Airport, Jharsuguda.
Name of Work: Upgradation of Illumination at Various areas of VSS Airport, Jharsuguda.
Contract No: AAI/JH/AGMEE/eNIT1/CW1/2021-22 (Tender ID:- 2021_AAI_77769_1).
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | ECS ENGINEERING PVT LTD(GSTN-09AABCE5944P1Z1) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | SAHA COMMERCIAL CONSTRUCTION(GSTN-19AASFS6288A1ZN) |  | WM Energy and Lighting Pvt Ltd.(GSTN-09AADCV1649Q1ZM) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | VGS INFRASTRUCTURE PVT LTD(GSTN-07AAECV9619H1ZY) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | EASTERN ENGINEERING(GSTN-21AOHPS4038K1ZU)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | SITC of High Bay Lights and Street Lights
1.00 | Supply of prewired Intergral LED Highbay Lighting Luminaire of minimum 150W suitable for operation on Voltage range 140V to 270V , 50 Hz, Single phase AC supply suitable to Double height roof Airport terminal Building complete with High pressure die cast aluminium /Standard alloy housing with IP65 or higher protection & enclosed/ Encapsulated LED driver and other accessories etc., complete as per technical specifications attached as required. | 121.00 | Each | 3933950.00 | 5500.00 | 665500.00 | 6443.00 | 779603.00 | 6500.00 | 786500.00 | 6000.00 | 726000.00 | 6750.00 | 816750.00 | 2832.00 | 342672.00 | 5000.00 | 605000.00 | 6300.00 | 762300.00 | 5700.00 | 689700.00 | 5155.00 | 623755.00 | 5800.00 | 701800.00 | 342672.00 | WM Energy and Lighting Pvt Ltd.
2.00 | Supply of prewired Intergral LED Highbay Lighting Luminaire of minimum100W suitable for operation on Voltage range 140V to 270V, 50 Hz, Single phase AC supply suitable to Double height roof Airport terminal Building/ Canopy complete with High pressure die cast aluminium / Standard alloy housing with IP65 or higher protection & enclosed/ Encapsulated LED driver and other accessories etc., complete as per technical specifications attached as required. | 64.00 | Each | 3933950.00 | 4200.00 | 268800.00 | 5200.00 | 332800.00 | 4800.00 | 307200.00 | 5000.00 | 320000.00 | 4750.00 | 304000.00 | 2006.00 | 128384.00 | 4400.00 | 281600.00 | 5320.00 | 340480.00 | 4550.00 | 291200.00 | 4458.00 | 285312.00 | 5800.00 | 371200.00 | 128384.00 | WM Energy and Lighting Pvt Ltd.
3.00 | Supply of prewired Intergral LED Street Lighting Luminaire of 90W suitable for operation on Voltage range 140V to 270V, 50 Hz, Single phase AC supply complete with High pressure die cast aluminium / Standard alloy housing with IP 65 or higher protection & enclosed/ Encapsulated driver and other accessories etc., complete as required and suitable for pole mounting. | 52.00 | Each | 3933950.00 | 3200.00 | 166400.00 | 3400.00 | 176800.00 | 3700.00 | 192400.00 | 3300.00 | 171600.00 | 3750.00 | 195000.00 | 1652.00 | 85904.00 | 3050.00 | 158600.00 | 3971.00 | 206492.00 | 3450.00 | 179400.00 | 2915.00 | 151580.00 | 3200.00 | 166400.00 | 85904.00 | WM Energy and Lighting Pvt Ltd.
4.00 | Supply of prewired Intergral LED Street Lighting Luminaire of 45W suitable for operation on Voltage range 140V to 270V, 50 Hz, Single phase AC supply complete with High pressure die cast aluminium / Standard alloy housing with IP 65 or higher protection & enclosed/ Encapsulated driver and other accessories etc, complete as required and suitable for pole mounting. | 64.00 | Each | 3933950.00 | 1900.00 | 121600.00 | 1647.00 | 105408.00 | 1800.00 | 115200.00 | 1600.00 | 102400.00 | 1675.00 | 107200.00 | 885.00 | 56640.00 | 1730.00 | 110720.00 | 1770.00 | 113280.00 | 1750.00 | 112000.00 | 1412.00 | 90368.00 | 1600.00 | 102400.00 | 56640.00 | WM Energy and Lighting Pvt Ltd.
5.00 | Dismantling of Existing 250W/150W MH high bay light fixtures from the double height ceiling of Terminal building/ Canopy and same shall be shifted to AAI stores as directed by Engineer- In -Charge. | 152.00 | Each | 3933950.00 | 100.00 | 15200.00 | 250.00 | 38000.00 | 250.00 | 38000.00 | 200.00 | 30400.00 | 450.00 | 68400.00 | 295.00 | 44840.00 | 100.00 | 15200.00 | 315.00 | 47880.00 | 400.00 | 60800.00 | 397.00 | 60344.00 | 480.00 | 72960.00 | 15200.00 | Youngmen Traders, RVD INFRA SOLUTION PVT.LTD.
6.00 | Installation,Testing and Commissoning of high bay 100W/150W LED light fixtures on double height ceiling in the Terminal building/Canopy with suitable size clamp including additional two safety chains or SS wire of suitable size and length and connecting wiring etc. as required. | 152.00 | Each | 3933950.00 | 300.00 | 45600.00 | 250.00 | 38000.00 | 216.00 | 32832.00 | 500.00 | 76000.00 | 525.00 | 79800.00 | 826.00 | 125552.00 | 500.00 | 76000.00 | 630.00 | 95760.00 | 300.00 | 45600.00 | 1076.00 | 163552.00 | 450.00 | 68400.00 | 32832.00 | jaydeep agency corporation
| Total in Figures |  |  |  |  | 1283100.00 |  | 1470611.00 |  | 1472132.00 |  | 1426400.00 |  | 1571150.00 |  | 783992.00 |  | 1247120.00 |  | 1566192.00 |  | 1378700.00 |  | 1374911.00 |  | 1483160.00
Lowest Amount Quoted BY: WM Energy and Lighting Pvt Ltd.(783992.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upgradation of Illumination at Various areas of VSS Airport, Jharsuguda Tender ID: 2021_AAI_77769_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | WM Energy and Lighting Pvt Ltd. | 783992.00 | L1
| 2 | RVD INFRA SOLUTION PVT.LTD. | 1247120.00 | L2
| 3 | Youngmen Traders | 1283100.00 | L3
| 4 | Yash Energy Pvt. Ltd | 1374911.00 | L4
| 5 | M/S DURGA SUPPLY AGENCIES | 1378700.00 | L5
| 6 | DOSHI ELECTRIC ENGG. CO. | 1426400.00 | L6
| 7 | ECS ENGINEERING PVT LTD | 1470611.00 | L7
| 8 | jaydeep agency corporation | 1472132.00 | L8
| 9 | EASTERN ENGINEERING | 1483160.00 | L9
| 10 | VGS INFRASTRUCTURE PVT LTD | 1566192.00 | L10
| 11 | SAHA COMMERCIAL CONSTRUCTION | 1571150.00 | L11