## BoQ1
Government eProcurement System Created By: Elina Ghosh Created Date/Time: 24-Nov-2021 03:31 PM Tender Title: SITC of Bollard Tyre Killers and Sliding gate Tender ID: 2021_AAI_77851_1
Tender Inviting Authority: AGM(EE), RHQ-ER
Name of Work: SITC of Hydraullic Bollard, Tyre Killer and Automatic Sliding Gate at Bagdogra Airport
Contract No: 221_AAI_77851_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S Aditya Impex Pvt Ltd(GSTN-06AAECS4255N1Z0) |  | Brosis International(GSTN-03AKGPM8732K1ZY) |  | Neptune Automatic Pvt. Ltd.(GSTN-09AAACF9142P2Z2) |  | Elkosta Security Systems India(GSTN-07AAMPJ7665G1ZB) |  | Technocrats Security Systems Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUBHead-I Design & SITC of K4 rated automatic electro hydraulic type bollard (1 set of 5 bollards)for 7.0 m wide road, having overall minimum height of 900mm & diameter as specified in tender document along with illuminating LED unit on top and equipped with remote operation facility, operates on 3/1-Phase 50 Hz supply as complete as required including all associated civil works and as per detailed specifications with necessary control connections as per site requirements etc. The bollard shall also be suitable for manual operation with at least 03 cycles up and down movements incase of power failures. The bollard shall be finished with zinc coating (inside out), covered with stainless steel and/ or as per manufacturer specification. | 1.00 | JOB |  | 1750000.00 | 1750000.00 | 1680000.00 | 1680000.00 | 2185000.00 | 2185000.00 | 2059500.00 | 2059500.00 | 2398650.00 | 2398650.00 | 1680000.00 | Brosis International
2.00 | Design & SITC of crash rated Electro Hydraulic Tyre Killer of 6 Mtr. Length (consisting of two section 3 Mtr each) made up of heavy duty tampered steel spikes of height 450mm at an angle of 60° with centre to centre spike gap in between 100 mm and 200 mm suitable for destroying tyres suspension and axle of a moving vehicle with able to bear axle load of 20 tons,operates on 3/ 1 Phase, 50 Hz AC supply and equipped with remote operation facility as complete as required including all associated civil works and as per detailed specifications with necessary control connections etc., and also be suitable for manual operation with at least 03 full cycles operations incase of power failures as complete as required. | 1.00 | JOB |  | 500000.00 | 500000.00 | 600000.00 | 600000.00 | 750301.00 | 750301.00 | 1134500.00 | 1134500.00 | 1020900.00 | 1020900.00 | 500000.00 | S Aditya Impex Pvt Ltd
3.00 | Design & SITC of Automatic Electric Sliding Gate made of minimum 15mm MS section, single partition type having overall height of 2.5 mtr and width not less than 6 mtr with clear opening 6 mtr and equipped with remote/manual operation facility, operates on 3/ 1 Phase, 50 Hz AC supply complete as required including all associated civil works and as per detailed specifications. The gate shall be epoxy painted and shall be provided with sliding gate drive unit, MS post for holding top edge necessary bottom and Top Steel Rollers, side Nylon Rollers with Double Ball Bearing etc. as required , Emergency release, Control Box, Electronic Breaking etc. including necessary control connections etc. complete as required. | 1.00 | JOB |  | 300000.00 | 300000.00 | 650000.00 | 650000.00 | 380000.00 | 380000.00 | 545000.00 | 545000.00 | 561000.00 | 561000.00 | 300000.00 | S Aditya Impex Pvt Ltd
4.00 | Supply of 4x10 Sq. mm size XLPE insulated & PVC sheathed,stranded, aluminium conductor, armoured, power cable of 1.1 KV grade conforming to IS:7098 upto date ammendment etc as required. | 200.00 | Mtr |  | 160.00 | 32000.00 | 200.00 | 40000.00 | 175.00 | 35000.00 | 150.00 | 30000.00 | 256.00 | 51200.00 | 30000.00 | Elkosta Security Systems India
5.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4x10 Sq. mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 6.00 | Set |  | 4000.00 | 24000.00 | 2500.00 | 15000.00 | 850.00 | 5100.00 | 800.00 | 4800.00 | 9600.00 | 57600.00 | 4800.00 | Elkosta Security Systems India
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of upto 35 Sq. mm size on wall surface as required. | 150.00 | Mtr |  | 50.00 | 7500.00 | 210.00 | 31500.00 | 80.00 | 12000.00 | 90.00 | 13500.00 | 624.00 | 93600.00 | 7500.00 | S Aditya Impex Pvt Ltd
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of upto 35 Sq. mm size in the existing RCC/ HUME/ METAL pipe as required. | 50.00 | Mtr |  | 50.00 | 2500.00 | 175.00 | 8750.00 | 80.00 | 4000.00 | 60.00 | 3000.00 | 400.00 | 20000.00 | 2500.00 | S Aditya Impex Pvt Ltd
8.00 | Supply and laying of 50 mm dia. size B class GI pipe including cutting the road/paved area and making good finish after laying the GI pipe at a depth of 0.50 mtr complete as required. | 30.00 | Mtr |  | 300.00 | 9000.00 | 250.00 | 7500.00 | 1250.00 | 37500.00 | 750.00 | 22500.00 | 440.00 | 13200.00 | 7500.00 | Brosis International
9.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 150.00 | Mtr |  | 75.00 | 11250.00 | 210.00 | 31500.00 | 180.00 | 27000.00 | 40.00 | 6000.00 | 760.00 | 114000.00 | 6000.00 | Elkosta Security Systems India
10.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 50.00 | Mtr |  | 100.00 | 5000.00 | 120.00 | 6000.00 | 950.00 | 47500.00 | 110.00 | 5500.00 | 1840.00 | 92000.00 | 5000.00 | S Aditya Impex Pvt Ltd
| Total in Figures |  |  |  |  | 2641250.00 |  | 3070250.00 |  | 3483401.00 |  | 3824300.00 |  | 4422150.00
Lowest Amount Quoted BY: S Aditya Impex Pvt Ltd(2641250.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Bollard Tyre Killers and Sliding gate Tender ID: 2021_AAI_77851_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S Aditya Impex Pvt Ltd | 2641250.00 | L1
| 2 | Brosis International | 3070250.00 | L2
| 3 | Neptune Automatic Pvt. Ltd. | 3483401.00 | L3
| 4 | Elkosta Security Systems India | 3824300.00 | L4
| 5 | Technocrats Security Systems Pvt Ltd | 4422150.00 | L5