## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 17-Jun-2021 04:17 PM Tender Title: Improvement of ac of terminal building at C A Keshod Tender ID: 2021_AAI_78043_1
Tender Inviting Authority: Asstt. General Manager (E-E)
Name of Work: “Improvement of air-conditioning of terminal building at C.A.Keshod".
Contract No: AAI/KES/AGM(E-E)/e-NIT-04/21-22 Tender ID: 2021_AAI_78043_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | Empire Airconditioning Pvt Ltd(GSTN-24AABCE2474N1ZI) |  | M/s. PRANAM HVAC ENGINEERING PVT. LTD.(GSTN-24AAHCP2093C1ZP) |  | Hitesh P. Patel(GSTN-24AGWPP0642B1ZI) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 4 TR, 3 Phase, Casette type Airconditioners having outdor unit with scroll / rotary compressors with eco-friendly refrigerant, LED Display, with remote control and with auto restart, independent dehumidification, air flow direction control, low voltage start up & suitable to operate on 415 V (+/- 10%), 50Hz, 3 phase power supply etc. complete with all standard accessories etc. as required. (Make:-As per AAI approved make). | 15.00 | Each |  | 130000.00 | 1950000.00 | 105100.00 | 1576500.00 | 77000.00 | 1155000.00 | 112600.00 | 1689000.00 | 108000.00 | 1620000.00 | 110825.00 | 1662375.00 | 89000.00 | 1335000.00 | 1155000.00 | Empire Airconditioning Pvt Ltd
2.00 | SITC of invertor type split air conditioning unit of the following capacity conforming to IS : 1391 (Part-2) - 1992 with latest Amendments fitted with rotary compressor operating on eco- friendly refrigerent( R-32,R-290,R600A etc.) suitable for wall mounting for 230 V, 50 Hz single phase AC supply capable of performing the functions as cooling, dehumidifying, air circulating and filtering, complete with compressor, evaporators, air cool condenser, connected refrigerant piping, electric wiring, all accessories etc. as per site requirement. (Make:-As per AAI approved make). a) 1.5 Ton (18000 BTU/h), (BEE Rating- Five Star) | 12.00 | Each |  | 36000.00 | 432000.00 | 36095.00 | 433140.00 | 37000.00 | 444000.00 | 33200.00 | 398400.00 | 42500.00 | 510000.00 | 39610.00 | 475320.00 | 44700.00 | 536400.00 | 398400.00 | M/s. PRANAM HVAC ENGINEERING PVT. LTD.
3.00 | Providing and fixing of prefabricated MS Stand for condenser, unit of split air conditioner/tower airconditioner as per site requirement i/c painting etc. as required. | 12.00 | Each |  | 1000.00 | 12000.00 | 450.00 | 5400.00 | 9000.00 | 108000.00 | 1000.00 | 12000.00 | 800.00 | 9600.00 | 2500.00 | 30000.00 | 1500.00 | 18000.00 | 5400.00 | VOLKS ENERGIE PVT LTD
4.00 | Providing of extra refrigerant piping, cabling, insulation with foam between indoor and outdoor units of above air-conditioning units etc. as required. | 50.00 | Mtr |  | 950.00 | 47500.00 | 650.00 | 32500.00 | 1300.00 | 65000.00 | 1200.00 | 60000.00 | 1150.00 | 57500.00 | 750.00 | 37500.00 | 1500.00 | 75000.00 | 32500.00 | VOLKS ENERGIE PVT LTD
5.00 | Providing and fixing of extra drain pipe for condensate water from indoor unit to nearest drain point etc. as required. | 50.00 | Mtr |  | 150.00 | 7500.00 | 120.00 | 6000.00 | 200.00 | 10000.00 | 172.00 | 8600.00 | 16.00 | 800.00 | 100.00 | 5000.00 | 180.00 | 9000.00 | 800.00 | Hitesh P. Patel
6.00 | SITC of 4 KVA rating automatic voltage stabilizer suitable for operation on 170 V - 280 V, input single phase, AC Supply with high/low voltage cut of time delay 2-3 min with output voltage 220 V + 9% including cable lead confirming to IS-specification etc. as required. | 12.00 | Each |  | 2950.00 | 35400.00 | 2000.00 | 24000.00 | 8450.00 | 101400.00 | 17500.00 | 210000.00 | 4200.00 | 50400.00 | 5325.00 | 63900.00 | 3700.00 | 44400.00 | 24000.00 | VOLKS ENERGIE PVT LTD
7.00 | Providing and fixing of 100mm size fiber trunking with cover for refrigerent pipe along with wire etc. complete as per size requirement. (Make : ISI/as approved by E.I.C.) (100 mm X 50 mm) | 80.00 | Mtr |  | 150.00 | 12000.00 | 340.00 | 27200.00 | 550.00 | 44000.00 | 650.00 | 52000.00 | 600.00 | 48000.00 | 450.00 | 36000.00 | 700.00 | 56000.00 | 12000.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 2496400.00 |  | 2104740.00 |  | 1927400.00 |  | 2430000.00 |  | 2296300.00 |  | 2310095.00 |  | 2073800.00
Lowest Amount Quoted BY: Empire Airconditioning Pvt Ltd(1927400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvement of ac of terminal building at C A Keshod Tender ID: 2021_AAI_78043_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Empire Airconditioning Pvt Ltd | 1927400.00 | L1
| 2 | Rudraksha Enterprise | 2073800.00 | L2
| 3 | VOLKS ENERGIE PVT LTD | 2104740.00 | L3
| 4 | Hitesh P. Patel | 2296300.00 | L4
| 5 | Techno Electricals | 2310095.00 | L5
| 6 | M/s. PRANAM HVAC ENGINEERING PVT. LTD. | 2430000.00 | L6
| 7 | SNOWMEX ENGINEERS LIMITED | 2496400.00 | L7