## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 15-Jun-2021 04:24 PM Tender Title: Facility Management Contract of E and M Installations at Puducherry Airport. Tender ID: 2021_AAI_78051_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT, CHENNAI - 600 027.
Name of Work: Facility Management Contract of E&M Installations at Puducherry Airport.
Contract No: 2021_AAI_78051_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | VOLTECH O AND M SERVICES PVT LTD(GSTN-33AACCV9209K1Z4) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | SH I: Monitoring and Maintenance of E & M Installations
1.01 | Monitoring and Maintenance of Utility Services at Power House Cum Sub-Station, Terminal Building and other allied buildings comprising of 22 KV VCB Panels (03 Nos.), 22KV, 630A Load break Switch (01 No), 2 Nos. of 750 KVA, 22 KV/433 V Transformers, 3 Nos. of 320 KVA LT DG Sets, Bus Ducts, LT Panels, CCR's, Capacitor Panels, Battery Banks, HT/LT Cabling, GLF, associated Earthing System of Utilities etc., (As per Annexure 'C1' - List of Inventories) for round the Clock 24X7 Basis (Three Shift Basis - 8 Hours For One Shift), Monitoring, Control and General Maintenance for 100% Serviceability including Co-ordination with Puducherry EB and i/c providing consumable material like cotton waste, oil, grease & other sundry material required for cleaning etc., attending minor faults of Equipments/Repairs/Replacement of defective components with AAI Supplied New Components, ensuring 100% Serviceability/satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily/Weekly/Monthly/Quarterly/Half Yearly/Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and reporting as and when required, complete Upkeeping of the Installations etc., on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge as required. | 24.00 | Month | Item No.1.01 | 5680800.00 | 6703344.00 | 5915976.00 | 6980851.68 | 6615455.28 | 7806237.23 | 6000000.00 | 7080000.00 | 5791992.00 | 6834550.56 | 5823984.00 | 6872301.12 | 5680800.00 | LAKSHMI ELECTRICAL ENTERPRISES | 6703344.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.02 | Monitoring and Maintenance of Utility Services at New ATC Tower/Technical Block/Fire Station for one shift Operation (General Duty)Comprising of LT Panels, HT/LT Cabling and all associated E&M Installations (As per Annexure 'C2' (One Shift Basis - 8 Hours For One Shift), Monitoring, Control and General Maintenance for 100% Serviceability and i/c providing consumable material like cotton waste, oil, grease & other sundry material required for cleaning etc., attending minor faults of Equipments/Repairs/Replacement of defective components with AAI Supplied New Components, ensuring 100% Serviceability/satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily/Weekly/Monthly/Quarterly/Half Yearly/Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and reporting as and when required, complete Upkeeping of the Installations etc., on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge as required. | 24.00 | Month | Item No.1.02 | 847800.00 | 1000404.00 | 959976.00 | 1132771.68 | 995257.68 | 1174404.06 | 912000.00 | 1076160.00 | 914664.00 | 1079303.52 | 889896.00 | 1050077.28 | 847800.00 | LAKSHMI ELECTRICAL ENTERPRISES | 1000404.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.03 | Providing Services for Computer Skilled Document Assistance services for All E&M Installations Covering Item 1 & 2 as above on General Duty (Timing as decided by EIC), Maintenance of Records and reporting as and when required, on all days as specified and as directed by Engineer-In-Charge as required. | 24.00 | Month | Item No.1.03 | 603000.00 | 711540.00 | 563016.00 | 664358.88 | 600228.96 | 708270.17 | 576000.00 | 679680.00 | 541320.00 | 638757.60 | 558504.00 | 659034.72 | 541320.00 | ABHISHEK INTEGRATIONS LIMITED | 638757.60 | ABHISHEK INTEGRATIONS LIMITED
2.00 | SH II : CAMC & Air Conditioning & Water Coolers
2.01 | Comprehensive Maintenance of Split Type Air Conditioners of All Makes of 1.0 TR / 1.5 TR / 2.0 TR Capacity at Different Locations including provision of all necessary consumables and spares, attending minor/major faults of Equipments, ensuring 100% Serviceability/Satisfactory Working Condition of the Systems, Routine/General Preventive/Breakdown Maintenance as per Standard Manufacturers' Practices and Maintenance of Service Records and Reporting etc., complete as required.
2.02 | First Year | 40.00 | Each | Item No.2.02 | 19960.00 | 23552.80 | 59960.00 | 70752.80 | 100000.00 | 118000.00 | 100000.00 | 118000.00 | 224000.00 | 264320.00 | 140000.00 | 165200.00 | 19960.00 | LAKSHMI ELECTRICAL ENTERPRISES | 23552.80 | LAKSHMI ELECTRICAL ENTERPRISES
2.03 | Second Year | 86.00 | Each | Item No.2.03 | 42914.00 | 50638.52 | 171914.00 | 202858.52 | 215000.00 | 253700.00 | 240800.00 | 284144.00 | 550400.00 | 649472.00 | 301000.00 | 355180.00 | 42914.00 | LAKSHMI ELECTRICAL ENTERPRISES | 50638.52 | LAKSHMI ELECTRICAL ENTERPRISES
2.04 | Comprehensive Maintenance of Water Coolers with in built RO Filters of All Makes of 40/80 Litre Capacity at Different Locations including provision of all necessary consumables and spares, attending minor/major faults of Equipments, ensuring 100% Serviceability/Satisfactory Working Condition of the Systems, Routine/General Preventive/Breakdown Maintenance as per Standard Manufacturers' Practices and Maintenance of Service Records and Reporting etc., complete as required. at different locations including providing all necessary consumables and spares, etc., complete as required as per special conditions
2.05 | First Year | 5.00 | Each | Item No.2.05 | 3750.00 | 4425.00 | 7495.00 | 8844.10 | 12500.00 | 14750.00 | 25000.00 | 29500.00 | 7500.00 | 8850.00 | 10000.00 | 11800.00 | 3750.00 | LAKSHMI ELECTRICAL ENTERPRISES | 4425.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.06 | Second Year | 5.00 | Each | Item No.2.06 | 3750.00 | 4425.00 | 7995.00 | 9434.10 | 12500.00 | 14750.00 | 27500.00 | 32450.00 | 7500.00 | 8850.00 | 10000.00 | 11800.00 | 3750.00 | LAKSHMI ELECTRICAL ENTERPRISES | 4425.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.07 | Dismantling and shifting of Indoor and Outdoor Units of Split Type Air Conditioners of All Makes of 1.0 TR / 1.5 TR / 2.0 TR Capacity to AAI Store / Any Location as specified by AAI, including gas pumping down, dismantling and shifting of pipes, cables etc., complete as required. (This item will be executed As and when required-Re-Installation is Not Covered) | 5.00 | Job | Item No.2.07 | 2500.00 | 2950.00 | 3495.00 | 4124.10 | 4995.00 | 5894.10 | 5000.00 | 5900.00 | 5000.00 | 5900.00 | 6000.00 | 7080.00 | 2500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 2950.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.08 | Installation, Testing and Commissioning of Split Type Air Conditioners of All Makes of 1.0 TR / 1.5 TR / 2.0 TR Capacity including fixing the interconnection suction and delivery pipe line with cable between condensor and evaporator units, top up the gas etc., as required. (This item will be execuited As and when required-Dismantled Item Re-Installation Work-No Material Supply) | 5.00 | Job | Item No.2.08 | 5000.00 | 5900.00 | 4995.00 | 5894.10 | 4995.00 | 5894.10 | 10000.00 | 11800.00 | 9000.00 | 10620.00 | 10000.00 | 11800.00 | 4995.00 | CHENNAI ENGINEERING SERVICES, VOLTECH O AND M SERVICES PVT LTD | 5894.10 | CHENNAI ENGINEERING SERVICES, VOLTECH O AND M SERVICES PVT LTD
2.09 | Supply of copper refrigrant pipeline for suction and delivered line suitable for Split Type Air Conditioners of All Makes of 1.0 TR / 1.5 TR / 2.0 TR Capacity including provision of Insulation and Covering as required. | 50.00 | Mtr | Item No.2.09 | 30000.00 | 35400.00 | 39950.00 | 47141.00 | 99950.00 | 117941.00 | 35000.00 | 41300.00 | 44250.00 | 52215.00 | 37500.00 | 44250.00 | 30000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 35400.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.10 | Comprehensive maintenance of split type air conditioners of all makes of 4.0 TR capacity at different tocations including and providing all necessary consumables and spares complete as required as per special conditions.
2.11 | Second year | 5.00 | Each | Item No.2.11 | 12500.00 | 14750.00 | 25995.00 | 30674.10 | 17500.00 | 20650.00 | 20000.00 | 23600.00 | 42500.00 | 50150.00 | 25000.00 | 29500.00 | 12500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 14750.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | SH III A: Servicing of HT Panels and LT ACBs of Power Supply Installations.
3.01 | Overhauling and Servicing of 630 Amp 22 KV HT VCBs by Deploying Authorised Service Personnel of Manufacturer/Service Dealer/ Specialised Agency experienced in similar nature of work, provided at Power Houses Cum Substation including drawing out of the VCB, opening the same, Inspection, Servicing, Cleaning of Contact Surfaces, Overhauling of Operating Mechanism, Lubrication of Moving Parts, Cleaning of CTs, PTs, Busbars and Chambers, Checking of Busbars and bus links, Replacement of Gasket of Panel, Checking of Electrical and Mechanical Operation, measuring of Contact Resistance, Checking of IR values, Testing of ON OFF Time, replacement of minor defective spares supplied by AAI (Excluding Supply of Spares), Testing and Commissioning etc., as required. ISC of VCBs [Kirloskar Make VCBs-3 Nos]
3.02 | First Year | 3.00 | Each | Item No.3.02 | 6000.00 | 7080.00 | 8997.00 | 10616.46 | 2997.00 | 3536.46 | 18000.00 | 21240.00 | 39000.00 | 46020.00 | 19500.00 | 23010.00 | 2997.00 | VOLTECH O AND M SERVICES PVT LTD | 3536.46 | VOLTECH O AND M SERVICES PVT LTD
3.03 | Second year | 3.00 | Each | Item No.3.03 | 6000.00 | 7080.00 | 9597.00 | 11324.46 | 2997.00 | 3536.46 | 19800.00 | 23364.00 | 39000.00 | 46020.00 | 19500.00 | 23010.00 | 2997.00 | VOLTECH O AND M SERVICES PVT LTD | 3536.46 | VOLTECH O AND M SERVICES PVT LTD
3.04 | Overhauling and Servicing of Trip Circuit Battery Charging Unit by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer/ Specialised agency experienced in similar nature of work, provided at Power Houses/Substations including Inspection, Servicing, Cleaning of Charger, Checking of Charger Circuit (Control and Power Circuit) including Instruments/ Relays/ Meters/ Transformers/ Rectifiers/ Filters, attending faults, Replacement of Defective Components (Excluding Cost of Spares), Checking of Batteries, Terminals, Checking of Operation, Testing and Commissioning etc., as required.
3.05 | First Year | 1.00 | Each | Item No.3.05 | 1500.00 | 1770.00 | 1499.00 | 1768.82 | 2999.00 | 3538.82 | 4000.00 | 4720.00 | 8000.00 | 9440.00 | 1500.00 | 1770.00 | 1499.00 | CHENNAI ENGINEERING SERVICES | 1768.82 | CHENNAI ENGINEERING SERVICES
3.06 | Second year | 1.00 | Each | Item No.3.06 | 1500.00 | 1770.00 | 1599.00 | 1886.82 | 2999.00 | 3538.82 | 4500.00 | 5310.00 | 8000.00 | 9440.00 | 1500.00 | 1770.00 | 1500.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd. | 1770.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd.
3.07 | Inspection/Overhauling/Servicing of ACBs of C&S Make of Various Capacities provided in the various LT Panels at Power Houses/ SSs by Deploying Authorised Service Personnel of Manufacturer/ Service Dealer/ Specialised Agencies experienced in Servicing of ACBs including cleaning of ACBs, opening the same, inspection, servicing, cleaning of contact surfaces, arc chutes, overhauling of operating mechanism, lubrication of moving parts, Checking of UV Coils, Trip Circuits, Checking of Control Circuits, replacement of minor defective spares supplied by AAI (excluding supply of spares), testing and commissioning etc., as required.
3.08 | First Year | 12.00 | Each | Item No.3.08 | 12000.00 | 14160.00 | 11988.00 | 14145.84 | 9588.00 | 11313.84 | 31200.00 | 36816.00 | 54000.00 | 63720.00 | 33000.00 | 38940.00 | 9588.00 | VOLTECH O AND M SERVICES PVT LTD | 11313.84 | VOLTECH O AND M SERVICES PVT LTD
3.09 | Second year | 12.00 | Each | Item No.3.09 | 12000.00 | 14160.00 | 14388.00 | 16977.84 | 9588.00 | 11313.84 | 36000.00 | 42480.00 | 54000.00 | 63720.00 | 33000.00 | 38940.00 | 9588.00 | VOLTECH O AND M SERVICES PVT LTD | 11313.84 | VOLTECH O AND M SERVICES PVT LTD
3.10 | Calibration of Releases provided in various ACBs in various LT Panels, Testing of Tripping, Timing, etc., i/c adjustment of Settings if required at site by Secondary Injection Test as required.
3.11 | First Year | 12.00 | Each | Item No.3.11 | 12000.00 | 14160.00 | 2988.00 | 3525.84 | 15000.00 | 17700.00 | 12000.00 | 14160.00 | 54000.00 | 63720.00 | 18000.00 | 21240.00 | 2988.00 | CHENNAI ENGINEERING SERVICES | 3525.84 | CHENNAI ENGINEERING SERVICES
3.12 | Second year | 12.00 | Each | Item No.3.12 | 12000.00 | 14160.00 | 3588.00 | 4233.84 | 15000.00 | 17700.00 | 14400.00 | 16992.00 | 54000.00 | 63720.00 | 18000.00 | 21240.00 | 3588.00 | CHENNAI ENGINEERING SERVICES | 4233.84 | CHENNAI ENGINEERING SERVICES
3.13 | SH III B: Calibration of Relays and Testing of CTs.
3.14 | Calibration of Relays [(Electro-Mechanical/ Static/ Digital/ Microprocessor Based Relays)-(O/C and E/F)/] provided in various HV/LV Panels, Testing of Insulation Values, Pick-up Value, Timing, Burden, etc., i/c adjustment of Settings if required at site, Relay Co-ordination with immediate Up and Down Circuit etc., as required, conforming to IS 9124 - 1979 by Secondary Injection Test as required.
3.15 | First Year | 3.00 | Each | Item No.3.15 | 3000.00 | 3540.00 | 2997.00 | 3536.46 | 4497.00 | 5306.46 | 3000.00 | 3540.00 | 1800.00 | 2124.00 | 4500.00 | 5310.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED | 2124.00 | ABHISHEK INTEGRATIONS LIMITED
3.16 | Second year | 3.00 | Each | Item No.3.16 | 3000.00 | 3540.00 | 3297.00 | 3890.46 | 4497.00 | 5306.46 | 3300.00 | 3894.00 | 1800.00 | 2124.00 | 4500.00 | 5310.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED | 2124.00 | ABHISHEK INTEGRATIONS LIMITED
3.17 | Calibration of Auxillary Relays/Master Trip Relay/Trip Supervisory relay provided in various HV/LV Panels, Testing of Insulation values, Pick-up Value, Drop Off, Burden etc., as required, conforming to IS 9124 - 1979 by Secondary Injection Test as required.
3.18 | First Year | 9.00 | Each | Item No.3.18 | 9000.00 | 10620.00 | 5391.00 | 6361.38 | 17991.00 | 21229.38 | 9000.00 | 10620.00 | 5400.00 | 6372.00 | 13500.00 | 15930.00 | 5391.00 | CHENNAI ENGINEERING SERVICES | 6361.38 | CHENNAI ENGINEERING SERVICES
3.19 | Second year | 9.00 | Each | Item No.3.19 | 9000.00 | 10620.00 | 5481.00 | 6467.58 | 17991.00 | 21229.38 | 9900.00 | 11682.00 | 5400.00 | 6372.00 | 13500.00 | 15930.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED | 6372.00 | ABHISHEK INTEGRATIONS LIMITED
3.20 | Testing of 22 KV CTs (3 Nos. of Current Rating of Upto 400 Amps associated with Relays (OC/EF/Master) provided in various HV Panels, Tesing of Polarity, Ratio, Insulation values, Testing of Ammeter connected in the Panel, Marking of available CT Ratio, Checking of Trip Circuit and Breaker Operation/Tripping etc., as required, conforming to IS 9124 - 1979 by Primary Injection Test (Maximum upto 50% of Rating of CTs-Testing at 25% and 50% of Original Rating) as required.
3.21 | First Year | 3.00 | Each | Item No.3.21 | 7500.00 | 8850.00 | 2997.00 | 3536.46 | 2997.00 | 3536.46 | 7500.00 | 8850.00 | 1800.00 | 2124.00 | 3600.00 | 4248.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED | 2124.00 | ABHISHEK INTEGRATIONS LIMITED
3.22 | Second year | 3.00 | Each | Item No.3.22 | 7500.00 | 8850.00 | 3597.00 | 4244.46 | 2997.00 | 3536.46 | 8400.00 | 9912.00 | 1800.00 | 2124.00 | 3600.00 | 4248.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED | 2124.00 | ABHISHEK INTEGRATIONS LIMITED
3.23 | SH III C: Filtration of Transformer Oil and Servicing of OLTCs.
3.24 | Filtration of Transformer Oil of following Equipments conforming to IS 6792/72 and IS 1866 as required with up to date amendments, including transporting Filtration Plant and BDV Test Kit, Replacement of Silica Gel, Acidity Testing of Oil at Chemical Testing Lab, Submission of Reports, Checking of Cable Tightness, Gasketting of Cable End Boxes etc. as required. 750 KVA 22KV/433V Transformer - Approx. Oil Qty 680 Ltrs
3.25 | First Year | 2.00 | Job | Item No.3.25 | 12400.00 | 14632.00 | 9998.00 | 11797.64 | 9998.00 | 11797.64 | 24000.00 | 28320.00 | 16000.00 | 18880.00 | 18000.00 | 21240.00 | 9998.00 | CHENNAI ENGINEERING SERVICES, VOLTECH O AND M SERVICES PVT LTD | 11797.64 | CHENNAI ENGINEERING SERVICES, VOLTECH O AND M SERVICES PVT LTD
3.26 | Second year | 2.00 | Job | Item No.3.26 | 12400.00 | 14632.00 | 9998.00 | 11797.64 | 9998.00 | 11797.64 | 25600.00 | 30208.00 | 19000.00 | 22420.00 | 18000.00 | 21240.00 | 9998.00 | CHENNAI ENGINEERING SERVICES, VOLTECH O AND M SERVICES PVT LTD | 11797.64 | CHENNAI ENGINEERING SERVICES, VOLTECH O AND M SERVICES PVT LTD
3.27 | Supply of Transformer Oil conforming to IS 335/1983 for topping up of oil for Transformer during filtration of Oil and for replacement of Oil for the Transformers. (Barrel = 210 Ltrs)
3.28 | First Year | 1.00 | Barrel | Item No.3.28 | 4500.00 | 5310.00 | 19999.00 | 23598.82 | 35000.00 | 41300.00 | 40000.00 | 47200.00 | 115.00 | 135.70 | 30000.00 | 35400.00 | 115.00 | ABHISHEK INTEGRATIONS LIMITED | 135.70 | ABHISHEK INTEGRATIONS LIMITED
3.29 | Second year | 1.00 | Barrel | Item No.3.29 | 4500.00 | 5310.00 | 21999.00 | 25958.82 | 35000.00 | 41300.00 | 44000.00 | 51920.00 | 118.00 | 139.24 | 30000.00 | 35400.00 | 118.00 | ABHISHEK INTEGRATIONS LIMITED | 139.24 | ABHISHEK INTEGRATIONS LIMITED
3.30 | Testing of Power Transformer of following rating 22/ 0.433 KV i/c testing of Insulation resistance, Magnetising current, winding resistance with mico-Ohm meter and Magnetic balance etc., as required. 750 KVA 22KV/433V Transformer
3.31 | First Year | 2.00 | Job | Item No.3.31 | 10000.00 | 11800.00 | 2998.00 | 3537.64 | 15998.00 | 18877.64 | 6000.00 | 7080.00 | 1000.00 | 1180.00 | 3000.00 | 3540.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED | 1180.00 | ABHISHEK INTEGRATIONS LIMITED
3.32 | Second year | 2.00 | Job | Item No.3.32 | 10000.00 | 11800.00 | 3198.00 | 3773.64 | 15998.00 | 18877.64 | 7000.00 | 8260.00 | 1000.00 | 1180.00 | 3000.00 | 3540.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED | 1180.00 | ABHISHEK INTEGRATIONS LIMITED
3.33 | Calibration of Clinometer by enaging of OEM/NABL Accredited Lab, including packing, transportation and submitting of Reports etc., as required. | 2.00 | Job | Item No.3.33 | 5000.00 | 5900.00 | 4998.00 | 5897.64 | 5000.00 | 5900.00 | 4000.00 | 4720.00 | 18000.00 | 21240.00 | 19000.00 | 22420.00 | 4000.00 | KALKI ELECTRICALS | 4720.00 | KALKI ELECTRICALS
4.00 | SH IV: Servicing of Electro Mechanical Installations
4.01 | Lifting of Submersible Pumps of various capacities from the existing Bore Well/Well and reinstalling the Submersible Pumps in the existing bore well / well (After servicing/ repairing both are exclusive) complete as required. | 2.00 | Job | Item No.4.01 | 10000.00 | 11800.00 | 9998.00 | 11797.64 | 7998.00 | 9437.64 | 12000.00 | 14160.00 | 12000.00 | 14160.00 | 2400.00 | 2832.00 | 2400.00 | DElite System Engineering (India) Pvt. Ltd. | 2832.00 | DElite System Engineering (India) Pvt. Ltd.
4.02 | Rewinding of 1 No. 5HP / 7.5 HP borewell pumpset, including replacement of damaged parts such as inlet base, bushes, thrust bearing set, neck rings etc, including reassembling, painting, testing, transportation etc., as required | 2.00 | Job | Item No.4.02 | 8000.00 | 9440.00 | 19998.00 | 23597.64 | 9998.00 | 11797.64 | 13200.00 | 15576.00 | 17000.00 | 20060.00 | 15000.00 | 17700.00 | 8000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 9440.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.03 | Lifting of 3 HP/5 HP Sewage Submersible pump in the existing raw sewage sump and servicing of shaft, replacement of mechanical seal & bearing and reinstallation of servicable Sewage Submersible pump in the sump etc., as required. | 1.00 | Job | Item No.4.03 | 9500.00 | 11210.00 | 2499.00 | 2948.82 | 3999.00 | 4718.82 | 8000.00 | 9440.00 | 6500.00 | 7670.00 | 2000.00 | 2360.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd. | 2360.00 | DElite System Engineering (India) Pvt. Ltd.
4.04 | Annual Maintenance Contract of Fire Hydrant System consisting of Jockey/ Electrical/ Diesel pumps with associated Electro Mechanical installations at Sump room, carrying out regular monthly checks required, attending breakdowns as and when required, carrying out B checks for Engines excluding supply of B check spares and other spares as required. | 24.00 | Month | Item No.4.04 | 72000.00 | 84960.00 | 59976.00 | 70771.68 | 47976.00 | 56611.68 | 240000.00 | 283200.00 | 120000.00 | 141600.00 | 47976.00 | 56611.68 | 47976.00 | DElite System Engineering (India) Pvt. Ltd., VOLTECH O AND M SERVICES PVT LTD | 56611.68 | DElite System Engineering (India) Pvt. Ltd., VOLTECH O AND M SERVICES PVT LTD
4.05 | Repair & Rewinding of 1400/1200 mm Sweep Ceiling fan i/c replacement of spares as required | 20.00 | Job | Item No.4.05 | 12000.00 | 14160.00 | 12980.00 | 15316.40 | 5980.00 | 7056.40 | 16000.00 | 18880.00 | 9000.00 | 10620.00 | 19980.00 | 23576.40 | 5980.00 | VOLTECH O AND M SERVICES PVT LTD | 7056.40 | VOLTECH O AND M SERVICES PVT LTD
4.06 | Repair & Rewinding of all capacities of exhaust fan i/c replacement of spares as required. | 20.00 | Job | Item No.4.06 | 13000.00 | 15340.00 | 15980.00 | 18856.40 | 5980.00 | 7056.40 | 24000.00 | 28320.00 | 11000.00 | 12980.00 | 22000.00 | 25960.00 | 5980.00 | VOLTECH O AND M SERVICES PVT LTD | 7056.40 | VOLTECH O AND M SERVICES PVT LTD
4.07 | Maintenance of Kirloskar Make 1 No. 30 KVA DG Set comprising of Water cooled engine and 3 Phase, 415 Volts, 50 Hz, 0.8 PF, 1500 RPM Self excited & regulated alternator etc.. including AMF panel, carrying out regular monthly checks required, attending breakdowns as and when required, carrying out B checks for Engines excluding supply of B check spares and other spares as required. | 24.00 | Month | Item No.4.07 | 48000.00 | 56640.00 | 59976.00 | 70771.68 | 23976.00 | 28291.68 | 240000.00 | 283200.00 | 72000.00 | 84960.00 | 47976.00 | 56611.68 | 23976.00 | VOLTECH O AND M SERVICES PVT LTD | 28291.68 | VOLTECH O AND M SERVICES PVT LTD
4.08 | Supply of B & C Check Kits for the following DG set/Pump as per OEM Recommndations etc as required
4.09 | 30 KVA DG Sets
4.10 | B Check KIT | 2.00 | Sets | Item No.4.10 | 14000.00 | 16520.00 | 4398.00 | 5189.64 | 2400.00 | 2832.00 | 3000.00 | 3540.00 | 6000.00 | 7080.00 | 15000.00 | 17700.00 | 2400.00 | VOLTECH O AND M SERVICES PVT LTD | 2832.00 | VOLTECH O AND M SERVICES PVT LTD
4.11 | C Check KIT | 2.00 | Sets | Item No.4.11 | 20000.00 | 23600.00 | 6398.00 | 7549.64 | 2400.00 | 2832.00 | 4000.00 | 4720.00 | 6000.00 | 7080.00 | 30000.00 | 35400.00 | 2400.00 | VOLTECH O AND M SERVICES PVT LTD | 2832.00 | VOLTECH O AND M SERVICES PVT LTD
4.12 | Fire diesel Pump
4.13 | B Check KIT | 2.00 | Sets | Item No.4.13 | 4000.00 | 4720.00 | 9998.00 | 11797.64 | 2998.00 | 3537.64 | 3000.00 | 3540.00 | 6000.00 | 7080.00 | 15000.00 | 17700.00 | 2998.00 | VOLTECH O AND M SERVICES PVT LTD | 3537.64 | VOLTECH O AND M SERVICES PVT LTD
4.14 | C Check KIT | 2.00 | Sets | Item No.4.14 | 5000.00 | 5900.00 | 13998.00 | 16517.64 | 2998.00 | 3537.64 | 4000.00 | 4720.00 | 6000.00 | 7080.00 | 30000.00 | 35400.00 | 2998.00 | VOLTECH O AND M SERVICES PVT LTD | 3537.64 | VOLTECH O AND M SERVICES PVT LTD
4.15 | Maintenance of 1 No. 6 KVA Numeric make on-line UPS systems including replacement of spares etc, carrying out regular monthly checks required, attending breakdowns as and when required. | 24.00 | Month | Item No.4.15 | 18000.00 | 21240.00 | 47976.00 | 56611.68 | 47976.00 | 56611.68 | 36000.00 | 42480.00 | 28800.00 | 33984.00 | 36000.00 | 42480.00 | 18000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 21240.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.16 | Maintenance of Conventional/ Microprocessor Based Fire Alarm System [FAS] including all Associated Accessories and Auto Dialer of all FAS Types/ Models/ Make installed at following Locations including Repairs and Maintenance, attending Faults of Systems, Replacement of Defective Components with AAI Supplied New Components, ensuring 100% Serviceability/ Satisfactory Working Condition of FAS, Routine and General Preventive Maintenance on Monthly/ Quarterly/ Half yearly/ Yearly Basis as per Standard Manufacturers' Practices, Break-Down Maintenance, Maintenance of Records/Service Reports and Reporting as and when required, complete Up-keeping of the Installations [FAS], as specified and as directed by Engineer-In-Charge as required.
4.17 | ATC Tower (Make: Ravel RE 2554) | 24.00 | Month | Item No.4.17 | 60000.00 | 70800.00 | 59976.00 | 70771.68 | 23976.00 | 28291.68 | 60000.00 | 70800.00 | 120000.00 | 141600.00 | 48000.00 | 56640.00 | 23976.00 | VOLTECH O AND M SERVICES PVT LTD | 28291.68 | VOLTECH O AND M SERVICES PVT LTD
4.18 | NDB Building (Make: Ravel RE 2554) | 24.00 | Month | Item No.4.18 | 60000.00 | 70800.00 | 59976.00 | 70771.68 | 23976.00 | 28291.68 | 60000.00 | 70800.00 | 120000.00 | 141600.00 | 48000.00 | 56640.00 | 23976.00 | VOLTECH O AND M SERVICES PVT LTD | 28291.68 | VOLTECH O AND M SERVICES PVT LTD
4.19 | Maintenance of Addressable Type Fire Alarm System [FAS] including all Associated Accessories and Auto Dialer of all FAS Types/Models/Make installed at following Locations including Repairs and Maintenance, attending Faults of Systems, Replacement of Defective Components with AAI Supplied New Components, ensuring 100% Serviceability/Satisfactory Working Condition of FAS, Routine and General Preventive Maintenance on Monthly/Quarterly/Half yearly/Yearly Basis as per Standard Manufacturers' Practices, Break-Down Maintenance, Maintenance of Records/Service Reports and Reporting as and when required, complete Up-keeping of the Installations [FAS], as specified and as directed by Engineer-In-Charge as required.as directed by Engineer-In-Charge as required.
4.20 | New ATC Tower (Make: Notifier) or its equalent | 24.00 | Month | Item No.4.20 | 36000.00 | 42480.00 | 59976.00 | 70771.68 | 119976.00 | 141571.68 | 60000.00 | 70800.00 | 120000.00 | 141600.00 | 48000.00 | 56640.00 | 36000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 42480.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.21 | Solar Plant (Make: Honeywell Notifier) ot its equalent | 24.00 | Month | Item No.4.21 | 48000.00 | 56640.00 | 59976.00 | 70771.68 | 119976.00 | 141571.68 | 60000.00 | 70800.00 | 120000.00 | 141600.00 | 48000.00 | 56640.00 | 48000.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd. | 56640.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd.
4.22 | Fault Identification of ACB's in LT Panel, Minor rectification works, wiring correction, i/c replacing of spares supplied by AAI etc as required. | 5.00 | Each | Item No.4.22 | 10000.00 | 11800.00 | 4995.00 | 5894.10 | 4995.00 | 5894.10 | 15000.00 | 17700.00 | 25000.00 | 29500.00 | 25000.00 | 29500.00 | 4995.00 | CHENNAI ENGINEERING SERVICES, VOLTECH O AND M SERVICES PVT LTD | 5894.10 | CHENNAI ENGINEERING SERVICES, VOLTECH O AND M SERVICES PVT LTD
4.23 | Fault Identification of PLC controller in LT Panel including checking of PLC Programme, Trouble shooting, Identication & fixing of complete control wiring issues associated with ACB's, submission of updated wiring diagrams,reports etc as required. | 2.00 | Each | Item No.4.23 | 6000.00 | 7080.00 | 13998.00 | 16517.64 | 3998.00 | 4717.64 | 6000.00 | 7080.00 | 10000.00 | 11800.00 | 50000.00 | 59000.00 | 3998.00 | VOLTECH O AND M SERVICES PVT LTD | 4717.64 | VOLTECH O AND M SERVICES PVT LTD
4.24 | SITC of LED Strips suitable to work with current Ballast for series circuit lighting system for LED Sign boards of rating 2.8-66.6 Amps suitable for Runway/Taxiway LED Sign Boards. | 50.00 | Mtr | Item No.4.24 | 35000.00 | 41300.00 | 49950.00 | 58941.00 | 24950.00 | 29441.00 | 30000.00 | 35400.00 | 25000.00 | 29500.00 | 75000.00 | 88500.00 | 24950.00 | VOLTECH O AND M SERVICES PVT LTD | 29441.00 | VOLTECH O AND M SERVICES PVT LTD
4.25 | SITC of Current Ballast for Series Circuit lighting System for LED Sign Boards of Rating 2.8-66.6 Amps suitable for Runway / Taxiway LED Sign Boards. | 10.00 | Each | Item No.4.25 | 50000.00 | 59000.00 | 74990.00 | 88488.20 | 4990.00 | 5888.20 | 35000.00 | 41300.00 | 15000.00 | 17700.00 | 150000.00 | 177000.00 | 4990.00 | VOLTECH O AND M SERVICES PVT LTD | 5888.20 | VOLTECH O AND M SERVICES PVT LTD
5.00 | SH V: Annual Rate Contract for Internal Electrical Works
5.01 | Wiring for light point/ fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet suitable size MS box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required.
5.02 | Group B | 5.00 | Each | Item No.5.02 | 4250.00 | 5015.00 | 4995.00 | 5894.10 | 4495.00 | 5304.10 | 3500.00 | 4130.00 | 4500.00 | 5310.00 | 3750.00 | 4425.00 | 3500.00 | KALKI ELECTRICALS | 4130.00 | KALKI ELECTRICALS
5.03 | Group C | 10.00 | Each | Item No.5.03 | 11000.00 | 12980.00 | 12990.00 | 15328.20 | 8990.00 | 10608.20 | 7500.00 | 8850.00 | 9000.00 | 10620.00 | 11000.00 | 12980.00 | 7500.00 | KALKI ELECTRICALS | 8850.00 | KALKI ELECTRICALS
5.04 | Wiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required.
5.05 | Group B | 10.00 | Each | Item No.5.05 | 8500.00 | 10030.00 | 10990.00 | 12968.20 | 7990.00 | 9428.20 | 8000.00 | 9440.00 | 9000.00 | 10620.00 | 9000.00 | 10620.00 | 7990.00 | VOLTECH O AND M SERVICES PVT LTD | 9428.20 | VOLTECH O AND M SERVICES PVT LTD
5.06 | Group C | 15.00 | Each | Item No.5.06 | 16500.00 | 19470.00 | 19485.00 | 22992.30 | 11985.00 | 14142.30 | 13200.00 | 15576.00 | 13500.00 | 15930.00 | 16500.00 | 19470.00 | 11985.00 | VOLTECH O AND M SERVICES PVT LTD | 14142.30 | VOLTECH O AND M SERVICES PVT LTD
5.07 | Supplying and fixing metal box of 150mm X 75mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including providing and fixing 3 pin 5/6 amps socket outlet and 5/6 amps piano type switch, connection, painting etc. as required. | 10.00 | Each | Item No.5.07 | 1900.00 | 2242.00 | 2990.00 | 3528.20 | 4990.00 | 5888.20 | 2000.00 | 2360.00 | 1650.00 | 1947.00 | 5500.00 | 6490.00 | 1650.00 | ABHISHEK INTEGRATIONS LIMITED | 1947.00 | ABHISHEK INTEGRATIONS LIMITED
5.08 | Supplying and fixing metal box of 180mm X 100mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including providing and fixing 6 pin 5/6 & 15/16 amps socket outlet and 15/16 amps piano type switch, connection, painting etc. as required. | 10.00 | Each | Item No.5.08 | 2900.00 | 3422.00 | 4990.00 | 5888.20 | 6500.00 | 7670.00 | 2500.00 | 2950.00 | 1850.00 | 2183.00 | 5500.00 | 6490.00 | 1850.00 | ABHISHEK INTEGRATIONS LIMITED | 2183.00 | ABHISHEK INTEGRATIONS LIMITED
5.09 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). | 20.00 | Each | Item No.5.09 | 7000.00 | 8260.00 | 8980.00 | 10596.40 | 9980.00 | 11776.40 | 5000.00 | 5900.00 | 9900.00 | 11682.00 | 10000.00 | 11800.00 | 5000.00 | KALKI ELECTRICALS | 5900.00 | KALKI ELECTRICALS
5.10 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 15.00 | Each | Item No.5.10 | 5250.00 | 6195.00 | 7485.00 | 8832.30 | 9750.00 | 11505.00 | 4800.00 | 5664.00 | 7425.00 | 8761.50 | 9000.00 | 10620.00 | 4800.00 | KALKI ELECTRICALS | 5664.00 | KALKI ELECTRICALS
5.11 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in recess etc as required
5.12 | 3 Module | 20.00 | Each | Item No.5.12 | 1200.00 | 1416.00 | 5380.00 | 6348.40 | 800.00 | 944.00 | 2200.00 | 2596.00 | 5000.00 | 5900.00 | 5000.00 | 5900.00 | 800.00 | VOLTECH O AND M SERVICES PVT LTD | 944.00 | VOLTECH O AND M SERVICES PVT LTD
5.13 | 6 Module | 20.00 | Each | Item No.5.13 | 1800.00 | 2124.00 | 6980.00 | 8236.40 | 1300.00 | 1534.00 | 2800.00 | 3304.00 | 5000.00 | 5900.00 | 7000.00 | 8260.00 | 1300.00 | VOLTECH O AND M SERVICES PVT LTD | 1534.00 | VOLTECH O AND M SERVICES PVT LTD
5.14 | 8 Module | 10.00 | Each | Item No.5.14 | 1200.00 | 1416.00 | 4190.00 | 4944.20 | 900.00 | 1062.00 | 1800.00 | 2124.00 | 2500.00 | 2950.00 | 3500.00 | 4130.00 | 900.00 | VOLTECH O AND M SERVICES PVT LTD | 1062.00 | VOLTECH O AND M SERVICES PVT LTD
5.15 | 12 Module | 5.00 | Each | Item No.5.15 | 750.00 | 885.00 | 2495.00 | 2944.10 | 600.00 | 708.00 | 1100.00 | 1298.00 | 1250.00 | 1475.00 | 1750.00 | 2065.00 | 600.00 | VOLTECH O AND M SERVICES PVT LTD | 708.00 | VOLTECH O AND M SERVICES PVT LTD
5.16 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
5.17 | 2 X 1.5 sq.mm + 1 X 1.5 sq.mm earth wire | 100.00 | Mtr | Item No.5.17 | 19000.00 | 22420.00 | 19900.00 | 23482.00 | 1500.00 | 1770.00 | 16000.00 | 18880.00 | 16000.00 | 18880.00 | 25000.00 | 29500.00 | 1500.00 | VOLTECH O AND M SERVICES PVT LTD | 1770.00 | VOLTECH O AND M SERVICES PVT LTD
5.18 | 2 X 2.5 sq.mm + 1 X 2.5 sq.mm earth wire | 100.00 | Mtr | Item No.5.18 | 23000.00 | 27140.00 | 24900.00 | 29382.00 | 3500.00 | 4130.00 | 20000.00 | 23600.00 | 16000.00 | 18880.00 | 30000.00 | 35400.00 | 3500.00 | VOLTECH O AND M SERVICES PVT LTD | 4130.00 | VOLTECH O AND M SERVICES PVT LTD
5.19 | 2 X 4 sq.mm + 1 X 4 sq.mm earth wire | 100.00 | Mtr | Item No.5.19 | 29000.00 | 34220.00 | 22900.00 | 27022.00 | 6500.00 | 7670.00 | 22000.00 | 25960.00 | 18000.00 | 21240.00 | 35000.00 | 41300.00 | 6500.00 | VOLTECH O AND M SERVICES PVT LTD | 7670.00 | VOLTECH O AND M SERVICES PVT LTD
5.20 | 2 X 6 sq.mm + 1 X 6 sq.mm earth wire | 50.00 | Mtr | Item No.5.20 | 19500.00 | 23010.00 | 19950.00 | 23541.00 | 4250.00 | 5015.00 | 15000.00 | 17700.00 | 11500.00 | 13570.00 | 20000.00 | 23600.00 | 4250.00 | VOLTECH O AND M SERVICES PVT LTD | 5015.00 | VOLTECH O AND M SERVICES PVT LTD
5.21 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
5.22 | 20 mm | 50.00 | Mtr | Item No.5.22 | 7000.00 | 8260.00 | 7450.00 | 8791.00 | 1750.00 | 2065.00 | 4000.00 | 4720.00 | 6250.00 | 7375.00 | 5500.00 | 6490.00 | 1750.00 | VOLTECH O AND M SERVICES PVT LTD | 2065.00 | VOLTECH O AND M SERVICES PVT LTD
5.23 | 25 mm | 50.00 | Mtr | Item No.5.23 | 9000.00 | 10620.00 | 7950.00 | 9381.00 | 2750.00 | 3245.00 | 5000.00 | 5900.00 | 6250.00 | 7375.00 | 6500.00 | 7670.00 | 2750.00 | VOLTECH O AND M SERVICES PVT LTD | 3245.00 | VOLTECH O AND M SERVICES PVT LTD
5.24 | Supplying and fixing of following sizes of medium class PVC conduit along withaccessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
5.25 | 20 mm | 50.00 | Mtr | Item No.5.25 | 3000.00 | 3540.00 | 5950.00 | 7021.00 | 1000.00 | 1180.00 | 2500.00 | 2950.00 | 8750.00 | 10325.00 | 7500.00 | 8850.00 | 1000.00 | VOLTECH O AND M SERVICES PVT LTD | 1180.00 | VOLTECH O AND M SERVICES PVT LTD
5.26 | 25 mm | 50.00 | Mtr | Item No.5.26 | 4500.00 | 5310.00 | 6450.00 | 7611.00 | 1750.00 | 2065.00 | 3000.00 | 3540.00 | 8750.00 | 10325.00 | 10000.00 | 11800.00 | 1750.00 | VOLTECH O AND M SERVICES PVT LTD | 2065.00 | VOLTECH O AND M SERVICES PVT LTD
5.27 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as required.
5.28 | a) 3 x 1.5 sq. mm | 100.00 | Mtr | Item No.5.28 | 9000.00 | 10620.00 | 7900.00 | 9322.00 | 16500.00 | 19470.00 | 7000.00 | 8260.00 | 5000.00 | 5900.00 | 7500.00 | 8850.00 | 5000.00 | ABHISHEK INTEGRATIONS LIMITED | 5900.00 | ABHISHEK INTEGRATIONS LIMITED
5.29 | b) 3 x 2.5 sq. mm | 100.00 | Mtr | Item No.5.29 | 15000.00 | 17700.00 | 10900.00 | 12862.00 | 19500.00 | 23010.00 | 10000.00 | 11800.00 | 7000.00 | 8260.00 | 9000.00 | 10620.00 | 7000.00 | ABHISHEK INTEGRATIONS LIMITED | 8260.00 | ABHISHEK INTEGRATIONS LIMITED
5.30 | c) 3 x 4 sq. mm | 100.00 | Mtr | Item No.5.30 | 21000.00 | 24780.00 | 17900.00 | 21122.00 | 24900.00 | 29382.00 | 13000.00 | 15340.00 | 11800.00 | 13924.00 | 11000.00 | 12980.00 | 11000.00 | DElite System Engineering (India) Pvt. Ltd. | 12980.00 | DElite System Engineering (India) Pvt. Ltd.
5.31 | Supply and fixing rotary stepped type electronic fan regulator (1 module) on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 15.00 | Each | Item No.5.31 | 4350.00 | 5133.00 | 7485.00 | 8832.30 | 1425.00 | 1681.50 | 3750.00 | 4425.00 | 12000.00 | 14160.00 | 3750.00 | 4425.00 | 1425.00 | VOLTECH O AND M SERVICES PVT LTD | 1681.50 | VOLTECH O AND M SERVICES PVT LTD
5.32 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required
5.33 | 5/6 Amps switch | 50.00 | Each | Item No.5.33 | 2750.00 | 3245.00 | 4450.00 | 5251.00 | 1250.00 | 1475.00 | 2300.00 | 2714.00 | 4250.00 | 5015.00 | 4500.00 | 5310.00 | 1250.00 | VOLTECH O AND M SERVICES PVT LTD | 1475.00 | VOLTECH O AND M SERVICES PVT LTD
5.34 | 15/16 Amps switch | 25.00 | Each | Item No.5.34 | 1875.00 | 2212.50 | 3725.00 | 4395.50 | 2250.00 | 2655.00 | 2500.00 | 2950.00 | 3075.00 | 3628.50 | 3750.00 | 4425.00 | 1875.00 | LAKSHMI ELECTRICAL ENTERPRISES | 2212.50 | LAKSHMI ELECTRICAL ENTERPRISES
5.35 | 3 pin 5/6 Amps socket outlet | 50.00 | Each | Item No.5.35 | 4000.00 | 4720.00 | 5950.00 | 7021.00 | 4500.00 | 5310.00 | 4000.00 | 4720.00 | 6600.00 | 7788.00 | 9500.00 | 11210.00 | 4000.00 | LAKSHMI ELECTRICAL ENTERPRISES, KALKI ELECTRICALS | 4720.00 | LAKSHMI ELECTRICAL ENTERPRISES, KALKI ELECTRICALS
5.36 | 6 pin 15/16 Amps socket outlet | 25.00 | Each | Item No.5.36 | 4750.00 | 5605.00 | 4975.00 | 5870.50 | 2750.00 | 3245.00 | 2750.00 | 3245.00 | 4375.00 | 5162.50 | 5500.00 | 6490.00 | 2750.00 | VOLTECH O AND M SERVICES PVT LTD, KALKI ELECTRICALS | 3245.00 | VOLTECH O AND M SERVICES PVT LTD, KALKI ELECTRICALS
5.37 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted,inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required • (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) TPN 4 Way (4+12) MCB DB double door | 1.00 | Each | Item No.5.37 | 5600.00 | 6608.00 | 10999.00 | 12978.82 | 2800.00 | 3304.00 | 5000.00 | 5900.00 | 7744.00 | 9137.92 | 12000.00 | 14160.00 | 2800.00 | VOLTECH O AND M SERVICES PVT LTD | 3304.00 | VOLTECH O AND M SERVICES PVT LTD
5.38 | Supplying and fixing of following way Horizontal type, Three pole and neutral,sheet steel, MCB distribution Board, 415 Volts, on surface/recess,complete with tinned copper bus bar, common neutral link, earth bar, din bar, interconnections,powder painted including eathing etc . as required (but without MCB/RCCB/Isolators and incomer ) as required. TPN 8 Way (4+24) MCB DB double door | 1.00 | Each | Item No.5.38 | 2900.00 | 3422.00 | 13959.00 | 16471.62 | 4999.00 | 5898.82 | 8000.00 | 9440.00 | 9828.00 | 11597.04 | 9000.00 | 10620.00 | 2900.00 | LAKSHMI ELECTRICAL ENTERPRISES | 3422.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.39 | Supplying and fixing following way, single pole and neutral, sheet steel, MCBdistribution board, 240 V, on surface/ recess, complete with tinned copper bus bar,neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCBIRCCB/Isolator)
5.40 | SPN 8 Way MCB DB double door | 1.00 | Each | Item No.5.40 | 900.00 | 1062.00 | 1699.00 | 2004.82 | 4000.00 | 4720.00 | 1200.00 | 1416.00 | 1239.00 | 1462.02 | 4000.00 | 4720.00 | 900.00 | LAKSHMI ELECTRICAL ENTERPRISES | 1062.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.41 | SPN 6 Way MCB DB double door | 1.00 | Each | Item No.5.41 | 1300.00 | 1534.00 | 1499.00 | 1768.82 | 3500.00 | 4130.00 | 1000.00 | 1180.00 | 1239.00 | 1462.02 | 4000.00 | 4720.00 | 1000.00 | KALKI ELECTRICALS | 1180.00 | KALKI ELECTRICALS
5.42 | SPN 4 Way MCB DB double door | 1.00 | Each | Item No.5.42 | 1500.00 | 1770.00 | 1499.00 | 1768.82 | 2700.00 | 3186.00 | 800.00 | 944.00 | 1239.00 | 1462.02 | 4000.00 | 4720.00 | 800.00 | KALKI ELECTRICALS | 944.00 | KALKI ELECTRICALS
5.43 | Supplying and fixing following rating, 415 volts, 10 KA Four pole MCB, C curve in the existing MCB DB complete with connections, testing and commissioning etc., as required
5.44 | 40A FP MCB | 5.00 | Each | Item No.5.44 | 7000.00 | 8260.00 | 9995.00 | 11794.10 | 6000.00 | 7080.00 | 3300.00 | 3894.00 | 9425.00 | 11121.50 | 12500.00 | 14750.00 | 3300.00 | KALKI ELECTRICALS | 3894.00 | KALKI ELECTRICALS
5.45 | 63A FP MCB | 5.00 | Each | Item No.5.45 | 8000.00 | 9440.00 | 9995.00 | 11794.10 | 7000.00 | 8260.00 | 3600.00 | 4248.00 | 9425.00 | 11121.50 | 14995.00 | 17694.10 | 3600.00 | KALKI ELECTRICALS | 4248.00 | KALKI ELECTRICALS
5.46 | Supplying and fixing following rating, 415 volts, Four pole RCCB, C curve in the existing MCB DB complete with connections, testing and commissioning etc., as required
5.47 | 40A FP RCCB, 300mA | 5.00 | Each | Item No.5.47 | 10500.00 | 12390.00 | 20995.00 | 24774.10 | 12500.00 | 14750.00 | 14000.00 | 16520.00 | 9995.00 | 11794.10 | 25000.00 | 29500.00 | 9995.00 | ABHISHEK INTEGRATIONS LIMITED | 11794.10 | ABHISHEK INTEGRATIONS LIMITED
5.48 | 63A FP RCCB, 300 mA | 5.00 | Each | Item No.5.48 | 10500.00 | 12390.00 | 24995.00 | 29494.10 | 14000.00 | 16520.00 | 16000.00 | 18880.00 | 9995.00 | 11794.10 | 27500.00 | 32450.00 | 9995.00 | ABHISHEK INTEGRATIONS LIMITED | 11794.10 | ABHISHEK INTEGRATIONS LIMITED
5.49 | 40A FP RCCB, 100mA | 5.00 | Each | Item No.5.49 | 12250.00 | 14455.00 | 22495.00 | 26544.10 | 12000.00 | 14160.00 | 14000.00 | 16520.00 | 9995.00 | 11794.10 | 20000.00 | 23600.00 | 9995.00 | ABHISHEK INTEGRATIONS LIMITED | 11794.10 | ABHISHEK INTEGRATIONS LIMITED
5.50 | 63A FP RCCB, 100 mA | 5.00 | Each | Item No.5.50 | 12250.00 | 14455.00 | 25745.00 | 30379.10 | 14000.00 | 16520.00 | 16000.00 | 18880.00 | 9995.00 | 11794.10 | 21500.00 | 25370.00 | 9995.00 | ABHISHEK INTEGRATIONS LIMITED | 11794.10 | ABHISHEK INTEGRATIONS LIMITED
5.51 | Supplying and fixing of 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 20.00 | Each | Item No.5.51 | 2800.00 | 3304.00 | 4780.00 | 5640.40 | 7000.00 | 8260.00 | 3320.00 | 3917.60 | 3980.00 | 4696.40 | 5000.00 | 5900.00 | 2800.00 | LAKSHMI ELECTRICAL ENTERPRISES | 3304.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.52 | Supplying and fixing of 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 10.00 | Each | Item No.5.52 | 4100.00 | 4838.00 | 6990.00 | 8248.20 | 6500.00 | 7670.00 | 5500.00 | 6490.00 | 5440.00 | 6419.20 | 7500.00 | 8850.00 | 4100.00 | LAKSHMI ELECTRICAL ENTERPRISES | 4838.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.53 | Supplying and fixing of 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole | 10.00 | Each | Item No.5.53 | 7600.00 | 8968.00 | 9990.00 | 11788.20 | 9500.00 | 11210.00 | 8000.00 | 9440.00 | 5560.00 | 6560.80 | 12000.00 | 14160.00 | 5560.00 | ABHISHEK INTEGRATIONS LIMITED | 6560.80 | ABHISHEK INTEGRATIONS LIMITED
5.54 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole andearth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out letand complete with connections, testing and commissioning etc. as required. | 5.00 | Each | Item No.5.54 | 3750.00 | 4425.00 | 13495.00 | 15924.10 | 12500.00 | 14750.00 | 4500.00 | 5310.00 | 6160.00 | 7268.80 | 7500.00 | 8850.00 | 3750.00 | LAKSHMI ELECTRICAL ENTERPRISES | 4425.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.55 | Supplying and fixing 20 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, TPMCB, in sheet steelenclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 3.00 | Each | Item No.5.55 | 7200.00 | 8496.00 | 13497.00 | 15926.46 | 9000.00 | 10620.00 | 4200.00 | 4956.00 | 5070.00 | 5982.60 | 7500.00 | 8850.00 | 4200.00 | KALKI ELECTRICALS | 4956.00 | KALKI ELECTRICALS
5.56 | Providing illumination with standard couloured serial lamps sets for one day on different occassions (Containing minimum 20 Nos of lamps per set) on the Terminal building and other ancillary building and trees as directed by the Engineer-In - Charge. | 4000.00 | Set | Item No.5.56 | 84000.00 | 99120.00 | 156000.00 | 184080.00 | 396000.00 | 467280.00 | 40000.00 | 47200.00 | 600000.00 | 708000.00 | 100000.00 | 118000.00 | 40000.00 | KALKI ELECTRICALS | 47200.00 | KALKI ELECTRICALS
5.57 | Providing illumination with multicolour LED colour wash flood light for one day on different occassions with required cables and all accessories to illuminate the fasia of the buildings as directed by the Engineer -In- Charge. | 100.00 | Each | Item No.5.57 | 22500.00 | 26550.00 | 31900.00 | 37642.00 | 9900.00 | 11682.00 | 10000.00 | 11800.00 | 200000.00 | 236000.00 | 45000.00 | 53100.00 | 9900.00 | VOLTECH O AND M SERVICES PVT LTD | 11682.00 | VOLTECH O AND M SERVICES PVT LTD
6.00 | SH VI: Annual Rate Contract for External Electrical Works SH VI A: Cabling Works.
6.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
6.00 | Upto 35 sq. mm | 30.00 | Mtr | Item No.6.002 | 7500.00 | 8850.00 | 11970.00 | 14124.60 | 1170.00 | 1380.60 | 6000.00 | 7080.00 | 9000.00 | 10620.00 | 4500.00 | 5310.00 | 1170.00 | VOLTECH O AND M SERVICES PVT LTD | 1380.60 | VOLTECH O AND M SERVICES PVT LTD
6.00 | Above 35 sq. mm and upto 95 sq. mm | 30.00 | Mtr | Item No.6.003 | 9000.00 | 10620.00 | 12270.00 | 14478.60 | 1470.00 | 1734.60 | 6600.00 | 7788.00 | 9000.00 | 10620.00 | 9000.00 | 10620.00 | 1470.00 | VOLTECH O AND M SERVICES PVT LTD | 1734.60 | VOLTECH O AND M SERVICES PVT LTD
6.00 | Above 95 sq. mm and upto 185 sq. mm | 30.00 | Mtr | Item No.6.004 | 10500.00 | 12390.00 | 12570.00 | 14832.60 | 1470.00 | 1734.60 | 7500.00 | 8850.00 | 10500.00 | 12390.00 | 9000.00 | 10620.00 | 1470.00 | VOLTECH O AND M SERVICES PVT LTD | 1734.60 | VOLTECH O AND M SERVICES PVT LTD
6.00 | Above 185 sq. mm and upto 400 sq. mm | 30.00 | Mtr | Item No.6.005 | 11250.00 | 13275.00 | 13470.00 | 15894.60 | 1470.00 | 1734.60 | 8400.00 | 9912.00 | 11880.00 | 14018.40 | 9000.00 | 10620.00 | 1470.00 | VOLTECH O AND M SERVICES PVT LTD | 1734.60 | VOLTECH O AND M SERVICES PVT LTD
6.01 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
6.01 | Upto 35 sq. mm | 30.00 | Mtr | Item No.6.007 | 600.00 | 708.00 | 570.00 | 672.60 | 1170.00 | 1380.60 | 480.00 | 566.40 | 1800.00 | 2124.00 | 2700.00 | 3186.00 | 480.00 | KALKI ELECTRICALS | 566.40 | KALKI ELECTRICALS
6.01 | Above 35 sq. mm and upto 95 sq. mm | 30.00 | Mtr | Item No.6.008 | 1200.00 | 1416.00 | 870.00 | 1026.60 | 1470.00 | 1734.60 | 660.00 | 778.80 | 1800.00 | 2124.00 | 2700.00 | 3186.00 | 660.00 | KALKI ELECTRICALS | 778.80 | KALKI ELECTRICALS
6.01 | Above 95 sq. mm and upto 185 sq. mm | 30.00 | Mtr | Item No.6.009 | 2400.00 | 2832.00 | 1470.00 | 1734.60 | 1470.00 | 1734.60 | 1080.00 | 1274.40 | 1920.00 | 2265.60 | 2700.00 | 3186.00 | 1080.00 | KALKI ELECTRICALS | 1274.40 | KALKI ELECTRICALS
6.01 | Above 185 sq. mm and upto 400 sq. mm | 30.00 | Mtr | Item No.6.010 | 2400.00 | 2832.00 | 2370.00 | 2796.60 | 1470.00 | 1734.60 | 1440.00 | 1699.20 | 3360.00 | 3964.80 | 2700.00 | 3186.00 | 1440.00 | KALKI ELECTRICALS | 1699.20 | KALKI ELECTRICALS
6.01 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
6.01 | Upto 35 sq. mm | 30.00 | Mtr | Item No.6.012 | 600.00 | 708.00 | 570.00 | 672.60 | 1170.00 | 1380.60 | 480.00 | 566.40 | 1050.00 | 1239.00 | 1800.00 | 2124.00 | 480.00 | KALKI ELECTRICALS | 566.40 | KALKI ELECTRICALS
6.01 | Above 35 sq. mm and upto 95 sq. mm | 30.00 | Mtr | Item No.6.013 | 1200.00 | 1416.00 | 870.00 | 1026.60 | 1470.00 | 1734.60 | 660.00 | 778.80 | 1050.00 | 1239.00 | 1800.00 | 2124.00 | 660.00 | KALKI ELECTRICALS | 778.80 | KALKI ELECTRICALS
6.01 | Above 95 sq. mm and upto 185 sq. mm | 30.00 | Mtr | Item No.6.014 | 2400.00 | 2832.00 | 1170.00 | 1380.60 | 1470.00 | 1734.60 | 1080.00 | 1274.40 | 1560.00 | 1840.80 | 1800.00 | 2124.00 | 1080.00 | KALKI ELECTRICALS | 1274.40 | KALKI ELECTRICALS
6.01 | Above 185 sq. mm and upto 400 sq. mm | 30.00 | Mtr | Item No.6.015 | 2400.00 | 2832.00 | 2070.00 | 2442.60 | 1470.00 | 1734.60 | 1440.00 | 1699.20 | 2880.00 | 3398.40 | 1800.00 | 2124.00 | 1440.00 | KALKI ELECTRICALS | 1699.20 | KALKI ELECTRICALS
6.02 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface as required.
6.02 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 30.00 | Mtr | Item No.6.017 | 1200.00 | 1416.00 | 1170.00 | 1380.60 | 1170.00 | 1380.60 | 1050.00 | 1239.00 | 3150.00 | 3717.00 | 2250.00 | 2655.00 | 1050.00 | KALKI ELECTRICALS | 1239.00 | KALKI ELECTRICALS
6.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 30.00 | Mtr | Item No.6.018 | 2100.00 | 2478.00 | 2370.00 | 2796.60 | 1470.00 | 1734.60 | 1500.00 | 1770.00 | 3150.00 | 3717.00 | 2250.00 | 2655.00 | 1470.00 | VOLTECH O AND M SERVICES PVT LTD | 1734.60 | VOLTECH O AND M SERVICES PVT LTD
6.02 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25x3mm MS flat clamp) | 30.00 | Mtr | Item No.6.019 | 3300.00 | 3894.00 | 2970.00 | 3504.60 | 1470.00 | 1734.60 | 2400.00 | 2832.00 | 3660.00 | 4318.80 | 2250.00 | 2655.00 | 1470.00 | VOLTECH O AND M SERVICES PVT LTD | 1734.60 | VOLTECH O AND M SERVICES PVT LTD
6.02 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 30.00 | Mtr | Item No.6.020 | 4500.00 | 5310.00 | 4470.00 | 5274.60 | 1470.00 | 1734.60 | 3000.00 | 3540.00 | 5460.00 | 6442.80 | 2250.00 | 2655.00 | 1470.00 | VOLTECH O AND M SERVICES PVT LTD | 1734.60 | VOLTECH O AND M SERVICES PVT LTD
6.02 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
6.02 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 10.00 | Mtr | Item No.6.022 | 300.00 | 354.00 | 290.00 | 342.20 | 1200.00 | 1416.00 | 350.00 | 413.00 | 930.00 | 1097.40 | 900.00 | 1062.00 | 290.00 | CHENNAI ENGINEERING SERVICES | 342.20 | CHENNAI ENGINEERING SERVICES
6.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 10.00 | Mtr | Item No.6.023 | 600.00 | 708.00 | 590.00 | 696.20 | 1200.00 | 1416.00 | 500.00 | 590.00 | 930.00 | 1097.40 | 900.00 | 1062.00 | 500.00 | KALKI ELECTRICALS | 590.00 | KALKI ELECTRICALS
6.02 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25x3mm MS flat clamp) | 10.00 | Mtr | Item No.6.024 | 900.00 | 1062.00 | 690.00 | 814.20 | 1200.00 | 1416.00 | 800.00 | 944.00 | 1500.00 | 1770.00 | 900.00 | 1062.00 | 690.00 | CHENNAI ENGINEERING SERVICES | 814.20 | CHENNAI ENGINEERING SERVICES
6.02 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 10.00 | Mtr | Item No.6.025 | 1200.00 | 1416.00 | 1290.00 | 1522.20 | 1200.00 | 1416.00 | 1000.00 | 1180.00 | 1500.00 | 1770.00 | 900.00 | 1062.00 | 900.00 | DElite System Engineering (India) Pvt. Ltd. | 1062.00 | DElite System Engineering (India) Pvt. Ltd.
6.03 | Supplying and making cable route marker with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 5.00 | Each | Item No.6.026 | 2500.00 | 2950.00 | 2245.00 | 2649.10 | 1750.00 | 2065.00 | 2000.00 | 2360.00 | 2650.00 | 3127.00 | 4995.00 | 5894.10 | 1750.00 | VOLTECH O AND M SERVICES PVT LTD | 2065.00 | VOLTECH O AND M SERVICES PVT LTD
6.03 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 5.00 | Each | Item No.6.027 | 2500.00 | 2950.00 | 1795.00 | 2118.10 | 1750.00 | 2065.00 | 2000.00 | 2360.00 | 1915.00 | 2259.70 | 4995.00 | 5894.10 | 1750.00 | VOLTECH O AND M SERVICES PVT LTD | 2065.00 | VOLTECH O AND M SERVICES PVT LTD
6.03 | Laying of one number PVC/XLPE insulated and PVC sheathed Power cable of 1.1KV grade of size exceeding 120 sqmm but not exceeding 400sqmm direct in ground including demolishing cement concrete/bituminous road, excavation of trench of upto 0.75 Mtr Depth refilling the trench making the surface to original finish with CC of 1:3:6 ratio on top (150 mm) etc. as required | 10.00 | Mtr | Item No.6.028 | 5000.00 | 5900.00 | 8990.00 | 10608.20 | 1990.00 | 2348.20 | 8000.00 | 9440.00 | 6300.00 | 7434.00 | 7000.00 | 8260.00 | 1990.00 | VOLTECH O AND M SERVICES PVT LTD | 2348.20 | VOLTECH O AND M SERVICES PVT LTD
6.03 | Supplying and making indoor end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required.
6.03 | 4 X 16 sq. mm (28mm) | 2.00 | Each | Item No.6.030 | 240.00 | 283.20 | 398.00 | 469.64 | 70.00 | 82.60 | 440.00 | 519.20 | 800.00 | 944.00 | 1000.00 | 1180.00 | 70.00 | VOLTECH O AND M SERVICES PVT LTD | 82.60 | VOLTECH O AND M SERVICES PVT LTD
6.03 | 4 X 25 sq. mm (28mm) | 2.00 | Each | Item No.6.031 | 280.00 | 330.40 | 398.00 | 469.64 | 90.00 | 106.20 | 480.00 | 566.40 | 800.00 | 944.00 | 1000.00 | 1180.00 | 90.00 | VOLTECH O AND M SERVICES PVT LTD | 106.20 | VOLTECH O AND M SERVICES PVT LTD
6.03 | 3½ X 35 sq. mm (32mm) | 2.00 | Each | Item No.6.032 | 380.00 | 448.40 | 598.00 | 705.64 | 50.00 | 59.00 | 520.00 | 613.60 | 800.00 | 944.00 | 1200.00 | 1416.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.03 | 3½ X50 sq. mm (35mm) | 2.00 | Each | Item No.6.033 | 520.00 | 613.60 | 638.00 | 752.84 | 70.00 | 82.60 | 560.00 | 660.80 | 800.00 | 944.00 | 1200.00 | 1416.00 | 70.00 | VOLTECH O AND M SERVICES PVT LTD | 82.60 | VOLTECH O AND M SERVICES PVT LTD
6.03 | 3½ X 70 sq. mm (38mm) | 2.00 | Each | Item No.6.034 | 620.00 | 731.60 | 698.00 | 823.64 | 70.00 | 82.60 | 660.00 | 778.80 | 800.00 | 944.00 | 1800.00 | 2124.00 | 70.00 | VOLTECH O AND M SERVICES PVT LTD | 82.60 | VOLTECH O AND M SERVICES PVT LTD
6.03 | 3½ X 95 sq. mm (45mm) | 2.00 | Each | Item No.6.035 | 640.00 | 755.20 | 898.00 | 1059.64 | 70.00 | 82.60 | 880.00 | 1038.40 | 900.00 | 1062.00 | 1800.00 | 2124.00 | 70.00 | VOLTECH O AND M SERVICES PVT LTD | 82.60 | VOLTECH O AND M SERVICES PVT LTD
6.04 | 3½ X 120 sq. mm (45mm) | 2.00 | Each | Item No.6.036 | 640.00 | 755.20 | 938.00 | 1106.84 | 70.00 | 82.60 | 1020.00 | 1203.60 | 1000.00 | 1180.00 | 1800.00 | 2124.00 | 70.00 | VOLTECH O AND M SERVICES PVT LTD | 82.60 | VOLTECH O AND M SERVICES PVT LTD
6.04 | 3½ X 150 sq. mm (50mm) | 2.00 | Each | Item No.6.037 | 640.00 | 755.20 | 998.00 | 1177.64 | 70.00 | 82.60 | 1400.00 | 1652.00 | 1800.00 | 2124.00 | 1800.00 | 2124.00 | 70.00 | VOLTECH O AND M SERVICES PVT LTD | 82.60 | VOLTECH O AND M SERVICES PVT LTD
6.04 | 3½ X 185 sq. mm (57mm) | 2.00 | Each | Item No.6.038 | 700.00 | 826.00 | 1438.00 | 1696.84 | 70.00 | 82.60 | 1760.00 | 2076.80 | 2500.00 | 2950.00 | 2400.00 | 2832.00 | 70.00 | VOLTECH O AND M SERVICES PVT LTD | 82.60 | VOLTECH O AND M SERVICES PVT LTD
6.04 | 3½ X 240 sq. mm (62mm) | 2.00 | Each | Item No.6.039 | 700.00 | 826.00 | 1638.00 | 1932.84 | 70.00 | 82.60 | 2400.00 | 2832.00 | 2500.00 | 2950.00 | 2400.00 | 2832.00 | 70.00 | VOLTECH O AND M SERVICES PVT LTD | 82.60 | VOLTECH O AND M SERVICES PVT LTD
6.04 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
6.04 | 4 X 16 sq. mm | 2.00 | Each | Item No.6.041 | 2200.00 | 2596.00 | 3998.00 | 4717.64 | 50.00 | 59.00 | 2000.00 | 2360.00 | 6000.00 | 7080.00 | 7000.00 | 8260.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.04 | 4 X 25 sq. mm | 2.00 | Each | Item No.6.042 | 2200.00 | 2596.00 | 4398.00 | 5189.64 | 50.00 | 59.00 | 2400.00 | 2832.00 | 6000.00 | 7080.00 | 7000.00 | 8260.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.04 | 3½ X 35 sq. mm | 2.00 | Each | Item No.6.043 | 2600.00 | 3068.00 | 4398.00 | 5189.64 | 50.00 | 59.00 | 2800.00 | 3304.00 | 6000.00 | 7080.00 | 7000.00 | 8260.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.04 | 3½ X50 sq. mm | 2.00 | Each | Item No.6.044 | 2600.00 | 3068.00 | 4398.00 | 5189.64 | 50.00 | 59.00 | 3200.00 | 3776.00 | 6000.00 | 7080.00 | 7000.00 | 8260.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.04 | 3½ X 70 sq. mm | 2.00 | Each | Item No.6.045 | 2600.00 | 3068.00 | 5998.00 | 7077.64 | 50.00 | 59.00 | 3600.00 | 4248.00 | 6000.00 | 7080.00 | 7000.00 | 8260.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.05 | 3½ X 95 sq. mm | 2.00 | Each | Item No.6.046 | 2600.00 | 3068.00 | 6298.00 | 7431.64 | 50.00 | 59.00 | 4000.00 | 4720.00 | 6490.00 | 7658.20 | 9000.00 | 10620.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.05 | 3½ X 120 sq. mm | 2.00 | Each | Item No.6.047 | 2600.00 | 3068.00 | 6298.00 | 7431.64 | 50.00 | 59.00 | 4400.00 | 5192.00 | 13206.00 | 15583.08 | 9000.00 | 10620.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.05 | 3½ X 150 sq. mm | 2.00 | Each | Item No.6.048 | 5000.00 | 5900.00 | 7998.00 | 9437.64 | 50.00 | 59.00 | 4800.00 | 5664.00 | 13206.00 | 15583.08 | 10000.00 | 11800.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.05 | 3½ X 185 sq. mm | 2.00 | Each | Item No.6.049 | 6000.00 | 7080.00 | 7998.00 | 9437.64 | 50.00 | 59.00 | 5200.00 | 6136.00 | 13206.00 | 15583.08 | 10000.00 | 11800.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.05 | 3½ X 240 sq. mm | 2.00 | Each | Item No.6.050 | 6000.00 | 7080.00 | 11998.00 | 14157.64 | 50.00 | 59.00 | 6000.00 | 7080.00 | 13206.00 | 15583.08 | 12000.00 | 14160.00 | 50.00 | VOLTECH O AND M SERVICES PVT LTD | 59.00 | VOLTECH O AND M SERVICES PVT LTD
6.05 | Locating the Cable fault on LT/HT feeder cables laid directly in ground/ duct/ pipe including providing Cable Fault Tracer (Rental) etc., as required.
6.05 | HT CABLES | 1.00 | job | Item No.6.055 | 25000.00 | 29500.00 | 34999.00 | 41298.82 | 9999.00 | 11798.82 | 5000.00 | 5900.00 | 18500.00 | 21830.00 | 50000.00 | 59000.00 | 5000.00 | KALKI ELECTRICALS | 5900.00 | KALKI ELECTRICALS
6.05 | Supplying and laying of 75 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like socket, bend etc., confirming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (1.2 mtr below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required. | 25.00 | Metre | Item No.6.056 | 7750.00 | 9145.00 | 7225.00 | 8525.50 | 3750.00 | 4425.00 | 9500.00 | 11210.00 | 8750.00 | 10325.00 | 8750.00 | 10325.00 | 3750.00 | VOLTECH O AND M SERVICES PVT LTD | 4425.00 | VOLTECH O AND M SERVICES PVT LTD
6.05 | Supplying and laying of 125 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like socket, bend etc., confirming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (1.2 mtr below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required. | 25.00 | Metre | Item No.6.057 | 11250.00 | 13275.00 | 17475.00 | 20620.50 | 9500.00 | 11210.00 | 12500.00 | 14750.00 | 11250.00 | 13275.00 | 15000.00 | 17700.00 | 9500.00 | VOLTECH O AND M SERVICES PVT LTD | 11210.00 | VOLTECH O AND M SERVICES PVT LTD
6.05 | SH VI B : EARTHING
6.06 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required | 2.00 | Set | Item No.6.059 | 15000.00 | 17700.00 | 10998.00 | 12977.64 | 10000.00 | 11800.00 | 13200.00 | 15576.00 | 11200.00 | 13216.00 | 18000.00 | 21240.00 | 10000.00 | VOLTECH O AND M SERVICES PVT LTD | 11800.00 | VOLTECH O AND M SERVICES PVT LTD
6.06 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 Sets of G.I. nut bolt & spring washer spaced at 50mm) | 10.00 | Mtr | Item No.6.062 | 1250.00 | 1475.00 | 990.00 | 1168.20 | 50000.00 | 59000.00 | 1600.00 | 1888.00 | 8000.00 | 9440.00 | 3000.00 | 3540.00 | 990.00 | CHENNAI ENGINEERING SERVICES | 1168.20 | CHENNAI ENGINEERING SERVICES
6.06 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required | 10.00 | Mtr | Item No.6.064 | 3500.00 | 4130.00 | 4490.00 | 5298.20 | 1990.00 | 2348.20 | 3600.00 | 4248.00 | 4800.00 | 5664.00 | 3500.00 | 4130.00 | 1990.00 | VOLTECH O AND M SERVICES PVT LTD | 2348.20 | VOLTECH O AND M SERVICES PVT LTD
6.06 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required | 10.00 | Mtr | Item No.6.066 | 1100.00 | 1298.00 | 1790.00 | 2112.20 | 1990.00 | 2348.20 | 1500.00 | 1770.00 | 2060.00 | 2430.80 | 2000.00 | 2360.00 | 1100.00 | LAKSHMI ELECTRICAL ENTERPRISES | 1298.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.06 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required | 2.00 | Each | Item No.6.067 | 15000.00 | 17700.00 | 9998.00 | 11797.64 | 998.00 | 1177.64 | 16000.00 | 18880.00 | 9000.00 | 10620.00 | 19000.00 | 22420.00 | 998.00 | VOLTECH O AND M SERVICES PVT LTD | 1177.64 | VOLTECH O AND M SERVICES PVT LTD
6.06 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required | 10.00 | Mtr | Item No.6.068 | 1750.00 | 2065.00 | 1690.00 | 1994.20 | 2990.00 | 3528.20 | 2000.00 | 2360.00 | 1760.00 | 2076.80 | 400.00 | 472.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd. | 472.00 | DElite System Engineering (India) Pvt. Ltd.
6.06 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 10.00 | Mtr | Item No.6.069 | 350.00 | 413.00 | 390.00 | 460.20 | 4990.00 | 5888.20 | 300.00 | 354.00 | 550.00 | 649.00 | 350.00 | 413.00 | 300.00 | KALKI ELECTRICALS | 354.00 | KALKI ELECTRICALS
6.06 | SH VI C : SITC of Switch Gear Works
6.06 | Supply, Replacement, Testing and Commissioning of 630 A 4P 50 kA MCCB with thermal magnetic release in the existing Panel including providing Handle, with all accessories, interconnection, connection, earthing, painting of door, etc. as required. | 1.00 | Job | Item No.6.073 | 25000.00 | 29500.00 | 25999.00 | 30678.82 | 30000.00 | 35400.00 | 40000.00 | 47200.00 | 37500.00 | 44250.00 | 25000.00 | 29500.00 | 25000.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd. | 29500.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd.
6.07 | Supply, Replacement, Testing and Commissioning of 400 A 4P 50 kA MCCB with thermal magnetic release in the existing Panel including providing Handle, with all accessories, interconnection, connection, earthing, painting of door, etc. as required. | 1.00 | Job | Item No.6.074 | 25000.00 | 29500.00 | 19999.00 | 23598.82 | 20000.00 | 23600.00 | 28000.00 | 33040.00 | 37500.00 | 44250.00 | 25000.00 | 29500.00 | 19999.00 | CHENNAI ENGINEERING SERVICES | 23598.82 | CHENNAI ENGINEERING SERVICES
6.07 | Supply, Replacement, Testing and Commissioning of 250 A 4P 36 kA MCCB with thermal magnetic release in the existing Panel including providing Handle, with all accessories, with all accessories, interconnection, connection, earthing, painting of door, etc. as required. | 1.00 | Job | Item No.6.075 | 25000.00 | 29500.00 | 18999.00 | 22418.82 | 12000.00 | 14160.00 | 24000.00 | 28320.00 | 33000.00 | 38940.00 | 25000.00 | 29500.00 | 12000.00 | VOLTECH O AND M SERVICES PVT LTD | 14160.00 | VOLTECH O AND M SERVICES PVT LTD
6.07 | Supply, Replacement, Testing and Commissioning of 160 A 4P 36 kA MCCB with thermal magnetic release in the existing Panel including providing Handle, with all accessories, with all accessories, interconnection, connection, earthing, painting of door, etc. as required. | 1.00 | Job | Item No.6.076 | 21000.00 | 24780.00 | 14919.00 | 17604.42 | 11500.00 | 13570.00 | 10000.00 | 11800.00 | 33000.00 | 38940.00 | 25000.00 | 29500.00 | 10000.00 | KALKI ELECTRICALS | 11800.00 | KALKI ELECTRICALS
6.07 | Supply, Replacement, Testing and Commissioning of multifunction digital metering class 1.0 with RS485 (having measuring parameters V, A, F, KW, KVA, KAVr, KWh, KVAh, KVArh, PF, THD)in the existing Panel including with all acessories, interconnection, connection, etc. as required. | 14.00 | Job | Item No.6.077 | 49000.00 | 57820.00 | 195986.00 | 231263.48 | 119000.00 | 140420.00 | 39200.00 | 46256.00 | 210000.00 | 247800.00 | 126000.00 | 148680.00 | 39200.00 | KALKI ELECTRICALS | 46256.00 | KALKI ELECTRICALS
6.07 | Supply, Replacement, Testing and Commissioning of Three Phase Ammeter (digital meter)class 0.5 in the existing Panel including with all acessories, interconnection, connection, etc. as required. | 5.00 | Job | Item No.6.078 | 8000.00 | 9440.00 | 13095.00 | 15452.10 | 2250.00 | 2655.00 | 8000.00 | 9440.00 | 75000.00 | 88500.00 | 25000.00 | 29500.00 | 2250.00 | VOLTECH O AND M SERVICES PVT LTD | 2655.00 | VOLTECH O AND M SERVICES PVT LTD
6.07 | Supply, Replacement, Testing and Commissioning of Three Phase Voltmeter (digital meter)class 0.5 in the existing Panel including with all acessories, interconnection, connection, etc. as required. | 5.00 | Job | Item No.6.079 | 8000.00 | 9440.00 | 13095.00 | 15452.10 | 7500.00 | 8850.00 | 8000.00 | 9440.00 | 75000.00 | 88500.00 | 25000.00 | 29500.00 | 7500.00 | VOLTECH O AND M SERVICES PVT LTD | 8850.00 | VOLTECH O AND M SERVICES PVT LTD
6.07 | Supply, Replacement, Testing and Commissioning of LED indication lamps (R/Y/G) in the existing Panel including with all acessories, interconnection, connection, etc. as required. | 60.00 | Each | Item No.6.080 | 9000.00 | 10620.00 | 14940.00 | 17629.20 | 2100.00 | 2478.00 | 18000.00 | 21240.00 | 12000.00 | 14160.00 | 21000.00 | 24780.00 | 2100.00 | VOLTECH O AND M SERVICES PVT LTD | 2478.00 | VOLTECH O AND M SERVICES PVT LTD
6.07 | Supply, Replacement, Testing and Commissioning of Blue LED indication lamp in the existing Panel including with all acessories, interconnection, connection, etc. as required. | 50.00 | Each | Item No.6.081 | 7500.00 | 8850.00 | 12950.00 | 15281.00 | 1750.00 | 2065.00 | 15000.00 | 17700.00 | 10000.00 | 11800.00 | 17500.00 | 20650.00 | 1750.00 | VOLTECH O AND M SERVICES PVT LTD | 2065.00 | VOLTECH O AND M SERVICES PVT LTD
6.07 | SH VI D : Labour Works
6.07 | Cleaning of cable trenches by lifting the cables, supporting the cables, removing waste materials I/c malba, debris etc., and transporting and dumping the same to waste dumping yard etc. as required. | 30.00 | Mtr | Item No.6.083 | 2400.00 | 2832.00 | 17970.00 | 21204.60 | 5970.00 | 7044.60 | 3600.00 | 4248.00 | 1800.00 | 2124.00 | 4500.00 | 5310.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED | 2124.00 | ABHISHEK INTEGRATIONS LIMITED
6.08 | Cleaning of bus ducts I/c removing of covers, checking of bus bars, bus supports, tightening of busses and supports and re-fixing of covers, testing, commissioning etc., as required. | 30.00 | Mtr | Item No.6.084 | 2400.00 | 2832.00 | 11970.00 | 14124.60 | 5970.00 | 7044.60 | 3000.00 | 3540.00 | 1800.00 | 2124.00 | 4500.00 | 5310.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED | 2124.00 | ABHISHEK INTEGRATIONS LIMITED
6.08 | Providing one Skilled Wireman and two Unskilled Khalasi to attend any urgent Preventive Maintenance/ Breakdown Maintenance/ Emergency Work at Electrical Installations provided in Main Power House/ Substations with necessary T&P as and when required. | 3.00 | Days | Item No.6.085 | 7500.00 | 8850.00 | 5997.00 | 7076.46 | 2250.00 | 2655.00 | 6600.00 | 7788.00 | 7500.00 | 8850.00 | 4500.00 | 5310.00 | 2250.00 | VOLTECH O AND M SERVICES PVT LTD | 2655.00 | VOLTECH O AND M SERVICES PVT LTD
6.08 | Providing Labour and Hire Charges for deploying Excavater (JCB) i/c Operator for tracing the cable faults, excavation and refilling of Cable trench after work etc., as required. | 8.00 | Hrs | Item No.6.086 | 6800.00 | 8024.00 | 9192.00 | 10846.56 | 39992.00 | 47190.56 | 9600.00 | 11328.00 | 12000.00 | 14160.00 | 7600.00 | 8968.00 | 6800.00 | LAKSHMI ELECTRICAL ENTERPRISES | 8024.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.08 | Providing one FITTER and ONE Unskilled Khalasi to attend any urgent Preventive Maintenance/ Breakdown Maintenance/ Emergency Work at Electrical Installations provided in Main Power House/Substations with necessary T&P as and when required. | 3.00 | Days | Item No.6.087 | 7500.00 | 8850.00 | 4257.00 | 5023.26 | 3000.00 | 3540.00 | 5400.00 | 6372.00 | 5250.00 | 6195.00 | 5700.00 | 6726.00 | 3000.00 | VOLTECH O AND M SERVICES PVT LTD | 3540.00 | VOLTECH O AND M SERVICES PVT LTD
6.08 | Providing Labour and Hire Charges for deploying Gas Cutting MACHINE i/c Cutter, Gases in Cylinder etc., for cutting of Chequered Plates, MS Angles as required. | 5.00 | Hrs | Item No.6.088 | 10000.00 | 11800.00 | 2995.00 | 3534.10 | 5000.00 | 5900.00 | 5000.00 | 5900.00 | 7500.00 | 8850.00 | 6000.00 | 7080.00 | 2995.00 | CHENNAI ENGINEERING SERVICES | 3534.10 | CHENNAI ENGINEERING SERVICES
6.08 | Providing Labour and Hire Charges for deploying WELDING MACHINE i/c WELDER, Welding Rods etc., for WELDING WORKS as required. | 8.00 | Hrs | Item No.6.089 | 11200.00 | 13216.00 | 2392.00 | 2822.56 | 8000.00 | 9440.00 | 9600.00 | 11328.00 | 12000.00 | 14160.00 | 9600.00 | 11328.00 | 2392.00 | CHENNAI ENGINEERING SERVICES | 2822.56 | CHENNAI ENGINEERING SERVICES
6.08 | Providing Labour and Hire Charges for deploying Lorry/ Truck/ Tractor i/c Operator and loaders for shifting of debris/ wastes from Power Houses/ Substations etc., to waste dump yard as required. | 5.00 | Days | Item No.6.090 | 20000.00 | 23600.00 | 24995.00 | 29494.10 | 15000.00 | 17700.00 | 33000.00 | 38940.00 | 42500.00 | 50150.00 | 7500.00 | 8850.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd. | 8850.00 | DElite System Engineering (India) Pvt. Ltd.
6.08 | Providing labour and hire charges for deploying Crane (upto 10 Ton) i/c operator for lifting/ Shifting of Equipments/ Cable Drums, etc., as required. | 8.00 | Hrs | Item No.6.091 | 8000.00 | 9440.00 | 8792.00 | 10374.56 | 28000.00 | 33040.00 | 14400.00 | 16992.00 | 12000.00 | 14160.00 | 9600.00 | 11328.00 | 8000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 9440.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.08 | SH VI E : Civil Works
6.08 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required
6.08 | 100 mm dia | 12.00 | Mtr | Item No.6.094 | 11400.00 | 13452.00 | 12588.00 | 14853.84 | 7800.00 | 9204.00 | 12000.00 | 14160.00 | 1380.00 | 1628.40 | 12000.00 | 14160.00 | 1380.00 | ABHISHEK INTEGRATIONS LIMITED | 1628.40 | ABHISHEK INTEGRATIONS LIMITED
6.09 | 150 mm dia | 12.00 | Mtr | Item No.6.095 | 16800.00 | 19824.00 | 19428.00 | 22925.04 | 10200.00 | 12036.00 | 18000.00 | 21240.00 | 1800.00 | 2124.00 | 14400.00 | 16992.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED | 2124.00 | ABHISHEK INTEGRATIONS LIMITED
6.09 | Supplying and laying of "B" Class G.I pipe of following dia, i/c excavation of bituminous/ concrete road/ pavement, excavation of Soil to maximum depth of 1.2 Mtrs from ground refilling the Soil and with CC of ratio 1:3:6 on top for 0.15 Mtrs after laying Pipe and plastering, making good the same etc., as required.
6.09 | 100 mm Dia | 12.00 | Mtr | Item No.6.099 | 21600.00 | 25488.00 | 11988.00 | 14145.84 | 30000.00 | 35400.00 | 3600.00 | 4248.00 | 2400.00 | 2832.00 | 18000.00 | 21240.00 | 2400.00 | ABHISHEK INTEGRATIONS LIMITED | 2832.00 | ABHISHEK INTEGRATIONS LIMITED
6.09 | 150 mm Dia | 12.00 | Mtr | Item No.6.100 | 24000.00 | 28320.00 | 20388.00 | 24057.84 | 17988.00 | 21225.84 | 3600.00 | 4248.00 | 2400.00 | 2832.00 | 18000.00 | 21240.00 | 2400.00 | ABHISHEK INTEGRATIONS LIMITED | 2832.00 | ABHISHEK INTEGRATIONS LIMITED
6.09 | Fabrication, Supply and Fixing of 6mm thick chequered plates including providing and fixing 40mmx40mmx6mm angle iron supports on cable trenches, 25mmx6mm MS flat around the chequered plate by welding, providing lifting hook etc., as required. | 10.00 | Kg | Item No.6.101 | 2000.00 | 2360.00 | 1090.00 | 1286.20 | 14990.00 | 17688.20 | 1200.00 | 1416.00 | 8000.00 | 9440.00 | 1900.00 | 2242.00 | 1090.00 | CHENNAI ENGINEERING SERVICES | 1286.20 | CHENNAI ENGINEERING SERVICES
6.09 | Painting of Power Supply Installations with two coats of synthetic enamel paint of approved shade, quality and brand i/c scrapping and cleaning, providing putty wherever required, inscription etc., as required.
6.09 | Spraying | 20.00 | Sq Mtr | Item No.6.103 | 3000.00 | 3540.00 | 2380.00 | 2808.40 | 29980.00 | 35376.40 | 2400.00 | 2832.00 | 1200.00 | 1416.00 | 2400.00 | 2832.00 | 1200.00 | ABHISHEK INTEGRATIONS LIMITED | 1416.00 | ABHISHEK INTEGRATIONS LIMITED
6.09 | Brushing | 20.00 | Sq Mtr | Item No.6.104 | 2800.00 | 3304.00 | 2180.00 | 2572.40 | 39980.00 | 47176.40 | 2400.00 | 2832.00 | 1200.00 | 1416.00 | 3000.00 | 3540.00 | 1200.00 | ABHISHEK INTEGRATIONS LIMITED | 1416.00 | ABHISHEK INTEGRATIONS LIMITED
6.09 | SH VI F : Supply of Cables
6.09 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required. [AS AND WHEN REQUIRED BASIS ONLY]
6.10 | 4 X 16 sq. mm | 50.00 | Mtr | Item No.6.107 | 6750.00 | 7965.00 | 6950.00 | 8201.00 | 6450.00 | 7611.00 | 4500.00 | 5310.00 | 6000.00 | 7080.00 | 5500.00 | 6490.00 | 4500.00 | KALKI ELECTRICALS | 5310.00 | KALKI ELECTRICALS
6.10 | 4 X 25 sq. mm | 50.00 | Mtr | Item No.6.108 | 8250.00 | 9735.00 | 9450.00 | 11151.00 | 6750.00 | 7965.00 | 5000.00 | 5900.00 | 7750.00 | 9145.00 | 7500.00 | 8850.00 | 5000.00 | KALKI ELECTRICALS | 5900.00 | KALKI ELECTRICALS
6.10 | 3½ X 35 sq. mm | 50.00 | Mtr | Item No.6.109 | 8250.00 | 9735.00 | 9950.00 | 11741.00 | 6350.00 | 7493.00 | 7000.00 | 8260.00 | 9000.00 | 10620.00 | 9500.00 | 11210.00 | 6350.00 | VOLTECH O AND M SERVICES PVT LTD | 7493.00 | VOLTECH O AND M SERVICES PVT LTD
6.10 | 3½ X 95 sq. mm | 50.00 | Mtr | Item No.6.110 | 20500.00 | 24190.00 | 20950.00 | 24721.00 | 16250.00 | 19175.00 | 16500.00 | 19470.00 | 19750.00 | 23305.00 | 15000.00 | 17700.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd. | 17700.00 | DElite System Engineering (India) Pvt. Ltd.
6.10 | 3½ X 120 sq. mm | 50.00 | Mtr | Item No.6.111 | 28500.00 | 33630.00 | 27450.00 | 32391.00 | 20200.00 | 23836.00 | 24000.00 | 28320.00 | 24500.00 | 28910.00 | 20000.00 | 23600.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd. | 23600.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  | 8999309.00 | 10619184.62 | 10024492.00 | 11828900.56 | 10763518.92 | 12700952.32 | 10110460.00 | 11930342.80 | 11474722.00 | 13540171.96 | 10317601.00 | 12174769.18

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management Contract of E and M Installations at Puducherry Airport. Tender ID: 2021_AAI_78051_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 10619184.62 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 11828900.56 | L2
| 3 | KALKI ELECTRICALS | 11930342.80 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. | 12174769.18 | L4
| 5 | VOLTECH O AND M SERVICES PVT LTD | 12700952.32 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED | 13540171.96 | L6