## BoQ1
Government eProcurement System Created By: ANILDAS BEKAL Created Date/Time: 10-Aug-2021 01:12 PM Tender Title: ARMO of E and M installations at Hubballi Airport for 2021-22 SH- Supply of GLF spares at Hubballi Airport Tender ID: 2021_AAI_78153_1
Tender Inviting Authority: Asst. General Manager (Engg. – Electrical), AAI, Hubballi Airport.
Name of Work: ARMO of E & M Installations at Hubballi Airport for 2021-22. SH : Supply of GLF Spares at Hubballi Airport.
Contract No: 2021_AAI_78153_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | prakash electricals(GSTN-29AALFP7577J1ZB) |  | CREATIVE TRADING CO(GSTN-07AMEPK8023F1Z9) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | electromach sales agencies(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : Supply of GLF spares
2.00 | Supply of High Intensity Uni-directional Elevated Type Approach Light Fittings suitable for use with 200W,6.6A. Halogen Lamp complete with spreader lens clamping mechanism, pre-focus Lamp Holder, Central column assembly, breakable coupling, two pin secondary lead plugs, spring and plain washers, including 200W Halogen Lamp with suitable clear spreader lens spcecified accessories confirming to ICAO requirements and as per the enclosed particular specifications etc. complete as required. | 12.00 | Each |  | 8100.00 | 97200.00 | 9100.00 | 109200.00 | 13000.00 | 156000.00 | 8300.00 | 99600.00 | 8268.00 | 99216.00 | 97200.00 | prakash electricals
3.00 | Supply of 200 watts, 6.6 Amps, two pin Halogen lamp suitable for the Runway and approach light fittings.(Similar to Osram make 64386 model) | 175.00 | Each |  | 410.00 | 71750.00 | 350.00 | 61250.00 | 400.00 | 70000.00 | 425.00 | 74375.00 | 387.00 | 67725.00 | 61250.00 | CREATIVE TRADING CO
4.00 | Supply of 105 watts 6.6 Amps ,two pin Halogen lamp suitable for Runway inset fitting. (similar to Osram Model :- 64339A or equivalent) | 20.00 | Each |  | 815.00 | 16300.00 | 845.00 | 16900.00 | 1000.00 | 20000.00 | 950.00 | 19000.00 | 832.00 | 16640.00 | 16300.00 | prakash electricals
5.00 | Supply of 200Watts, 20A/6.6 Amps ,5KV grade, 50 Hz series type isolating transformer conforming to relevant IS, encapsulated in polyster resin finally moulded with neoprene type rubber with primary & secondary connections as specified in particular specifications complete as required. | 10.00 | Each |  | 4200.00 | 42000.00 | 3800.00 | 38000.00 | 4500.00 | 45000.00 | 3600.00 | 36000.00 | 3975.00 | 39750.00 | 36000.00 | electromach sales agencies
6.00 | Supply of 15 Watts 20/6.6 Amps 5KV grade 50 Hz series type isolating transformer conforming to relevant IS, encapsulated in polyster resin finally moulded with neoprene type rubber with primary & secondary connections as specified in particular specifications complete as required. | 5.00 | Each |  | 3000.00 | 15000.00 | 2200.00 | 11000.00 | 2800.00 | 14000.00 | 2700.00 | 13500.00 | 2703.00 | 13515.00 | 11000.00 | CREATIVE TRADING CO
7.00 | Supply of pre-focus Bi-pin halogen lamp holder suitable for 200 W Runway/Approach light fittings. | 160.00 | Each |  | 250.00 | 40000.00 | 250.00 | 40000.00 | 240.00 | 38400.00 | 225.00 | 36000.00 | 212.00 | 33920.00 | 33920.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Supply of Breakable coupling for Elevated type Approach light fittings as per ICAO. | 15.00 | Each |  | 1350.00 | 20250.00 | 1400.00 | 21000.00 | 900.00 | 13500.00 | 900.00 | 13500.00 | 371.00 | 5565.00 | 5565.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Supply of Aviation Obstruction light of Single lamp with Poly Carbonate Bowl With 12 Watt B-22 LED lamp suiable to work on 240V, 50 Hz , Single phase AC supply, confirming to ICAO Standards Compete with all accessories complete as required. | 6.00 | Each |  | 1200.00 | 7200.00 | 5000.00 | 30000.00 | 5500.00 | 33000.00 | 3800.00 | 22800.00 | 1325.00 | 7950.00 | 7200.00 | prakash electricals
10.00 | Supply of Electronic converter for LED strip used in signboard, current ranging from 2.8 Amps to 6.6 Amps, and power rating of 100W.Suitable for Runway/Taxiway Signboards. | 10.00 | Each |  | 4000.00 | 40000.00 | 2500.00 | 25000.00 | 900.00 | 9000.00 | 3900.00 | 39000.00 | 3180.00 | 31800.00 | 9000.00 | Manish Electricals
11.00 | Supply of LED Driver unit of inset type taxiway edge light fittings Suitable to work on Youyang make inset type taxiway edge light fittings. | 5.00 | Each |  | 11075.00 | 55375.00 | 25000.00 | 125000.00 | 1500.00 | 7500.00 | 2000.00 | 10000.00 | 23000.00 | 115000.00 | 7500.00 | Manish Electricals
12.00 | Supply of M-10 Stainless steel (Grade 304) bolts suitable to fixing in the existing CI Box for base plate of Runway/Taxiway light fittings. | 240.00 | Nos. |  | 11.00 | 2640.00 | 20.00 | 4800.00 | 60.00 | 14400.00 | 170.00 | 40800.00 | 27.00 | 6480.00 | 2640.00 | prakash electricals
13.00 | Supply of 6 pin male & female connector of brass compatible with 6Cx2.5 sqmm cable suitable for bajaj High mast as required. | 3.00 | Set |  | 100.00 | 300.00 | 3000.00 | 9000.00 | 1500.00 | 4500.00 | 2500.00 | 7500.00 | 440.00 | 1320.00 | 300.00 | prakash electricals
14.00 | SH-II : Supply of Spares for CCR
15.00 | Supply of Bolted Tag Fuse of rating 200A, 500 V DC, 690 V AC, Suitable to work on 30KW,20A Nasu Systems make CCR (Make/Model : Eaton Bussmann Series 200A Bolted Tag Fuse, MT, 500 V dc, 690 V ac, 85mm or equivalent). | 2.00 | Each |  | 1300.00 | 2600.00 | 775.00 | 1550.00 | 650.00 | 1300.00 | 1600.00 | 3200.00 | 567.00 | 1134.00 | 1134.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Supply of Bolted Tag Fuse fuse of rating 100A ,415V AC, Suitable to work on 20KW/7.5KW,6.6A Nasu Systems make CCR (Make/Model : Eaton Bussmann Series 100A Bolted Tag Fuse, B1, 415V ac, 111mm or equivalent) | 6.00 | Each |  | 500.00 | 3000.00 | 200.00 | 1200.00 | 450.00 | 2700.00 | 1200.00 | 7200.00 | 297.00 | 1782.00 | 1200.00 | CREATIVE TRADING CO
17.00 | Supply of Centred Tag Fuse of rating 160A Centred Tag Fuse,500V AC, Suitable to work on Suitable to work on 30KW,20A Nasu Systems make CCR Nasu Systems make CCR (Make/Model : Siemens 160A 00 NH Centred Tag Fuse, gG, 500V ac or equivalent). | 3.00 | Each |  | 375.00 | 1125.00 | 375.00 | 1125.00 | 625.00 | 1875.00 | 1400.00 | 4200.00 | 567.00 | 1701.00 | 1125.00 | prakash electricals, CREATIVE TRADING CO
18.00 | Supply of HRC DIN type Fuse of rating 63A, 500 V AC,and short ciruit current capacity upto 120kA .and Suitable to work on 30/7.5/4KW Nasu Systems make CCR (Make/Model : Siemens 3NA78220RC – 63A SIZE 000 500V AC HRC FUSE DIN S/C. CAPACITY 120kA or equivalent ). | 3.00 | Each |  | 275.00 | 825.00 | 275.00 | 825.00 | 350.00 | 1050.00 | 700.00 | 2100.00 | 472.00 | 1416.00 | 825.00 | prakash electricals, CREATIVE TRADING CO
19.00 | Supply of HRC Fuse DIN type of rating 32A, 500 V AC,and short ciruit current capacity upto 120kA .and Suitable to work on 20/7.5,KW ,6.6 ANasu Systems make CCR (Make/Model :Siemens 3NA78120RC – 32A SIZE 000 500V AC HRC FUSE DIN S.C. CAPACITY 120KA or equivalent). | 3.00 | Each |  | 250.00 | 750.00 | 225.00 | 675.00 | 370.00 | 1110.00 | 600.00 | 1800.00 | 339.00 | 1017.00 | 675.00 | CREATIVE TRADING CO
20.00 | Supply of HRC Fuse DIN type of rating 20A, 500 V AC,and short ciruit current capacity upto 120kA .and Suitable to work on 4KW,6.6 A Nasu Systems make CCR (Make/Model :Siemens 3NA78070RC – 20A SIZE 000 500V AC HRC FUSE DIN S.C. CAPACITY 120KA or equivalent). | 3.00 | Each |  | 250.00 | 750.00 | 225.00 | 675.00 | 320.00 | 960.00 | 400.00 | 1200.00 | 339.00 | 1017.00 | 675.00 | CREATIVE TRADING CO
21.00 | Supply of plug in type (11 pin) Relay of rating 24 VDC,500 Ω. Suitable to work in Nasu Systems make CCR | 3.00 | Each |  | 450.00 | 1350.00 | 600.00 | 1800.00 | 1200.00 | 3600.00 | 500.00 | 1500.00 | 201.00 | 603.00 | 603.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Supply of plug in type (11 pin) Relay of rating 48 VDC,2.25 KΩ .Suitable to work in Nasu Systems make CCR | 2.00 | Each |  | 550.00 | 1100.00 | 700.00 | 1400.00 | 1600.00 | 3200.00 | 500.00 | 1000.00 | 244.00 | 488.00 | 488.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Supply of plug in type (11 pin) Relay of rating 240VAC, 10 KΩ .Suitable to work in Nasu Systems make CCR | 2.00 | Each |  | 415.00 | 830.00 | 600.00 | 1200.00 | 850.00 | 1700.00 | 500.00 | 1000.00 | 233.00 | 466.00 | 466.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | Supply of Trip Indicating Fuse TI-300 ,Suitable to work in Nasu Systems make CCR. (Model No. Eaton Bussmann trip indicator -TI 300 or equivalent) | 10.00 | Each |  | 440.00 | 4400.00 | 350.00 | 3500.00 | 750.00 | 7500.00 | 550.00 | 5500.00 | 355.00 | 3550.00 | 3500.00 | CREATIVE TRADING CO
| Total in Figures |  |  |  |  | 424745.00 |  | 505100.00 |  | 450295.00 |  | 440775.00 |  | 452055.00
Lowest Amount Quoted BY: prakash electricals(424745.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installations at Hubballi Airport for 2021-22 SH- Supply of GLF spares at Hubballi Airport Tender ID: 2021_AAI_78153_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | prakash electricals | 424745.00 | L1
| 2 | electromach sales agencies | 440775.00 | L2
| 3 | Manish Electricals | 450295.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 452055.00 | L4
| 5 | CREATIVE TRADING CO | 505100.00 | L5