## BoQ1
Government eProcurement System Created By: UMESH KUMAR SINGH Created Date/Time: 26-Jul-2021 01:20 PM Tender Title: Replacement of water Pumps at Surat Airport. Tender ID: 2021_AAI_78177_1
Tender Inviting Authority: SM (E-E), AAI, Surat Airport, Surat
Name of Work: Replacement of water Pumps at Surat Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | SKYLINE ENGINEERS(GSTN-27APZPD0679L1Z4)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | S.I.T.C. of Vertical submersible pump of capacity 2 HP with discharge of 4.16 litre per second at 12 mtr head with delivery size 50mm . Pump shall have Cast iron casing, Carbon steel /stainless steel shaft with Cast iron/bronze impeller and SS strainer coupled with water lubricated totally enclosed Induction Motor with F class insulation, minimum 25 mm solid particles handling capacity, suitable for operation on 3 Phase, 415 volts, 50 Hz AC supply, with Automatic pump operation and Dry run protection, including 10 meter cable.Motor shall be totally sealed with mechanical / oil seals and provided with self lubricating thrust bearings complete etc. as required.including connecting discharge pipeline to pumpset with other minor accessories as required to complete the job. | 2.00 | Job |  | 27291.00 | 54582.00 | 45000.00 | 90000.00 | 54582.00 | BR Power Control and Automation Services
2.00 | S.I.T.C. of Vertical submersible drainage pump of capacity 0.75 HP with discharge of 2.84 litre per second at 5.88 mtr head with delivery size 50mm with inbuilt starting arrangement . Pump shall have Cast iron casing, Carbon steel /stainless steel shaft with Cast iron/bronze impeller and SS strainer coupled with water lubricated totally enclosed Induction Motor with F class insulation, minimum 15 mm solid particles handling capacity, suitable for operation on 1 Phase, 220 volts, 50 Hz AC supply, with Automatic pump operation and Dry run protection, including 10 meter cable.Motor shall be totally sealed with mechanical / oil seals and provided with self lubricating thrust bearings complete etc. as required.including connecting discharge pipeline to pumpset with other minor accessories as required to complete the job. | 1.00 | Job |  | 24396.00 | 24396.00 | 30010.00 | 30010.00 | 24396.00 | BR Power Control and Automation Services
3.00 | Supply of Vertical submersible drainage pump of capacity 0.75 HP with discharge of 2.84 litre per second at 5.88 mtr head with delivery size 50mm with inbuilt starting arrangement . Pump shall have Cast iron casing, Carbon steel /stainless steel shaft with Cast iron/bronze impeller and SS strainer coupled with water lubricated totally enclosed Induction Motor with F class insulation, minimum 15 mm solid particles handling capacity, suitable for operation on 1 Phase, 220 volts, 50 Hz AC supply, with Automatic pump operation and Dry run protection, including 10 meter cable.Motor shall be totally sealed with mechanical / oil seals and provided with self lubricating thrust bearings complete etc. as required. | 2.00 | Job |  | 17370.00 | 34740.00 | 25000.00 | 50000.00 | 34740.00 | BR Power Control and Automation Services
4.00 | SITC of DOL starter enclosed in the sheet steel IP54 enclosure duly powder coated suitable for 2 HP 3 ph motor pumpset which shall have 3.5 Amps TPN MCB, 10 KA with built -in Single Phasing Protection & overload protection and shall having auto re-start feature on power restoration with adjustable ON delay timer, Dual meter voltage& current and ON/OFF Illuminated push buttons. | 2.00 | Job |  | 8643.00 | 17286.00 | 6000.00 | 12000.00 | 12000.00 | SKYLINE ENGINEERS
5.00 | Providing and fixing 50 mm dia nominal bore medium class G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc.Internal works- exposed on wall. | 10.00 | Job |  | 2006.00 | 20060.00 | 700.00 | 7000.00 | 7000.00 | SKYLINE ENGINEERS
6.00 | Providing and fixing 50 mm dia nominal bore medium class G.I. pipes complete with G.I. fittings including trenching and refilling etc. | 70.00 | Job |  | 2006.00 | 140420.00 | 895.00 | 62650.00 | 62650.00 | SKYLINE ENGINEERS
7.00 | Providing and fixing 50 mm G.I. Tee complete with G.I. fittings . | 3.00 | Job |  | 157.00 | 471.00 | 100.00 | 300.00 | 300.00 | SKYLINE ENGINEERS
8.00 | Providing and fixing 50 mm G.I. elbow complete with G.I. fittings . | 8.00 | Job |  | 150.00 | 1200.00 | 60.00 | 480.00 | 480.00 | SKYLINE ENGINEERS
9.00 | Providing and fixing 50mm C.I. three piece ball valve of approved quality. | 3.00 | Job |  | 5024.00 | 15072.00 | 1500.00 | 4500.00 | 4500.00 | SKYLINE ENGINEERS
| Total in Figures |  |  |  |  | 308227.00 |  | 256940.00
Lowest Amount Quoted BY: SKYLINE ENGINEERS(256940.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of water Pumps at Surat Airport. Tender ID: 2021_AAI_78177_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SKYLINE ENGINEERS | 256940.00 | L1
| 2 | BR Power Control and Automation Services | 308227.00 | L2