## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 25-Jun-2021 05:34 PM Tender Title: Provision of automatic gas based fire suppression system for NAV AID Units at Calicut Airport Tender ID: 2021_AAI_78237_1
Tender Inviting Authority: Asst. General Manager (E-E) - I
Name of Work : Provision of automatic gas based fire suppression system for NAV AID Units at Calicut Airport
Ref No: AAI/CL/ENGG(E)/108/NIT-04/2021-22/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | M/S. Safe N Secure Fire Systems(GSTN-27BDLPK4182N1ZX) |  | Nexus Fire And Security Systems(GSTN-07AAKFN7125K1ZY) |  | PYROGUARD ENGINEERS PRIVATE LIMITED(GSTN-07AACCP9466E1Z7) |  | Vimal Fire Controls private Limited(GSTN-24AAACV9204C1ZR) |  | SVS Buildwel Pvt Ltd(GSTN-07AALCS7473H1ZU) |  | advent electric technologies pvt. ltd.(GSTN-07AAJCA2055K1ZN) |  | Vasu Infosec Pvt Ltd(GSTN-27AABCV6080D1ZE) |  | UNITED FIRE EQUIPMENTS PVT LTD(GSTN-07AAACU0169P1ZZ) |  | Newage Fire Protection Engineers Pvt. Ltd.(GSTN-27AACCN9026C1ZN) |  | GLYPTIC(GSTN-19AAMFG0478J1ZY) |  | Fitech Engineers Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & fixing of 34 litre capacity, seamless type storage cylinder suitable for NOVEC™ 1230 gas agent or any FK-5-1-12 agent with complete valve assembly, pressure gauge with all safety features, cylinder strap etc. complete as required as per technical specifications. | 10.00 | Each |  | 70000.00 | 700000.00 | 79500.00 | 795000.00 | 46500.00 | 465000.00 | 76350.00 | 763500.00 | 49050.00 | 490500.00 | 44279.00 | 442790.00 | 59000.00 | 590000.00 | 63422.00 | 634220.00 | 60000.00 | 600000.00 | 130000.00 | 1300000.00 | 86453.00 | 864530.00 | 50800.00 | 508000.00 | 442790.00 | SVS Buildwel Pvt Ltd
2.00 | Supply & filling of NOVEC™1230, HFC gas or any FK-5-1-12 agnet in the existing seamless storage cylinder complete as required as per technical specifications. | 249.00 | Kg |  | 3000.00 | 747000.00 | 3924.00 | 977076.00 | 2450.00 | 610050.00 | 2150.00 | 535350.00 | 2803.50 | 698071.50 | 2265.00 | 563985.00 | 2900.00 | 722100.00 | 2571.40 | 640278.60 | 2450.00 | 610050.00 | 1860.00 | 463140.00 | 2450.00 | 610050.00 | 3000.00 | 747000.00 | 463140.00 | Newage Fire Protection Engineers Pvt. Ltd.
3.00 | Supply & fixing of control head suitable for operating electrically from fire detection and control panel with other master adapter kit accessories complete as required as per technical specifications. | 10.00 | Each |  | 15000.00 | 150000.00 | 24525.00 | 245250.00 | 14000.00 | 140000.00 | 6500.00 | 65000.00 | 40770.00 | 407700.00 | 18515.00 | 185150.00 | 30000.00 | 300000.00 | 15836.00 | 158360.00 | 8400.00 | 84000.00 | 25000.00 | 250000.00 | 39746.00 | 397460.00 | 27500.00 | 275000.00 | 65000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
4.00 | Supply & fixing of manually operated actuator/lever to operate the gas manually from the cylinder with all accessories complete as required as per technical specifications. | 10.00 | Each |  | 5000.00 | 50000.00 | 10500.00 | 105000.00 | 5500.00 | 55000.00 | 6750.00 | 67500.00 | 5220.00 | 52200.00 | 5422.00 | 54220.00 | 8450.00 | 84500.00 | 6412.40 | 64124.00 | 8600.00 | 86000.00 | 5500.00 | 55000.00 | 16568.00 | 165680.00 | 2500.00 | 25000.00 | 25000.00 | Fitech Engineers Pvt. Ltd.
5.00 | Supply & fixing of high pressure flexible rubber discharge hose with braided reinforcement to route the NOVEC™ 1230 gas agent from storage cylinders to the discharge piping complete as required as per technical specifications. | 10.00 | Each |  | 5000.00 | 50000.00 | 8888.00 | 88880.00 | 4600.00 | 46000.00 | 4950.00 | 49500.00 | 39600.00 | 396000.00 | 5171.00 | 51710.00 | 8500.00 | 85000.00 | 18147.00 | 181470.00 | 9600.00 | 96000.00 | 18000.00 | 180000.00 | 11066.00 | 110660.00 | 10000.00 | 100000.00 | 46000.00 | Nexus Fire And Security Systems
6.00 | Supply & fixing of high pressure flexible actuation hose to direct pressure from electrically operated control head to pressure operated control head for operation complete as required as per technical specifications. | 10.00 | Each |  | 5000.00 | 50000.00 | 2920.00 | 29200.00 | 1300.00 | 13000.00 | 1200.00 | 12000.00 | 3330.00 | 33300.00 | 1721.00 | 17210.00 | 4200.00 | 42000.00 | 2208.00 | 22080.00 | 4600.00 | 46000.00 | 0.00 | 0.00 | 2073.00 | 20730.00 | 100.00 | 1000.00 | 0.00 | Newage Fire Protection Engineers Pvt. Ltd.
7.00 | Supply & fixing of suitable size discharge nozzles to provide proper flow and distribution of gas to flood hazard area complete as required as per technical specifications. | 20.00 | Each |  | 4000.00 | 80000.00 | 8850.00 | 177000.00 | 3300.00 | 66000.00 | 4600.00 | 92000.00 | 10170.00 | 203400.00 | 3034.00 | 60680.00 | 4800.00 | 96000.00 | 5529.20 | 110584.00 | 4600.00 | 92000.00 | 12500.00 | 250000.00 | 3500.00 | 70000.00 | 3550.00 | 71000.00 | 60680.00 | SVS Buildwel Pvt Ltd
8.00 | Supply & fixing of gas discharge pressure switch to trip A.C/ electrical equipment etc. complete as required as per technical specifications. | 10.00 | Job |  | 5000.00 | 50000.00 | 11050.00 | 110500.00 | 4300.00 | 43000.00 | 1650.00 | 16500.00 | 27459.00 | 274590.00 | 8960.00 | 89600.00 | 12000.00 | 120000.00 | 11443.00 | 114430.00 | 12200.00 | 122000.00 | 3500.00 | 35000.00 | 23072.00 | 230720.00 | 8500.00 | 85000.00 | 16500.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
9.00 | Supply & fixing of manual gas release station having manual break glass push button type call points with auxiliary contacts, hammer etc. complete as required as per technical specifications. | 10.00 | Job |  | 3000.00 | 30000.00 | 5500.00 | 55000.00 | 2000.00 | 20000.00 | 800.00 | 8000.00 | 5706.00 | 57060.00 | 3074.00 | 30740.00 | 1250.00 | 12500.00 | 920.00 | 9200.00 | 1700.00 | 17000.00 | 1200.00 | 12000.00 | 3210.00 | 32100.00 | 900.00 | 9000.00 | 8000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
10.00 | Supply & fixing of manual gas abort / release station having manual break glass push button type call points with auxiliary contacts, hammer gland etc. complete as required as per technical specifications. | 10.00 | Job |  | 3000.00 | 30000.00 | 5500.00 | 55000.00 | 2000.00 | 20000.00 | 800.00 | 8000.00 | 3591.00 | 35910.00 | 3074.00 | 30740.00 | 1250.00 | 12500.00 | 860.00 | 8600.00 | 1700.00 | 17000.00 | 1200.00 | 12000.00 | 3210.00 | 32100.00 | 900.00 | 9000.00 | 8000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
11.00 | Supply, Installation, Testing & Commissioning of 02-zone fire detection and alarm panel with one gas release module, battery backup with built in charger, hooter, provision of testing and resetting, gas release indication alarms and system wiring meeting all system requirements etc. complete as required as per technical specifications. | 10.00 | Job |  | 25000.00 | 250000.00 | 125550.00 | 1255500.00 | 16500.00 | 165000.00 | 10900.00 | 109000.00 | 81540.00 | 815400.00 | 59071.00 | 590710.00 | 17000.00 | 170000.00 | 13225.00 | 132250.00 | 26000.00 | 260000.00 | 35000.00 | 350000.00 | 17856.00 | 178560.00 | 18300.00 | 183000.00 | 109000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
12.00 | Supply & Fixing of conventional type photo electric smoke detectors compatible to fire detection and gas release panel with all accessories like base , box etc. complete as required as per technical specifications. | 40.00 | Each |  | 2000.00 | 80000.00 | 1530.00 | 61200.00 | 1700.00 | 68000.00 | 1020.00 | 40800.00 | 4077.00 | 163080.00 | 2272.00 | 90880.00 | 1200.00 | 48000.00 | 977.50 | 39100.00 | 940.00 | 37600.00 | 1600.00 | 64000.00 | 850.00 | 34000.00 | 950.00 | 38000.00 | 34000.00 | GLYPTIC
13.00 | Supply & Fixing of flasher sounder complete as required as per technical specifications. | 10.00 | Each |  | 2000.00 | 20000.00 | 3050.00 | 30500.00 | 2300.00 | 23000.00 | 1350.00 | 13500.00 | 14670.00 | 146700.00 | 2100.00 | 21000.00 | 1200.00 | 12000.00 | 2277.00 | 22770.00 | 1450.00 | 14500.00 | 2500.00 | 25000.00 | 2140.00 | 21400.00 | 500.00 | 5000.00 | 5000.00 | Fitech Engineers Pvt. Ltd.
14.00 | Supply & laying of 1.1 KV,PVC/XLPE insulated, FRLS PVC sheathed multi stranded copper conductor armoured cable of size 2x1.5sq mm conforming to IS:7098 (part-I) with up to date amendments in existing pipes/surface or above ceiling etc. complete as required. | 1000.00 | M |  | 100.00 | 100000.00 | 140.00 | 140000.00 | 120.00 | 120000.00 | 140.00 | 140000.00 | 130.50 | 130500.00 | 108.00 | 108000.00 | 146.00 | 146000.00 | 108.10 | 108100.00 | 120.00 | 120000.00 | 115.00 | 115000.00 | 112.00 | 112000.00 | 90.00 | 90000.00 | 90000.00 | Fitech Engineers Pvt. Ltd.
15.00 | Supply & fixing of 50mm dia MS seamless pipe, ASTM A-106(Such 40), Grade B complete with all fittings and painting with one coat of red oxide and 2 coats of red enamel paint; fixing on ceiling with suspended supports, clamps anchor fasteners, cutting chases / holes in valve ceiling and making good the same etc. complete as required as per technical specifications of contract. | 60.00 | M |  | 1000.00 | 60000.00 | 2000.00 | 120000.00 | 3500.00 | 210000.00 | 2850.00 | 171000.00 | 2286.00 | 137160.00 | 610.00 | 36600.00 | 1000.00 | 60000.00 | 1955.00 | 117300.00 | 3190.00 | 191400.00 | 1250.00 | 75000.00 | 1200.00 | 72000.00 | 900.00 | 54000.00 | 36600.00 | SVS Buildwel Pvt Ltd
| Total in Figures |  |  |  |  | 2447000.00 |  | 4245106.00 |  | 2064050.00 |  | 2091650.00 |  | 4041571.50 |  | 2374015.00 |  | 2500600.00 |  | 2362866.60 |  | 2393550.00 |  | 3186140.00 |  | 2951990.00 |  | 2200000.00
Lowest Amount Quoted BY: Nexus Fire And Security Systems(2064050.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of automatic gas based fire suppression system for NAV AID Units at Calicut Airport Tender ID: 2021_AAI_78237_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nexus Fire And Security Systems | 2064050.00 | L1
| 2 | PYROGUARD ENGINEERS PRIVATE LIMITED | 2091650.00 | L2
| 3 | Fitech Engineers Pvt. Ltd. | 2200000.00 | L3
| 4 | Vasu Infosec Pvt Ltd | 2362866.60 | L4
| 5 | SVS Buildwel Pvt Ltd | 2374015.00 | L5
| 6 | UNITED FIRE EQUIPMENTS PVT LTD | 2393550.00 | L6
| 7 | CENTRE TAP ENGINEERING | 2447000.00 | L7
| 8 | advent electric technologies pvt. ltd. | 2500600.00 | L8
| 9 | GLYPTIC | 2951990.00 | L9
| 10 | Newage Fire Protection Engineers Pvt. Ltd. | 3186140.00 | L10
| 11 | Vimal Fire Controls private Limited | 4041571.50 | L11
| 12 | M/S. Safe N Secure Fire Systems | 4245106.00 | L12