## BoQ1
Government eProcurement System Created By: Pradip Kumar Gupta Created Date/Time: 21-Jun-2021 03:56 PM Tender Title: Renovation of Toilets at C.A. Porbandar (Civil and Electrical works) Tender ID: 2021_AAI_78533_1
Tender Inviting Authority: AGM (E-C)
Name of Work: Renovation of Toilets at C.A. Porbandar (Civil & Electrical works).
Tender ID: 2021_AAI_78533_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Growever Infra Private Limited(GSTN-07AAGCG8710J1ZG) |  | Nilkanth Construction.(GSTN-24AAGPO9984M1ZT) |  | VINOD B GUPTA(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Items and quantities for Civil works:
1.01 | Providing and fixing 18/15mm thick gang saw cut mirror polished/Super glossy premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of uniform colour / texture / Full body vetrifed or Engineering or Cultured granite of any colour and shade of any size. Area of slab over 0.50 sqm (Basic price of granite/Full body vetrifed or Engineering or Cultured granite shall not be less than Rs 170/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 18.00 | Sqm | 100.00 | 3462.90 | 62332.20 | 4000.00 | 72000.00 | 3395.00 | 61110.00 | 61110.00 | VINOD B GUPTA
1.02 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Second class teak wood. | 1.00 | Cum | 100.00 | 108033.75 | 108033.75 | 135880.00 | 135880.00 | 106700.00 | 106700.00 | 106700.00 | VINOD B GUPTA
1.03 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 32.00 | Sqm | 10.00 | 2005.00 | 64160.00 | 2088.00 | 66816.00 | 1940.00 | 62080.00 | 62080.00 | VINOD B GUPTA
1.04 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 32.00 | Sqm | 10.00 | 345.00 | 11040.00 | 550.00 | 17600.00 | 339.00 | 10848.00 | 10848.00 | VINOD B GUPTA
1.05 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 13.00 | Each | 10.00 | 743.00 | 9659.00 | 750.00 | 9750.00 | 727.00 | 9451.00 | 9451.00 | VINOD B GUPTA
1.06 | Providing and fixing chromium finish Hardwyn model no.9031 mortice handle set with 3 pin lock body with key & knob 60mm size with necessary screws etc. all complete as per direction of EIC. | 9.00 | Each | 10.00 | 2651.50 | 23863.50 | 2280.00 | 20520.00 | 2619.00 | 23571.00 | 20520.00 | Nilkanth Construction.
1.07 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 4.00 | Each | 10.00 | 238.50 | 954.00 | 250.00 | 1000.00 | 231.00 | 924.00 | 924.00 | VINOD B GUPTA
1.08 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 4.00 | Each | 10.00 | 113.80 | 455.20 | 150.00 | 600.00 | 112.00 | 448.00 | 448.00 | VINOD B GUPTA
1.09 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.50 mm thick (Basic price of laminated sheet shall not be less than Rs 27/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 64.00 | Sqm | 10.00 | 930.25 | 59536.00 | 1280.00 | 81920.00 | 900.00 | 57600.00 | 57600.00 | VINOD B GUPTA
1.10 | Melamine polishing on wood work (one or more coat). | 64.00 | Sqm | 10.00 | 91.30 | 5843.20 | 90.00 | 5760.00 | 90.00 | 5760.00 | 5760.00 | VINOD B GUPTA, Nilkanth Construction.
1.11 | Marble stone flooring with 18 mm thick marble stone, as per sample of marble approved by Engineer-in-charge, over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry, including rubbing and polishing complete with : Udaipur green marble (Basic price of green marble shall not be less than Rs 60/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 8.00 | Sqm | 10.00 | 2154.20 | 17233.60 | 2088.00 | 16704.00 | 2100.00 | 16800.00 | 16704.00 | Nilkanth Construction.
1.12 | Providing and fixing premium quality glazed PGVT vitrified tiles of super Gloss, metallic shade wall tiles with approved make by Engineer in charge, in skirting, risers of steps, dados and walls, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average minimum 9 mm thickness, including pointing in white cement mixed with pigment of matching shade, highlighter may be up to 30% of each wall area. all complete as per satisfaction of E.I.C. Size of tile 600x1200 mm (Basic price of vitrified Wall tiles shall not be less than Rs 60/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 438.00 | Sqm | 100.00 | 1310.90 | 574174.20 | 1380.00 | 604440.00 | 1285.00 | 562830.00 | 562830.00 | VINOD B GUPTA
1.13 | Providing and fixing premium quality vitrified tiles, sugar finish, nano coating, full body floor tiles as approved by Engineer in charge, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) or laid with cement based high polymer modified quick set tile adhesive (water based) , including grouting the joints with Epoxy tile Sealant with matching texture and colour etc.all complete as per satisfaction of E.I.C. Size of tile 600x600/1200 mm (Basic price of vitrified floor tiles shall not be less than Rs 60/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 178.00 | Sqm | 100.00 | 1100.50 | 195889.00 | 1280.00 | 227840.00 | 1067.00 | 189926.00 | 189926.00 | VINOD B GUPTA
1.14 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 50.00 | Sqm | 10.00 | 238.80 | 11940.00 | 280.00 | 14000.00 | 233.00 | 11650.00 | 11650.00 | VINOD B GUPTA
1.15 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer. | 50.00 | Sqm | 10.00 | 148.00 | 7400.00 | 80.00 | 4000.00 | 145.00 | 7250.00 | 4000.00 | Nilkanth Construction.
1.16 | Laying in position dressed Bella stone masonary with cement mortar 1:6 (1 cement : 6 coarse sand) including striking joints on unexposed faces, racking out joints on exposed faces, watering, curing and scaffolding wherever required etc. complete as per specification and directions of Engineer Incharge. (a) In super structure above plinth level upto floor V level. | 6.00 | Cum | 10.00 | 6925.80 | 41554.80 | 4800.00 | 28800.00 | 6790.00 | 40740.00 | 28800.00 | Nilkanth Construction.
1.17 | Laying in position dressed Bella stone masonary with cement mortar 1:6 (1 cement : 6 coarse sand) including striking joints on unexposed faces, racking out joints on exposed faces, watering, curing and scaffolding wherever required etc. complete as per specification and directions of Engineer Incharge. (b) In foundation and plinth. | 18.00 | Cum | 10.00 | 6510.00 | 117180.00 | 4800.00 | 86400.00 | 6305.00 | 113490.00 | 86400.00 | Nilkanth Construction.
1.18 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 8.00 | Cum | 10.00 | 1375.00 | 11000.00 | 1280.00 | 10240.00 | 1358.00 | 10864.00 | 10240.00 | Nilkanth Construction.
1.19 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | 17.00 | Cum | 10.00 | 1770.00 | 30090.00 | 1180.00 | 20060.00 | 1746.00 | 29682.00 | 20060.00 | Nilkanth Construction.
1.20 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area beyond 3 sq. metres | 43.00 | Each | 10.00 | 373.50 | 16060.50 | 280.00 | 12040.00 | 364.00 | 15652.00 | 12040.00 | Nilkanth Construction.
1.21 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in: Channels, angles, tees and flats | 210.00 | Kg | 10.00 | 2.10 | 441.00 | .80 | 168.00 | 2.00 | 420.00 | 168.00 | Nilkanth Construction.
1.22 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.(a) For thickness of tiles 10 mm to 25 mm | 450.00 | Sqm | 10.00 | 42.00 | 18900.00 | 50.00 | 22500.00 | 40.00 | 18000.00 | 18000.00 | VINOD B GUPTA
1.23 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 15.00 | Sqm | 100.00 | 150.00 | 2250.00 | 180.00 | 2700.00 | 175.00 | 2625.00 | 2250.00 | Growever Infra Private Limited
1.24 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 16.00 | Each | 100.00 | 650.00 | 10400.00 | 480.00 | 7680.00 | 650.00 | 10400.00 | 7680.00 | Nilkanth Construction.
1.25 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 165.00 | Sqm | 10.00 | 30.45 | 5024.25 | 28.00 | 4620.00 | 30.00 | 4950.00 | 4620.00 | Nilkanth Construction.
1.26 | Dismantling of washbasin/urinal/ EWC/IWC etc. and connecting fittings including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 46.00 | Each | 10.00 | 455.00 | 20930.00 | 250.00 | 11500.00 | 440.00 | 20240.00 | 11500.00 | Nilkanth Construction.
1.27 | Dismantling of pillar cock, bottle trap, stop cock, bib cock atc. and connecting fittings including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 87.00 | Each | 10.00 | 50.50 | 4393.50 | 40.00 | 3480.00 | 50.00 | 4350.00 | 3480.00 | Nilkanth Construction.
1.28 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 49.00 | Cum | 10.00 | 155.00 | 7595.00 | 100.00 | 4900.00 | 150.00 | 7350.00 | 4900.00 | Nilkanth Construction.
1.29 | Credit for taking away of PVC connections, PVC flushing cisten with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative complete as per direction/ satisfaction of Engineer. | 254.00 | Kg | 10.00 | 12.50 | -3175.00 | 8.00 | -2032.00 | 12.00 | -3048.00 | -3175.00 | Growever Infra Private Limited
1.30 | Credit for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars, M.S. sections etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative complete as per direction/ satisfaction of Engineer. | 540.00 | Kg | 10.00 | 18.00 | -9720.00 | 8.00 | -4320.00 | 20.00 | -10800.00 | -10800.00 | VINOD B GUPTA
1.31 | Credit for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing fron the site in the presence of Engineer-in-charge or his authorised representative complete as per direction/ satisfaction of Engineer. | 45.00 | Kg | 10.00 | 208.00 | -9360.00 | 8.00 | -360.00 | 200.00 | -9000.00 | -9360.00 | Growever Infra Private Limited
1.32 | Credit for taking away dismentaled doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete as per direction of Engineer in charge. Above area 0.5 sqm (Rates mentioned shall be fixed & no variation will be applicable on this item) | 13.00 | Each | 10.00 | 855.00 | -11115.00 | 400.00 | -5200.00 | 850.00 | -11050.00 | -11115.00 | Growever Infra Private Limited
1.33 | Credit for taking away dismentaled wash basin / urinal / EWC / IWC etc. complete as per direction of Engineer in charge. (Rates mentioned shall be fixed & no variation will be applicable on this item) | 460.00 | Kg | 10.00 | 18.50 | -8510.00 | 8.00 | -3680.00 | 20.00 | -9200.00 | -9200.00 | VINOD B GUPTA
1.34 | Credit for taking away of aluminium/steel butt hinges, sliding door bolts, tower bolts, pull lock, handle, door stopper, casement stay, tee chanals, plates, hollow tubular section etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative complete as per direction/ satisfaction of Engineer. | 160.00 | Kg | 100.00 | 75.00 | -12000.00 | 50.00 | -8000.00 | 85.00 | -13600.00 | -13600.00 | VINOD B GUPTA
1.35 | Providing and fixing PPRC pipe PN 16 grade, having thermal stability for hot & cold water supply, including all PPRC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PPRC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia Pipes. | 230.00 | Metre | 100.00 | 495.00 | 113850.00 | 480.00 | 110400.00 | 485.00 | 111550.00 | 110400.00 | Nilkanth Construction.
1.36 | Providing and fixing PPRC pipe PN 16 grade, having thermal stability for hot & cold water supply, including all PPRC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step PPRC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 50.00 | Metre | 10.00 | 750.25 | 37512.50 | 608.00 | 30400.00 | 698.00 | 34900.00 | 30400.00 | Nilkanth Construction.
1.37 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length: 15 mm nominal bore. | 50.00 | Each | 10.00 | 93.85 | 4692.50 | 100.00 | 5000.00 | 87.00 | 4350.00 | 4350.00 | VINOD B GUPTA
1.38 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 36.00 | Each | 10.00 | 600.95 | 21634.20 | 880.00 | 31680.00 | 582.00 | 20952.00 | 20952.00 | VINOD B GUPTA
1.39 | Providing and fixing CP grating of approved quality.Circular type 125mm nominal dia with 25mm waste hole. | 37.00 | Each | 10.00 | 152.25 | 5633.25 | 480.00 | 17760.00 | 150.00 | 5550.00 | 5550.00 | VINOD B GUPTA
1.40 | Providing and fixing soil, waste and vent pipes including cost for bends, union, junction, tee, etc. complete - PVC pipes of approved make, all complete as per satisfation of E.I.C.: 110 mm Dia. | 180.00 | Metre | 10.00 | 111.50 | 20070.00 | 108.00 | 19440.00 | 110.00 | 19800.00 | 19440.00 | Nilkanth Construction.
1.41 | Providing and fixing soil, waste and vent pipes including cost for bends, union, junction, tee, etc. complete - PVC pipes of approved make, all complete as per satisfation of E.I.C.: 75 mm Dia. | 180.00 | Metre | 10.00 | 93.50 | 16830.00 | 88.00 | 15840.00 | 87.00 | 15660.00 | 15660.00 | VINOD B GUPTA
1.42 | Providing and fixing soil, waste and vent pipes including cost for bends, union, junction, tee, etc. complete - PVC pipes of approved make, all complete as per satisfation of E.I.C.: 50 mm Dia. | 45.00 | Metre | 10.00 | 82.50 | 3712.50 | 68.00 | 3060.00 | 80.00 | 3600.00 | 3060.00 | Nilkanth Construction.
1.43 | Providing and fixing PVC multi floor trap, all complete as per satisfation of E.I.C. : 110 x 75 mm size. | 10.00 | Each | 10.00 | 150.00 | 1500.00 | 150.00 | 1500.00 | 180.00 | 1800.00 | 1500.00 | Growever Infra Private Limited, Nilkanth Construction.
1.44 | Providing and fixing PVC nahani trap, all complete as per satisfation of E.I.C. : 110 x 75 x 50mm size. | 37.00 | Each | 10.00 | 175.00 | 6475.00 | 150.00 | 5550.00 | 185.00 | 6845.00 | 5550.00 | Nilkanth Construction.
1.45 | Providing and fixing Piller cock with auto closing system of Jaquar PRS-031 or approved equivalent complete as per direction of Engineer in Charge. | 18.00 | Each | 100.00 | 2200.00 | 39600.00 | 2088.00 | 37584.00 | 2100.00 | 37800.00 | 37584.00 | Nilkanth Construction.
1.46 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge. (a) Liquid Soap Dispenser with Glass Bottle of JAQUAR (Code ACN-1135N) | 18.00 | Each | 100.00 | 1395.00 | 25110.00 | 1280.00 | 23040.00 | 1350.00 | 24300.00 | 23040.00 | Nilkanth Construction.
1.47 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge. (b) Towel rail 600 mm long of JAQUAR (Code AQN-7711) for wash basin area | 9.00 | Each | 10.00 | 1450.00 | 13050.00 | 2880.00 | 25920.00 | 1350.00 | 12150.00 | 12150.00 | VINOD B GUPTA
1.48 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge. (b) Toilet Roll Holder with flap of JAQUAR (Code ACN-1153N) | 18.00 | Each | 10.00 | 1230.00 | 22140.00 | 1380.00 | 24840.00 | 1212.00 | 21816.00 | 21816.00 | VINOD B GUPTA
1.49 | Providing & fixing C.P. hand spray with lever control (health faucet) JAQUAR ALD-CHR-573 or approved equivalent and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 18.00 | Each | 10.00 | 1450.00 | 26100.00 | 1550.00 | 27900.00 | 1455.00 | 26190.00 | 26100.00 | Growever Infra Private Limited
1.50 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing (for any shape and size) | 26.00 | Sqm | 10.00 | 2945.00 | 76570.00 | 3480.00 | 90480.00 | 2850.00 | 74100.00 | 74100.00 | VINOD B GUPTA
1.51 | Providing & fixing Bidet attachment for easy clean of Hindware Mat code.: 513723 PULIRE or approved equivalent for water closet of handicapped toilet complete in all respects as per direction of Engineer-Incharge. | 4.00 | Each | 10.00 | 2430.00 | 9720.00 | 2680.00 | 10720.00 | 2400.00 | 9600.00 | 9600.00 | VINOD B GUPTA
1.52 | Providing and fixing C.p. brass 2-Way Bib Cock JAQUAR CON-CHR-041KN or approved equivalent complete in all respects as per direction of Engineer-Incharge. | 18.00 | Each | 10.00 | 1020.00 | 18360.00 | 1180.00 | 21240.00 | 1000.00 | 18000.00 | 18000.00 | VINOD B GUPTA
1.53 | Providing & fixing Off white vitreous china flat black urinal with automatic flushing systems JAQUAR URS-WHT-13255 & Sensor SNR-CHR-51097or approved equivalent comprising of all plumbing, electronic and electrical items. with Jaquar waste coupling ALD-CHR-705, CP cast brass bottle trap with extension piece (Jaquar ALD-CHR-769L300X190 or approved equivalent), CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipment and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 10.00 | Each | 10.00 | 21420.00 | 214200.00 | 22500.00 | 225000.00 | 21000.00 | 210000.00 | 210000.00 | VINOD B GUPTA
1.54 | Providing & fixing of white vitreous Wall hung type water closet pan of JAQUAR make (code no. VGS-WHT-81951) size 390x570x360 including Single Piece Slim Concealed Cistern with Wall Mounting Frame Jaquar JCS-WHT-2400WS including all fittings and fixtures etc. all complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 12.00 | Each | 10.00 | 21660.00 | 259920.00 | 22800.00 | 273600.00 | 21340.00 | 256080.00 | 256080.00 | VINOD B GUPTA
1.55 | Providing and fixing dual flow 32mm concealed flush valve for WC of JAQUAR make (code no. FLV-CHR-1085G) or equivalent including making connection, etc. all complete as per satisfation of E.I.C. | 12.00 | Each | 10.00 | 5642.00 | 67704.00 | 4880.00 | 58560.00 | 5500.00 | 66000.00 | 58560.00 | Nilkanth Construction.
1.56 | Providing & fixing of star white china tabletop wash basin of Hindware Viva 74080339, size 60*38*12 cm or approved equivalent with Jaquar waste coupling ALD-CHR-705, CP cast brass bottle trap with extension piece (Jaquar ALD-CHR-769L300X190 or approved equivalent), 450 mm long CP copper connections pipes (Jaquar Cat No. 803B or approved equivalent), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 18.00 | Each | 100.00 | 13750.00 | 247500.00 | 15800.00 | 284400.00 | 13580.00 | 244440.00 | 244440.00 | VINOD B GUPTA
1.57 | Providing and fixing Modular toilet cubicles of MERINO BESCO Cubicles Titan SS 2100 MM or Equivqlent consisting of high pressure 12 mm thick compact laminate board as per IS 2046 and as per fire retardant BS - 476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters. The cubicle shall have dimensions of 1500mm depth X 900mm width X 2100mm Height with door size of 1925 mm(H) X 600mm (W) wirh Divider size 1945 mm (H) with overall height of cubicles 2100mm (including bottom gap) on door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape etc. as per direction of Engineer in Charge. The Height of Cubicles, for purpose of payment shall be measured upto the floor level and no deductions shall be made for clarances left over flooring. | 90.72 | Sqm | 10.00 | 8054.00 | 730658.88 | 8480.00 | 769305.60 | 7800.00 | 707616.00 | 707616.00 | VINOD B GUPTA
1.58 | Providing and fixing Modesty Panel System for Urinal Partitions of Merino Bosco or Equivqlent consisting of high pressure 12 mm thick compact laminate board as per IS 2046 and as per fire retardant BS - 476/97 standards with phenolic core panels for partitions of intermediate divider of required colour and shade. The Partition shall have dimensions of 500mm width X 1200mm height with overall height of Urinal Modest Panel 1850 mm (including bottom gap of 650mm) stainless steel (SS) 304Grade accessories, SS right angle brackets and SS Screws 304 G and PVC Wall Plugs etc. complete as per direction of Engineer in Charge. The area for purpose of payment shall be calculated as full width and height and no deductions shall be made for any design chamfers. | 4.20 | Sqm | 10.00 | 7450.00 | 31290.00 | 6800.00 | 28560.00 | 7300.00 | 30660.00 | 28560.00 | Nilkanth Construction.
1.59 | Providing and fixing wall mounted baby changing station/ White baby minders safety seat FRCSSBMBS001 Merino make or equivalent etc. all complete as per satisfation of E.I.C. | 3.00 | Each | 10.00 | 15642.00 | 46926.00 | 12800.00 | 38400.00 | 14550.00 | 43650.00 | 38400.00 | Nilkanth Construction.
1.60 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading forglazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :(a)For fixed portion-Powder coated aluminium (minimum thickness of powdercoating 50 micron) Powder coated aluminium (minimum thickness of powdercoating 50 micron) | 70.00 | Kg | 10.00 | 456.75 | 31972.50 | 480.00 | 33600.00 | 450.00 | 31500.00 | 31500.00 | VINOD B GUPTA
1.61 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness | 20.00 | Sqm | 10.00 | 1360.00 | 27200.00 | 1280.00 | 25600.00 | 1325.00 | 26500.00 | 25600.00 | Nilkanth Construction.
1.62 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 10.00 | Sqm | 10.00 | 427.50 | 4275.00 | 680.00 | 6800.00 | 398.00 | 3980.00 | 3980.00 | VINOD B GUPTA
1.63 | Providing and fixing wall mounted grab bar , FPMMTRLGBR012ZZAB01, Grab Bar - ABS Plastic, dia 32mm *3.2mm with wall fixing rose made of anti corrosive steel of 80mm dia fixing of Merino make or equivalent for handicap restrooms etc. all complete as per satisfation of E.I.C. | 28.00 | Each | 10.00 | 1518.70 | 42523.60 | 1480.00 | 41440.00 | 1500.00 | 42000.00 | 41440.00 | Nilkanth Construction.
1.64 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recomme-nded jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with: 12.5 mm thick tapered edge gypsum moisture resistant board | 170.00 | Sqm | 10.00 | 1350.00 | 229500.00 | 1180.00 | 200600.00 | 1350.00 | 229500.00 | 200600.00 | Nilkanth Construction.
1.65 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 18.00 | Cum | 10.00 | 6882.00 | 123876.00 | 6800.00 | 122400.00 | 6402.00 | 115236.00 | 115236.00 | VINOD B GUPTA
1.66 | Lettering with polyvinyl computer cut lettering on information/ notice board made of acrylic sheet/ACP etc. complete as per direction of Engineer-in-charge. | 1.50 | Sqm | 100.00 | 1645.00 | 2467.50 | 1480.00 | 2220.00 | 1600.00 | 2400.00 | 2220.00 | Nilkanth Construction.
1.67 | Providing and fixing 150 mm bright finished floor brass door stopper with rubber cushion, necessary brass screws etc. to suit shutter thickness complete. | 13.00 | Each | 10.00 | 225.00 | 2925.00 | 180.00 | 2340.00 | 223.00 | 2899.00 | 2340.00 | Nilkanth Construction.
1.68 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet: Sand cast iron S&S as per IS: 3989 | 18.00 | Each | 10.00 | 1540.00 | 27720.00 | 1280.00 | 23040.00 | 1500.00 | 27000.00 | 23040.00 | Nilkanth Construction.
1.69 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter. | 20.00 | Each | 10.00 | 635.00 | 12700.00 | 480.00 | 9600.00 | 592.00 | 11840.00 | 9600.00 | Nilkanth Construction.
1.70 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) of Hindware Cat no.:20076 or approved equivalent with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C., Dual flush cistern (Hindware Cat.No.: 21029 or approvedequivalent), including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures, including cutting and making good the walls and floors wherever required:White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests etc all complete as per direction of EIC. | 6.00 | Each | 10.00 | 8465.00 | 50790.00 | 6800.00 | 40800.00 | 8200.00 | 49200.00 | 40800.00 | Nilkanth Construction.
1.71 | Providing and fixing 50 cm long aluminium kicking plate of size 100x3.15 mm, anodised(anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete. | 3.00 | Each | 10.00 | 230.00 | 690.00 | 250.00 | 750.00 | 210.00 | 630.00 | 630.00 | VINOD B GUPTA
1.72 | Providing, fixing, and pasting exterior finish surface of solid acrylic as free-standing partition wall of required dimension (Corian/Duralex/ Denolex/Hanex) i/c CNC cutting as per drawing & design, etc all complete as per the direction of the engineer in charge. The complete work includes necessary molding of edges, buffing, fixing arrangement with suitable materials, Complete in all respect as per the satisfaction of Engg-In-Charge. | 38.00 | Sqm | 10.00 | 12950.00 | 492100.00 | 10800.00 | 410400.00 | 12804.00 | 486552.00 | 410400.00 | Nilkanth Construction.
1.73 | Providing, fabricating and fixing panels of aluminium composite panel cladding in required shape in colour of approved shades (wooden texture, contrast colour) made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. complete as per instructions of Engineering In Charge. (Base frame work for ACP cladding is payable under the relevant aluminium item) | 27.50 | Sqm | 10.00 | 3050.00 | 83875.00 | 2280.00 | 62700.00 | 3000.00 | 82500.00 | 62700.00 | Nilkanth Construction.
1.74 | Providing and fixing 25mm thick kota stone machine cut for kitchen platforms, vanity counters ,window sills , facias and similar locations of required size of approved shade, colour and texture and joints treated with cement mortar 1:2, including, curing etc. complete at all levels as per direction of Engineer in charge. | 21.50 | Sqm | 10.00 | 925.00 | 19887.50 | 880.00 | 18920.00 | 910.00 | 19565.00 | 18920.00 | Nilkanth Construction.
2.00 | Items and quantities for Electrical works:
2.01 | Supplying and fixing of following ways surface/ recess mounting, horizontal type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. a) 8 way (4 + 24), Double door | 3.00 | Each | 10.00 | 7685.50 | 23056.50 | 6800.00 | 20400.00 | 7150.00 | 21450.00 | 20400.00 | Nilkanth Construction.
2.02 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) 63 Amp | 3.00 | Each | 10.00 | 2670.00 | 8010.00 | 2480.00 | 7440.00 | 2600.00 | 7800.00 | 7440.00 | Nilkanth Construction.
2.03 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (TPN) | 3.00 | Each | 10.00 | 998.00 | 2994.00 | 880.00 | 2640.00 | 985.00 | 2955.00 | 2640.00 | Nilkanth Construction.
2.04 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Double Pole) | 9.00 | Each | 10.00 | 525.00 | 4725.00 | 380.00 | 3420.00 | 540.00 | 4860.00 | 3420.00 | Nilkanth Construction.
2.05 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (Single Pole) | 36.00 | Each | 10.00 | 188.50 | 6786.00 | 180.00 | 6480.00 | 175.00 | 6300.00 | 6300.00 | VINOD B GUPTA
2.06 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated, Copper conductor, single core cable in surface/recessed PVC conduit as required. 2 x 2.5 sqmm + 1 x 2.5 sqmm earth wire. | 240.00 | Mtr | 10.00 | 173.50 | 41640.00 | 158.00 | 37920.00 | 170.00 | 40800.00 | 37920.00 | Nilkanth Construction.
2.07 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated, Copper conductor, single core cable in surface/recessed PVC conduit as required. 2 x 4 sqmm + 1 x 4 sqmm earth wire. | 150.00 | Mtr | 10.00 | 207.25 | 31087.50 | 180.00 | 27000.00 | 200.00 | 30000.00 | 27000.00 | Nilkanth Construction.
2.08 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 Sq. mm. FRLS, PVC insulated, copper conductor single core cable in surface/ recessed PVC conduit with modular switch, modular plate, suitable G.I. box and earthnig the point with 1.5 sq.mm FRLS PVC insulated, copper conductor single core cable etc. as required: (Group -C) | 167.00 | Point | 10.00 | 950.85 | 158791.95 | 680.00 | 113560.00 | 885.00 | 147795.00 | 113560.00 | Nilkanth Construction.
2.09 | Supply of 300 mm sweep heavy duty 1400 rpm exhaust fan suitable to operate on 240 Volts,50 Hz, single phase AC supply complete all as required & as specified. | 22.00 | Each | 10.00 | 2975.00 | 65450.00 | 2580.00 | 56760.00 | 2900.00 | 63800.00 | 56760.00 | Nilkanth Construction.
2.10 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 22.00 | Each | 10.00 | 390.50 | 8591.00 | 310.00 | 6820.00 | 380.00 | 8360.00 | 6820.00 | Nilkanth Construction.
2.11 | SITC of recess mounted 12 W LED ultra slim decorative aluminium casted, round/square fixture in white finish with opal diffuser and seperate electronic driver suitable to opertate on 240 Volts, 50 Hz, single phase AC supply complete all as required & as specified. | 95.00 | Each | 10.00 | 1472.50 | 139887.50 | 1280.00 | 121600.00 | 1450.00 | 137750.00 | 121600.00 | Nilkanth Construction.
2.12 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 16.00 | Each | 10.00 | 430.00 | 6880.00 | 380.00 | 6080.00 | 400.00 | 6400.00 | 6080.00 | Nilkanth Construction.
2.13 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 9.00 | Each | 10.00 | 507.50 | 4567.50 | 408.00 | 3672.00 | 500.00 | 4500.00 | 3672.00 | Nilkanth Construction.
2.14 | SITC of 22 watt, 4 ft, long linear decorative type ultra slim aluminium square/round profile LED light fixture with high lumen out put, environmental friendly, energy efficient & suitable to opertate on 240 Volts, 50 Hz, single phase AC supply complete all as required & as specified. . | 25.00 | Each | 10.00 | 1135.75 | 28393.75 | 880.00 | 22000.00 | 1100.00 | 27500.00 | 22000.00 | Nilkanth Construction.
2.15 | SITC of wall mounted Hand Dryer fully automatic with twin blower, outer casing fabricated out of of SS 304 stainless steel, with solid state time delay feature for operation on 230 Volt single phase supply, hand dry time less than 30 second, auto cut off time 60 sec, speed of 25000 RPM, touch free infra red operation all as required & as specified. (Euronics model no. EH 21 NW or as per AAI approved make list ) | 9.00 | Each | 10.00 | 1635.25 | 14717.25 | 12888.00 | 115992.00 | 1610.00 | 14490.00 | 14490.00 | VINOD B GUPTA
2.16 | Supply installation, testing and commissioning of recessed modular type bi-level drinking water fountain with two SS bubbler with HPN System, stainless steel body, SS bubbler guard operated between 40 to 120 PSI , antimicrobial touch part with Lead free water ways , 100 micron Stainer enabled, adjustable thermostat , Booster pump and all accessroies with Sensor and Mechanical Operation etc. i/c all necessary integration with existing RO & water coolers, interconnections, fixing material with suitable sizes of accessories​ Including all civil works and plumbing works complete as required and as per site requirement and complying with Accessible lndia Campaign (AlC) specifications/guidelines prescribed by Department of Empowerment of persons with disabilities (DEPwD) Model- M8CRY (Non cooling)-Oasis or Equivalent.​ | 2.00 | Each | 10.00 | 205000.00 | 410000.00 | 198580.00 | 397160.00 | 200000.00 | 400000.00 | 397160.00 | Nilkanth Construction.
| Total in Figures |  |  |  |  | 5553291.58 |  | 5600659.60 |  | 5412484.00
Lowest Amount Quoted BY: VINOD B GUPTA(5412484.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilets at C.A. Porbandar (Civil and Electrical works) Tender ID: 2021_AAI_78533_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VINOD B GUPTA | 5412484.00 | L1
| 2 | Growever Infra Private Limited | 5553291.58 | L2
| 3 | Nilkanth Construction. | 5600659.60 | L3